PRICE SCHEDULE

CONSTRUCTION PACKAGE No.3

| Activity Schedule Prices – Summary |
| --- |
| Schedule ID | Summary Description | Price (SAT$) |
| Part I | SATUIATUA BEACH FALES |  |
| Part II | FALEALUPO BEACH FALES |  |
|  | TOTAL LUMP SUM PRICE (VAGST inclusive) |  |

Activity Schedule - Prices:

Schedule ID: Part I – SATUIATUA BEACH FALES

| Schedule Item | Schedule No. | Summary Description | Prices in Tala (VAGST inclusive) |
| --- | --- | --- | --- |
| Beach Unit No. 1 | 1.1 New Unit |  |  |
|  |  | Concrete footings & reinforcement. |  |
|  |  | Concrete walls & reinforcement. |  |
|  |  | Timber floor H3.2 framing incl. decking material, H3.2 framing, H5 poles & ss fixings. |  |
|  |  | Steel beams & connections. |  |
|  |  | Timber wall H3.2 framing & fibre cement lining, 12mm Shadowclad textured H3.2 plywood lining, corner trims incl. of cavity battens & building paper, ss fixing, rough sawn external battens. |  |
|  |  | Roof H3.2 timber framing Incl. of fibre cement ceiling lining, fascia, roofing underlay/insulation/wire netting, trims etc. |  |
|  |  | Colorbond 0.55BMT roof sheet, flashings, gutters, downpipes 7 drainage lines. |  |
|  |  | Timber stairs H3.2. |  |
|  |  | Door & Windows Incl. framing & hardware. |  |
|  |  | Window steel awning plate. Epoxy prime & paint finish. |  |
|  |  | Plumbing Incl. fixtures (tapware & shower heads) |  |
|  |  | Electrical Incl. fixtures & connection to existing mains board incl. of upgrades. |  |
|  |  | Soakage pit. |  |
|  |  | Allow to plumb into existing Septic tank. Allow for 15m total drainage line. |  |
|  |  | Total for Beach Unit No.1 (carried forward to summary below) |  |

| Beach Unit No. 2 | 1.2 New Unit |  |  |
| --- | --- | --- | --- |
|  |  | Concrete footings & reinforcement. |  |
|  |  | Concrete walls & reinforcement. |  |
|  |  | Timber floor H3.2 framing incl. decking material, H3.2 framing, H5 poles & ss fixings. |  |
|  |  | Steel beams & connections. |  |
|  |  | Timber wall H3.2 framing & fibre cement lining, 12mm Shadowclad textured H3.2 plywood lining, corner trims incl. of cavity battens & building paper, ss fixing, rough sawn external battens. |  |
|  |  | Roof H3.2 timber framing Incl. of fibre cement ceiling lining, fascia, roofing underlay/insulation/wire netting, trims etc. |  |
|  |  | Colorbond 0.55BMT roof sheet, flashings, gutters, downpipes 7 drainage lines. |  |
|  |  | Timber stairs H3.2. |  |
|  |  | Door & Windows Incl. framing 7 hardware. |  |
|  |  | Window steel awning plate. Epoxy prime & paint finish. |  |
|  |  | Plumbing Incl. fixtures (tapware & shower heads) |  |
|  |  | Electrical Incl. fixtures & connection to existing mains board incl. of upgrades. |  |
|  |  | Soakage pit. |  |
|  |  | Allow to plumb into existing Septic tank. Allow for 15m total drainage line. |  |
|  |  | Total for Beach Unit No.2 (carried forward to summary below) |  |

| Schedule I Item Summary | Total from Above SAT$ Incl.Vagst |
| --- | --- |
| Beach Unit No.1 |  |
| Beach Unit No.2 |  |
| Total (carried forward to main summary above) |  |

Activity Schedule - Prices:

Schedule ID: Part II – FALEALUPO BEACH FALES

| Schedule Item | Schedule No. | Summary Description | Prices in Tala (VAGST inclusive) |
| --- | --- | --- | --- |
| Restaurant/Office | 2.1 Refurbishment Works | Demolition, Temporary Supports, Excavations |  |
|  |  | Concrete footing , slab and Reinforcement |  |
|  |  | H3.2 Timber flooring/framing & vertical wall battens, wall framing, timber beams etc. |  |
|  |  | H3.2 Shadowclad plywood ceiling lining, fibre cement soffits & ceiling/wall lining. |  |
|  |  | H3.2 timber fascia, Colorbond 0.55BMT Gutter & pvc downpipes |  |
|  |  | Joinery - Windows/Doors incl. frames & hardware. |  |
|  |  | Joinery - Local timber counter tops either one solid piece or epoxy glue laminated. Polyurethane clear finish. |  |
|  |  | Joinery - Custom 1.2mm stainless steel bench top complete with splashback, 25mm H3.2 plywood beach top carcass & support brackets. |  |
|  |  | Painting & concrete plaster render incl. PFL sealers, stains. |  |
|  |  | Plumbing Incl. fixtures (ss sinks/taps/traps etc.) |  |
|  |  | Electrical Incl. fixtures. |  |
|  |  | Drainage pipes |  |
|  |  | Total for Restaurant/Office refurbishment (carried forward to summary below) |  |

| Beach Fale | 2.2 New Fale | Foundation & subfloor |  |
| --- | --- | --- | --- |
|  |  | H3.2 Floor framing & decking timber |  |
|  |  | Timber Posts/railings/steps |  |
|  |  | Roof (H3.2 Framing incl. hardwood, thatching, fascia) |  |
|  |  | Painting |  |
|  |  | Electrical incl. fixtures, distribution board |  |
|  | 2.3 Bathroom Attachment | Foundation & floor slab incl. excavation, hardfill & reinforcement. |  |
|  |  | Masonry wall incl. reinforcement, 20MPa corefill. Concrete ring beam & reinforcement. |  |
|  |  | Roof H3.2 framing & ceiling/sofit lining. |  |
|  |  | Colorbond Roof sheeting 7 Fixings, flashings, gutters & downpipes. |  |
|  |  | Joinery - Doors & windows incl. hardware |  |
|  |  | H3.2 Floor Decking |  |
|  |  | Timber framed wall, fibre cement lining & local timber facade enclosure. |  |
|  |  | Plumbing incl. fixtures & drainage Allow to connect waste to existing Septic tank. Allowance for 15m of total pipe lines. |  |
|  |  | Electrical incl. fixtures |  |
|  |  | Painting |  |
|  |  | Total for Beach Fale (carried forward to summary below) |  |

| Schedule II Item Summary | Total from Above SAT$ Incl.Vagst |
| --- | --- |
| Restaurant/Office Refurbishment |  |
| Beach Fale |  |
| Total (carried forward to main summary above) |  |