**Section 7: Price Schedule Form[[1]](#footnote-1)**

The Bidder is required to prepare the Price Schedule as indicated in the Instruction to Bidders.

The Price Schedule must provide a detailed cost breakdown of all goods and related services to be provided, from unit price to low prices. Separate figures must be provided for each functional grouping or category, if any.

Any estimates for cost-reimbursable items, such as travel of experts and out-of-pocket expenses, should be listed separately.

The format shown on the following pages is suggested for use as a guide in preparing the Price Schedule. The format includes specific expenditures, which may or may not be required or applicable but are indicated to serve as examples.

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Area** | **Description** | **Output****KW** | **(a)****QTY** |  | **(b)****Unit Price** | **(a) \* (b)****Total Price** |
| **Ground Floor** | Zone 1 | Outdoor Unit | 26.3 | 1 |  |   |   |
| Indoor unit | 3.593 | 2 |  |   |   |
| Indoor unit | 4.492 | 3 |  |   |   |
| Indoor unit | 2.786 | 2 |  |   |   |
| Ms Box |   | 1 |  |   |   |
| Branch |   | 3 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 2 | Outdoor Unit | 27.5 | 1 |  |   |   |
| Indoor | 2.792 | 6 |  |   |   |
| Indoor | 3.593 | 1 |  |   |   |
| Indoor | 7.087 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 3 | Outdoor Unit | 27.5 | 1 |  |   |   |
| Indoor Unit | 5.59 | 1 |  |   |   |
| Indoor Unit | 7.079 | 1 |  |   |   |
| Indoor Unit | 2.792 | 4 |  |   |   |
| Indoor Unit | 3.59 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 3 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 4 | Outdoor Unit | 24.9 | 1 |  |   |   |
| Indoor Unit | 2.792 | 2 |  |   |   |
| Indoor Unit | 3.586 | 1 |  |   |   |
| Indoor Unit | 4.477 | 3 |  |   |   |
| Indoor Unit | 2.196 | 1 |  |   |   |
|   |   |   |   |  |   |  |
| **First Floor** | Zone 1 | Outdoor Unit | 29.1 | 1 |  |   |   |
| Indoor Unit | 5.45 | 2 |  |   |   |
| Indoor Unit | 6.917 | 2 |  |   |   |
| Indoor Unit | 2.141 | 2 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 2 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 2 | Outdoor Unit | 27.6 | 1 |  |   |   |
| Indoor Unit | 7.087 | 2 |  |   |   |
| Indoor Unit | 2.782 | 4 |  |   |   |
| Indoor Unit | 2.194 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 3 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 3 | Outdoor Unit | 22 | 1 |  |   |   |
| Indoor Unit | 2.792 | 1 |  |   |   |
| Indoor Unit | 5.578 | 2 |  |   |   |
| Indoor Unit | 3.59 | 1 |  |   |   |
| Indoor Unit | 2.191 | 2 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 4 | Outdoor Unit | 16.4 | 1 |  |   |   |
| Indoor Unit | 2.789 | 3 |  |   |   |
| Indoor Unit | 2.191 | 2 |  |   |   |
| Indoor Unit | 3.586 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| **Second Floor** | Zone 1 | **Description** | **Output KW** | **Quantity** |  |   |   |
| Outdoor Unit | 29.9 | 1 |  |   |   |
| Indoor Unit | 2.649 | 3 |  |   |   |
| Indoor Unit | 2.079 | 2 |  |   |   |
| Indoor Unit | 6.716 | 2 |  |   |   |
| Indoor Unit | 4.261 | 1 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 2 | Outdoor Unit | 26.3 | 1 |  |   |   |
| Indoor Unit | 3.59 | 3 |  |   |   |
| Indoor Unit | 2.789 | 1 |  |   |   |
| Indoor Unit | 5.578 | 1 |  |   |   |
| Indoor Unit | 7.072 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 3 | Outdoor Unit | 28.7 | 1 |  |   |   |
| Indoor Unit | 5.498 | 1 |  |   |   |
| Indoor Unit | 2.746 | 3 |  |   |   |
| Indoor Unit | 6.964 | 1 |  |   |   |
| Indoor Unit | 3.527 | 1 |  |   |   |
| Indoor Unit | 4.418 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 3 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 4 | Outdoor Unit | 29.7 | 1 |  |   |   |
| Indoor Unit | 3.452 | 1 |  |   |   |
| Indoor Unit | 4.311 | 1 |  |   |   |
| Indoor Unit | 2.682 | 1 |  |   |   |
| Indoor Unit | 5.376 | 2 |  |   |   |
| Indoor Unit | 2.11 | 4 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 5 |  |   |   |
|   |   |   |   |  |   |   |
| **Third Floor** | Zone 1 | **Description**  | **Output KW** | **Quantity** |  |   |   |
| Outdoor Unit | 29.2 | 1 |  |   |   |
| Indoor Unit | 6.899 | 1 |  |   |   |
| Indoor Unit | 3.495 | 2 |  |   |   |
| Indoor Unit | 4.368 | 1 |  |   |   |
| Indoor Unit | 2.718 | 4 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 2 | Outdoor Unit | 21.1 | 1 |  |   |   |
| Indoor Unit | 2.792 | 5 |  |   |   |
| Indoor Unit | 7.079 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 3 | Outdoor Unit | 20.3 | 1 |  |   |   |
| Indoor Unit | 3.59 | 3 |  |   |   |
| Indoor Unit | 4.487 | 1 |  |   |   |
| Indoor Unit | 2.789 | 1 |  |   |   |
| Indoor Unit | 2.189 | 1 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 4 |  |   |   |
|   |   |   |   |  |   |   |
| Zone 4 | Outdoor Unit | 25.4 | 1 |  |   |   |
| Indoor Unit | 7.043 | 1 |  |   |   |
| Indoor Unit | 5.555 | 1 |  |   |   |
| Indoor Unit | 4.464 | 1 |  |   |   |
| Indoor Unit | 2.772 | 3 |  |   |   |
| MS Box |   | 1 |  |   |   |
| Branch |   | 2 |  |   |   |
|   |   |   |   |  |   |   |
|  |  | **III. Monitoring tools** |  |  |  |  |
|  |  | Building Management System | Pcs |  |  |  |
|  |  | **IV. Piping and Cabling Materials** |  |  |  |  |
|  |  | Copper Piping | meter |  |  |  |
|  |  | Rubber Piped thermal insulation  | meter |  |  |  |
|  |  | Power Cables |  |  |  |  |
|  |  | Control Cables |  |  |  |  |
|  |  | Drainage PVC with fittings for  |  |  |  |  |
|  |  | **V. Civil Works** |  |  |  |  |
|  |  | Dismantling, removal, and disposal of existing system |  |  |  |  |
|  |  | Installation and commissioning of new air conditioning system |  |  |  |  |
|  |  | **III. Other Related Costs**  |  |  |  |  |
|  |  | **GRAND TOTAL PRICE** |  |

**Payment Schedule**

|  |  |  |
| --- | --- | --- |
| **Deliverable**  | **Expected Date of Delivery** | **Payment** |
| Provision of Designs and implementation plans of Air conditioning System | 1 Week for from signing of Contract | 10% |
| Delivery of Equipment  | 6 Weeks form signing of Contract | 30% |
| Ground Floor, First Floor and Second Floor Installation, Commissioning and Testing Air Conditioning System | 8 Months from signing of Contract | 40% |
| Third Floor Installation, Commissioning and Testing Air Conditioning System | 10 Months from signing of Contract | 20% |

1. *No deletion or modification may be made in this form. Any such deletion or modification may lead to the rejection of the Bid.* [↑](#footnote-ref-1)