## Rainwater Harvest Ground Tanks
Rainwater Harvesting Tanks
Item | Description | Unit | Total | Rate | Amount
No |  |  | Quantity | Leones | Leones
PREAMBLE The Contractor shall accept the payment provided for in the contract and represented by the rates bid by him in the Bill of Quantities, as payment in full for executing and completing the work as specified, for procuring, furnishing, placing and installing all materials, for procuring and providing labour, supervision, constructional plant, tools and equipment, for wastage, transport, loading and off-loading, handling, maintenance, temporary work, testing, quality control including process control, overheads, profit, risk and other obligations and for all other incidentals necessary for the completion of the work .
A | Mobilization |  | Item
1 | SITE PREPARATION
1.1 | Generally clear site of all vegetation -shrubs and undergrowths | m² | 49.26
1.2 | Clear and cart away off site top soil not exceeding 200mm | m² | 9.8
Sub Total
2 | EARTH WORKS
2.1 | Excavation :
2.1a | Excavate 6150mm wide by 6500mm deep foundation | m³ | 247.8
2.1b | Excavate 800mm wide by 500mm deep foundation trench for cable pipes | m³ | 25.62
2.1c | Extra-over excavation in rock as directed by the Engineer. | m³ | 2.56
2.1d | Level and compact bottom of excavation using suitable compactor to 95% maximum dry density (MDD) to BS1377 | m² | 25.62
2.2 | Backfilling
2.2a | Backfill ,Level and compact excavation with suitable earth material 150mm thick ,to 95% maximum dry density (MDD) to BS1377 | m³ | 6.78
2.2b | Backfill ,Level and compact excavation with 100mm thick Hardcore material obtained off site,maximum size not exceeding 75% of backfill thickness to BS1377 | m³ | 80.7
Sub-Total Earthworks
3 | CONCRETE WORKS BS 8110:
3.1a | Concrete
3.1b | Provide and place grade C25/30 concrete with 0,5% of cement weight. Admixture 30mm-60mm slump in :
| (i) slabs | m³ | 51.24
| (ii) edge beams | m³ | 16.9
| (ii) Tank Wall | m³ | 48.72
| (ii) central Column | m³ | 0.84
3.2 | Formwork
Provide and fix 25mm thick hardwood as formwork for casting
| (i) slab | m² | 32.44
| (ii) edge beams | m² | 25.14
3.3 | Reinforcement
Provide ,cut ,bend and fix high tensile reinforcement,460N/m² Conforming to BS 4449 in edge beams
| (ii) 10mm diameter reinforcement | tons | 13
| (iii) 12mm diameter reinforcement | tons | 3.12
3.4 | Water Prooffing
| Provide and apply AQUAMAT-, elastic, brushable sealing slurry to the interior of tank | m² | 32.44
3.5 | Concrete Joint
| Provide and fix concrete joint and filling with AQUAMAT-ELASTIC, brushable sealing slurry.. | m | 12.57
3.6 | filter Units
Provide and place grade C25/30 concrete with 0,5% of cement weight.30mm-60mm slump in :
| (i) base | m³ | 0.04
| (ii) edge | m³ | 0.72
| (iii) Cover | m³ | 0.03
4 | Pipe Works Rainall Havesting
Rates for plumbing work shall include for:- Excavattion, baackfilling disposal of surplus soil for items which were specifially mentioned. Cutting and waste of pipes and joining pipes. Testing and disinfecting on after completion
4.1 | Supply and Install PE tank 5000 litres | No | 2
4.2 | Supply and Install Gutter to convey water with all clamps and rivets 4 | m | 562
4.3 | Supply wood gutter supports | No | 36
4.4 | Supply and Install Valve Coupling 4 | No | 3
4.5 | Supply and Install PVC Elbow 3 | No | 7
4.7 | Supply and Install uPVC pipes 3 | m | 937
4.8 | Supply and install Plastic Valves 3 | No | 3
4.9 | Supply and Install Reducers 4 to 3 | No | 1
4.1 | Supply and Install 3x3x3 T Connections | No | 9
4.11 | Construction Water points according to details in drawing | items
6 | Ladder
| supply and install a stainless Ladder to ground tank | No | 1
7 | Roof Rehabilitation
ROOF COVERING AND ROOF MEMBERS
Durable Aluminium sheets of length
2400mm including roofing nails, felt washers with
| minimum 150mm side and end laps | m2 | 245
| 25mm x 250mm fascia board | m | 562
8 | Preliminary 5%
9 | Contengencies 10%
10 | Grand Total

## Over Head Tank
BoQ for civil works - Water Tank Support
| Description | Qty | Unit | Rate Leones | Amount Leones
A | PRELIMINARIES
1 | Mobilization/ Demobilization | 1 | Item
TOTAL FOR PRELIMINARIES CARRIED TO PROJECT SUMMARY
B | EXCAVATION AND EARTHWORK
1 | Clear site of all bushes, shrubs, undergrowth and debris and cartaway from site | 1 | Item
2 | Excavating over site to remove top soil, average 150mm deep, deposited a distance from foundations | 120 | m3
Excavation
3 | Excavating; pits to receive bases of isolated columns starting at site strip level; maximum depth not exceeding 1500mm (4nr) | 26.1 | m3
Surface treatment
4 | Level and compact bottom of excavations | 17.4 | m2
EXCAVATION AND EARTHWORK CARRIED TO SUMMARY
C | CONCRETE WORK
BLINDING
1 | Concrete (1:3:6 - 38mm synite aggregate)-75mm thick in
| 1.20x1.20 column bases pits- 4 nr. | 1.296 | m2
INSITU CONCRETE
2 | Concrete (1:2:4 - 12mm synite aggregate)
3 | Bases 0.6x1.20x1.20-4nr | 10.368 | m3
4 | Columns: 0.3x0.3x4.8- 4nr | 9.504 | m3
5 | Braces | 4.32 | m3
6 | beams | 3.456 | m3
7 | slab | 10.584 | m3
D | Form Work
timber piywood as formwork in :
1 | Bases | 34.56 | m2
2 | columns | 126.72 | m2
3 | braces | 37.44 | m2
4 | slabs | 42.12 | m2
bush sticks used as :
E | props and battens to formworks | 1296 | m
| Description | Qty | Unit | Rate Leones | Amount Leones
REINFORCEMENT
1 | Straight tensile steel bars - BS 4449
2 | Straight and bent bars;-
| bases 16mm diam. | 0.54 | tonnes
3 | column 16mm diam. | 1 | tonnes
4 | column 8mm diam. | 0.27 | tonnes
5 | braces 16mm diam. | 0.24 | tonnes
6 | braces 12mm diam. | 0.099 | tonnes
7 | braces 8mm diam. | 0.099 | tonnes
8 | beams 16mm diam. | 0.2 | tonnes
9 | bases 8mm diam. | 0.18 | tonnes
10 | slab 16mm diam. | 0.5 | tonnes
CONCRETE WORK CARRIED TO SUMMARY
FINISHING
IN-SITU FINISHES
10 | 12mm thick plastering ; trowelled to smooth finish | 203.4 | m2
Cement and sand (1:6) bed on concrete slab
11 | 50mm thick screeded; trowelled to smooth finish | 52.92 | m2
CONCRETE WORK CARRIED TO SUMMARY

## Sheet1
| Description | Facilities | Size of Tank diameter | Ground Tank | Tower | Pipes | Solar System | Wier | Roofing | Ceiling | Spring Box | Water Point | Fencing | Total
1 | Biodiversity and Renewable Energy Learning Centre,Sussex | Ground tank weir | 4000 | 31994.81 |  | 500 |  | 1000 | [5 empty] | 33494.81
2 | Water Directorate | Ground tank,Tower,pipe,solar | 4000 | 31994.81 | 12407.58 | 1000 | 10500 |  | 3500 |  |  | 500 |  | 59902.39
3 | Kolenten Senior Secondary School | Ground tank,Tower,pipe,solar | 5000 | 39993.5125 | 12407.58 | 11640.71 | 10500 |  |  |  |  | 500 |  | 75041.8025
4 | Scarcies Baptist Secondary School | Ground tank,Tower,pipe,solar | 5000 | 39993.5125 | 12407.58 | 7763.6 | 10500 |  | 2500 | 1200 |  | 500 |  | 74864.6925
5 | Mapotolou Community Health Centre | Ground tank,Tower,pipe,solar | 4000 | 31994.81 | 12407.58 | 4154.05 | 10500 |  | 750 |  |  | 550 |  | 60356.44
6 | Mapotolou Primary School | Ground tank,Tower,pipe,solar | 4000 | 31994.81 | 12407.58 | 5932.09 | 10500 |  | 25000 |  |  | 550 |  | 86384.48
7 | Njaiama Nimikoro Secondary School | Ground tank,Tower,pipe,solar | 5000 | 39993.5125 | 12407.58 | 19721.25 | 10500 |  | 1200 |  |  | 550 |  | 84372.3425
8 | Model Secondary School | Ground tank,Tower,pipe,solar | 5000 | 39993.5125 | 12407.58 | 7170.48 | 10500 |  | 750 |  |  | 550 |  | 71371.5725
9 | SLC Primary School | Ground tank,Tower,pipe,solar | 6000 | 55990.9175 | 12407.58 | 4394.85 | 10500 |  |  |  |  | 550 |  | 83843.3475
10 | St. Steven Technical and Vocational Secondary School | Ground tank,Tower,pipe,solar | 4000 | 31994.81 | 12407.58 | 3664.28 | 10500 |  |  |  |  | 550 |  | 59116.67
11 | Gbinle Dixing Chiefdom | Spring box,fence,Tower,solar |  |  | 12407.58 | 3664.28 | 10500 |  |  |  | 12309 | 550 | 12225 | 51655.86
12 | Fiama Community | Spring box,fence,Tower,solar |  |  | 12407.58 | 3664.28 | 10500 |  |  |  | 12309 | 550 | 12225 | 51655.86
13 | Kamayama Community | Spring box,fence |  |  |  | 400 |  |  |  |  | 12309 | 550 | 12225 | 25484
14 | Babadorie Hills | Spring box,fence |  |  |  | 400 |  |  |  |  | 12309 | 550 | 12225 | 25484
15 | Model Community | Spring box,fence |  |  |  | 400 |  |  |  |  | 12309 | 550 | 12225 | 25484
16 | Kortomahun | Spring box,fence,Tower,solar |  |  | 12407.58 | 3664.28 | 10500 |  |  |  | 12309 | 550 | 12225 | 51655.86
17 | BJ and PCMH | Ground tank,Tower,pipe,solar | 6000 ^ 6000 | 79987.025 | 12407.58 | 3664.28 | 21000 |  |  |  |  | 550 |  | 117608.885
19 |  | The rehabilitation of one Gravity Fed System in Gravity Fed System in Niaiama Nimikoro Community -Kono District |  | 25320 |  | 34550 | [7 empty] | 59870
1097647.0125