## Basic Specification

| Pump | Solar Pump |
| --- | --- |
| Total dynamic head | Max 30m |
| Flow rate | max. 2.1 m³/h |

## Detail Description

Solar Pump

Solar Water Pump PS200 HR-10

Get a special offer for Lorentz PS200 Helical Rotor Pump model PS200 HR-10 today!

Applications

- Drinking water supply

- Pond management

- Irrigation

- Livestock watering

- Pressurizing systems

Characteristics

- Fast, failure-free installation

- Excellent serviceability

- High reliability and life expectancy

- Short Return of Investment (ROI) cycle

- Lower Total Cost of Ownership (TCO)

Components

Controller: PS200

- Controlling and monitoring

- control inputs for well probe, dry running protection, remote control etc.

- Protected against reverse polarity, overload and overtemperature

- Integrated MPPT (Maximum Power Point Tracker)

- low voltage disconnect for battery operation

Motor: ECDRIVE 600-HR

- maintenance-free brushless DC motor

- no electronics in the motor

- submersion max. 250 m, IP68

- premium materials

Pump end: PE HR-10

- High reliability and life expectancy

- non-return valve

- Premium materials

- Optional: dry running protection

Standards
2006/42/EC, 2004/108/EC, 2006/95/EC

PS1800 CS-37-1 Solar Powered Pumps

PS200HR-10 Solar Pumps Performance Chart

Solar Pumps Dimensions and Weights

## Additional Information

| Payment Terms | T/T, L/C, Others |
| --- | --- |
| Minimum Order | 1 |
| Lead Time / Delivery Time | 10 Day(s) |
| Sample Available | YES Ask For Sample |
| Delivery Details | Lorentz PS200HR-10 Solar Submersible Pumping System Sample: 5~10 working days;Order: 4 working weeks; |
| FOB Port | Ningbo |
| Loading Info | Lorentz PS200HR-10 Solar Submersible Pumping System Sample by Express DHL TNTOrder by Air or Sea. |
| Packing Info | Lorentz PS200HR-10 Solar Submersible Pumping System Pump Unit in one carton;Controller in one carton; |
| Target Market(s) | Africa(except Middle East), Eastern Europe, Hong Kong/ Macao/ Taiwan, Japan & Korea, Latin America, Mainland China, Middle East, North America, Northern Europe, Oceania, Central & Southern Asia, Southeast Asia, Western & Southern Europe |

- Related Products

012

- Lorentz PS600 HR-14 Solar Pump

- Solar Swimming Pool Pumps PS1800 CS-37-1

- Lorentz PS1800 C-SJ8-7 Solar Pump

- Solar Water Pump Controller and Pump Unit

- Solar Pump System PS1800

- Lorentz PS1800 C-SJ3-9 Solar Pump

- Lorentz PS9K C-SJ75-1 Solar Pump

- Lorentz PS9K C-SJ95-1 Solar Pump

- Lorentz PS4000 C-SJ17-4 Solar Pump

- Solar Water Pumps