## Cover Sheet
UNDP
UNITED NATIONS DEVELOPMENT PROGRAMME
ACCESS TO JUSTICE AND RULE OF LAW
Book 1: Schedule of Quantities
RENOVATION OF THE BUILDINGS AT RAJAF POLICE TRAINING INSTITUTE JUBA, REPUBLIC OF SOUTH SUDAN
All prices in US Dollars
| Project No.: | ………
| Date: | August 04 2017
| Document No: | …..

## Preambles
PRICING PREAMBLES
1.0 General
1.1 The Bill of Quantities shall be read in conjunction with the Conditions of Contract, Specifications, Drawings and Employer’s requirements and the Tenderer shall provide against the bill rates or in the prices for the full scope of the work covered by the Contract, no claim or variations shall be considered on account of the Tender’s failure to comply with this provision.
1.2 The various documents collectively referred to herein as the Bill of Quantities shall jointly constitute the Bill of Quantities referred to in the Conditions of Contract and these preambles are to be read in conjunction with item descriptions in the Bill of Quantities.
1.3 Lump Sum values shall not be inserted where unit rates are applicable and the Tenderer shall ensure that identical items occurring in separate bills are not priced at different rates, unless this is the deliberate intention.
1.4 The Tenderer shall check against the summaries that each copy of the Bill of Quantities is complete in the number of pages and in the reproduction of each page. The Tenderer’s unit rates, prices and extensions shall be entered clearly by hand in black ink.
1.5 Unit rates, prices and extensions shall be given in the United state Dollar with cents taken to two decimal places or any other valid currency value taken to two decimal places.
1.6 The Bill of Quantities has generally been measured in accordance with the Principals of Measurement (International) for Works of Construction (June 1979), as published by the Royal Institution of Chartered Surveyors with amendments made to suit local practice and conditions. The Quantities inserted against items in the Bill of Quantities are estimated quantities for the Works for the purpose of Tender evaluation, and the Tenderer shall be deemed to have checked and verified such quantities in the compilation of his Tender Price prior to the submission of his Tender. Upon the award of the Contract, the priced Bill of Quantities shall be used solely for evaluating interim payments due to the Contractor, and as a schedule of rates for establishing the value of variations.
1.7 The Contractor shall not use the Bill of Quantities for the purpose of ordering materials or arranging Subcontractors. References to these activities shall be the Specifications and Drawings and instructions issued by the Engineer.
1.8 All items in the Bill of Quantities shall be deemed to have a monetary value, whether priced or unpriced. In the absence of a unit rate or price against any item, the cost shall be deemed to have been included elsewhere within the Contract Price and the work described to that item shall be executed by the Contractor without any additional payment.
1.9 The descriptions in the Bill of Quantities may be incomplete and the Tenderer is referred to the Drawings, Photographs and Specifications for complete information in respect of all the relevant descriptions, quality, dimensions, capacities, design parameters and the like.
2.0 Format of Descriptions
2.1 In addition to common abbreviations the following have been adopted; POM (I), Principal of Measurement (International) for Works of construction dated June 1979 as published by the royal Institution of Charted Surveyors, London
mm- Millimeter Pr-Pair
M-Linear Meter No-Number
m2- Square Meter Kg-Kilograms
m3- Cubic Meter
3.0 Rates
3.1 Rates and Prices shall be all inclusive, comprehensive and include the following:
a) All obligations imposed by the Contract.
b) Complying in every respect with the requirements and the considerations of the Specifications and Drawings.
c) All considerations arising from the definitions incorporated in each Preamble section.
d) Labour for fixing and all associated costs.
e) Materials and goods and all associated costs
f) Fitting and /or fixing materials and goods in any position, hoisting to any height.
g) Use of Scaffolding, plant, equipment and tools.
h) Any additional labours usually associated with measured items.
i) All necessary protection of the Works, removing all casings and temporary covering and making good and clearing away upon completion.
j) All applicable taxes, duties, charges, government levies, landing charges and transport.
k) Overheads & profit.
4.0 Measurements
4.1 All measurements are net and the rates shall include for all laps, waste, working space and trade or traditional allowances.
4.2 The pricing of materials shall take account of the following:
a) Pricing Preambles, Drawings and specifications shall apply reciprocally between the various sections of the Works, unless otherwise described.
b) Materials shall be of the specified quality unless otherwise described.
c) All materials shall be transported, handled, stored and fixed in accordance with the printed instruction or recommendations of their manufacturer or suppliers.
d) Protection of completed work, all casings and temporary coverings and making good and clearing away upon completion.
4.3 Contingency: In the event that the contractor meets unmeasured works, the contractor shall inform the engineer in writing. The engineer shall ascertain the unmeasured works to verify the contractors claim. The contractor shall submit its claim and wait for approval from the engineer/client. The contractor shall use the same rates as in the contract for similar items. No new rates shall be applied unless the unmeasured work in its nature does not exist in the already mentioned items in the priced bill of quantities.
5.0 Discrepancies
5.1 Any discrepancy arising in terms of these Preambles and the items contained within the Bill of Quantities must be brought to the attention of the Engineer for his clarification prior to the submission of tender.
EARTH WORKS
§ All quantities for excavation have been measured net with no allowance for increase in bulk or working space.
§ The Tenderer shall allow in this excavation rates for excavating in any material, including running sand and rock, commencing excavation at any depth, excavating below the normal water table, excavating around existing services and mains, supporting the vertical sides of excavations, working space and filling soft spots.
§ Rates and Prices to include,
a) Excavating by whatever means are necessary including hand excavation in any kind of ground, except rock and boulder rock.
b) Trimming or grading ground to produce level surfaces or surfaces to falls or slopes.
c) Ramming and compacting sides and bottoms of excavations and supports to sides.
d) Keeping free from water including any dewatering as necessary.
e) Any hand excavation required around existing services or the like.
CONCRETE WORK
§ The rates for all concrete work shall include for the following:
a) Concrete test cubes and testing costs wherever required.
b) Mixing, hoisting and placing and compacting on the surfaces of any material or on formwork.
b) The forming any construction joints, including any required preparation for adjacent pours, together with expansion joints or the like.
d) Curing and protecting concrete surfaces from harmful weather conditions
e) All necessary keys to concrete surfaces to receive in-situ finishes.
REINFORCEMENT
§ The rates for bar reinforcement shall include for the following;
a) Positioning and protecting starter bars, Straightening (If required) cutting to length and bending reinforcement to required shapes.
b) Cleaning and wire brushing.
c) Provision of supports (excluding links and stirrups) steel binding wire and
approved/proprietary distance pieces.
SHUTTERING
§ The rates for Shuttering or moulds as appropriate shall include for the followings;
a) All cutting and waste including raking curved or circular cutting and notching around pipes, ducting and fittings.
b) Setting up, strutting and supporting at any height above the structure subject to any limitations imposed by the engineer including all pops, stays struts, wedges and bolts etc.
c) Carefully coating with shutter oil ensuring that no shutter oil is applied to surfaces of reinforcement.
d) Rubbing down, filling and making good the surface of concrete after removal of shuttering.
MASONRY
§ The rates for brick walls shall include the following:
a) Straight raking curved and circular rough or fair cutting, plumbing at angles, cutting and bonding at angles, openings and intersections, building in to and/or against adjacent work, wedging and pinning up to soffits.
b) All necessary keys for in-situ finishing.
c) All necessary wall ties, dowels, straps, sleeves. Channels and other like fixings built-in
at junctions between brick work and insitu concrete including casting in, drilling,
bolting and the like.
d) All necessary brick work reinforcement at junctions between brick work and walls
construction joints or the like and openings.
WOODWORK
§ The rates for wood work shall include for the following;
a) All joints in the running length including structural joints.
b) Cutting and fitting to steelwork, trimming around opening, notching, boring and
sinking.
b) Wood work shall be fixed with non-corroding nails and screws and unless otherwise described all plugging and pellating shall be deemed to be included.
FINISHES
§ The rates for all work-in this section shall include for the followings:
a) Straight, racking, curved and circular cuttings or the like and all consequent wastages.
b) All setting out temporary rules, screeds, templates and supports.
c) Curing and cleaning off/down upon completion.
d) All labours and making good around pipes, ducting and fittings and the like

## Preliminaries
UNDP
UNITED NATIONS DEVELOPMENT PROGRAMME
ACCESS TO JUSTICE AND RULE OF LAW
Book 1: SCHEDULE OF QUANTITIES
Project No.: |  | ……….
Project: |  | RENOVATION OF THE BUILDINGS AT RAJAF POLICE TRAINING INSTITUTE JUBA, REPUBLIC OF SOUTH SUDAN
Item: |  | PRELIMINARY WORKS
Date: |  | 2017-08-05
All prices in US Dollars
POS. |  | BRIEF DESCRIPTION OF WORK | UNIT | QTY | UNT COST | TOTAL COST
1. General
| a | Scope of works: The works shall comprise off; the renovation of 12 dormitories. The intending bidders are advised to attend a pre bid meeting on site, as this will help the bidders familiarise with the exact conditions on the ground before submitting their offers. The proposed date for the site visit is 31st August, 2017.
| b | Pre-construction work, mobilisation activities including paper/ documentation tasks. | LS | 1 |  | 0
| c | Pre-construction work, mobilization activities including paper/ documentation tasks. The bidders are strongly advised to visit the site before submitting their quotations to familiarize with the existing status of the buildings to be renovated
| d | The contractor shall provide and maintain temporary sheds for the storage of materials, tools, and tackle and the use of all persons employed on the Site. Those used for the storage of cement and other perishable materials and the like are to be weatherproofed at all times
| e | Provide, maintain and keep in a clean condition adequate temporary sanitary accommodation and facilities in accordance with local regulations for all persons employed on the Works.
| f | Allow for supplying temporary electricity for the Works and facilities of the contractor including 'connection, distribution system for the work, internal arrangements and all payment to the authorities for connections. It is the responsibility of the Contractor to ensure steady and uninterrupted power supply to Works. The Contractor shall not be entitled to claim and the Employer shall not pay cost incurred by the Contractor for using electric power generators or for using other alternative power supply method in case there happened to be disruptions to normal power supply due to any reason.
| g | Post construction works and clean up. | LS | 1 |  | 0
| Subtotal |  |  |  |  | 0
| TOTAL FOR PRELIMINARIES TO SUMMSRY SHEET |  |  |  |  | 0

## BoQ Cadets-07-Bldgs
UNDP
UNITED NATIONS DEVELOPMENT PROGRAMME
ACCESS TO JUSTICE AND RULE OF LAW
| Project No.: | ……….
| Project: | RENOVATION OF THE BUILDINGS AT RAJAF POLICE TRAINING INSTITUTE JUBA, REPUBLIC OF SOUTH SUDAN
| Item: | BOQ FOR 07 DORMITORIES FOR CADETS OFFICERS
| Date: | 2017-08-05
ITEM | BRIEF DESCRIPTION OF WORK | UNIT | QTY | RATE (USD) | AMOUNT (USD)
BILL NO. 1 : PRIMARILY AND GENERAL REQUIREMENT
12/1 | Mobilization to site including security, plant, equipment, facilities and personnel as well as supply and erection of 2 project information boards as directed by the Engineer. | Lump sum |  | 2000 | #REF!
12/3 | Demobilization from site including removal of contractor's plant, equipment, facilities and personnel as well as brooming and cleaning of all the completed works to the satisfaction of the Engineer. | Lump sum |  | 2000 | #REF!
Sub-Total for Bill No. : 1 |  |  |  |  | #REF!
A | DORMITORY FOR CADETS (1st BLOCK)
A.1 | DORMITORY BLOCKS (7 Buildings)
A1.1 | Providing and fixing firmly 7.0 mm thick perforated aluminum false ceiling 600 mm x 600 mm panels, with all accessories necessary to secure the ceiling firmly to the existing steel roof. | m2 | 215.58
A1.2 | Carryout repairs to Windows replacing the damaged mosquito wire, fixing all iron mongary/locking systems, repainting and fixing 4mm clear glass were broken and apply approved paint | No | 8
A1.2 | Carryout repairs to doors replacing all iron mongary/locking systems fix with Union locks special for metalic doors, repaint al surfaces and fixing 4mm clear glass were broken | No | 4
A1.4 | Construct Concrete platform of size 5000mm x 2000mm for washing close to the existing water tank. (concrete mix 1:3:6) | No | 1
A1.5 | Provide and construct the Drainage chanel with concrete base and brick work with proper finishing to discharge water to proper outlets from the stand pipes & concrete (mix 1:3:6) washing platform | m | 40
A1.6 | Supply and fix bondex from approved manufacture to all leaking points on the roof in a neat and smart way | Item | 1
A1.7 | 25x225mm high timber valance board / barge board fixed to edges of rafters including necessary fittings screws and nails etc.: including wood preservative and painting all as per drawings | m | 89.14
A.2 | Splash Apron
A2.1 | 75mm thick concrete (grade 20) 600x600mm slabs laid on 100mm sand blinding base well rammed and finished monolithically with 25mm thick cement and sand (1:3) screed trowelled smooth to gentle falls with joints pointed and including 150mm thick concrete block edge wall average 600mm deep rendered on and including 450mm x 150mm thick concrete grade 15 foundation and all necessary excavations and disposal of spoil and formwork to edge of apron. | m² | 42.05
Sub total
A.3 | Painting
A3.1 | Rate shall include for preparation of surface cleaning down, smoothing, knotting, puttying,stepping etc. protection of floors and fitting, removing & replacing door and window, furniture, and cleaning windows etc.upon completion.
A.4 | Walls
A.4.1 | Prepare and apply one coat of primer and two coats of vinly silk paint of approved colour and quality to internal plastered faces of walls | m² | 201.47
Sub Total for painting
SUB TOTAL FOR FOR ONE DOMATORY FOR CADETS
TOTAL FOR FOR 07 DOMATORIES FOR CADETS TO SUMMARY SHEET |  |  | 7

## Batch 05-Bldgs
UNDP
UNITED NATIONS DEVELOPMENT PROGRAMME
ACCESS TO JUSTICE AND RULE OF LAW
| Project No.: | ……….
| Project: | RENOVATION OF THE BUILDINGS AT RAJAF POLICE TRAINING INSTITUTE JUBA, REPUBLIC OF SOUTH SUDAN
| Item: | BOQ FOR 05 DORMITORIES FOR BATCH FORENSIC OFFICERS
| Date: | 2017-08-05
ITEM | BRIEF DESCRIPTION OF WORK | UNIT | QTY | RATE (USD) | AMOUNT (USD)
BILL NO. 1 : PRIMARILY AND GENERAL REQUIREMENT
12/1 | Mobilization to site including security, plant, equipment, facilities and personnel as well as supply and erection of 2 project information boards as directed by the Engineer. | Lump sum |  | 2000 | #REF!
12/3 | Demobilization from site including removal of contractor's plant, equipment, facilities and personnel as well as brooming and cleaning of all the completed works to the satisfaction of the Engineer. | Lump sum |  | 2000 | #REF!
Sub-Total for Bill No. : 1 |  |  |  |  | #REF!
C1 | DORMITORY FOR BATCH FORENSIC OFFICERS
C1.1 | Providing and fixing firmly 7.0 mm thick perforated aluminum false ceiling 600 mm x 600 mm panels, with all accessories necessary to secure the ceiling firmly to the existing steel roof. | m2 | 215.58
C1.2 | Carryout repairs to Windows replacing the damaged mosquito wire, fixing all iron mongary/locking systems, repainting and fixing 4mm clear glass were broken and apply approved paint | No | 8
C1.3 | Carryout repairs to doors replacing all iron mongary/locking systems fix with Union locks special for metalic doors, repaint al surfaces and fixing 4mm clear glass were broken | No | 4
C1.4 | Supply and fix bondex from approved manufacture to all leaking points on the roof in a neat and smart way | Item | 1
C1.5 | Construct Concrete platform of size 5000mm x 2000mm for washing close to the existing water tank. (concrete mix 1:3:6) | No | 1
C1.6 | Provide and construct the Drainage chanel with concrete base and brick work with proper finishing to discharge water to proper outlets from the stand pipes & concrete (mix 1:3:6) washing platform | m | 40
C1.7 | 25x225mm high timber valance board / barge board fixed to edges of rafters including necessary fittings screws and nails etc.: including wood preservative and painting all as per drawings | m | 89.14
C2 | Splash Apron
C2.1 | 75mm thick concrete (grade 20) 600x600mm slabs laid on 100mm sand blinding base well rammed and finished monolithically with 25mm thick cement and sand (1:3) screed trowelled smooth to gentle falls with joints pointed and including 150mm thick concrete block edge wall average 600mm deep rendered on and including 450mm x 150mm thick concrete grade 15 foundation and all necessary excavations and disposal of spoil and formwork to edge of apron. | m² | 42.05
Sub total
C3 | Painting
C3.1 | Rate shall include for preparation of surface cleaning down, smoothing, knotting, puttying,stepping etc. protection of floors and fitting, removing & replacing door and window, furniture, and cleaning windows etc.upon completion.
C4 | Walls
C4.1 | Prepare and apply one coat of primer and two coats of vinly silk paint of approved colour and quality to internal plastered faces of walls | m² | 201.47
Sub Total for painting
SUB TOTAL FOR FOR ONE DOMATORY FOR BATCH FORENSIC
TOTAL FOR FOR 05 DOMATORIES FOR BATCH FORENSIC OFFICERS |  |  |  | 5

## Summary
UNDP
UNITED NATION DEVELOPMENT PROGRAMME
ACCESS TO JUSTICE AND RULE OF LAW
RENOVATION OF THE BUILDINGS AT RAJAF POLICE TRAINING INSTITUTE JUBA, REPUBLIC OF SOUTH SUDAN
SHEET SUMMARY
Book 1: SCHEDULE OF QUANTITIES
BILL NO | DESCRIPTION | TOTAL AMOUNT
1 | PRIMARILY AND GENERAL REQUIREMENT | #REF!
1 | TOTAL FOR PRELIMINARIES TO SUMMSRY SHEET | 0
2 | TOTAL FOR FOR 07 DOMATORIES FOR CADETS TO SUMMARY SHEET | 0
3 | TOTAL FOR FOR 05 DOMATORIES FOR BATCH FORENSIC OFFICERS | 0
| GROUND TOTAL | 0
0.1
| ADD 10% CONTIGENCY | 0
| TOTAL TO CONTRACT SUM | 0