18 March 2018

**Question and Answer**

RFQ/UNDP/ECU/001/2018 for Provision of Biological Monitoring Equipment

**Closing Date of RFQ:**

 Monday, 19 March 2018 [11:59 p.m. NY Time]

 --------------------------------------------------------------------------------------------------------------------

**Here below are Answer to Question raised regarding the above assignment:**

|  |  |
| --- | --- |
| Question: | What are the measures or dimensions of the biological samples to be use in the laboratory storage (Lot 3-option 2) ? This is to determine the racks to be use inside the laboratory storage. |
| Answer:  | The biological samples that will be stored in the laboratory are Ecuadorian amphibian skin textures. They are stored in microtubes of 2 millimeters mostly (approximately 85%) and 10 and 50 millimeters for the rest of the space. With those volume capacities, the micro has the usual standard dimensions. |