Annex 2

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. RFQ/039/2018:

TABLE 1:  Offer to Supply Goods Compliant with Technical Specifications and Requirements

| Item No. | Description/Specification of Goods and Services | Quantity | Latest Delivery Date | Unit Price (currency ____) | Total Price per Item (currency ____) |
| --- | --- | --- | --- | --- | --- |
| 1 | A set of agro-meteorological equipment with required sensors and functions as described in Annex 1, Technical Specifications | 2 sets |  |  |  |
| 1.1 | Localized weather forecast service (model) and type of subscription (at least 12 months) | 2 (for each agro-meteorological equipment) |  |  |  |
| 1.2 | On-site installation and seminar/training on operating and maintenance of the weather equipment, weather forecast models in Karakalpakstan for specialists of partner organizations (up to 15 people). | 2 |  |  |  |
| 1.3 | Soil moisture multiple sensors monitoring probe Installation & extraction tools kit (1 set) | 1 set |  |  |  |
| 2 | Manual soil moisture probe as described in Annex 1, Technical Specifications | 2 sets |  |  |  |
| 3 | Soil photometric analyses system as described in Annex 1, Technical Specifications | 1 set |  |  |  |
| 3.1 | Training on laboratory analytics: informative training on plant nutrition with practical part, including demonstration of the soil analyses system capacities and interpretation of measurement results. | 1 |  |  |  |
|  | Total Prices of Goods (CIP Tashkent) |  |
|  | Add: Cost of Transportation |  |
|  | Add: Cost of Insurance |  |
|  | Add: Other Charges (pls. specify) |  |
|  | Total Final and All-Inclusive Price Quotation |  |
|  | Estimated weight/volume/dimension of the Consignment: |  |
|  | Country/ies Of Origin: |  |

TABLE 2: Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows: | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter proposal |
| Delivery Lead Time (as soon as possible but no later than sixty (60) calendar days from the day of signature of the Purchase Order (PO) by both parties). |  |  |  |
| Warranty and After-Sales Requirements |  |  |  |
| Standard manufacturer’s warranty for minimum period of 12 months. Instruction on application of warranty conditions in case of emergency is a must. |  |  |  |
| Technical support. Distance (online) technical support shall be provided during one year from the time of delivery excluding when warranty conditions are applied. |  |  |  |
| On-site installation and seminar/training on operating and maintenance of the meteorological equipment, weather forecast model in Karakalpakstan for specialists of partner organizations (up to 15 people). Latest delivery date: no later than twenty (20) calendar days from the day of delivery and acceptance of stations by UNDP. |  |  |  |
| Brand new replacement if Purchased Unit is beyond repair during 1 month after delivery. |  |  |  |
| Training on laboratory analytics: informative training on plant nutrition with practical part, including demonstration of the soil analyses system capacities and interpretation of measurement results. |  |  |  |
| All documentations, including catalogs, instructions and operating/user manuals shall be in English and Russian (preferred) languages. |  |  |  |
| Validity of Quotation (60 days) |  |  |  |
| Payment terms |  |  |  |
| Copy of valid certificate of quality/conformity for the goods (ISO 9001 certificate or equivalent certificate issued by recognized international body) |  |  |  |
| Acceptance of All Provisions of the UNDP General Terms and Conditions |  |  |  |

Table 3: Table of technical compliance of the offered goods

| Item | Description / Specifications of Goods (offered) Please indicate parameters of the offered goods | Quantity |
| --- | --- | --- |
| 1 | A set of agro-meteorological equipment Application: To collect, process and display the agro-meteorological data and provide timely information about optimal irrigation mode (i.e. when irrigation shall be started and ended) available through internet data base and via SMS service. _____(yes/no)_____________; Central programable datalogger: Model: ___________________ Manufacturer: ______________________ Country of origin: ____________________ Electrical specifications are valid-____°C to + ___°C System power requirements: voltage: ____to ____ Vdc internal rechargeable battery_____(yes/no)_____________; external solar panel (12-20V) with reverse polarity protected and, stainless steel mounting post (tower) _____(yes/no)________; Supports analog I/O_____(yes/no)________; Supports digital I/O _____(yes/no)________; Supports serial RS232 or 485 interfaces _____(yes/no)________; Supports SDI-12 interface _____(yes/no)________; Supports GSM/GPRS protocol via GSM/GPRS modem_____(yes/no)________; Supports sensors extendable facility (multiplexer or other) _____(yes/no)________; Datalogger case: watertight, dust-tight, corrosion-resistant, indoor and outdoor use_____(yes/no)________;. Closure: watertight, dust-tight, corrosion-resistant, indoor and outdoor use_____(yes/no)________; Sensors to be attached to data logger with following minimum technical requirements: Model: ___________________ Manufacturer: ______________________ Country of origin: ____________________ Sensors Range Accuracy, not worse than: Resolution, not worse than Air temperature (°C); -____°C to +___°C ± ____ °C ____ °C Relative humidity (%); ____% to ____% ± ___% ± ___% Rainfall (rain gauge); ___ mm/h to unlimited ±___% ___ mm Wind speed (m/s); 0 - ___ m/s ± ____% ____m/s Wind direction (°); 0° do ____° ±___° ___° Solar radiation (W/m2); 0 to _____ W/m2 ± ____% _____ W/m2 Air pressure sensor (hPa) _____-______hPa ± ____ hPa ____ hPa 1.3 Soil Moisture multiple sensors monitoring Probe that has no or negligible influence of EC (sensors spaced each 10 cm, not less than 9 sensors): Model: ___________________ Manufacturer:___________________ Country of origin:_________________ Probe length: ______________ Number of sensors: ______________ Technology used: ______________ Re-programmable: ____Yes/No____ Moisture (VWC) range: Oven dry to saturation ____Yes/No____ Resolution: Moisture (VWC): not worse than ____ Salinity (VIC): not worse than _____ Temperature: not worse than ____ 0C Moisture precision: Not worse than ±_____% Vol Temperature accuracy: Not worse than ±__0C at 250C Operating temperature: -___0C to ____0C 1.4 Tensiometers (15, 30, 60 and 90 cm) including external tensiometer Interface with 4 tensiometer connectors for pressure transducers and tensiometer sensor head with pressure transducer: Model: ___________________ Manufacturer:__________________ Country of origin:_______________ Ceramic cap used for most soil types ____Yes/No____ Operating suction ________kPa Operating temperature: ___ °C to + ___°C Pressure transducer: accuracy Not worse than ±__% Resolution Not worse than ____ kPa | 2 sets 2 |
|  | A set of agro-meteorological equipment must have the following characteristics: Operated both manually (PC and Notebook) and transfer measuring weather data wireless to a safe internet database by remote communication (GPRS and/or GSM by integrated SIM card) in real time ____Yes/No____; The database should provide the user a password-secured access to check the weather historical data in graphics and tables, including transfer of all data to EXCEL, from any Internet access point, including from free APPs for the mobile platforms on Android and IOS Apple____Yes/No____; Include early warning/alert functions and send information via SMS or other messaging system (user configurable via website) for certain weather or soil conditions that are exceeded the set-up threshold like soil water content, wilting point, frost, rain, temperature extremes____Yes/No____; Seamless interface with necessary software package, display and backlight, data memory, and support other decision support systems (DSS) like weather forecast and calculated parameters of dew point and evapotranspiration ration, and irrigation management____Yes/No____; Data logger and data base interface supportive software must support Russian or English language (preferable is Russian) ____Yes/No____. In addition: Localized weather forecast service (model) and type of subscription (at least 12 months) is required____Yes/No____. Calculate the detailed weather forecasts for at least 5 days ahead on an hourly basis____Yes/No____; Improve the weather forecast accuracy when use the local station data____Yes/No____; Electronic weather service delivering site-specific weather forecast information in an easy-to-read tabular or graphical form via web on an hourly basis, including the effects of local climate, topography and soil cover____Yes/No____; The interface must support Russian or English languages (preferable is Russian) ____Yes/No____. The equipment must have warranty for minimum period of at least 12 months. Instruction on application of warranty conditions in case of emergency is a must____Yes/No____. Distance (online) technical support shall be provided during one year from the time of delivery excluding when warranty conditions are applied____Yes/No____. On-site installation and seminar/training on operating and maintenance of the weather equipment, weather forecast models in Karakalpakstan for specialists of partner organizations (up to 15 people) is required____Yes/No____. The equipment must be supplied with soil moisture multiple sensors monitoring probe Installation & extraction tools kit (1 set) ____Yes/No____: Installation: Tripod with screw pins (plastic) ____Yes/No____ Tapered auger with dimension suites to probe’s one -1 pieces____Yes/No____ Extraction: Extraction handle with chain ____Yes/No____ |  |
| 2 | Manual soil moisture probe Model: ___________________ Manufacturer:__________________ Country of origin:_______________ Technology used: _________ Sensor housing: Stainless steel tube with handle and attachment for measuring unit with length 1000 mm; Ø 20mm; 100 mm markings for the insertion depth____Yes/No____. Sensor: 1 x temperature; 1 x soil moisture placed at 5-10 cm away from the insertion tip____Yes/No____ Soil moisture measurement: Unit: Vol % Measuring range: __ – ____ % Resolution: ____% Accuracy: ± ____% from measured value Temperature measurement: Unit: °C Measuring range: ____°C to +____°C Resolution: ____°C Accuracy: ± _____°C Technical data: Splash-proof housing Working temperature: Display: Battery: Measuring time: Data memory: Languages: ____Yes/No____ ___°C to +____°C ____Yes/No____ 9 V battery or battery package ____Yes/No____ Not worse than 2 s for moisture and temperature ____Yes/No____ Not less than ______ measured values English, Russian ____Yes/No____ | 2 (two) set |
| 3 | Soil photometric analyses system Model: ___________________ Manufacturer:___________________ Country of origin:_________________ Technical data requirements Application soil, substrate, water and leaf analyses____Yes/No____ Wavelength range ____ – ____ nm Wavelength accuracy Not worse than ± ____ nm (wavelength range 340 – 900 nm) Wavelength reproducibility Not worse than ± ____nm Wavelength calibration Automatic ____Yes/No____ Beam height Not worse than ___ nm Display touchscreen _____ x _____ pxl or better Data storage Not less than _____ measurement data and _____ users programs Outputs USB type A, USB type B, Ethernet ____Yes/No____ Operating conditions Not worse than: +___ °C – ___ °C, ____% humidity Manual languages Russian or English Power supply ____ to ____V; _____Hz | 1 (one) |
|  | 3.1 Extraction case (contains all equipment necessary for soil digestions, e.g. solar balance, sieve, funnels, folded filter papers, extraction concentrate etc.) ____Yes/No____ | 1 |
|  | 3.2 Set of cuvettes test Model: ___________________ Manufacturer:___________________ Country of origin:_________________ Nitrate Nitrate Ammonium Phosphate Element NO3-N NO3-N NH4-N P2O5 Measuring range ___-____mg/l ___-___ mg/l ___-___ mg/l ___-___ mg/l Pack content Potassium Calcium Sulphate Carbonate Element K2O Ca SO4 CO3 Measuring range ___-____mg/l ___-___ mg/l ___-___ mg/l ___-___ mg/l Pack content Chloride Iron Zinc Magnesium Element Cl Fe Zn Mg Measuring range ___-____mg/l ___-___ mg/l ___-___ mg/l ___-___ mg/l Pack content | 1 |
|  | 3.3 Software to fast and flexible fertilizing management based on measuring results of the soil analysis. ____Yes/No____ | 1 |
|  | 3.4 Training on laboratory analytics: informative training on plant nutrition with practical part, including demonstration of the soil analyses system capacities and interpretation of measurement results. ____Yes/No____ | 1 |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

We hereby declare of not being included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Part 2: Declaration of Interest

Dear Sir/Madam,

We/I, ________________ (Name and Title), as shareholder(s)/owner(s) of ________ Company, declare that:

- Have no financial and other interests in, association or relationship with, are not employed and do not have relatives (i.e. spouse, parents, children or siblings) employed by the United Nations Development Programme (UNDP) or the Government of Uzbekistan that announced the RFQ; and do not have access to information about, or influence on the selection process for this RFQ

- Have no common controlling partner, director, shareholder, legal representative for the purposes of this RFQ with any other entity submitting its Quotation under this RFQ; are not subcontracting or are subcontractors to other entities for the purposes of this RFQ; and that the experts proposed in the team do not participate in more than one Quotation for this RFQ

- Are not involved in activities that could have an impact on the objectivity and independence of the Contractor’s team in carrying out its duties under the contract or can affect the image of the United Nations and the Government of Uzbekistan.

We certify that the information stated is true, correct and complete to the best of our knowledge and belief. We are obliged to comply with all requests for additional information, documentation, clarification and/or verification concerning the Declaration of Interest statement.

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Part 3: Company Profile

| 1. Offeror’s Legal Name [insert Bidder’s legal name] |
| --- |
| 2. In case of Joint Venture (JV), legal name of each party: [insert legal name of each party in JV] |
| 3. Actual or intended Country/ies of Registration/Operation: [insert actual or intended Country of Registration] |
| 4. Year of Registration in its Location: [insert Bidder’s year of registration] |
| 5. Countries of Operation | 6. No. of permanent staff in each Country | 7.Years of Operation in each Country |
| 8. Legal Address/es in Country/ies of Registration/Operation: [insert Bidder’s legal address in country of registration] |
| 9. Value and Description of Top two (2) Biggest Contracts for the past three (3) years |
| 10. Latest Credit Rating (Score and Source, if any) |
| 11. Brief description of litigation history (disputes, arbitration, claims, etc.), indicating current status and outcomes, if already resolved. |
| 12. Offeror’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address] |
| 13. Are you in the UNPD List 1267.1989 or UN Ineligibility List? ☐ YES or ☐ NO |

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Part 4: EXPERIENCE IN SIMILAR NATURE*

| Name of the good supplied | Delivery period (month, year) | Amount of the contract | Client (Name, contact person, telephone, email) |
| --- | --- | --- | --- |

* - At least 2 contracts for the supply of machinery and/or equipment is must

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

This serves as a guide to the Supplier in preparing the quotation and price schedule.

Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes

Pricing of goods should be consistent with the INCO Terms indicated in the RFQ

If the country of origin requires Export License for the goods being procured, or other relevant documents that the country of destination may require, the supplier must submit them to UNDP if awarded the PO/contract.

Please fill-in the following table based on the technical characteristics of the equipment offered by you against the required specifications in Annex 1.

You must specify address of permanent office, landline telephone numbers