Annex 2

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. RFQ/036 /18.

TABLE 1:  Offer to Supply Goods Compliant with Technical Specifications and Requirements

| Item No. | Items to be supplied | Quantity | Description/Specifications of Goods | Unit Price (type of currency) | Total Price (type of currency) |
| --- | --- | --- | --- | --- | --- |
| 1. | Electrified pump station | 2 pcs. | Supply | 2000 (555) meter cube. Per hour (l/s) |  |  |
|  |  |  | Maximum head of water, meter | 11 |  |  |
|  |  |  | Speed | 985 revolutions per minute |  |  |
|  |  |  | Pump type | Horizontal |  |  |
|  |  |  | Pump material | Made of steel |  |  |
|  |  |  | Electric motor Brands Power Voltage | 4А315S6 110 kw 380 w |  |  |
|  |  |  | Dimensions: mm The pump Aggregate | 1530х1270х943 3466х1530х1485 |  |  |
|  |  |  | Pumped media | Water with impurities |  |  |
|  |  |  | Pump installation method | Surface |  |  |
|  |  |  | Maximum immersion depth | 2,5 м |  |  |
|  |  |  | Power consumption, (W), kW | 100 |  |  |
|  |  |  | Degree of protection IP | 55 |  |  |
|  |  |  | Weight, kg The pump Aggregate | 972 4600 |  |  |
|  |  |  | Warranty period, months. | 12 |  |  |
|  |  |  | The set of equipment also includes: |  |  |
|  |  |  | Auxiliary Filling Pump or equivalent of Cantilever Pump | К40-32-128 or equivalent (2 pieces) with water supply 9.5 m3/h. (2.62 L/ sec), the head is 18m |  |  |
|  |  |  | Pipeline with flanges dm | 500 mm (120 meters) steel made |  |  |
|  |  |  | Tap 90 degree dm | 500 mm (2 pieces) steel made |  |  |
|  |  |  | Tap 60 degree dm | 500 mm (4 pieces) steel made |  |  |
|  |  |  | Tap of 33 degree dm | 500 mm (6 pieces) steel made |  |  |
|  |  |  | Condenser unit | Compensation capacity is 80kVar (2 sets) |  |  |
|  |  |  | Control panel (start and stop) | Included |  |  |
| 2. | Electrified pump station | 2 pcs. | Supply | 1980 (550) meter cube. Per hour (l/s) |  |  |
|  |  |  | Maximum head of water, meter | 21 |  |  |
|  |  |  | Speed | 1000 revolutions per minute |  |  |
|  |  |  | Pump type | Horizontal |  |  |
|  |  |  | Pump material | Made of steel |  |  |
|  |  |  | Electric motor Brands Power Voltage | 4А355S6 160 kw 380/660 w |  |  |
|  |  |  | Pumped media | Water with impurities |  |  |
|  |  |  | Pump installation method | Surface |  |  |
|  |  |  | Maximum immersion depth | 2,5 м |  |  |
|  |  |  | Power consumption, (W), kW | 100 |  |  |
|  |  |  | Degree of protection IP | 55 |  |  |
|  |  |  | Dimensions: mm The pump Aggregate | 1530х1270х943 3466х1530х1485 |  |  |
|  |  |  | Weight, kg The pump Aggregate | 972 4600 |  |  |
|  |  |  | Warranty period, months. | 12 |  |  |
|  |  |  | The set of equipment also includes: |  |  |
|  |  |  | Auxiliary Filling Pump or equivalent of Cantilever Pump | К40-32-128 or equivalent (2 pieces) with water supply 9.5 m3/h. (2.62 L/ sec), the head is 18m |  |  |
|  |  |  | Pipeline with flanges dm | 500 mm (120 meters) steel made |  |  |
|  |  |  | Tap 90 degree dm | 500 mm (2 pieces) steel made |  |  |
|  |  |  | Tap 60 degree dm | 500 mm (4 pieces) steel made |  |  |
|  |  |  | Tap of 33 degree dm | 500 mm (6 pieces) steel made |  |  |
|  |  |  | Condenser unit | Compensation capacity is 80kVar (2 sets) |  |  |
|  |  |  | Control panel (start and stop) | Included |  |  |
|  | Total Prices of Goods |  |
|  | Add: Cost of Transportation |  |
|  | Add: Cost of Insurance |  |
|  | Add: Other Charges (pls. specify) |  |
|  | Total Final and All-Inclusive Price Quotation (DAP, Incoterms 2010) |  |

Table 2 – Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows: | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter proposal |
| The term of delivery of equipment, within 60 calendar days from the date of prepayment (applicable to local companies) or from the date of signing the Contract (applicable to foreign companies) |  |  |  |
| Full compliance of each proposed equipment specification |  |  |  |
| Country / country of origin |  |  |  |
| Warranty and After-Sales Requirements |  |  |  |
| Minimum one (1) year warranty for all goods supplied |  |  |  |
| Warranty for spare parts and maintenance for a period of (1) year |  |  |  |
| Service Unit to be Provided when the Purchased Unit is Under Repair for a period of (1) year |  |  |  |
| Terms of supply of equipment at final destination within 60 days |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |
| Other requirements [pls. specify] |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Part 2: Declaration of Interest

Dear Sir/Madam,

We/I, ________________ (Name and Title), as shareholder(s)/owner(s) of ________ Company, declare that:

- Have no financial and other interests in, association or relationship with, are not employed and do not have relatives (i.e. spouse, parents, children or siblings) employed by the United Nations Development Programme (UNDP) or the Government of Uzbekistan that announced the RFQ; and do not have access to information about, or influence on the selection process for this RFQ

- Have no common controlling partner, director, shareholder, legal representative for the purposes of this RFQ with any other entity submitting its Quotation under this RFQ; are not subcontracting or are subcontractors to other entities for the purposes of this RFQ; and that the experts proposed in the team do not participate in more than one Quotation for this RFQ

- Are not involved in activities that could have an impact on the objectivity and independence of the Contractor’s team in carrying out its duties under the contract or can affect the image of the United Nations and the Government of Uzbekistan.

We certify that the information stated is true, correct and complete to the best of our knowledge and belief. We are obliged to comply with all requests for additional information, documentation, clarification and/or verification concerning the Declaration of Interest statement.

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Part 3: Company Profile

| 1. Offeror’s Legal Name [insert Bidder’s legal name] |
| --- |
| 2. In case of Joint Venture (JV), legal name of each party: [insert legal name of each party in JV] |
| 3. Actual or intended Country/ies of Registration/Operation: [insert actual or intended Country of Registration] |
| 4. Year of Registration in its Location: [insert Bidder’s year of registration] |
| 5. Countries of Operation | 6. No. of permanent staff in each Country | 7.Years of Operation in each Country |
| 8. Legal Address/es in Country/ies of Registration/Operation: [insert Bidder’s legal address in country of registration] |
| 9. Value and Description of Top two (2) Biggest Contracts for the past three (3) years |
| 10. Latest Credit Rating (Score and Source, if any) |
| 11. Brief description of litigation history (disputes, arbitration, claims, etc.), indicating current status and outcomes, if already resolved. |
| 12. Offeror’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address] |
| 13. Are you in the UNPD List 1267.1989 or UN Ineligibility List? ☐ YES or ☐ NO |

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Part 4: EXPERIENCE IN SIMILAR NATURE*

| Name of the good supplied | Delivery period (month, year) | Amount of the contract | Client (Name, contact person, telephone, email) |
| --- | --- | --- | --- |

* - At least 2 contracts for the supply of machinery is must

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Please provide description of offered product, model and brand name, that must meet minimum technical specifications provided in Annex 1 above

You must specify address of permanent office, landline telephone numbers