## Sheet1
Re-construction and renovation of the community-based guest house in the village Ditavan, RA Tavush Marz
BoQ of works and materials
№ | Description of works | Unit | Quantity | Material price |  | Work price |  | Total price
Material + work
|  |  |  | Thousand AMD |  | Thousand AMD |  | Thousand AMD
|  |  |  | Unit | Total | Unit | Total | Unit | Total.
Demolition works
1.Roof
1 | Dismantling the roof (handing over to the exploiter) | 100 sq.m | 1.9
2 | Dismantling the wooden framework of the roof (handing over to the exploiter) | cub.m | 6.08
3 | Dismantling the wooden backbone of the roof | 100 sq.m | 1.35
4 | Dismantling the wooden inter-floor of the building | 100 sq.m | 1.35
2.Windows
1 | Dismantling of the wooden windows together with sillers (handing over the exploiter) | sq.m | 37.2
2 | Dismantling of metal cages (handing over the exploiter) | sq.m | 18․60
3.Doors
1 | Dismantling of the wooden doors (handing over the exploiter) | sq.m | 16.4
4.Walls and Partitions
1 | Implementation of openings on stone walls | cub.m | 5
2 | Destruction of 20 cm thick wooden partitions | cub.m | 10․20
3 | Digging holes on the walls for the beams, 200*200 mm / 4.2 m.cube | item | 108
5.Interior design
1 | Walls plastering | sq.m | 180
2 | Disassemble a wooden frame with wooden trunk (handing over the operator) | sq.m | 28
6.Other works
1 | Loading the garbage into the containers with 0.65 screw capacity | 1000 cub.m | 0.0602
2 | Garbage tarnsportation 12km | t | 108.36
3 | Garbage sorting | 1000 cub.m | 0.0602
Strengthening and reconstruction works
1.Earthwork
1 | Elaboration of the landmass by hand up to 20 m | 100 cub.m | 1.26
2 | Excessive soil loading with a car into the auto dump | 1000 cub.m | 0.0875
3 | Transportation up to 7km | t | 157.5
4 | Manually retrieving the backbone 20m | 100 cub.m | 0.385
5 | Soil stabilisitaion with the auto tool | 100 cub.m | 0.385
2.Foundations
1 | Crushed stone layer preparation: 150 mm thick | cub.m | 20
2 | Concrete layer preparation layer B-7.5 grade concrete | cub.m | 7.9
3 | Strengthening existing bases with B-15 class concrete | cub.m | 26
4 | Preparation of E / b columns with B25 B-Class Concrete (S 1.2 / | cub.m | 7.6
5 | Value of 12A-500c class armature | t | 0.178
6 | Implementation of E / b base beams with B-25 class concrete | cub.m | 6.5
7 | Value of 8Ac-I class armature | t | 0.17
8 | Value of 16A-500c class armature | t | 0.73
9 | Floor E / B base plate B-25 class concrete / Under the elevator / | cub.m | 1.5
10 | Value of 8Ac-I class armature | t | 0.06
11 | Value of10A-500c class armature | t | 0.145
12 | Implementation of e / b sheath base with B-25 class concrete / under the elevator / | cub.m | 5.5
13 | Value of 8Ac-I class armature | t | 0.135
14 | Value of 12A-500c class armature | t | 0.425
15 | Hydro isolation of the bases with bitumen ointment 2 layers | sq.m | 62
3.Walls
1 | External wall coverings with 2 mm thick thermo insulation / foam / | sq.m | 8.2
2 | External wall coverings with 2 mm thick lacquered thermo insulation / foam / | sq.m | 84.5
3 | Implementation of frames / columns with B-25 concrete | cub.m | 27
4 | Value of 8Ac-I class armature | t | 1.226
5 | Value of 12A-500c class armature | t | 0.364
6 | Value of 16A-500c class armature | t | 2.052
7 | Value of 20A-500c class armature | t | 0.42
8 | Implementation of monolayer and / or primitives with B-25 concrete | cub.m | 15.5
9 | Value of 8Ac-I class armature | t | 0.635
10 | Value of 12A-500c class armature | t | 0.504
11 | Value of 20A-500c class armature | t | 1.05
12 | Value of 25A-500c class armature | t | 1.62
13 | Installation fo the suspension elements MN-1 / steel / | t | 0.42
14 | Wall reinforcement with e / concrete 30 cm thick 25 class | cub.m | 2.5
15 | Value of 8Ac-I class armature | t | 0.008
16 | Value of10A-500c class armature | t | 0.105
17 | Value of 12A-500c class armature | t | 0.014
18 | Stretching the net on fastened walls | t | 0.42
19 | Value of 4 V1-net | t | 0.125
20 | Value of10A-500c class armature | t | 0.149
21 | Value of 12A-500c class armature | t | 0.142
22 | Walls strengthening with concrete layer Ø = 50mm B-25 Class Concrete | sq.m | 96
23 | Walls strengthening with concrete B-25 Class | cub.m | 0.5
24 | Value of 8Ac-I class armature | t | 0.004
25 | Value of10A-500c class armature | t | 0.05
26 | Building of elevator e / b walls with B-25 class concrete | cub.m | 47.5
27 | Value of 8Ac-I class armature | t | 0.222
28 | Value of 25A-500c class armature | t | 4.23
29 | Frame monolayer b / b bike with B-25 class concrete / elevator / | cub.m | 1
30 | Value of 8Ac-I class armature | t | 0.136
31 | Value of 16A-500c class armature | t | 0.475
32 | Opening of the horizontal holes in the walls d = 16 mm b-600 mm | 100 item | 4.2
33 | Strenthenning walls and openings with e / concrete B-25 class / 20 cm thick / | cub.m | 7
34 | Value of 8Ac-I class armature | t | 0.153
35 | Value of10A-500c class armature | t | 0.26
36 | Value of 12A-500c class armature | t | 0.075
37 | Implementation of E / b beam belt from B-25 class concrete | cub.m | 9
38 | Value of 8Ac-I class armature | t | 0.198
39 | Value of 20A-500c class armature | t | 0.875
40 | Stretching the net on the thickened quilts | t | 0.202
41 | Value of 4 V1-net | t | 0.077
42 | Value of10A-500c class armature | t | 0.125
43 | Guillotine reinforced concrete with concrete = 50 mm B-25 class concrete | sq.m | 60
44 | Holes injection with polymer-cement mixture | cub.m | 0.067
4.Coverings
1 | Monochrome E / b coating on +2.7, + 5.7 on B-25 class concrete | cub.m | 38
2 | Value of 8Ac-I class armature | t | 0.33
3 | Value of10A-500c class armature | t | 3.502
4 | Value of12A-500c class armature | t | 0.054
5 | Monochrome E / b Slab Implementation B-25 Class Concrete / Elevator / | cub.m | 7.5
6 | Value of 8Ac-I class armature | t | 0.165
7 | Value of10A-500c class armature | t | 0.52
5. Stairs
1 | Metal Stairs Construction with Metal Formed Profiles and Insert Elements | t | 0.75
2 | Value of metal stairs | t | 0.75
3 | Paintign of metal constructions 2 times | t | 0.75
4 | Installation of staircase metal hinges at h = 90 cm | 100 m | 0.048
5 | Oil painting of metal barrels | 100 sq.m | 0.0432
6.Roof and balcony
1 | Mounting of metal elements circle | t | 1.862
2 | Metal tube 160 * 80 * 5mm | t | 1.715
3 | Steel | t | 0.147
4 | Mounting of metal assembly farm | t | 1.35
5 | The value of the farms | t | 1.35
6 | Installation of metal vertical, horizontal ties, manpower, pendulum, shaped parts, metal stand | t | 3.1
7 | Horizontal connection 100 * 4 mm | t | 0.72
8 | Vertical contact 100 * 4 mm | t | 0.523
9 | Beam 40*40*3 mm | t | 0.865
10 | Beam 180*100*6 mm | t | 0.818
11 | Beam 160*80 mm | t | 0.171
12 | Painting of metal constructions 2 times | t | 6.31
13 | Buildign of Terrace Deck with Building Frames | sq.m | 190.8
14 | Implementation of a cement-smoothing layer of 30 mm thick | 100 sq.m | 1.36
15 | Implementation of hydroisolation with waterproofing pad on bitumen 2 slices | 100 sq.m | 1.36
16 | Glacial insulation with binder material on bituminous ointment, 1 layer | 100 sq.m | 1.36
17 | Thermal insulation with perlite reinforced concrete 30 cm thick .136 sq.m. | cub.m | 16.15
18 | Roof covering with metal 2 mm thick one side with lacquer / thermal insulation / foam cover deck / | 100 sq.m | 0.91
7.Partitions
1 | Implementation of partitions with light concrete blocks with 100 mm thickness | 100 sq.m | 1.586
2 | Flood pit with light concrete B 15 class | cub.m | 6.678
3 | Preparation of sectional metal substrate with gypsum plasterboard | sq.m | 126
4 | Particulate covering with gypsum plasterboard 2 cylinders 12,5 mm thick / refractory / | sq.m | 252
5 | Installation of the slinging elements | t | 0.394
6 | Strengthening stroke network | t | 0.06
7 | Installation of insulating fittings | sq.m | 10
8 | Implementation of E / b envelopes with B15 class concrete | cub.m | 0.4
9 | Value of 8Ac-I class armature | t | 0.08
10 | Value of 12A-500c class armature | t | 0.036
8.Windows
1 | Aluminum powder coated with 4+4 mm glass cover, with no less than 60*60 mm profiles window /including value, installation, moving/ unlockable | sq.m | 11.6
2 | Implementation of basalt window sills 40 mm thick | sq.m | 1.7
9.Showcases
1 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles /including value, installation, transfer/ unlockable | sq.m | 3.8
2 | Metal box with coated steel 2 mm thick. sheet metal (lacquered), with metal 20*20*3 mm base, with 4+4mm glasses /including value, installation, moving / 0,97*1,50 m | sq.m | 1.5
3 | Metal box with coated steel 2 mm thick. sheet metal (lacquered), with metal 20*20*3 mm base, with 4+4mm glasses /including value, installation, moving / 1.92*1,50 m | sq.m | 14.5
4 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles /including value, installation, transfer/ 1,1*3,75m 1 piece, unlockable | sq.m | 4.1
5 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles /including value, installation, transfer/ 1,1*1.58*2.7m 5 pcs, unlockable | sq.m | 21.5
6 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles /including value, installation, transfer/ 1,1*6.15*2.2m 1 piece, unlockable | sq.m | 13.5
10. Doors
1 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1,1*1.2*2.27m 1 piece | sq.m | 2.7
2 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1.*2.27m | sq.m | 4.6
3 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1.1*2.27m 1 piece | sq.m | 3
4 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1.92*2.47m 4 pcs | sq.m | 18.8
5 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1.3*2.47m 1 piece | sq.m | 3.2
6 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1.45*2.47m 1 piece | sq.m | 3.6
7 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 1*2.2m 3 pcs | sq.m | 6.6
8 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles exterior door /including value, installation, transfer/ 0.9*.2.2m 3 pcs | sq.m | 4
9 | Internal MDF doors (with waterproof paint), frame not less than 40*60mm., 0,7*2,1m 2 pcs, along with curbs | sq.m | 3
10 | Internal MDF doors (with waterproof paint), frame not less than 40*60mm., 1*2,1m 2 pcs, along with curbs | sq.m | 2.1
11 | Internal MDF doors (with waterproof paint), frame not less than 40*60mm., 0.8*2.1m 2 pcs, along with curbs | sq.m | 1.7
12 | Internal MDF doors (with waterproof paint), frame not less than 40*60mm., 0.7*2.7m 6 pcs, along with curbs | sq.m | 11.4
13 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles door /including value, installation, transfer/ with sliding opening 50%, 4,06*2,5m 1 piece | sq.m | 10.2
14 | Aluminum powder coated with 4+4 mm glass cover, not less than 60*60 mm profiles door /including value, installation, transfer/ 1,2*2,7m 6 pcs | sq.m | 19.2
11․ Flooring
1 | Underfloor reinforcement with 5VR-1 class fixing | t | 0.269
2 | Implementation of concrete slab under floors from B-12,5 class concrete | cub.m | 12.5
3 | Implementation of cement smoothing layer at 30 mm thick | 100 sq.m | 2.361
4 | Implementation of cement smoothing layer at 40 mm thick | 100 sq.m | 0.198
5 | Concrete filling coverage is 3 mm thick | 100 sq.m | 2.361
6 | Protective cement layer is 45 mm thick. | 100 sq.m | 0.294
7 | Implementation of waterproofing with a pad of bitumen 2 slices | 100 sq.m | 1.654
8 | Vapor insulation on ozone with bitumen, 1 layer | 100 sq.m | 0.085
9 | Construction of wooden composite material base for terrace deck | cub.m | 0.085
10 | Implementation of the deck from wooden-composite material | sq.m | 8.5
11 | Implementation of floor cover with lattice pressed metal | sq.m | 17.2
12 | Implementation of floor coverings with fine ceramic tiles | sq.m | 29.4
13 | Implementation of plinths with fine ceramic tile h-10 cm | 100 m | 0.32
12. Interior finishing
1 | Wall-mounted plaster cement with sand blast | 100 sq.m | 1.26
2 | Ceiling hanger cover with 12,5mm thick, galvanized profiles with moisture-proof gypsum cardboard. | sq.m | 27.9
3 | Ceiling hanger covered with metal chain, painted / 15*15mm incl. 10-15mm high / | sq.m | 4.4
4 | Ceiling hanger coating 2 mm thick | sq.m | 94.4
5 | Ceiling protective lacquer matt shine 2 times | sq.m | 227
6 | Wall painting with latex paint | 100 sq.m | 0.87
7 | Ceiling painting with water-resistant matte latex paint | 100 sq.m | 0.279
8 | Wall coverings with ceramic tiles | 100 sq.m | 0.39
13. Exterior finishing
1 | Network stretching on facade walls | sq.m | 190.3
2 | Reinforcement network 3 VR*1 | t | 0.182
3 | Value of 8Ac-I class armature | t | 0.27
4 | Value of10A-500c class armature | t | 0.33
5 | Wall insulation with perliteite plates | cub.m | 13.32
6 | Facade wall plaster with cement sand | sq.m | 190
7 | Scaffolding and installation of facades | 100 sq.m | 1.72
Heating / boiler room Chiller / without Chiller cost
1. San. technical works
1 | Gas condensing boiler wall 70 kW / Installation and shipment included in price / | item | 2
2 | Piping pipe M 160 / Installation and transfer in included price / | item | 2
3 | Hydraulic slide 140 Kw / Installation and transfer included in price / | item | 1
4 | A set of boiler connecting collectors / Installation and transfer included in price / | item | 1
5 | Hydraulic slider connector set / Installation and transfer included in price / | item | 1
6 | Cascade Connection Control Panel including Security Group / Installation and transfer included in price / | item | 1
7 | Water heater 800 l 59,5 | item | 1
8 | Expansion Tank 50l ELBI DV80-CE 10B | item | 1
9 | Expansion Tank 100l ELBI DV100-CE 10B | item | 1
10 | Metallic collector DN100 | item | 2
11 | System rotary pump G=8.5m3/h, H=15m Grundfos TP 40-190/2 | item | 2
12 | Ball Valve 2 " | item | 4
13 | Contact Valve 2 " | item | 2
14 | Flange / flange / DN50 | item | 4
15 | Detail for flange DN50x2" | item | 4
16 | Hot water pump G=4m3/h, H=4m Grundfos UPS 32-80 / Installation and transfer included in price / | item | 2
17 | Ball ValveN 1 1/4" | item | 4
18 | Contact ValveN 1 1/4" | item | 2
19 | Heating and hot floors pump G = 0.5m3 / h, H = 5m | item | 2
20 | Ball ValveN 1 | item | 4
21 | Contact ValveN 1 | item | 2
22 | Hot water recirculation pump G = 0.5m3 / h, H = 3m | item | 1
23 | Ball ValveN DN 3/4" | item | 4
24 | Contact ValveN3/4" | item | 2
25 | Ball ValveN 2 | item | 10
26 | Filter 2 | item | 1
27 | Ball ValveN DN 1 1/4" | item | 5
28 | Filter 1 1/4" | item | 2
29 | Ball ValveNDN 1" | item | 6
30 | Ball ValveN DN 3/4" | item | 6
31 | Ball ValveN DN DN1/2" | item | 14
32 | Thermo meter 10 bar | item | 8
33 | Automatic Air Conditioner | item | 4
34 | Contact ValveN 1" | item | 2
35 | Filter 1" | item | 2
36 | Triacular Mixer Valve 1 '' | item | 1
37 | Polypropylene crossing M 75 x2 1/2 | item | 8
38 | Transition 2 1/2 -2 " | item | 8
39 | Polypropylene crossing M63x2" | item | 10
40 | Polypropylene crossing M40x1 1/4 | item | 8
41 | Polypropylene crossing M32x1 | item | 10
42 | Protective damper 1/2 6 bar | item | 1
43 | Fire-fighting rubber compensator | item | 4
Heating and cooling
1 | Polypropylene pipe fitting with M 20 test | m | 48
2 | Polypropylene pipe fitting with M 25 test | m | 100
3 | Polypropylene pipe fitting with M 32 test | m | 40
4 | Polypropylene pipe fitting with M 40 test | m | 40
5 | Polypropylene pipe fitting with M 50 test | m | 28
6 | Polypropylene pipe fitting with M 63 test | m | 36
7 | Polypropylene pipe fitting with M 75 test | m | 92
8 | Thermal insulation 22 mm | m | 48
9 | Thermal insulation 28 mm | m | 100
10 | Thermal insulation 35 mm | m | 40
11 | Thermal insulation 42 mm | m | 40
12 | Thermal insulation 52 mm | m | 28
13 | Thermal insulation 65 mm | m | 36
14 | Thermal insulation 76 mm | m | 92
15 | Polypropylene shaped parts 20-75 mm | item | 300
16 | Hot flooring with metalloplast pipe 16 mm | m | 240
17 | Metalloplast transition 16-12 | item | 12
18 | Ball Valve DN1/2" | item | 12
19 | Regulator valve DN1/2" | item | 6
20 | Polypropylene crossing M 20 x1/2 | item | 24
21 | Regulator valve DN1 / 2" for dryer | item | 12
22 | Regulator lock 3/4" | item | 9
23 | Ball Valve 3/4" | item | 18
24 | Polypropylene transition M25x3/4" | item | 18
25 | Regulator lock 1" | item | 1
26 | Ball valve 1" | item | 2
27 | Polypropylene transition M40x1" | item | 2
28 | Automatic locking 1/2 | item | 10
29 | Sealing materials | kg | 60
30 | Conduit removal pipe P 40 | m | 15
31 | Conduit removal pipe P 32 | m | 5
32 | Conduit removal pipe P 25 | m | 50
Ventilation
1 | Core 500X150 | item | 6
2 | Core 1000X100 | item | 6
3 | Core 600X200 | item | 2
4 | Core 300X200 | item | 2
5 | Diffuser M 315 | item | 9
6 | Diffuser M 200 | item | 2
7 | Diffuser M 125 | item | 10
8 | External ropeway 700X300 | item | 1
9 | External ropeway P200 | item | 1
10 | Deflector P 315 | item | 2
11 | Deflector P 200 | item | 1
12 | Deflector P 100 | item | 6
13 | Kitchen Zone for anvil 1200x600 | item | 2
14 | Round-air spirovent galvanized tin powder (0.5 mm) | sq.m | 110
15 | Round air spirovent galvanized tin with powder inner 0.6 mm Thermal insulation | sq.m | 50
16 | Air-galvanized tin with powder coating and internal 0.6 mm | sq.m | 40
17 | Air-conditioning isolation with foam 5 cm thick cotton wool. | cub.m | 2
18 | Mounting materials | kg | 40
Hot and cold water supply
1 | Polypropylene pipe fitting with M 50 test | m | 5
2 | Polypropylene pipe fitting with M 40 test | m | 18
3 | Polypropylene pipe fitting with M 32 test | m | 20
4 | Polypropylene pipe fitting with M 25 test | m | 30
5 | Polypropylene pipe fitting with M 20 test | m | 150
6 | Ball valve M 25 mm | item | 1
7 | Ball valve M 20 mm | item | 4
8 | Ball valve M 15 mm | item | 55
9 | Regulator valve DN1 / 2 " | item | 3
10 | Air removal lock M15mm | item | 12
11 | Flexible metal. pipe for connection of sanitary devices M 15 mm L = 600 mm | item | 34
12 | Insulation Kaiflex EF-E 09x060 | m | 5
13 | Insulation Kaiflex EF-E 09x042 | m | 18
14 | Insulation Kaiflex EF-E 09x030 | m | 20
15 | Insulation Kaiflex EF-E09x025 | m | 30
16 | Insulation Kaiflex EF- 09x018 | m | 150
Inner sewerage
1. San. technical work
1 | Toilet bowl installed on the floor with washing tank. | set | 9
2 | Toilet bowls installed on the floor, with washing tank, for the disabled. | set | 1
3 | Wash sink: 500x350 mm in size. With mixer and fasteners. | set | 10
4 | Shower, flow diameter 600x80mm with mixer thermostatic valve. | set | 5
5 | Shower, stand, --- x - mm Dimensions: Mixer with thermostatic valve. | set | 2
6 | Kitchen crockery with two seats, mixer and siphon. | set | 2
7 | Flower M 110 mm | item | 1
8 | Flower M 50 mm | item | 2
9 | Sewer polyethylene pipe M 110mm | m | 120
10 | Sewer polyethylene pipe M 50 mm | m | 30
11 | Transition (knee) M 110 mm 90 | item | 15
12 | Transition (knee) M 110 mm 135 | item | 56
13 | Transition (knee) M 50 mm 135 | item | 60
14 | Rectangular switch straight M 110 x 110mm 90 | item | 6
15 | Rectangular switch slant M 110 x110mm | item | 27
16 | Rectangular switch slant M 110 x50mm 45 | item | 12
17 | Rectangular switch slant M 50 x50mm 45 | item | 1
18 | Slit width 110 x 110 x 110 mm 45 | item | 1
19 | Locker for the cleaner M110mm | item | 6
20 | Reference M 110mm | item | 9
21 | Transition M 110 x50 mm | item | 9
Rainwater sewerage
1. San. technical work
1 | Roof water intake electric | item | 2
2 | Electronic heater HL-62.1 | m | 45
3 | Sewer polyethylene pipe M 110mm | m | 43
4 | Transition M 110 | item | 15
5 | Rectangular switch slant M 110 x110mm | item | 1
6 | Tubular insulation with foam 5 cm thick cotton wool | cub.m | 2.56
Internal lighting
1.Mounting
1 | Distribution safe XL a 400 set 575x175x1500 | item | 1
2 | Group Panel / 36-module / | item | 2
3 | Group Panel / 18-module / | item | 1
4 | Group Panel / 6-module / | item | 5
5 | Automatic switch DPX - 200A;400V; 3P | item | 1
6 | Automatic switch DPX - 63A;400V; 3P | item | 1
7 | Automatic switch DPX - 50A;400V; 3P | item | 4
8 | Automatic switch DPX - 40A;400V; 3P | item | 3
9 | Automatic switch DPX - 32A;400V; 3P | item | 1
10 | Automatic switch DPX - 40A;400V; 1P | item | 5
11 | Automatic switch DPX - 32A;400V; 1P | item | 5
12 | Automatic switch DPX - 25A;400V; 1P | item | 32
13 | Automatic switch DPX - 16A;400V; 1P | item | 29
14 | Magnetic Trigger 2HO; 25A; 230V | item | 1
15 | UZO (230V; 25A; 30mA) | item | 8
16 | Distribution torches 3P | item | 4
17 | Distribution torches 1P | item | 3
18 | Calculator СТЭМ-3А 5-100A | item | 1
19 | Transformer Resistant 200/5 | item | 3
20 | Switch 1-key | item | 20
21 | Switch 2-keys | item | 5
22 | Switch (REVERS) | item | 34
23 | Double switch (double REVERS) | item | 14
24 | Switch to IP20 | item | 5
25 | Screw with ground 1P+N+PE | item | 112
26 | Socket Mounted. and lid 1P+N+PE | item | 10
27 | Distribution box IP20 | item | 30
28 | Distribution box IP65 | item | 7
29 | Distribution box make up | item | 1
30 | Corrugated pipe M = 20mm | m | 800
31 | PVC pipe M = 20mm | m | 40
32 | Galvanized pipe M = 20mm | m | 150
33 | Cable 150x40 L = 3m | m | 21
34 | Cable 100x40 L = 3m | m | 63
35 | Inbuild LIGHTING IP44 5 W LED | item | 29
36 | STANDARD IP20 5 W LED | item | 3
37 | LIGHTING 1500x150 IP44 25 W LED | item | 4
38 | LIGHTING 12500x300 IP44 100 W LED | item | 3
39 | Ceiling LIGHTING IP20 5 W LED | item | 18
40 | Ceiling LIGHTING IP20 7 W LED | item | 20
41 | Ceiling LIGHTING IP20 40 W LED | item | 10
42 | Ceiling LIGHTING IP20 5 W LED | item | 29
43 | Ceiling LIGHTING IP66 5 W LED | item | 6
44 | HOT LIGHT (with adjustable voltage / handles) 40 W LED | item | 5
45 | External lighting IP66 10.5 W LED | item | 10
46 | External lighting IP66 54 W LED | item | 7
47 | WARNING LIGHTING with 3 h of workign batteries | item | 10
48 | Angle of 5x50x50mm L = 2.5m | item | 6
49 | Steel sheets 5x40 mm | m | 30
50 | Cable copper BBG lg - LS 2х1.5 | m | 300
51 | Cable copper BBG lg - LS3х1.5 | m | 1200
52 | Cable copper BBG lg - LS3х2.5 | m | 800
53 | Cable copper BBG lg - LS3х4 | m | 200
54 | Cable copper BBG lg - LS3х6 | m | 100
55 | Cable copper BBG lg - LS5х6 | m | 5
56 | Cable copper BBG lg - LS5х10 | m | 40
57 | Cable copper BBG lg - LS 5х16 | m | 35
58 | Cable copper BBG lg - LS1х25 | m | 25
59 | Cable copper BBG lg - LS4х25 | m | 25
Fire alarm system
1 | Fire alarm system control panel C2000M | item | 1
2 | Twilight Line Controller C2000-KDL | item | 1
3 | GSM Module С2000-PGE | item | 1
4 | Addressing relay module C2000-SP2 ISP.02 | item | 2
5 | Address Optics Electronic Wire Signal DIP-34A-03 | item | 13
6 | Address differential thermal signal C2000-IP-03 | item | 6
7 | Hand-held address in signaling device IPR 513-3AM | item | 5
8 | External Installation Compound Alarm Signal SD-3001 R | item | 2
9 | Combined light signal SPW-220 R | item | 4
10 | Replacement power supply 12 c | item | 1
11 | Battery 12 in 7 A / Z | item | 1
12 | Cable for smoker smokable coke (A) -FRLS 2х0,5 (0,2 mm mm) | m | 280
13 | PVC tube 20mm | m | 100
Pumping station
1. Earthwork
1 | Excessive load bearing mechanism with auto-drainage | 1000 cub.m | 0.011
2 | Elaboration of the landmass by hand up to 20 m | 100 cub.m | 0.01
3 | Transfer up to 7 km | t | 14.4
4 | Manually retrieving the backbone 20m | 100 cub.m | 0.04
5 | Pneumatophobia at the top of the ground | 100 cub.m | 0.04
2. Foundations
1 | Concrete preparation layer B-7.5 class concrete | cub.m | 1.5
2 | Floor plate from E-B-25 class concrete | cub.m | 2.5
3 | Value of 8Ac-I class armature | t | 0.21
4 | Value of 10A-500c class armature | t | 0.445
5 | Base isolation with 2 bitumen layers | sq.m | 20
3. Walls
1 | Implementation of single-walled walls with B-25 class concrete | cub.m | 6
2 | Value of 8Ac-I class armature | t | 0.21
3 | Value of 12A-500c class armature | t | 0.445
4. Coverings
1 | Implementation of monolithic reinforced concrete pavement with B-25 class concrete | cub.m | 1.5
2 | Value of 8Ac-I class armature | t | 0.006
3 | Value of 12A-500c class armature | t | 0.196
5. Roof
1 | Implementation of a cement-free layer of 20 mm | sq.m | 9
2 | Preparing a layer of clay 20 cm thick | cub.m | 1.8
3 | Concreting around the foundation: B-15 class concrete | cub.m | 0.04
4 | Turquoise | item | 1
6. Floors
1 | Implementation of cement smoothing layer at 20 mm thick. | 100 sq.m | 0.04
2 | Implementation of waterproofing with a pad of bitumen 2 slices | 100 sq.m | 0.04
7. Interior Finishing
1 | Good wall plaster - Sand. with the mixture | 100 sq.m | 1.26
2 | The same for ceilings | 100 sq.m | 0.04
8. Exterior Finishing
1 | Network stretching on facade walls | sq.m | 4.8
2 | Reinforcement network 3VR*1 | t | 0.1
3 | Plaster cloth on facade walls with sand blast | sq.m | 4.8
Technical part of pumping station
1. San. technical work
1 | Water Polyethylene Tank. Dimensions: 1640 x 1100x1100 (h) mm V = 1.5 mA | item | 2
2 | Pressure membrane tank V = 40 l | item | 1
3 | Centrifugal pump HFm 60 Q = 6.0 m3 / h H = 24.5 m N-1.1 kW | set | 2
4 | Swimming Locks M 25 mm | item | 2
5 | Lock pellet M 25 mm | item | 4
6 | Lock pellet M 50 mm | item | 4
7 | Lock pellet M 20 mm | item | 1
8 | Flexible antiviral connection of 50mm | item | 3
9 | Manometer with triple valve P6 weight. | item | 1
10 | Reverse Valve M 50mm | item | 2
11 | Steel transition to concentrated M 40 x50 mm | item | 2
12 | Steel transition to eccentric M 40 x50 mm | item | 2
13 | Water jet pump Pedrollo H20, Q = 1-4-6 m3 / h, H = 7.2-3.6-1.2 m, N-0.3kwt | set | 1
14 | Steel E-coupling M 57 x3 mm | m | 15
15 | Steel E-coupling M 32 x2 mm | m | 6
16 | Steel E-coupling M 25 x2 mm | m | 9
17 | Steel E-coupling M 20 x2 mm | m | 8
18 | Shears M50 mm | item | 3
19 | Steel angle M50 mm | item | 6
20 | Pipe painting with 2 slices of oil | sq.m | 2
21 | Sleeve, Polyprop. and ave. pipe connection for M 50 mm | item | 1
22 | System Testing | m | 29
Overall
| Overhead expenses | 13.3%
Total
| Profit | 11%
Total
| VAT | 0% | [6 empty] | 0
Total
Construction company
Director
| Signature _____________________ | [5 empty] | Data | _________________