## FORM F: Price Schedule Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | ITB/LBY/PEPOL/2018/119 |

|  | Item | Specification | QTY | Item Model | Unit Price | Sub Total Price | Total Price |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Wired Network |
| 1.1 | Cable Tray |
| 1.1.1 | Cable Tray (m) |  | 700 |  |  |  |  |
| 1.1.2 | Installation cable tray (m) + Cable Tray Accessories |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 1.2 | UTP Cable, RACK, ACC FOR PC AND IPHONE |
| 1.2.1 | UTP Cat 6 A Cable (m) |  | 5000 |  |  |  |  |
|  | PC Socket |  | 725 |  |  |  |  |
| 1.2.2 | Single Jack |  | 405 |  |  |  |  |
| 1.2.3 | Dual Jack |  | 160 |  |  |  |  |
| 1.2.4 | Installation Socket per piece |  |  |  |  |  |  |
| 1.2.5 | Patch Cords colored 3m or 5m |  | 725 |  |  |  |  |
| 1.2.6 | Data Cabinet 36U |  | 6 |  |  |  |  |
| 1.2.7 | Rack Power Distribution Unit 8 port |  | 12 |  |  |  |  |
| 1.2.8 | Cable Management |  | 35 |  |  |  |  |
| 1.2.9 | Patch Cords 0.5m or 1m |  | 912 |  |  |  |  |
| 1.2.10 | Ethernet Cat 6 24-Ports Patch Panel |  | 32 |  |  |  |  |
| 1.2.11 | Pulling Cat 6 Cables and installation (m) |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 1.3 | Fiber optic indoor |
| 1.3.1 | Fiber Cable indoor OM4 (m) |  | 50 |  |  |  |  |
| 1.3.2 | Optical Distribution frame (ODF) 12 port SC |  | 3 |  |  |  |  |
| 1.3.4 | Fiber Patch Cords Cables SC to LC |  | 16 |  |  |  |  |
| 1.3.5 | Pulling Fiber Cables and installation (m) |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 1.4 | Switches |
| 1.4.1 | Access Switch 48G,4SFPport Switch POE 370W, voice (cisco)WS-C2960L-48PQ-LL/WS-C2960L-SM-48PQ |  | 24 |  |  |  |  |
|  | SFP compatible with 48G,4SFPport Switch POE 370W, voice (cisco)WS-C2960L-48PQ-LL/ |  | 55 |  |  |  |  |
|  | Aggregation switch Cisco 3850-24XS 24SFP WS-C3850-24S |  | 4 |  |  |  |  |
|  | SFP compatible with 3850-24XS 24SFP WS-C3850-24S |  | 90 |  |  |  |  |
|  | SFP compatible with HPE 1950 48G 2SFP+ 2XGT PoE+ Switch JG963A " |  | 10 |  |  |  |  |
|  | SFP Compatible with Cisco (SG500-52p) |  | 10 |  |  |  |  |
|  | SFP compatible with cisco (SG300-28p) |  | 4 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 1.5 | UPSs |
| 1.5.1 | APC Symmetra UPS 16KVA with battery pack or similar | 12 battery with additional battery pack, inline power protection, preinstalled remote network management/monitoring card, Network shutdown software for UPS Management | 2 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 1.6 | Documentations & Drawing |
| 1.6.1 | System design, Documentation & Drawing |  |  |  |  |  |  |
| 1.6.2 | labeling of network |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 2 | Wireless Network |
| 2.1 | ACCESS POINT AC/N technology all indoor POE with controller model Cisco Aironet 1830 AIR-AP1832I-E-K9 |  | 25 |  |  |  |  |
| 2.2 | Controller for clustering & control of 2.1 including installation, configuration, controller support |  | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 3 | Server Room building 1 |
| 3.1 | Power cable 4X 16 mm |  | 50M |  |  |  |  |
| 3.2 | power cable 3X6 mm |  | 50M |  |  |  |  |
| 3.3 | circuit breaker 80 A |  | 10 |  |  |  |  |
| 3.4 | power system Installation |  |  |  |  |  |  |
| 3.5 | Raised Floor (sqm) |  | 42 |  |  |  |  |
| 3.6 | Raised Floor installation with all Accessories |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 4 | Cooling System |
| 4.1 | cooling system DC room size 7.8 X 5.3 X 3.3 |  | 3 |  |  |  |  |
| 4.2 | Installation & Commissioning Including Indoor units, pipes and accessories |  | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 5 | Fire suppression system |
| 5.1 | Fire suppression system DC room size 7.8 X 5.3 X 3.3 |  | 1 |  |  |  |  |
| 5.2 | Fire suppression system installation |  | 1 |  |  |  |  |
| 5.3 | Training on usage and admin of the system (2 weeks) |  | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 6 | Surveillance System |
| 6.1 | NVR 128Channle support cloud storage and online storage 365 Day |  | 2 |  |  |  |  |
| 6.2 | Indoor IP Cam (CCTV) 3.0 MP HD Network Smart IR- Progressive CMOS, | H.265&MJPEG Switchable ICR, oluxwith IR, Audio I. 25fps(P)/30fps(N). 3.6/6 mm lens optional , DWDR , 3D DNR, BLC, IR range: up to 30 m ,low illumination Super compatibility , Onvif , POE Standard: 802.3af,Network Connection, PC OS: Windows, Mac OS Browser: HTML5, supports IE Edge, Chrome, Firefox, Safari Onvif Support List: Digital WatchDog, Blue Iris, iSpy, Milestone, Sighthound Video, SecuritySpy, Synology, QNap | 40 |  |  |  |  |
| 6.3 | Outdoor IP Cam (CCTV ) 3.0 MP HD Network Smart IR- Metal Bullet Camera1/3 " Progressive CMOS, | H.265&MJPEG Switchable ICR, oluxwith IR, Audio I., 25fps(P)/30fps(N). 3.6/6 mm lens optional , DWDR , 3D DNR, BLC, IR range: up to 30 m ,low illumination Super compatibility , Onvif , Dahua, Hikvision,etc. IP66,POE 48V POE Standard: 802.3af, PC OS: Windows, Mac OS Mobile OS: iOS, Android Browser: HTML5, supports IE Edge, Chrome, Firefox, Safari Onvif Support List: Digital WatchDog, Blue Iris, iSpy, Milestone, Sighthound Video, SecuritySpy, Synology, QNap. | 50 |  |  |  |  |
| 6.4 | Outdoor PTZ IP Cam (CCTV ) 30X 4MP |  | 4 |  |  |  |  |
| 6.5 | Smart HD LED TV with Ethernet Port | 32" [24 Tally Center 8 in building 2 + 16 In the media center ] 50" [2 Call Center] 32" [6 for Network Operation Center] 60" [4 for Network Operation Center] 32" [15 To connect it with cameras for security and safety team ] 65"-70" [2 for Operation Room]] | 53 |  |  |  |  |
| 6.6 | Surveillance System Installation and Training |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 7 | Fiber optic outdoor for CAMERES |
| 7.1 | Fiber Cable outdoor OM4 (m) |  | 1000 |  |  |  |  |
| 7.2 | Optical Distribution frame (ODF) 12 port SC |  | 10 |  |  |  |  |
| 7.4 | Fiber Patch Cords Cables SC to LC |  | 10 |  |  |  |  |
| 7.5 | Distribution Box outdoor 15U IP 66 or above |  | 10 |  |  |  |  |
| 7.6 | Network Switch 16 Port + 2SFP ports POE |  | 10 |  |  |  |  |
| 7.7 | Inverter 850VA + battery 65A with power stabilizer |  | 10 |  |  |  |  |
| 7.8 | Fiber cable Splicing |  |  |  |  |  |  |
| 7.8 | Pulling Fiber Cables and installation (m) |  |  |  |  |  |  |
| 7.9 | Fiber Cable Installation |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 8 | IP Telephone Solution |
| 8.1 | IP PBX Solution with support for up to 700 subscribers and multipoint conference support | Support for chat, send file, calls, IOS, Android, Call Center, IVR,PSTN, clustering, support for up to 700 subscribers and multipoint support with cisco jabber or skype for business | 1 |  |  |  |  |
| 8.2 | License subscriber |  | 350 |  |  |  |  |
| 8.3 | IP Phone |  | 325 |  |  |  |  |
| 8.4 | IP conference |  | 25 |  |  |  |  |
| 8.5 | Installing and Training for How to use and admin the system (2 weeks) |  | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 9 | Access control system |
| 9.1 | All the required items for the implementation of the access control requirements (Paxton NET2 or equivalent). | Key features of the system must conform the following requirements: a) Central control of privileges b) Manage the users and all doors of server rooms c) Event reporting d) Integrate other systems - intruder alarm, fire alarm, lighting, CCTV, Email Notification | 12 |  |  |  |  |
| 9.2 | Installation and configuration |  |  |  |  |  |  |
| 9.3 | Training for How to use and admin the system (2 weeks) |  | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 10 | Network Security |
| 10.1 | 3-years Advanced Gateway Security Suite license for SonicWall NSA 2650 |  | 2 |  |  |  |  |
| 10.2 | SFP compatible with SonicWall NSA 2650 |  | 10 |  |  |  |  |
| 10.3 | Design, Documentation and Drawing & Installation |  |  |  |  |  |  |
| 10.4 | Media converter ethernet 1G to fiber LC |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 11 | Network Operation Center |
| 11.1 | Software |
| 11.1.1 | Monitor IP Device links, Monitor SNMP Server support clustering , License 5000 sensors (PRTG ) |  | 1 |  |  |  |  |
| 11.1.2 | Help desk management system Software (Licenses) 1000 clients with desktop management Support for 3 Users |  | 1 |  |  |  |  |
|  | Ticket System (ticket support Arabic) for 350 User |  | 1 |  |  |  |  |
|  | Total Network Inventory for (350 user) |  | 1 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 11.2 | Hardware |  |  |  |  |  |  |
| 11.2.1 | PowerEdge R740 Server or Similar | Chassis with up to 8 x 2.5" SAS/SATA Hard Drives for 2CPU Configuration Intel Xeon 4110 2.1G, 8C/16T, 9.6GT/s , 11M Cache, Turbo, HT (85W) DDR4-2400 x 2 4 x 32GB RDIMM 2666MT/s Dual Rank PERC H730P RAID Controller, 2GB NV Cache, Adapter, Low Profile 6 x 2.4TB 10K RPM SAS 12Gbps 512e 2.5in Hot-plug Hard Drive Riser Config 2, 3 x8, 1 x16 slots Intel Ethernet i350 QP 1Gb Network Daughter Card Broadcom 5720 DP 1Gb Network Interface Card 6 Standard Fans for R740/740XD Dual, Hot-plug, Redundant Power Supply (1+1), 495W C13 to C14, PDU Style, 10 AMP, 6.5 Feet (2m), Power Cord | 2 |  |  |  |  |
| 11.2.2 | Storage Area Network SAN Dell Compellent SC 9000 or similar I Dual 8 core intel processor per controller and 2 active/active controllers per array. with Host OS & cluster support Microsoft® Windows Server®, Oracle® Solaris, HP®-UX,VMware®, Proxmox VE, Citrix® XenServer®, RedHat® | Series 9000Storage Controller, 64GB RAM Enclosure, SAS, 12Gb, 3.5" 12-bay IO, SAS, 12Gb, 4 Wide-ports, PCI-E SC09000 storage center Bundle Software SW, Dynamic Capacity Base License SW, Data Instant Replay Base License SW, Storage Center Core Base License SW, Enterprise Manager Foundation License, Unlimited SW, Enterprise Manager Reporter License, Unlimited QuickStart SC09000, SAS Clustered Controller Upgrade Series 9000 Storage Controller, 3U, 64GB IO, SAS, 12Gb, 4 Wide-ports, PCI-E 12Gb SAS Cable, 2M 12Gb SAS Cable, 0.5M Unisphere for SC (element manager) Unisphere Central (multi-array management) CloudIQ (cloud-based analytics and monitoring) 12Gb SAS Cable, 0.5M 12Gb SAS Cable, 2M | 1 |  |  |  |  |
| 11.2.3 | Dell SC420 Enclosure: 24 x 2.5" drive bays, 12Gb SAS compatible with SAN | 24 x SC420, 1TB NL SAS12Gb, 7.2K, 2.5 HDD 12Gb supported SAS cable, 0.6M, Qty 2, Rack Rails, Rapid Rails, Compellent copilot 3 year | 1 |  |  |  |  |
| 11.2.4 | Intel 10GbE Dual port iSCSI/SFP+ (compatible with SAN) server adapter with network cables 3 meter |  | 10 |  |  |  |  |
|  | Dell Powerconnet 10GbE switch for SAN |  | 2 |  |  |  |  |
| 11.2.5 | Promox VE Community Subscription 2 CPU / 1 year |  | 7 |  |  |  |  |
| 11.2.6 | Windows Server 2016 Enterprise |  | 4 |  |  |  |  |
|  | Total |  |  |  |  |  |  |
| 12 | Trainings for configuration and installation of the whole network and applications ( Knowledge Transfer) & Warranty |
| 12.1 | Trainings stage (week) |  | 4 |  |  |  |  |
| 12.2 | Warranty period(month) |  | 12 |  |  |  |  |
|  | Total |  |  |  |  |  |  |

Summary

| Description | Amount in USD |
| --- | --- |
| Sub-Total for Cable Try |  |
| Sub-Total for UTP Cable ,RACK, ACC FOR PC AND IPHONE |  |
| Sub-Total for Fiber optic indoor |  |
| Sub-Total for Switches |  |
| Sub-Total for UPSs |  |
| Sub-Total for Documentations & Drawing |  |
| Sub-Total for Wireless Network |  |
| Sub-Total for Cooling System |  |
| Sub-Total for Fire suppression system |  |
| Sub-Total for Surveillance System |  |
| Sub-Total for Fiber optic outdoor for CAMERES |  |
| Sub-Total for IP Telephone Solution |  |
| Sub-Total for Access control system |  |
| Sub-Total for Network Security |  |
| Sub-Total for Network Operation Center |  |
| Sub-Total for Trainings for configuration and installation of the whole network and applications (Knowledge Transfer) & Warranty |  |
| Grand Total |  |
| Grand total in words USD |
| Name of the contractor: |
| Signature and stamp of the contractor |
| Date |