Annex 1

Technical Specifications and Bid Compliance

Table 1:  Technical Specifications

|  |  |  | BIDDER TO COMPLETE |
| --- | --- | --- | --- |
| # | Item to be supplied Description/Specifications | Quantity | Delivery Time Needed from contract signing till delivery to the place of destination (days) | Applicable Warranties and Details | Other Information (Bidder to include any information/description according to what is offered and make reference to relevant attachments submitted) |
| INTERIOR AND FINISHING MATERIAL* | (Bidder to indicate) | (Bidder to indicate) | (Bidder to indicate) |
| 1 | Interior Ceiling - Furnish complete system suspended Aluminum Grid & Tiles, comparable to Armstrong Metal works | 14,000 sf |  |  |  |
| 2 | Interior Ceiling Furnish complete suspended ceiling grid and tile (mineral fiber or gypsum) system comparable to Armstrong Fine Fissured Square Lay-in, medium texture, with Universal Hold Down Clips. | 14,000 sf |  |  |  |
| 3 | Ceiling – Exterior Corridor, Aluminum – 1656 sf. | 1,800 sf |  |  |  |
| 4 | Folding Partitions - ± 20x9' with track and hardware | 6 ea. |  |  |  |
| 5 | Exterior Doors (36” x 80”), Frames, Hinges, Lockset, Deadbolt - Wood | 25 ea. |  |  |  |
| 6 | Exterior Doors (36” x 80”), Frames, Hinges, Lockset, Deadbolt – Steel Clad | 25 ea. |  |  |  |
| 7 | Interior Doors (32” x 80”), Frames, Hinges, Lockset, Deadbolt – wood | 28 ea. |  |  |  |
| 8 | Powder coated aluminum louver windows with tempered glass or aluminum blades | 720 sf |  |  |  |

*Additional Notes and Instructions:

Prices for alternate ceiling systems have been requested. The final decision will be made in consultation with the owner.

Prices for exterior doors have been requested for wood and steel-clad doors. The total number of doors is estimated at 25 with two sets of double doors.

Rough opening for windows is estimated to be 4 feet in height and 6 feet in width. Rough opening sizes will be confirmed with purchase order. Total window openings are estimated at 720 square feet.

Bidders may submit a price schedule of prices for available prefabricated windows.

Maximum grid spacing is 2 feet (0.61 meters)

System shall include broad spectrum control of mold, mildew, and odor/stain causing bacteria over the warranty period

System shall not be damaged, including sagging, by environment of constant temperature up to 49 degrees Celsius and 100% relative humidity

Supplier is encouraged to verify field conditions, provide ceiling grid layout plans per the floor plans provided with the RFQ

Quantities are estimates only.  Payment will be for quantities delivered and approved by the Project Manager and Quality Assurance Manager.

Items will be delivered to the bidder’s facility in Dominica or to the construction site in Salisbury.  Delivery to the construction site in Salisbury is preferred for the items noted.

Specification sheets attached are illustrative only other brands may be proposed but must be accompanied with full speciation and installation details.

Detailed specification sheets must be provided for and installation / application of all items.

TABLE 2 : BID COMPLIANCE

| Other Information pertaining to our Quotation are as follows: | BIDDER TO COMPLETE (Please check appropriate boxes below) |
| --- | --- |
|  | Yes, we comply | No, we cannot comply | Comments |
| Please confirm your company is legally registered and licensed for supplying of all material requested and you have submitted your Latest Business Registration Certificate; |  |  |  |
| Validity of Quotation for 90 days |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |
| Please confirm you have submitted Written Self-Declaration of not being included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List; |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]