## estimate
United Nations Development Programme, UNDP Libya
BILL OF QUANTITY (BOQ)
Name of Work: Rehabilitation Of Al-Birkat Medical Center, Ghat, Ghat Municipality
Item | Description | Unit | Qty | Rate US$ | Amount US$
A - Demolishing and Preparing Works
The work shall include and comply with the following:- a. Removing the demolished material off site to authorized dumping sites. b. The dismantled materials are the sole property of the client (in case those material are required by the Client). c. The contractor shall coordinate implementation of his daily work activities, working hours, throughout the construction period with the client and the supervising engineer for smooth implementation of the work and to avoid interruption of the functioning building. d. The contractor shall protect and safe guard the existing facilities and building finishes, including the painting, the floor tiles. e. The contractor shall make the necessary temporary water, electrical power connections. Etc. to prevent interruption of the power and water supply for the existing functioning building. f. The contractor shall take all necessary measures to ensure safety of his labor and the existing structures, finishes, utilities, services. Etc. and to minimize environmental hazards including pollution, noise and dust.
A1 | Dismantle and remove ceramic internal wall tiles and floor tiles in the existing bath rooms, including removal of surplus and preparing surfaces for new tiling works | SQ.M | 373
A2 | Dismantle and remove under floor sewage pipes of any size and remove surplus materials | Lin.M | 250
A3 | Dismantle and remove the damaged sanitary fixtures including wash basins and kitchen sinks and remove surplus materials/items | Nos | 15
A4 | Dismantle and remove damaged eastern W.C. suite or shower pan and remove surplus | Nos | 10
A5 | Dismantle and remove the existing water pipes and fittings of any size and remove surplus | Lin.M | 65
A6 | Dismantle and remove water plastic tank | Nos | 2
A7 | Dismantle and remove damaged wooden doors size 860 X2200 mm, including frames | Nos | 31
A8 | Ditto, but doors size 1800 X 2500 mm | Nos | 10
A9 | Ditto, but doors size 1800 X 2130 mm | Nos | 6
A10 | Ditto, but doors size 1100 X 2200 mm | Nos | 4
A11 | Ditto, but doors size 950X 2000 mm | Nos | 5
A12 | Ditto, but doors size 750X 2200 mm | Nos | 9
A13 | Dismantle and remove damaged wooden windows, size 1330 X 2000 mm, including frames | Nos | 20
A14 | Ditto, but windows size1470 X 1270 mm | Nos | 6
A15 | Ditto, but windows size 1330 X1250 mm | Nos | 2
A16 | Ditto, but windows size 1750 X1830 mm | Nos | 4
A17 | Ditto, but windows size 1100 X1000 mm | Nos | 4
A18 | Ditto, but windows size 850 X850 mm | Nos | 2
A19 | Dismantle and remove damaged steel doors size 1800 X2500 mm, including frames | Nos | 7
A20 | Dismantle and remove electrical water heater | Nos | 22
A21 | Dismantle and remove electrical light unit (flourescent or any other) for the roofs | Nos | 56
A22 | Dismantle and remove air-conditions unit | Nos | 20
A23 | Demolish and remove old kitchen marble size 800mm*1450mm with all other accessories attached to it | Nos | 2
A24 | Dismantle and remove 1 hp water pump | Nos | 2
A) TOTAL FOR DISMANTLING & PREPARING WORKS
B - Plastering Works
B1 | Providing & laying 2 coats cement plaster in cement mortar (CM 1:3), finished with floating coat of neat cement | SQ.M | 120
B2 | Repair cracks in the existing plastered walls and ceilings. The work shall include stripping off 15-20 cm wide plaster along the cracks, filling the cracks with approved filling material, plastering and rendering the surfaces to match the existing finishes, according to technical specifications and Engineer's instructions. | SQ.M | 200
B) TOTAL FOR PLASTERING WORKS
C - Painting Works
All painting materials shall be of high quality approved product complying with the technical specifications and manufacturer's instructions. The work shall include surface preparation for new painting works, including pealing off old damaged paint, filling holes, plaster patching, putty, priming, etc. Type and textures and finishing paint coat shall be similar and matching the existing paint finishing.
C1 | Providing & applying one coat of cement primer of approved brand | SQ.M | 2718
C2 | Proving & applying 2 coats colored emulsion paint (Supercryle) on the internal walls. The work shall also include removing the old paints, cleaning, surface preparation and puttying, and all required works, and rendering coats to match the existing paint finishing. | SQ.M | 2718
C) TOTAL FOR PAINTING WORKS
D - Tiling and Marble Works
The work shall include and comply with the following: Tiles should be of high quality approved product, comply with relevant applicable specifications. Samples should be provided for the Engineer's approval Surface preparation for new tiling works. Tiling pattern and color shall match the existing, as directed by the Engineer. Cleaning and grouting with approved grout materials
D1 | Supply and install ceramic tiles (grade A), for walls, according to the specifications and Engineer's instructions | SQ.M | 520
D2 | Supply and install non-slip ceramic floor tiles (grade A), size 330mm x 330mm x 8mm thick for toilet floors, laid on 30mm mortar bed, according to the specifications and Engineer's instructions | SQ.M | 300
D3 | Supply and install counter for the reception from marble according to the drawings and instructions of the engineer in the main entrance - the entrance of the dental department | Lump Sum | 2
D4 | Supply and installation of white marble (carara ) for window and stairs including all required works | M2 | 100
D5 | Supply and installation of wall protection barrier (PVC) with width of 30 cm and thickness of 5 cm installed on the walls of the corridors and the price includes installation and all accessories required | M2 | 168
D6 | Maintenance of stair rails and item includes all works | Lin.M | 39
D7 | Supply and install luxury vinyl floor tiles (grade A), size 5000mm x 500mm x 4.6mm thick for floors, 0.7mm thick surface layer with decorative film tile are 100% recyclable ( EN ISO 24346 (EN 428 ) mm, resistance to chemical and scratching inculding 100 mm skirting with same materials according to the specifications and Engineer's instructions (to be used for laboratory floor). | SQ.M | 90
D8 | Supply and install luxury vinyl floor tiles (grade A), size 5000mm x 500mm x 4.6mm thick for floors, 0.7mm thick surface layer with decorative film tile are 100% recyclable ( EN ISO 24346 (EN 428 ) mm, resistance to scratching inculding 100 mm skirting with same materials according to the specifications and Engineer's instructions. | SQ.M | 1010
D) TOTAL FOR TILING AND MARBLE WORKS
E - Doors, Windows and Metals Works
The work shall include supply, fabricate and installation of a high quality doors and windows, in accordance with relevant standards and or as per the existing doors and windows. The contractor shall submit shop drawings for the approval of the Engineer prior to fabrication. Rate to include supplying and installing high quality fittings and accessories.
E1 | Supply and install Swedish wood door, size 1150mm X 2200mm, including frames, similar to the existing. The door shall have 2 leaves, made of 20 mm medium density fiber (MDF), stiles and rails from Swedish wood grad1, including door lock with handle, approved paints. | Nos | 16
E2 | Ditto, but doors size 1450 X 2200 mm | Nos | 7
E3 | Supply and install PS windows of size 1350X 1450 mm including accessories similar to existing, complete as directed by and approved by the Engineer | Nos | 16
E4 | Ditto, but windows size 1350 X 2000 mm | Nos | 8
E5 | Ditto, but windows size 1350 X 1000 mm | Nos | 6
E6 | Supply and installation of PS aluminum partitions (size 6000mmx2500mm) & according to the Engineer's instruction/approval | Nos | 2
E7 | Supply and install steel doors size 1100mm X 2200 mm, including frames, panting, high quality fittings and accessorie and approved by engineer | Nos | 7
E8 | Supply and install gypsum false ceiling (600mm x 600mm), including suspension system and lighting, complete as directed by the Engineer. | SQ.M | 250
E) TOTAL FOR DOORS, WINDOWS & METAL WORKS
F - Water Proofing Works
F1 | Supply and apply 2 coats of high quality water proofing emulsion on concrete surfaces including surface preparation and in accordance with the manufacture's instruction, specification and the Engineer's approval | SQ.M | 350
F) TOTAL FOR INSULATION WORKS
G - Plumbing & Sanitary Works
Plasticized polyvinyl chloride (uPVC) pipes shall be used in the plumbing installation and they must confirm in every respect to the requirements of BS 4514. All fittings and pipe specials used in the plumbing installation shall be suitable and compatible with all respects to the pipe line to which fittings and specials are fixed. All sanitary fittings & fixtures shall be ISO certified and approved by engineer. Rates for plumbing work shall include for:- Cutting and wastage of pipes etc., and joining pipes. All specials such as elbows, bends, tees, junctions, plugs, reducers and similar pipe fittings except for valves which will be measured separately. Testing and disinfection after completion.
G1 | Supply, install and connect Poly Propylene (PPR) pipes 3/4", for potable water network. The work shall include the needed fittings such as tees, bends, and all related work accessories. | Lin.M | 320
G2 | Supply, install and connect Poly Propylene (PPR) pipes 1", for potable water supply. The work include all needed fittings such as tees, bends, and all related accessories. | Lin.M | 200
G3 | Supply & install white vitreous china Eastern W.C. (grade A suite comply with BS 3402), with 10 liter plastic flushing cistern, good quality chromium plated tap 1/2” including pipes, valves, fittings and all associated accessories. | Nos | 9
G4 | Supply & install white vitreous china European W.C. (grade A suite comply with BS 3402 ), with 10 liter ceramic double action flushing cistern, chromium plated tap 1/2” , including pipes, valves, UPVC drainage pipe connecting to the nearest manhole or sewage header and all associated fittings and accessories. | Nos | 9
G5 | Supply and fix white glazed fire clay standing hand wash basin with overflow and single hole faucet, size 480 x 580 mm, made of vitreous china to BS 3402 (grade A), complete with all water supply pipes, good quality chromium plated mixer and waste trap. The work include all related work accessories and fittings. | Nos | 16
G6 | Supply and installation of wash basin pots of pottery, 80 x 45 x 24 cm complete with water mixer and 2 siphons and hot and cold water holders 3/4 ". The category includes a 1 1/2" plastic link, so that the floor will be set to 10 cm thick and all necessary. | Nos | 7
G7 | Supplying and installing 3" plastic flushing toilet with movable filter and the category includes delivery to the inspection room and all necessary to make the work done . | Nos | 30
G8 | Supply and install high quality electrical water heater 80 liters capacity, 0.8 mpa pressure (116 psi), provided with temperature gauges, including water supply pipes 16mm, chromium plated control valve, non-return valve electrical connections and all required works. | Nos | 10
G9 | Supply and install high quality electrical water heater, 50 liters capacity, 0.8 Mpa pressure, provided with temperature gauges, including water supply pipes 16mm, chromium plated control valve, non-return valve electrical connections and all required works. | Nos | 22
G10 | Supply and install PVC tank for potable water of 2000 liters capacity, including the electrical floating valve and all related work accessories and fittings according to the specifications, and Engineer instructions. | Nos | 3
G11 | Supply and install UPVC pipes 1.5" and 10 bar pressure. The work include all tees, bends, and all related work accessories and fittings. | Lin.M | 130
G12 | Supply and install UPVC pipes 2" and 10 bar pressure, The work include all tees, bends, and all related work accessories and fittings. | Lin.M | 90
G13 | Supply, install and connect UPVC pipes 3" and 10 bar pressure, for waste water network. The work include all tees, bends, sockets, union and all related work accessories and fittings. | Lin.M | 65
G14 | Supply, install and connect UPVC pipes 4" and 10 bar pressure, for waste water network. The work include all tees, bends, and all related work accessories and fittings. | Lin.M | 80
G15 | Supply and fix a high quality 0.5 HP horizontal centrifugal pump, one flange and 50 HZ motor, installed on potable water main to supply the water tank. The work include all related work accessories and fittings. | Nos | 2
G16 | Supply and fix a good quality 1 HP horizontal centrifugal pump, one flange and 50 HZ motor, installed on potable water main to supply the water tank. The work include all related work accessories and fittings. | Nos | 2
G17 | Supply and installation of high quality mirror for hand wash basins size 60mmx80mm of approved sample. | Nos | 16
G) TOTAL FOR PLUMBING AND SANITARY WORKS
H - Electrical and Air-Conditioning Works
Unless otherwise stated, rates in Bill of Quantities shall include all necessary materials, cables, conduits, PVC sunk box, bulbs, switches etc.) and labor required to complete the electrical installation to good working order. Except where specifically stated, all costs associated with provision of all holes, openings, chases, ducts and other builders' work required for installation and make them good, shall be included in the rates. Testing and commissioning of the electrical installation is to be carried out by the contractor and cost of such testing and reports to be included in the rates unless otherwise mention separately. All types of fittings, materials, painting and finishes shall be approved by the Engineer prior to installation.
H1 | Supply and install single pole 16 A, 220V, lighting switch, The work include removal of old ones and all required works | Nos | 65
H2 | Ditto, but double pole 16 A, 220 V | Nos | 50
H3 | Supply and install single pole 16 A, 220V, socket outlet. The work include the earthing cable and removal of old ones and all required works | Nos | 48
H4 | Supply and fix exhaust fan of approved brand (300mm*300mm) to replace the old existing air extractors, including all required wiring and accessories according to the engineer instructions | Nos | 8
H5 | Supply and fix plastic covers for electrical junction boxes | Nos | 140
H6 | Supply and install fluorescent lighting fixture 2 X 40 watt with plastic cover, including 120 cm day light lamps, 3 X 2.5 mm2 wires, conduits, chock coils, starters, capacitors, clamps, bolts, and all needed accessories. | Nos | 25
H7 | Ditto, but 2 X 20 watt water proof type IP 65, for toilets. | Nos | 15
H8 | Ditto, but 4 X 20 watt, with reflective face. | Nos | 18
H9 | Supply, install and maintain wall mounted invertor split air-conditioners. The price shall include one year Warranty, wiring, electrical connections, drain pipes to the nearest drain points, water proof on-off switch on the external units, galvanized steel holders/stands, opening in walls by coring machine, closing holes with sika sealant, gas and oil charging. The units shall be according to below specifications and the applicable Standards, and as per the following specifications:Capacity-18 000 BTU Pre charged with Eco. Friendly R 410A. Washable screen anti bacterial filtration Low Ambient Heating Temp. Power supply source-V/Ph/Hz-208-230V-1-60 Hz Air flow volume-m3/h-840 Noise level in door d/B-47 Noise level out door d/B- 53 Ai circulation-(H/M/L) -m3/h 850/680/540 Digital, Multi-function LCD Remote Control | Nos | 25
H) TOTAL FOR ELECTRICAL AND AIR CONDITIONING WORKS
GRAND TOTAL (A+B+C+D+E+F+G+H)

## summary
UNITED NATION DEVELOPMENT PROGRAMME
Strengthening Local Capacity for Resilience and Recovery, UNDP Libya
Name of Work: Rehabilitation Of Al-Birkat Medical Center, Ghat, Ghat Municipality
Summary of Bill of Quantities (BOQ)
Bill No. | Description | Amount in USD
A | Demolishing and Preparing Works
B | Plastering Works
C | Painting Works
D | Tiling and Marble Works
E | Doors, Windows and Metals Works
F | Water Proofing Works
G | Plumbing & Sanitary Works
H | Electrical and Air-Conditioning Works
Total Bid Amount in USD:
Amount in Words ……………………………………………………………………….…