## B.O.Q
United Nations Development Program
Name of Project | Rehabilitation of Omar Almukhtar HCU
Location | Sirte Libya
Item | Description | Unit | Qty | Rate in USD | Amount in USD
A - Demolishing and Preparing
The work shall include and comply with the following:- a. Removing of demolished material off site to authorized dumping sites. b. The dismantled material are the sole properties of the client (in case those material are required by the Client). c. The contractor shall coordinate implementation of his daily work activities, working hours, throughout the construction period with the client and the supervising engineer. d. The contractor shall protect and safe guard the existing facilities and building finishes, including the painting, the floor tiles, …etc. e. The contractor shall make the necessary temporary water, electrical power connections. Etc. to prevent interruption of the power and water supply for the existing functioning building. f. The contractor shall take all necessary measures to protect and minimize environmental hazards including pollution, noise and dust.
| Demolish and remove damaged concrete for roof, including preparing surfaces for new concrete works as directed by Engineer. | L.Sum | 1
A3 | Site clearance and removal of surplus. | CU.M | 100
B - Concrete Works
Concrete works/repair works shall include: - 1. Shoring to protect safety of the structure and shuttering in any form, shape and size. 2. Approved grouting material, filling material and additives. 3. Supplying and fixing of the required steel reinforcement as per the existing dowels or as required.
B1 | supply and cast reinforced concrete grade C35 for damaged roof. The rat includes, cleaning of concrete surfaces, formworks, the required high steel reinforcement, (350 Newton / sq.) same as existing steel with adequate laps and proper bonding of old and new concrete using special approved bonding material according to the technical specification and engineer instructions . | L.Sum | 1
C - Block Works
C1 | Supply & build hollow concrete blocks grade 35 size 40x20x20cm, built with cement sand mortar (1:3) mix according to technical specification and instruction of Engineer. | SQ.M | 24
D - Plastering Works
D1 | Supply and make 2 coats 15 mm cement sand plaster on the internal walls and ceilings, including surface preparation. The work shall include fixing of metal mesh at the joints, all according to the specification and the Engineer's approval. | SQ.M | 44
D2 | ditto , but for the external walls | SQ.M | 40
D3 | Repair cracks in the existing walls and ceilings. The work shall include stripping off 15 cm wide plaster along the cracks, widen and make V shaped cracks, clean and fill cracks with approved filling material and plastering to match the existing finishing; according to technical specification and Engineer instruction. | L.M | 60
E - Painting Works
E1 | Supply & paint 2 coats colored emulsion paint (Supercryle) on the internal walls. The work shall also include removing the old paints, cleaning, surface preparation and puttying, and all required works. | SQ.M | 519
E2 | Supply & paint internal walls, with one under coat primer and min. 2-coats of oil paint with all required works. The work shall also include removing the old paints, cleaning, preparation of surface and puttying, and all required works according to specification and the engineer approval. | SQ.M | 163
E3 | Supply & paint 2 coats colored weather shield emulsion paint on the external walls and fascia. The work shall also include removing the old paints, cleaning, surface preparation, puttying, and rendering coats to match the existing paint finishing; all in accordance with specification and the Engineer's instructions. | SQ.M | 40
F - Tiling and Marble Works
| The work shall include surface preparation for tiling works, sand cement mortar, finish to falls, special tile pieces, grouting and cleaning; all as per specifications and the Engineer's approval. | `
F4 | Supply and install one layer 4mm thick approved waterproofing bituminous membrane -rolls on the roof surface according to the specification and Engineer instructions. The work shall include surface preparation, cleaning, priming, and testing; all in accordance with specifications and the Engineer's instructions. | SQ.M | 6
G - Doors, Windows and Metals Works
The work shall include: supply, fabricate and installation of doors, windows, made out of grade 1 timber to be finish as per relevant applicable Standards. Work shall include for 4 mm thick clear float glass/ wired glass /tinted glass /translucent glass as appropriate to suit the respective doors and windows as similar to the existing doors and windows, where required. Rates shall include fixing frame, door sash / window casement brass fixing screws, lock sets with 3 keys. Preservative treatment for back of door & door frame in contact with masonry or concrete. Painting / Final Finish Unless otherwise stated all surface of timber doors & windows and casements and door sashes shall be applied with two coat of wood preservative, two coats of prime, two coats of approved paint, paint type and finishing shall be similar to the paint finishing of the existing doors and windows
G1 | Maintenance and repair wooden doors including the frames size 2300 mm*1100 mm. The work includes replacing all damaged parts with new one, frames fixation and all needed material for frames, ironmongery, rubbing off old paints and applying two coats of wood preservative, two coats of primer, two coats of wood paint, similar to existing, complete and as directed by Engineer. | No | 15
G10 | Repair, conduct maintenance and adjustment on the steel doors, of size 2400X 2200 mm, including painting, replace the damaged accessories, complete as directed by Engineer. | No | 6
G11 | Repair and maintain existing external steel door, overall size 5000 X 2500 mm complete, including door lock, all iron monger and hardware, painting with approved paints with all necessary supporting according to the engineer ‘s instructions. The doors to be fixed and supported by existing concrete columns. | No | 2
G29 | Supply and install PS windows of size 1800*600mm, similar to the existing, including accessories and hardware of high quality, complete as directed and approved by the Engineer. | No | 2
G30 | Ditto, but size 900mm x 700mm | No | 1
G31 | Ditto, but size 1900mm x 1300mm | No | 1
G32 | Ditto, but size 1000mm x 1000mm | No | 1
G33 | Ditto, but size1800mm x1500 mm | No | 3
G34 | Ditto, but size1200 mm x700 mm | No | 2
G35 | Ditto, but size900 mm x600 mm | No | 1
G36 | Ditto, but size1700 mm x600 mm | No | 1
G45 | Supply and install PS doors of size 2100 x 800mm, similar to the existing, including accessories and hardware of high quality, complete as directed and approved by the Engineer. | No | 1
G46 | Ditto, but size 2300*1000mm | No | 1
| Ditto, but size 2400*2200mm | No | 6
| Ditto, but size 2200*900mm | No | 4
| Maintenance and repair PS doors including the frames size 4000 mm*3000 mm. The work includes replacing all damaged parts with new one, replacing broken glass ,frames fixation and all needed material for frames, similar to existing, complete and as directed by Engineer. | No | 2
| ditto, but size 2200*900 | No | 3
| ditto, but size 2400*1700 | No | 1
| Maintenance and repair PS windows including the frames size 1800 mm*600 mm. The work includes replacing all damaged parts with new one, replacing broken glass ,frames fixation and all needed material for frames, similar to existing, complete and as directed by Engineer. | No | 1
External Works:
1 | Total for Civil works ..carried to summary
H- Plumbing & Sanitary Works
Plasticized polyvinyl chloride (uPVC) pipes shall be used in the plumbing installation and they must confirm in every respect to the requirements of BS 4514. All fittings and pipe specials used in the plumbing installation shall be suitable and compatible with all respects to the pipe line to which fittings and specials are fixed. Rates for plumbing work shall include for:- All fittings such as elbows, bends, tees, junctions, plugs, ..etc.. Connecting pipes to sanitary fixtures and appliances. Necessary screws, nails sockets, connection back nuts standard pipe fixing or supporting clips, saddles, brackets, holder bats, straps Connecting of different types of pipes. Testing and disinfection after completion. Excavation, backfilling, disposal of surplus soil for items which were specifically mentioned. Rates for sanitary fittings shall include for:- Fittings such as taps, waste water outlet, internal overflows etc. and supporting brackets, incidental materials for fixing, unless otherwise measured separately. Assembling, jointing together fixing components parts, and jointing to pipes including necessary coupling and for leaving perfectly clean and in perfect working order on completion. Jointing and connecting of pipes to sanitary fittings. Testing and commissioning of the installation. Rates for drainage work shall include for :- Excavation, backfilling, disposal of surplus soil All pipe specials such as bends, junctions, elbows, tees etc. Connection to sides of manholes. Giving notices, obtaining permits, paying fees, fixing, testing and commissioning.
H3 | supply and fix plastic tank for potable water 2000L, including the floating valve and all related work accessories and fittings according to the specifications, and Engineer instructions. | No | 2
| Supply and install UPVC pipes 4" and 10 bar pressure, for rain water drainage. The work include all tees, bends, and all related work accessories and fittings. | L.M | 30
H4 | Repair and maintenance the existing water network of the school. The work shall include supplying all required material, such as pipes, fittings, valves, stops....etc. to complete functional network and connected to the water supply,...with removing the damaged water network . The new water system shall be connected to the water source, all in accordance with specification and as instructed and approved by the Engineer. | L.Sum | 1
H7 | Supply and fix electrical water heater similar to Ariston or equally approved, 80 liters capacity, 0.8 Mpa pressure, provided with temperature gauges, including water supply pipes 16mm, chromium plated control valve, non-return valve, electrical connections, as directed by Engineer | No | 4
H8 | Repair, maintain and flush the existing waste water system including pipes, cleaning and flush blocked pipes and manholes. | L.Sum | 1
H9 | Supply and fix 1 " and 1 HP horizontal centrifugal pump, one flange and 50 HZ motor, installed on potable water main to supply the water tank. The work include connection to the electric power supply and all related work accessories and fittings. | No | 1
Total Sanitary and Plumbing Works... Carried to Summary
I-Air Conditioner Works:
I1 | Supply, install and maintain wall mounted invertor split air-conditioners. The price shall include one year Warranty, wiring, electrical connections, drain pipes to the nearest drain points, water proof on-off switch on the external units, galvanized steel holders/stands, opening in walls by coring machine, closing holes with sika sealant, gas and oil charging. The units shall be according to below specifications and the applicable Standards, and as per the following specifications:Capacity-18 000 BTU Pre charged with Eco. Friendly R 410A. Washable screen anti bacterial filtration Low Ambient Heating Temp. Power supply source-V/Ph/Hz-208-230V-1-60 Hz Air flow volume-CU.M/h-840 Noise level in door d/B-47 Noise level out door d/B- 53 Ai circulation-(H/M/L) -CU.M/h 850/680/540 Digital, Multi-function LCD Remote Control | No | 2
Total Air Conditioner Works. Carried to Summary
H-Electrical Works:
H3 | Supply and replace the old fluorescent 120 cm day light lamps, including starters, and all needed accessories. | No | 40
H9 | Supply and install 400 watt spot light similar to the existing, including PVC conduits inside walls and wiring , connection to sub-boards and all needed cables and accessories . | No | 6
H10 | repair the damaged electrical wires 2.,4,6 mm and replace it with new ones | L.Sum | 1
Total for Electrical works ..carried to summary
Summary
USD
1 | Total Civil Works
2 | Total Plumbing and Sanitary Works
3 | Total Air Conditioner Works
4 | Total Electrical Works
Grand Total Omar Almukhtar HCU carried to summary
Grand total in words USD
Name of the contractor:
Contact Person:
Position:
Email:
Mobile Number:
Address
Signature and stamp of the contractor
Date: