**Annex - 2**

Price Schedule Form

***This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)***

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. **UNDP-RFQ-2019-454**:

**The Bidder is required to prepare the Price Schedule as indicated in the Instruction to Bidders.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No** | **Item Name** | **Specification** |  **Quantity**  | **Unit Price (PKR)** | **Total Price (PKR)** |
| **1** | **DGPS GNSS (RTK & STATIC.** | GNSS for Base station of GCPOperation Modes: RTK & STATICSignal Tracking: GPS, GLONASS, BeidouNumber of Channels: 500 (minimum)Accuracies & Initialization Time: RTK Mode: Hz 8 mm + 1 ppm / V 15 mm + 1 ppmStatic Mode: Hz 3 mm + 0.1 ppm / V 3.5 mm + 0.4 ppmDGPS/RTCM: 25cmInitialization Time: 4 to 5 secondsMemories: Internal, SD Card and USBCommunication Ports: USB, RS232 serial, BluetoothRTK Link: Integrated UHF & Cellular (GSM/CDM/GPRS/UMTS) modulesSystem ruggedness: IP68 Radio configuration via field controller: Add, Delete and Edit of Radio channels and frequencies from Field controllerField software Data formats: RAW Data, Esri Shape file, ASCII, DXF, FBK and XML Data features Supported in Field Software: Point, Line, Arc, Polygon, alignment and DTM Transformation Calculator: Field software capability to compute new transformation parametersMap / 3d View:Field software capability of Map and 3d view of dataGNSS Data Processing Software SpecificationsProcessing GNSS: Multi frequency processing of GNSS static and kinematicObservation data including events GNSS data analysis tools for viewing.Tilt angle feature: 15-degree angle tilt feature for accuracy | **01** |  |  |
| **2** | **External Radio** | External Radio for wide range approx. 30 to 100 Km MHZ with ACCESSORIES ETC | **01** |  |  |
| **3** | **Rover Device** | Rover Connection through external radio link to the base station rover receiver | **02** |  |  |
| **4** | **Data Collector Large Screen** | Collect data process for land parcel measurement. | **02** |  |  |
| **Transport & Insurance Cost (If any)** |  |
| **GRAND TOTAL as DAP Peshawar-Pakistan** |  |

**Table 2:**

|  |  |
| --- | --- |
| **Other Information pertaining to our Quotation are as follows :** | **Your Responses** |
| ***Yes, we will comply*** | ***No, we cannot comply*** | ***If you cannot comply, pls. indicate counter proposal*** |
| Delivery Lead Time (45 Days) |  |  |  |
| Validity of Quotation (90 Days) |   |  |  |
| Acceptance of All Provisions of the UNDP General Terms and Conditions |  |  |  |
| Confirmation of One Year Warranty and after sales services locally including replacement of faulty equipment. |  |  |  |
|  |  |  |  |

Authorized Signature [*In full and initials*]:

Name and Title of Signatory:

Name of Firm:

 Contact Details:

**Annex 3**

Bid Submission Form

*(This should be written in the Letterhead of the Bidder. Except for indicated fields, no changes may be made in this template.)*

Insert: Location

Insert: Date

To: [*insert: Name and Address of UNDP focal point]*

Dear Sir/Madam:

 We, the undersigned, hereby offer to supply the goods and related services required for [*insert: title of goods and services required as per RFQ*]in accordance with your Request for Quotation dated Insert: bid date. We are hereby submitting our Bid for \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ which includes the Technical Bid and Price Schedule.

We hereby declare that:

1. All the information and statements made in this Bid are true and we accept that any misrepresentation contained in it may lead to our disqualification;
2. We are currently not on the removed or suspended vendor list of the UN or other such lists of other UN agencies, nor are we associated with, any company or individual appearing on the 1267/1989 list of the UN Security Council;
3. We have no outstanding bankruptcy or pending litigation or any legal action that could impair our operation as a going concern; and
4. We do not employ, nor anticipate employing, any person who is or was recently employed by the UN or UNDP.

We confirm that we have read, understood and hereby fully accept the Schedule of Requirements and Technical Specifications describing the duties and responsibilities required of us in this RFQ, and the General Terms and Conditions of UNDP’s Standard Contract for this RFQ.

We agree to abide by this Bid for *[insert: period of validity as indicated in Data Sheet].*

 We undertake, if our Bid is accepted, to initiate the supply of goods and provision of related services not later than the date indicated in the Data Sheet.

We fully understand and recognize that UNDP is not bound to accept this Bid, that we shall bear all costs associated with its preparation and submission, and that UNDP will in no case be responsible or liable for those costs, regardless of the conduct or outcome of the evaluation.

Yours sincerely,

Authorized Signature [*In full and initials*]:

Name and Title of Signatory:

Name of Firm:

 Contact Details:

*[please mark this letter with your corporate seal, if available]*