Annex 2

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. _______:

TABLE 1 :  Offer to Supply Goods Compliant with Technical Specifications and Requirements

| No. | Description | Unit | Quantity | Unit Price (US$) | Amount (US$) | Delivery Schedule |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6=4x5 |  |
| Location of Project: Suri Laran, Bobonaro Municipality |  |  |  |  |  |
|  | SUPPLY, TRANSPORT TO SITE AND INSTALLATION OF 60M3 PREFABRICATED STEEL WATER TANK & ACCESSORIES (including transport to site, preparation and installation to make the entire water supply system fully operable as per the following): |  |  |  |  |  |
| A | Site preparation, cleaning, levelling and compaction | m² | 196 |  |  |  |
| B | Supply and Installation of 60m3 prefabricated steel water tank as per specifications and complete with RC perimeter beam, inlet, outlet, overflow, washout valve, ventilation pipe, fittings and accessories. Construction of RC Perimeter Beam ~ 5.83 dia – (reinforcement steel 6mm & 10mm, concrete mix 1:2:3, sieved sand and compacted backfill to base/perimeter beam. (Diameter ~ 5.83 m, height 2.2 m), internal liner with 5 layers reinforced; Steel Corrugated Wall and Roof Sheets 50mm FL inlet - C/L 200mm below top ring, leaf filter basket with light guard; Valve control box (geometry of 1 x 1 meter to control the outlet for the tank); 2 x 50 mm steel ball valve including Fire Fighting Coupling) vent hole C/L 100mm below top of the wall (vent holes in vertical lines of each outlet position). Magnesium anodes for corrosion protection 50 mm scour drain, Lockable Access Hatch 100 mm bell mouth overflow, overflow pipe, box and drain Water level gauge, 2 x DN50 float valve & ball Tank Roof Fascia Removable internal / external ladder Concrete strip/band around the tank (~ 1 meter buffer from the tank wall) Complete hydrostatic testing witnessed by the representatives from the project and local authorities with certificate as evidence of compliance along with the statement of warranty issued for at least > 10 years | No | 1 |  |  |  |
| C | Installation of chain link mesh fencing secured to galvanized HS pipes embedded in concrete base (as per design specification) around the water tank – 12 meters X 12 meters, height 2.2 m, inclined – 3 rows barbed wires at the top, installation of swing gate | LM | 144 |  |  |  |

TABLE 2:  Estimated Operating Costs (if applicable)

| List of Consumable Item/s (Include fast moving parts, if any) | Estimated Average Consumption | Unit of Measure | Unit Price | Total Price per Item |
| --- | --- | --- | --- | --- |

TABLE 3 : Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows: | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter proposal |
| Delivery Terms |  |  |  |
| Warranty and After-Sales Requirements: a) Warranty Conditions: Minimum of 10-year warranty on the water-tank installation |  |  |  |
| Payment Terms |  |  |  |
| Liquidated Damages Conditions |  |  |  |
| Validity of Quotation |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |
| Other requirements [pls. specify] |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

This serves as a guide to the Supplier in preparing the quotation and price schedule.

Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes