{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Summary","Valleys","Cleaning"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Summary","index":0,"n_rows":5,"n_cols":3,"rows_kept":5,"cut":false,"hidden":false,"merged":[]}
[null,"Lot5. Sewage Mosul"]
["#","Name of place","Cost $"]
[1,"Rehabilitation of the Valleys - Mosul - Ninwa Governorate ",{"$f":"Valleys!F46","v":0}]
[2,"Cleaning up of the network of rain water & sewage- on the left coast- Mosul - Ninwa Governorate ",{"$f":"Cleaning!F90","v":0}]
[null,"Total",{"$f":"SUM(C3:C4)","v":0}]

{"sheet":"Valleys","index":1,"n_rows":46,"n_cols":6,"rows_kept":46,"cut":false,"hidden":false,"merged":[[0,0,0,5],[2,1,2,5],[3,1,3,5],[4,1,4,5],[5,1,5,5],[8,2,9,2],[8,3,9,3],[8,4,9,4],[8,5,9,5],[10,2,11,2],[10,3,11,3],[10,4,11,4],[10,5,11,5],[12,2,13,2],[12,3,13,3],[12,4,13,4],[12,5,13,5],[14,2,15,2],[14,3,15,3],[14,4,15,4],[14,5,15,5],[16,2,17,2],[16,3,17,3],[16,4,17,4],[16,5,17,5],[18,2,19,2],[18,3,19,3],[18,4,19,4],[18,5,19,5],[20,2,21,2],[20,3,21,3],[20,4,21,4],[20,5,21,5],[22,2,23,2],[22,3,23,3],[22,4,23,4],[22,5,23,5],[24,2,25,2],[24,3,25,3],[24,4,25,4],[24,5,25,5],[27,2,28,2],[27,3,28,3],[27,4,28,4],[27,5,28,5],[29,2,30,2],[29,3,30,3],[29,4,30,4],[29,5,30,5],[31,2,32,2],[31,3,32,3],[31,4,32,4],[31,5,32,5],[33,2,34,2],[33,3,34,3],[33,4,34,4],[33,5,34,5],[35,2,36,2],[35,3,36,3],[35,4,36,4],[35,5,36,5],[37,2,38,2],[37,3,38,3],[37,4,38,4],[37,5,38,5],[39,2,40,2],[39,3,40,3],[39,4,40,4],[39,5,40,5],[45,1,45,4],[41,2,42,2],[41,3,42,3],[41,4,42,4],[41,5,42,5],[43,2,44,2],[43,3,44,3],[43,4,44,4],[43,5,44,5]]}
["Rehabilitation of the Valleys - Mosul - Ninwa Governorate "]
[null,"General Specification : "]
[null," 1- All works according to the instruction by the supervision Engineering Committee"]
[null,"2- All the materials supplied by the contractor must be according to Iraq standards"]
[null,"3- The contractor must provide samples , catalogues and specification of materials for testing and approval by the site engineer before supplying"]
[null,"4- Contractor must pay the cost for samples including and laboratory test required"]
["#","Item Description","Unit","Qty","price$","Total $"]
[1," Cleaning out  the valley from rubble, waste & weed as per required, using different size of excavators according to job requirement to shape the both sides of the valley the price should include removing all rubble out of the site to locations determined by the municipality of Mosul."]
[null,"Al-masarof area","ML",2000,null,{"$f":"D9*E9","v":0}]
[null,"وادي  حي المصارف"]
[null,"University area from AL-Hadbaa sub-station to the forestry","ML",3000,null,{"$f":"D11*E11","v":0}]
[null,"وادي الجامعة من محطة الحدباء الى الغابات "]
[null,"Adan area from treatment sub-station to the two side in Tammem area near from pills stores","ML",2000,null,{"$f":"D13*E13","v":0}]
[null,"وادي حي عدن من محطة المعالجة ال سايدين حي التأميم قرب مخازن الحبوب"]
[null,"Al-khazraa area flats","ML",4000,null,{"$f":"D15*E15","v":0}]
[null,"وادي شقق الخضراء"]
[null,"Al-snaa' area from pills stores to the river","ML",4000,null,{"$f":"D17*E17","v":0}]
[null,"وادي الصناعة من مخازن الحبوب الى النهر"]
[null,"Alkharazi area from Alkharazi sub-station to khosar area","ML",1100,null,{"$f":"D19*E19","v":0}]
[null,"وادي الخرازي من محطة الخرازي الى نهر الخوصر "]
[null,"Main street of Kirkuk Road  to the river","ML",2000,null,{"$f":"D21*E21","v":0}]
[null,"الوادي المحاذي الى الشارع الرئيسي لطريق كركوك الى النهر "]
[null,"Alkbaa',shrekhan,& AlRashedea","ML",3000,null,{"$f":"D23*E23","v":0}]
[null,"وديان منطقة الكبة و شريخان و الرشيدية "]
[null,"Sporadic Valleys on the left coast - AL-Intsaar,Al-Forqaan, Al-Zubbaat, Al-Zhraa' 90 &kokjally areas","ML",4000,null,{"$f":"D25*E25","v":0}]
[null,"وديان متفرقة في الموصل / الساحل الايسر ( حي الانتصار , الفرقان , الضباط , الزهراء 90 , كوكجلي )"]
[2,"Cleaning the culverts   which lies in the course of valley using machinery & labor  to remove all rubble out of the site to locations determined by the municipality of Mosul."]
[null,"Al-masarof area","ML",150,null,{"$f":"D28*E28","v":0}]
[null,"وادي  حي المصارف"]
[null,"University area from AL-Hadbaa sub-station to the forestry","ML",150,null,{"$f":"D30*E30","v":0}]
[null,"وادي الجامعة من محطة الحدباء الى الغابات "]
[null,"Adan area from treatment sub-station to the two side in Tammem area near from pills stores","ML",200,null,{"$f":"D32*E32","v":0}]
[null,"وادي حي عدن من محطة المعالجة ال سايدين حي التأميم قرب مخازن الحبوب"]
[null,"Al-khazraa area flats","ML",250,null,{"$f":"D34*E34","v":0}]
[null,"وادي شقق الخضراء"]
[null,"Al-snaa' area from pills stores to the river","ML",300,null,{"$f":"D36*E36","v":0}]
[null,"وادي الصناعة من مخازن الحبوب الى النهر"]
[null,"Alkharazi area from Alkharazi sub-station to khosar area","ML",50,null,{"$f":"D38*E38","v":0}]
[null,"وادي الخرازي من محطة الخرازي الى نهر الخوصر "]
[null,"Main street of Kirkuk Road  to the river","ML",60,null,{"$f":"D40*E40","v":0}]
[null,"الوادي المحاذي الى الشارع الرئيسي لطريق كركوك الى النهر "]
[null,"Alkbaa',shrekhan,& AlRashedea","ML",50,null,0]
[null,"وديان منطقة الكبة و شريخان و الرشيدية "]
[null,"Sporadic Valleys on the left coast - AL-Intsaar,Al-Forqaan, Al-Zubbaat, Al-Zhraa' 90 &kokjally areas","ML",100,null,{"$f":"D44*E44","v":0}]
[null,"وديان متفرقة في الموصل / الساحل الايسر ( حي الانتصار , الفرقان , الضباط , الزهراء 90 , كوكجلي )"]
[null,"Total",null,null,null,{"$f":"SUM(F9:F45)","v":0}]

{"sheet":"Cleaning","index":2,"n_rows":90,"n_cols":6,"rows_kept":90,"cut":false,"hidden":false,"merged":[[0,0,0,5],[2,1,2,5],[5,0,6,0],[5,2,6,2],[5,3,6,3],[5,4,6,4],[5,5,6,5],[7,0,8,0],[7,2,8,2],[7,3,8,3],[7,4,8,4],[7,5,8,5],[9,0,10,0],[9,2,10,2],[9,3,10,3],[9,4,10,4],[9,5,10,5],[11,0,12,0],[11,2,12,2],[11,3,12,3],[11,4,12,4],[11,5,12,5],[13,0,14,0],[13,2,14,2],[13,3,14,3],[13,4,14,4],[13,5,14,5],[15,0,16,0],[15,2,16,2],[15,3,16,3],[15,4,16,4],[15,5,16,5],[17,0,18,0],[17,2,18,2],[17,3,18,3],[17,4,18,4],[17,5,18,5],[19,0,20,0],[19,2,20,2],[19,3,20,3],[19,4,20,4],[19,5,20,5],[21,0,22,0],[21,2,22,2],[21,3,22,3],[21,4,22,4],[21,5,22,5],[23,0,24,0],[23,2,24,2],[23,3,24,3],[23,4,24,4],[23,5,24,5],[25,0,26,0],[25,2,26,2],[25,3,26,3],[25,4,26,4],[25,5,26,5],[27,0,28,0],[27,2,28,2],[27,3,28,3],[27,4,28,4],[27,5,28,5],[29,0,30,0],[29,2,30,2],[29,3,30,3],[29,4,30,4],[29,5,30,5],[31,0,32,0],[31,2,32,2],[31,3,32,3],[31,4,32,4],[31,5,32,5],[33,0,34,0],[33,2,34,2],[33,3,34,3],[33,4,34,4],[33,5,34,5],[35,0,36,0],[35,2,36,2],[35,3,36,3],[35,4,36,4],[35,5,36,5],[37,0,38,0],[37,2,38,2],[37,3,38,3],[37,4,38,4],[37,5,38,5],[39,0,40,0],[39,2,40,2],[39,3,40,3],[39,4,40,4],[39,5,40,5],[41,0,42,0],[41,2,42,2],[41,3,42,3],[41,4,42,4],[41,5,42,5],[43,0,44,0],[43,2,44,2],[43,3,44,3],[43,4,44,4],[43,5,44,5],[45,0,46,0],[45,2,46,2],[45,3,46,3],[45,4,46,4],[45,5,46,5],[47,0,48,0],[47,2,48,2],[47,3,48,3],[47,4,48,4],[47,5,48,5],[49,0,50,0],[49,2,50,2],[49,3,50,3],[49,4,50,4],[49,5,50,5],[51,0,52,0],[51,2,52,2],[51,3,52,3],[51,4,52,4],[51,5,52,5],[53,0,54,0],[53,2,54,2],[53,3,54,3],[53,4,54,4],[53,5,54,5],[55,0,56,0],[55,2,56,2],[55,3,56,3],[55,4,56,4],[55,5,56,5],[57,0,58,0],[57,2,58,2],[57,3,58,3],[57,4,58,4],[57,5,58,5],[59,0,60,0],[59,2,60,2],[59,3,60,3],[59,4,60,4],[59,5,60,5],[61,0,62,0],[61,2,62,2],[61,3,62,3],[61,4,62,4],[61,5,62,5],[63,0,64,0],[63,2,64,2],[63,3,64,3],[63,4,64,4],[63,5,64,5],[65,0,66,0],[65,2,66,2],[65,3,66,3],[65,4,66,4],[65,5,66,5],[67,0,68,0],[67,2,68,2],[67,3,68,3],[67,4,68,4],[67,5,68,5],[69,0,70,0],[69,2,70,2],[69,3,70,3],[69,4,70,4],[69,5,70,5],[71,0,72,0],[71,2,72,2],[71,3,72,3],[71,4,72,4],[71,5,72,5],[73,0,74,0],[73,2,74,2],[73,3,74,3],[73,4,74,4],[73,5,74,5],[75,0,76,0],[75,2,76,2],[75,3,76,3],[75,4,76,4],[75,5,76,5],[77,0,78,0],[77,2,78,2],[77,3,78,3],[77,4,78,4],[77,5,78,5],[79,0,80,0],[79,2,80,2],[79,3,80,3],[79,4,80,4],[79,5,80,5],[81,0,82,0],[81,2,82,2],[81,3,82,3],[81,4,82,4],[81,5,82,5],[87,0,88,0],[87,2,88,2],[87,3,88,3],[87,4,88,4],[87,5,88,5],[89,1,89,4],[83,0,84,0],[83,2,84,2],[83,3,84,3],[83,4,84,4],[83,5,84,5],[85,0,86,0],[85,2,86,2],[85,3,86,3],[85,4,86,4],[85,5,86,5]]}
["Cleaning up of the network of rain water & sewage- on the left coast- Mosul - Ninwa Governorate "]
[null,"General Specification : "]
[null," 1- All works according to the instruction by the supervision Engineering Committee"]
["#","Item Description","Unit","Qty","price$","Total $"]
[null,"Providing labor, material and machineries to   clean and flush manholes ,  gullies  and all  pipes the of rain water  & sewage, using manual and machinery ways (vacuum and push),the work includes renting (skilled labors, Unskilled labors, Tractors with wagon and Tankers) and provision the safety requirement before start work (Gas detectors) \nNotice:\n1- The Contractor can use the Specialist Jetting tanker if required to open difficult blockages.\n2-Remove the rubble out of the site to locations determined by the municipality of Mosul."]
[1,"Kokjaly","ML",2000,null,{"$f":"D6*E6","v":0}]
[null,"كوكجلي"]
[2,"Al-Samah area","ML",1000,null,{"$f":"D8*E8","v":0}]
[null,"حي السماح"]
[3,"Al-khazraa area","ML",12000,null,{"$f":"D10*E10","v":0}]
[null,"حي الخضراء"]
[4,"Al-Qudus","ML",3000,null,{"$f":"D12*E12","v":0}]
[null,"القدس"]
[5,"Al-Karama","ML",4000,null,{"$f":"D14*E14","v":0}]
[null,"الكرامة"]
[6,"And area","ML",2000,null,{"$f":"D16*E16","v":0}]
[null,"حي عدن"]
[7,"Al-intsar","ML",500,null,{"$f":"D18*E18","v":0}]
[null,"الأنتصار"]
[8,"Al-Zhraa","ML",5000,null,{"$f":"D20*E20","v":0}]
[null,"الزهراء"]
[9,"Al-Tahreer","ML",4000,null,{"$f":"D22*E22","v":0}]
[null,"التحرير"]
[10,"Al-Qahera","ML",1000,null,{"$f":"D24*E24","v":0}]
[null,"القاهرة"]
[11,"Al-Bkr & Al-Ikhaa area","ML",6000,null,{"$f":"D26*E26","v":0}]
[null,"حي البكر والأخاء"]
[12,"Al-Qadseea Al-thaneaa","ML",2000,null,{"$f":"D28*E28","v":0}]
[null,"القادسية الثانية"]
[13,"Al-Qadseea Al-Iwla","ML",2000,null,{"$f":"D30*E30","v":0}]
[null,"القادسية الاولى"]
[14,"Al-Mruir","ML",5000,null,{"$f":"D32*E32","v":0}]
[null,"المرور"]
[15,"Al-Mshraq","ML",1000,null,{"$f":"D34*E34","v":0}]
[null,"المشراق"]
[16,"Al-Mharebben","ML",2000,null,{"$f":"D36*E36","v":0}]
[null,"المحاربين"]
[17,"Al-Jameaa","ML",1000,null,{"$f":"D38*E38","v":0}]
[null,"الجامعة"]
[18,"Al-Zuhwer","ML",4000,null,{"$f":"D40*E40","v":0}]
[null,"الزهور"]
[19,"Al-Nuir","ML",3000,null,{"$f":"D42*E42","v":0}]
[null,"النور"]
[20,"Al-Tameem","ML",1000,null,{"$f":"D44*E44","v":0}]
[null,"التأميم"]
[21,"Al-Sinaa","ML",1000,null,{"$f":"D46*E46","v":0}]
[null,"الصناعة"]
[22,"Al-Mechaq","ML",2000,null,{"$f":"D48*E48","v":0}]
[null,"الميثاق"]
[23,"Al-Slam","ML",1000,null,{"$f":"D50*E50","v":0}]
[null,"حي السلام"]
[24,"Somar","ML",3000,null,{"$f":"D52*E52","v":0}]
[null,"سومر"]
[25,"Palestine","ML",2000,null,{"$f":"D54*E54","v":0}]
[null,"فلسطين"]
[26,"Domees","ML",3000,null,{"$f":"D56*E56","v":0}]
[null,"دوميز"]
[27,"Al-Whda","ML",3000,null,{"$f":"D58*E58","v":0}]
[null,"الوحدة"]
[28,"Al-Gwfran area","ML",4000,null,{"$f":"D60*E60","v":0}]
[null,"حي الغفران"]
[29,"Al-Maleea","ML",4000,null,{"$f":"D62*E62","v":0}]
[null,"المالية"]
[30,"Al-Zwbaat","ML",2000,null,{"$f":"D64*E64","v":0}]
[null,"الضباط"]
[31,"Al-Faesalea","ML",3000,null,{"$f":"D66*E66","v":0}]
[null,"الفيصلية"]
[32,"Al-Gazaer","ML",4000,null,{"$f":"D68*E68","v":0}]
[null,"الجزائر"]
[33,"Al-Mgmuaa & Al-Shurta","ML",4000,null,{"$f":"D70*E70","v":0}]
[null,"المجموعة والشرطة"]
[34,"Al-Andalus","ML",1000,null,{"$f":"D72*E72","v":0}]
[null,"الأندلس"]
[35,"Al-Arabi area","ML",3000,null,{"$f":"D74*E74","v":0}]
[null,"حي العربي"]
[36,"Al-Rashedea","ML",4000,null,{"$f":"D76*E76","v":0}]
[null,"الرشيدية"]
[37,"Al-Gabat","ML",2000,null,{"$f":"D78*E78","v":0}]
[null,"الغابات"]
[38,"Al-bena Al-jahiz","ML",2000,null,{"$f":"D80*E80","v":0}]
[null,"البناء الجاهز"]
[39,"Al-Hadbaa","ML",2000,null,{"$f":"D82*E82","v":0}]
[null,"الحدباء"]
[40,"Al-sukar & Al-Baladiyat","ML",5000,null,{"$f":"D84*E84","v":0}]
[null,"السكر والبلديات"]
[41,"Al-Bared,Al-Muthna & Al-Rifaq","ML",5000,null,{"$f":"D86*E86","v":0}]
[null,"البريد والمثنى والرفاق"]
[42,"Al-Sdeeq area","ML",2000,null,{"$f":"D88*E88","v":0}]
[null,"حي الصديق"]
[null,"Total",null,null,null,{"$f":"SUM(F6:F89)","v":0}]