{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["BOQ"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"BOQ","index":0,"n_rows":24,"n_cols":6,"rows_kept":24,"cut":false,"hidden":false,"merged":[[13,15521,13,15526],[13,15527,13,15532],[13,15533,13,15538],[13,15539,13,15544],[13,15545,13,15550],[13,15947,13,15952],[13,15845,13,15850],[13,15851,13,15856],[13,15857,13,15862],[13,15863,13,15868],[13,15869,13,15874],[13,15875,13,15880],[13,15893,13,15898],[13,15575,13,15580],[13,15581,13,15586],[13,15587,13,15592],[13,15593,13,15598],[13,15599,13,15604],[13,15605,13,15610],[13,15611,13,15616],[13,15617,13,15622],[13,15623,13,15628],[13,15797,13,15802],[13,15803,13,15808],[13,15809,13,15814],[13,15815,13,15820],[13,15821,13,15826],[13,15827,13,15832],[13,15833,13,15838],[13,15839,13,15844],[13,15881,13,15886],[13,15887,13,15892],[13,16043,13,16048],[13,16049,13,16054],[13,16055,13,16060],[13,15953,13,15958],[13,15959,13,15964],[13,15965,13,15970],[13,15971,13,15976],[13,15977,13,15982],[13,15983,13,15988],[13,15989,13,15994],[13,15995,13,16000],[13,16001,13,16006],[13,16007,13,16012],[13,16013,13,16018],[13,15899,13,15904],[13,15905,13,15910],[13,15911,13,15916],[13,15917,13,15922],[13,15923,13,15928],[13,15929,13,15934],[13,15935,13,15940],[13,15941,13,15946],[13,15791,13,15796],[13,16211,13,16216],[13,16217,13,16222],[13,16115,13,16120],[13,16121,13,16126],[13,16127,13,16132],[13,16133,13,16138],[13,16139,13,16144],[13,16145,13,16150],[13,16151,13,16156],[13,16157,13,16162],[13,16163,13,16168],[13,16061,13,16066],[13,16067,13,16072],[13,16073,13,16078],[13,16079,13,16084],[13,16085,13,16090],[13,16091,13,16096],[13,16097,13,16102],[13,16103,13,16108],[13,16109,13,16114],[13,16199,13,16204],[13,16205,13,16210],[13,16169,13,16174],[13,16175,13,16180],[13,16181,13,16186],[13,16187,13,16192],[13,16193,13,16198],[13,16019,13,16024],[13,16025,13,16030],[13,16031,13,16036],[13,16037,13,16042],[13,16343,13,16348],[13,16349,13,16354],[13,16355,13,16360],[13,16361,13,16366],[13,16367,13,16372],[13,16373,13,16378],[13,16379,13,16382],[13,16277,13,16282],[13,16283,13,16288],[13,16289,13,16294],[13,16295,13,16300],[13,16301,13,16306],[13,16307,13,16312],[13,16313,13,16318],[13,16319,13,16324],[13,16325,13,16330],[13,16223,13,16228],[13,16229,13,16234],[13,16235,13,16240],[13,16241,13,16246],[13,16247,13,16252],[13,16253,13,16258],[13,16259,13,16264],[13,16265,13,16270],[13,16271,13,16276],[13,16331,13,16336],[13,16337,13,16342],[13,15551,13,15556],[13,15557,13,15562],[13,15563,13,15568],[13,15569,13,15574],[13,15779,13,15784],[13,15785,13,15790],[13,15683,13,15688],[13,15689,13,15694],[13,15695,13,15700],[13,15701,13,15706],[13,15707,13,15712],[13,15713,13,15718],[13,15719,13,15724],[13,15725,13,15730],[13,15731,13,15736],[13,15629,13,15634],[13,15635,13,15640],[13,15641,13,15646],[13,15647,13,15652],[13,15653,13,15658],[13,15659,13,15664],[13,15665,13,15670],[13,15671,13,15676],[13,15677,13,15682],[13,15737,13,15742],[13,15743,13,15748],[13,15749,13,15754],[13,15755,13,15760],[13,15761,13,15766],[13,15767,13,15772],[13,15773,13,15778],[13,15515,13,15520],[13,15413,13,15418],[13,15419,13,15424],[13,15425,13,15430],[13,15431,13,15436],[13,15437,13,15442],[13,15443,13,15448],[13,15449,13,15454],[13,15455,13,15460],[13,15461,13,15466],[13,15143,13,15148],[13,15149,13,15154],[13,15155,13,15160],[13,15161,13,15166],[13,15167,13,15172],[13,15173,13,15178],[13,15179,13,15184],[13,15185,13,15190],[13,15191,13,15196],[13,15359,13,15364],[13,15365,13,15370],[13,15371,13,15376],[13,15377,13,15382],[13,15383,13,15388],[13,15389,13,15394],[13,15395,13,15400],[13,15401,13,15406],[13,15407,13,15412],[13,15467,13,15472],[13,15473,13,15478],[13,15479,13,15484],[13,15485,13,15490],[13,15491,13,15496],[13,15497,13,15502],[13,15503,13,15508],[13,15509,13,15514],[13,15299,13,15304],[13,15197,13,15202],[13,15203,13,15208],[13,15209,13,15214],[13,15215,13,15220],[13,15221,13,15226],[13,15227,13,15232],[13,15233,13,15238],[13,15239,13,15244],[13,15245,13,15250],[13,15305,13,15310],[13,15311,13,15316],[13,15317,13,15322],[13,15323,13,15328],[13,15329,13,15334],[13,15335,13,15340],[13,15341,13,15346],[13,15347,13,15352],[13,15353,13,15358],[13,15137,13,15142],[13,15251,13,15256],[13,15257,13,15262],[13,15263,13,15268],[13,15269,13,15274],[13,15275,13,15280],[13,15281,13,15286],[13,15287,13,15292],[13,15293,13,15298],[13,15047,13,15052],[13,15053,13,15058],[13,15059,13,15064],[13,15065,13,15070],[13,15071,13,15076],[13,15077,13,15082],[13,15083,13,15088],[13,15089,13,15094],[13,15095,13,15100],[13,15101,13,15106],[13,15107,13,15112],[13,15113,13,15118],[13,15119,13,15124],[13,15125,13,15130],[13,15131,13,15136],[13,14591,13,14596],[13,14597,13,14602],[13,15011,13,15016],[13,14867,13,14872],[13,14765,13,14770],[13,14771,13,14776],[13,14777,13,14782],[13,14783,13,14788],[13,14789,13,14794],[13,14795,13,14800],[13,14801,13,14806],[13,14807,13,14812],[13,14813,13,14818],[13,14873,13,14878],[13,14879,13,14884],[13,14885,13,14890],[13,14891,13,14896],[13,14897,13,14902],[13,14903,13,14908],[13,14909,13,14914],[13,14981,13,14986],[13,14987,13,14992],[13,14993,13,14998],[13,14999,13,15004],[13,15005,13,15010],[13,14855,13,14860],[13,14861,13,14866],[13,14957,13,14962],[13,14963,13,14968],[13,14969,13,14974],[13,14975,13,14980],[13,14837,13,14842],[13,14717,13,14722],[13,14723,13,14728],[13,14729,13,14734],[13,14735,13,14740],[13,14741,13,14746],[13,14747,13,14752],[13,14753,13,14758],[13,14759,13,14764],[13,14663,13,14668],[13,14603,13,14608],[13,14609,13,14614],[13,14615,13,14620],[13,14621,13,14626],[13,14627,13,14632],[13,14633,13,14638],[13,14705,13,14710],[13,14681,13,14686],[13,14687,13,14692],[13,14693,13,14698],[13,14699,13,14704],[13,14639,13,14644],[13,14711,13,14716],[13,15017,13,15022],[13,15023,13,15028],[13,15029,13,15034],[13,14921,13,14926],[13,15035,13,15040],[13,15041,13,15046],[13,14495,13,14500],[13,14501,13,14506],[13,14507,13,14512],[13,14513,13,14518],[13,14519,13,14524],[13,14525,13,14530],[13,14531,13,14536],[13,14537,13,14542],[13,14543,13,14548],[13,14657,13,14662],[13,14933,13,14938],[13,14939,13,14944],[13,14945,13,14950],[13,14951,13,14956],[13,14843,13,14848],[13,14849,13,14854],[13,14651,13,14656],[13,14549,13,14554],[13,14555,13,14560],[13,14561,13,14566],[13,14567,13,14572],[13,14573,13,14578],[13,14579,13,14584],[13,14585,13,14590],[13,14915,13,14920],[13,14927,13,14932],[13,14819,13,14824],[13,14825,13,14830],[13,14831,13,14836],[13,14669,13,14674],[13,14675,13,14680],[13,14309,13,14314],[13,14315,13,14320],[13,14321,13,14326],[13,14327,13,14332],[13,14489,13,14494],[13,14201,13,14206],[13,14207,13,14212],[13,14213,13,14218],[13,14003,13,14008],[13,14285,13,14290],[13,14291,13,14296],[13,14297,13,14302],[13,14303,13,14308],[13,14441,13,14446],[13,14447,13,14452],[13,14453,13,14458],[13,14459,13,14464],[13,14465,13,14470],[13,14471,13,14476],[13,14477,13,14482],[13,14483,13,14488],[13,14393,13,14398],[13,14429,13,14434],[13,14333,13,14338],[13,14645,13,14650],[13,14267,13,14272],[13,14063,13,14068],[13,14219,13,14224],[13,14117,13,14122],[13,14123,13,14128],[13,14129,13,14134],[13,14135,13,14140],[13,14141,13,14146],[13,14147,13,14152],[13,14153,13,14158],[13,14159,13,14164],[13,14165,13,14170],[13,14435,13,14440],[13,14399,13,14404],[13,14405,13,14410],[13,14411,13,14416],[13,14417,13,14422],[13,14423,13,14428],[13,14363,13,14368],[13,14369,13,14374],[13,14375,13,14380],[13,14381,13,14386],[13,14273,13,14278],[13,14387,13,14392],[13,14225,13,14230],[13,14231,13,14236],[13,14237,13,14242],[13,14195,13,14200],[13,14339,13,14344],[13,14345,13,14350],[13,14351,13,14356],[13,14357,13,14362],[13,14279,13,14284],[13,14243,13,14248],[13,13883,13,13888],[13,13889,13,13894],[13,13895,13,13900],[13,14009,13,14014],[13,14015,13,14020],[13,14021,13,14026],[13,14027,13,14032],[13,14033,13,14038],[13,14039,13,14044],[13,14045,13,14050],[13,14051,13,14056],[13,13991,13,13996],[13,13997,13,14002],[13,13979,13,13984],[13,13985,13,13990],[13,13931,13,13936],[13,13937,13,13942],[13,13901,13,13906],[13,13925,13,13930],[13,13907,13,13912],[13,13913,13,13918],[13,13919,13,13924],[13,13943,13,13948],[13,13949,13,13954],[13,13961,13,13966],[13,13967,13,13972],[13,13973,13,13978],[13,14249,13,14254],[13,14255,13,14260],[13,14261,13,14266],[13,13793,13,13798],[13,13799,13,13804],[13,13805,13,13810],[13,13811,13,13816],[13,13817,13,13822],[13,13823,13,13828],[13,13829,13,13834],[13,13835,13,13840],[13,14057,13,14062],[13,14171,13,14176],[13,14177,13,14182],[13,14183,13,14188],[13,14189,13,14194],[13,14069,13,14074],[13,14075,13,14080],[13,14081,13,14086],[13,14087,13,14092],[13,14093,13,14098],[13,14099,13,14104],[13,14105,13,14110],[13,14111,13,14116],[13,13841,13,13846],[13,13955,13,13960],[13,13847,13,13852],[13,13853,13,13858],[13,13859,13,13864],[13,13865,13,13870],[13,13871,13,13876],[13,13877,13,13882],[13,13265,13,13270],[13,13271,13,13276],[13,13277,13,13282],[13,13283,13,13288],[13,13289,13,13294],[13,13295,13,13300],[13,13301,13,13306],[13,13415,13,13420],[13,13571,13,13576],[13,13469,13,13474],[13,13475,13,13480],[13,13481,13,13486],[13,13487,13,13492],[13,13493,13,13498],[13,13499,13,13504],[13,13505,13,13510],[13,13511,13,13516],[13,13517,13,13522],[13,13427,13,13432],[13,13433,13,13438],[13,13349,13,13354],[13,13331,13,13336],[13,13337,13,13342],[13,13547,13,13552],[13,13553,13,13558],[13,13787,13,13792],[13,13685,13,13690],[13,13691,13,13696],[13,13697,13,13702],[13,13703,13,13708],[13,13709,13,13714],[13,13715,13,13720],[13,13721,13,13726],[13,13625,13,13630],[13,13739,13,13744],[13,13745,13,13750],[13,13751,13,13756],[13,13757,13,13762],[13,13763,13,13768],[13,13769,13,13774],[13,13775,13,13780],[13,13781,13,13786],[13,13661,13,13666],[13,13667,13,13672],[13,13673,13,13678],[13,13679,13,13684],[13,13637,13,13642],[13,13643,13,13648],[13,13649,13,13654],[13,13655,13,13660],[13,13727,13,13732],[13,13733,13,13738],[13,13115,13,13120],[13,13121,13,13126],[13,13127,13,13132],[13,13133,13,13138],[13,13013,13,13018],[13,13019,13,13024],[13,13025,13,13030],[13,13031,13,13036],[13,12989,13,12994],[13,12995,13,13000],[13,13001,13,13006],[13,13007,13,13012],[13,13439,13,13444],[13,13445,13,13450],[13,13451,13,13456],[13,13457,13,13462],[13,13463,13,13468],[13,13193,13,13198],[13,13307,13,13312],[13,13313,13,13318],[13,13319,13,13324],[13,13325,13,13330],[13,13223,13,13228],[13,13229,13,13234],[13,13235,13,13240],[13,13241,13,13246],[13,13247,13,13252],[13,13361,13,13366],[13,13367,13,13372],[13,13373,13,13378],[13,13379,13,13384],[13,13385,13,13390],[13,13619,13,13624],[13,13631,13,13636],[13,13595,13,13600],[13,13601,13,13606],[13,13607,13,13612],[13,13613,13,13618],[13,13145,13,13150],[13,13151,13,13156],[13,13157,13,13162],[13,13163,13,13168],[13,13169,13,13174],[13,13175,13,13180],[13,13181,13,13186],[13,13187,13,13192],[13,13409,13,13414],[13,13523,13,13528],[13,13529,13,13534],[13,13535,13,13540],[13,13541,13,13546],[13,13421,13,13426],[13,13559,13,13564],[13,13565,13,13570],[13,13355,13,13360],[13,13253,13,13258],[13,13259,13,13264],[13,13577,13,13582],[13,13583,13,13588],[13,13589,13,13594],[13,13391,13,13396],[13,13397,13,13402],[13,13403,13,13408],[13,13343,13,13348],[13,12647,13,12652],[13,12653,13,12658],[13,12767,13,12772],[13,12923,13,12928],[13,12821,13,12826],[13,12827,13,12832],[13,12833,13,12838],[13,12839,13,12844],[13,12845,13,12850],[13,12851,13,12856],[13,12857,13,12862],[13,12863,13,12868],[13,12869,13,12874],[13,13199,13,13204],[13,13205,13,13210],[13,13211,13,13216],[13,13217,13,13222],[13,13139,13,13144],[13,13037,13,13042],[13,13043,13,13048],[13,13049,13,13054],[13,13055,13,13060],[13,13061,13,13066],[13,13067,13,13072],[13,13073,13,13078],[13,13079,13,13084],[13,13085,13,13090],[13,12977,13,12982],[13,13091,13,13096],[13,13097,13,13102],[13,13103,13,13108],[13,13109,13,13114],[13,12929,13,12934],[13,12935,13,12940],[13,12941,13,12946],[13,12575,13,12580],[13,12581,13,12586],[13,12587,13,12592],[13,12593,13,12598],[13,12599,13,12604],[13,12713,13,12718],[13,12719,13,12724],[13,12725,13,12730],[13,12731,13,12736],[13,12737,13,12742],[13,12743,13,12748],[13,12749,13,12754],[13,12755,13,12760],[13,12695,13,12700],[13,12701,13,12706],[13,12683,13,12688],[13,12689,13,12694],[13,12899,13,12904],[13,12905,13,12910],[13,12911,13,12916],[13,12917,13,12922],[13,12707,13,12712],[13,12605,13,12610],[13,12611,13,12616],[13,12617,13,12622],[13,12623,13,12628],[13,12629,13,12634],[13,12635,13,12640],[13,12641,13,12646],[13,12971,13,12976],[13,12983,13,12988],[13,12947,13,12952],[13,12953,13,12958],[13,12959,13,12964],[13,12965,13,12970],[13,12497,13,12502],[13,12503,13,12508],[13,12509,13,12514],[13,12515,13,12520],[13,12521,13,12526],[13,12527,13,12532],[13,12533,13,12538],[13,12539,13,12544],[13,12761,13,12766],[13,12875,13,12880],[13,12881,13,12886],[13,12887,13,12892],[13,12893,13,12898],[13,12773,13,12778],[13,12779,13,12784],[13,12785,13,12790],[13,12791,13,12796],[13,12797,13,12802],[13,12803,13,12808],[13,12809,13,12814],[13,12815,13,12820],[13,12545,13,12550],[13,12659,13,12664],[13,12665,13,12670],[13,12671,13,12676],[13,12677,13,12682],[13,12551,13,12556],[13,12557,13,12562],[13,12563,13,12568],[13,12569,13,12574],[13,12491,13,12496],[13,12389,13,12394],[13,12395,13,12400],[13,12401,13,12406],[13,12407,13,12412],[13,12413,13,12418],[13,12419,13,12424],[13,12425,13,12430],[13,12431,13,12436],[13,12437,13,12442],[13,12329,13,12334],[13,12443,13,12448],[13,12449,13,12454],[13,12455,13,12460],[13,12461,13,12466],[13,12467,13,12472],[13,12473,13,12478],[13,12479,13,12484],[13,12485,13,12490],[13,12365,13,12370],[13,12371,13,12376],[13,12377,13,12382],[13,12383,13,12388],[13,12341,13,12346],[13,12347,13,12352],[13,12353,13,12358],[13,12359,13,12364],[13,11969,13,11974],[13,11975,13,11980],[13,11981,13,11986],[13,11987,13,11992],[13,11993,13,11998],[13,11999,13,12004],[13,12005,13,12010],[13,12119,13,12124],[13,12275,13,12280],[13,12173,13,12178],[13,12179,13,12184],[13,12185,13,12190],[13,12191,13,12196],[13,12197,13,12202],[13,12203,13,12208],[13,12209,13,12214],[13,12215,13,12220],[13,12221,13,12226],[13,12131,13,12136],[13,12137,13,12142],[13,12143,13,12148],[13,12149,13,12154],[13,12155,13,12160],[13,12161,13,12166],[13,12167,13,12172],[13,11897,13,11902],[13,12011,13,12016],[13,12017,13,12022],[13,12023,13,12028],[13,12029,13,12034],[13,12281,13,12286],[13,12287,13,12292],[13,12293,13,12298],[13,11927,13,11932],[13,11933,13,11938],[13,11939,13,11944],[13,11945,13,11950],[13,11951,13,11956],[13,12065,13,12070],[13,12071,13,12076],[13,12077,13,12082],[13,12083,13,12088],[13,12089,13,12094],[13,12095,13,12100],[13,12101,13,12106],[13,12107,13,12112],[13,12047,13,12052],[13,12053,13,12058],[13,12035,13,12040],[13,12041,13,12046],[13,12251,13,12256],[13,12257,13,12262],[13,12263,13,12268],[13,12269,13,12274],[13,12059,13,12064],[13,11957,13,11962],[13,11963,13,11968],[13,11819,13,11824],[13,11825,13,11830],[13,11831,13,11836],[13,11837,13,11842],[13,11717,13,11722],[13,11723,13,11728],[13,11729,13,11734],[13,11735,13,11740],[13,11693,13,11698],[13,11699,13,11704],[13,11705,13,11710],[13,11711,13,11716],[13,12323,13,12328],[13,12335,13,12340],[13,12299,13,12304],[13,12305,13,12310],[13,12311,13,12316],[13,12317,13,12322],[13,11849,13,11854],[13,11855,13,11860],[13,11861,13,11866],[13,11867,13,11872],[13,11873,13,11878],[13,11879,13,11884],[13,11885,13,11890],[13,11891,13,11896],[13,12113,13,12118],[13,12227,13,12232],[13,12233,13,12238],[13,12239,13,12244],[13,12245,13,12250],[13,12125,13,12130],[13,11351,13,11356],[13,11357,13,11362],[13,11471,13,11476],[13,11627,13,11632],[13,11525,13,11530],[13,11531,13,11536],[13,11537,13,11542],[13,11543,13,11548],[13,11549,13,11554],[13,11555,13,11560],[13,11561,13,11566],[13,11567,13,11572],[13,11573,13,11578],[13,11903,13,11908],[13,11909,13,11914],[13,11915,13,11920],[13,11921,13,11926],[13,11843,13,11848],[13,11741,13,11746],[13,11747,13,11752],[13,11753,13,11758],[13,11759,13,11764],[13,11765,13,11770],[13,11771,13,11776],[13,11777,13,11782],[13,11783,13,11788],[13,11789,13,11794],[13,11681,13,11686],[13,11795,13,11800],[13,11801,13,11806],[13,11807,13,11812],[13,11813,13,11818],[13,11633,13,11638],[13,11639,13,11644],[13,11645,13,11650],[13,11279,13,11284],[13,11285,13,11290],[13,11291,13,11296],[13,11297,13,11302],[13,11303,13,11308],[13,11417,13,11422],[13,11423,13,11428],[13,11429,13,11434],[13,11435,13,11440],[13,11441,13,11446],[13,11447,13,11452],[13,11453,13,11458],[13,11459,13,11464],[13,11399,13,11404],[13,11405,13,11410],[13,11387,13,11392],[13,11393,13,11398],[13,11603,13,11608],[13,11609,13,11614],[13,11615,13,11620],[13,11621,13,11626],[13,11411,13,11416],[13,11309,13,11314],[13,11315,13,11320],[13,11321,13,11326],[13,11327,13,11332],[13,11333,13,11338],[13,11339,13,11344],[13,11345,13,11350],[13,11675,13,11680],[13,11687,13,11692],[13,11651,13,11656],[13,11657,13,11662],[13,11663,13,11668],[13,11669,13,11674],[13,11201,13,11206],[13,11207,13,11212],[13,11213,13,11218],[13,11219,13,11224],[13,11225,13,11230],[13,11231,13,11236],[13,11237,13,11242],[13,11243,13,11248],[13,11465,13,11470],[13,11579,13,11584],[13,11585,13,11590],[13,11591,13,11596],[13,11597,13,11602],[13,11477,13,11482],[13,11483,13,11488],[13,11489,13,11494],[13,11495,13,11500],[13,11501,13,11506],[13,11507,13,11512],[13,11513,13,11518],[13,11519,13,11524],[13,11249,13,11254],[13,11363,13,11368],[13,11369,13,11374],[13,11375,13,11380],[13,11381,13,11386],[13,11255,13,11260],[13,11261,13,11266],[13,11267,13,11272],[13,11273,13,11278],[13,11195,13,11200],[13,11093,13,11098],[13,11099,13,11104],[13,11105,13,11110],[13,11111,13,11116],[13,11117,13,11122],[13,11123,13,11128],[13,11129,13,11134],[13,11135,13,11140],[13,11141,13,11146],[13,11033,13,11038],[13,11147,13,11152],[13,11153,13,11158],[13,11159,13,11164],[13,11165,13,11170],[13,11171,13,11176],[13,11177,13,11182],[13,11183,13,11188],[13,11189,13,11194],[13,11069,13,11074],[13,11075,13,11080],[13,11081,13,11086],[13,11087,13,11092],[13,11045,13,11050],[13,11051,13,11056],[13,11057,13,11062],[13,11063,13,11068],[13,10673,13,10678],[13,10679,13,10684],[13,10685,13,10690],[13,10691,13,10696],[13,10697,13,10702],[13,10703,13,10708],[13,10709,13,10714],[13,10823,13,10828],[13,10979,13,10984],[13,10877,13,10882],[13,10883,13,10888],[13,10889,13,10894],[13,10895,13,10900],[13,10901,13,10906],[13,10907,13,10912],[13,10913,13,10918],[13,10919,13,10924],[13,10925,13,10930],[13,10835,13,10840],[13,10841,13,10846],[13,10847,13,10852],[13,10853,13,10858],[13,10859,13,10864],[13,10865,13,10870],[13,10871,13,10876],[13,10601,13,10606],[13,10715,13,10720],[13,10721,13,10726],[13,10727,13,10732],[13,10733,13,10738],[13,10985,13,10990],[13,10991,13,10996],[13,10997,13,11002],[13,10631,13,10636],[13,10637,13,10642],[13,10643,13,10648],[13,10649,13,10654],[13,10655,13,10660],[13,10769,13,10774],[13,10775,13,10780],[13,10781,13,10786],[13,10787,13,10792],[13,10793,13,10798],[13,10799,13,10804],[13,10805,13,10810],[13,10811,13,10816],[13,10751,13,10756],[13,10757,13,10762],[13,10739,13,10744],[13,10745,13,10750],[13,10955,13,10960],[13,10961,13,10966],[13,10967,13,10972],[13,10973,13,10978],[13,10763,13,10768],[13,10661,13,10666],[13,10667,13,10672],[13,10523,13,10528],[13,10529,13,10534],[13,10535,13,10540],[13,10541,13,10546],[13,10421,13,10426],[13,10427,13,10432],[13,10433,13,10438],[13,10439,13,10444],[13,10397,13,10402],[13,10403,13,10408],[13,10409,13,10414],[13,10415,13,10420],[13,11027,13,11032],[13,11039,13,11044],[13,11003,13,11008],[13,11009,13,11014],[13,11015,13,11020],[13,11021,13,11026],[13,10553,13,10558],[13,10559,13,10564],[13,10565,13,10570],[13,10571,13,10576],[13,10577,13,10582],[13,10583,13,10588],[13,10589,13,10594],[13,10595,13,10600],[13,10817,13,10822],[13,10931,13,10936],[13,10937,13,10942],[13,10943,13,10948],[13,10949,13,10954],[13,10829,13,10834],[13,10055,13,10060],[13,10061,13,10066],[13,10175,13,10180],[13,10331,13,10336],[13,10229,13,10234],[13,10235,13,10240],[13,10241,13,10246],[13,10247,13,10252],[13,10253,13,10258],[13,10259,13,10264],[13,10265,13,10270],[13,10271,13,10276],[13,10277,13,10282],[13,10607,13,10612],[13,10613,13,10618],[13,10619,13,10624],[13,10625,13,10630],[13,10547,13,10552],[13,10445,13,10450],[13,10451,13,10456]],"merged_total":2737,"flags":["merged_cut"]}
["Providing and installing Traffic Police Prefab Cabins- West Mosul"]
["#","Item Description","Unit","Qty","Price$","Total $"]
[null,"General Specification "]
[null,"1-  All the materials supplied by the contractor must be according to Iraq's standard Specifications"]
[null,"2-  The contractor must provide samples , catalogues and specification of materials for testing and approval by the site engineer "]
[null,"3-  All sections shall be carried out under the supervision of the supervising engineer "]
[null,"4- The price of works includes all job requirements as per Iraq's standard specification."]
[null,"5- Contractor should provide PPE for all labors, personnel, Engineers and possible visitors to the site."]
[null,"CIVIL WORKS"]
[1,"Site Preparation for the (3.0x2.50m) cabins:\nSupply of materials, tools, machineries and manpower for site preparation, clearing and dumping of all debris, rubble and removing the old damaged cabins (if it exists) and the grown grasses and plants within the area where the cabins room should be installed to a site approved by local authorities.  All needed works to complete the job, shall be included within the price. ","EA",6,null,{"$f":"E10*D10","v":0}]
[2,"Concrete with BRC (5.0x4.5m):\nSupply of materials, tools and manpower for casting (15cm ) concrete (5.0x4.5m) with BRC(150x150x6mm) using (C25MPa). The price includes compaction of the concrete bed before casting. All needed works to complete the job will be included within the price.","EA",6,null,{"$f":"D11*E11","v":0}]
[3,"Prefab Cabins: (3.0x2.5)m\nSupply of materials, tools, manpower, transport and install prefab cabins (3.0x2.5)m and height of 2.60m. \n1-The main frame (beams and columns) consist of square tube 100x100x3mm.\n2-The secondary frames consist of rectangular tube 100x50x3mm @50cm c/c for the base.\n3-The walls and the roof consist of sandwich panel with thickness of 5 cm.\n4-The roof should be extended 40 cm at each sides.\n5-The base of the cabin should be covered with checkered plate of thickness 5mm.\n6-Providing base plates (250x250x10mm) to be welded to the base columns(100x100x3mm).\n7-All Steel structure parts should be painted with 1 layer of anti-rust and 2 layers (Blue color) oil painting.\n8-Installing aluminum windows white color of heavy section slide type with tempered transparent plastic sheets of 6 or 8 mm according to the section of aluminum used. (2 No. 1.80x1.0m and 2 No. 2.0x2.0m)\n9-Installing aluminum door (1.0x2.0)m white color of heavy section including the use of tempered transparent plastic sheets of 6 or 8 mm according to the section of aluminum used.\n10-Providing and Installing of Ninawa Traffic Police Logo (70x50)cm made of steel plate of 3mm thick cut by CNC machine and mounted on the front side of the cabin.\n11-Supplying and installation of sliding curtains (type zebra), with all accessories. Dimensions (variable according to the windows' dimensions). Including delivering, assembly and installation. \n12-The base plates should be fixed to the (concrete with BRC) and to be cast with concrete of (50x50x25cm). See attached picture\nAll needed works to complete the job will be included within the price.","EA",6,null,{"$f":"D12*E12","v":0}]
[null,"Prefab Cabins: (1.20x1.20)m\nSupply of materials, tools, manpower, transport and install prefab cabins (1.20x1.20)m and height of 2.60m. \n1-The main frame (beams and columns) consist of square tube 100x100x3mm.\n2-The secondary frames consist of rectangular tube 100x50x3mm @50cm c/c for the base.\n3-The walls and the roof consist of sandwich panel with thickness of 5 cm.\n4-The roof should be extended 40 cm at each sides.\n5-The base of the cabin should be covered with checkered plate of thickness 5mm.\n6-Providing base plates (250x250x10mm) to be welded to the base columns(100x100x3mm).\n7-All Steel structure parts should be painted with 1 layer of anti-rust and 2 layers (Blue color) oil painting.\n8-Installing aluminum windows white color of heavy section slide type with tempered transparent plastic sheets of 6 or 8 mm according to the section of aluminum used. (3 No. 1.0x1.0m)\n9-Installing aluminum door (1.0x2.0)m white color of heavy section including the use of tempered transparent plastic sheets of 6 or 8 mm according to the section of aluminum used.\n10-Supplying and installation of sliding curtains (type zebra), with all accessories. Dimensions (variable according to the windows' dimensions). Including delivering, assembly and installation. \n11-Casting (1.50x1.50m) and 15cm plain concrete for the cabins. See attached picture.\nAll needed works to complete the job will be included within the price.","EA",23,null,{"$f":"D13*E13","v":0}]
[null,"SUB TOTAL FOR CIVIL WORKS",null,null,null,{"$f":"SUM(F10:F13)","v":0}]
[null," ELECTRICAL WORKS   (For One Prefab (Sandwich Panel) Rooms) :"]
[null,"The following items shall include supply, install, connect and commission lighting and power socket outlets, including PVC conduits, conduit fittings,  wiring cables/conductor with accessories and install/ fittings, switches or socket outlet MDB,SDB, (sub-panel board) . In case for conduits or wires the contractor must check  thoroughly and replace ( if any). wherever required should be properly earthed with suitable earthing wire/cable size. "]
[1,"Main distribution board:\nSupplying, Installation, testing and commissioning  main distribution board of  8 ways, TPN DB (DIN type, horizontal/vertical) with metal door (double ) complete with all accessories to accommodate incoming  circuit breaker (MCCB)1ph, 1x63 Amps, 415 volt A.C, and different current rating outgoing  1ph  MCB of ratings(5, 10, 25& 32 ) Amperes in prefabricated  MS surface MS cubical control panel board. The price include  supplying, Installation, testing and commissioning drilling holes, connections, fixing to complete work as required.","EA",6,null,{"$f":"E17*D17","v":0}]
[2,"Power Cable (2x10)mm2:\nSupplying, installation, testing and commissioning of 1.0 kV grade copper (cu pvc-pvc) insulated cable (2*10mm²),to connect the main distribution board of the kiosk with the power source and laid cable through cable tray with all accessories. The price include  supplying, Installation, testing and commissioning, necessary connections,  cutting, drilling, painting  laying/connections, fixing (cable termination with lugs  at both end ),  to complete the work as required.","M",240,null,{"$f":"E18*D18","v":0}]
[3,"Lighting(Wall or Ceiling):\nSupplying & Installing of bracket waterproof ceiling or wall mounted  prewired indoor/outdoor lighting luminaries suitable for GLS lamp 18 watts complete with all accessories such as base, LED drive & LED bulb, glass, reflector, louvered,( water proof,) connecting with one way 6 Amps switch and  2 x 1.5 mm² 1.0 kV grade PVC insulated copper conductor laid through PVC insulated copper cable with all accessories. And  as required. The price include  supplying, Installation, testing and commissioning drilling holes, connections, fixing to complete work as required.","EA",48,null,{"$f":"E19*D19","v":0}]
[4,"13A Socket outlet:\nSupplying, Installation, testing and commissioning of combine switch-socket 13A, 3 pin universal socket with shuttered & indicator outlet, on molded tough surface box with fiber sheet cover (recessed or surface) with 1.0 kV grade, 2x2.5mm² PVC insulated copper wires laid through/in recessed MS conduit including necessary connections, cutting,  drilling,  painting..etc...,with all accessories as required.","EA",18,null,0]
[5,"45A Grid Switch:\nSupplying, Installation, testing and commissioning of 45A grid switch with indicator lamp on molded tough surface box with fiber sheet cover (recessed or surface) with 1.0 kV grade, 2x6mm² PVC insulated copper wires passing through/in recessed MS conduit including for each point with necessary connections. The price include  supplying, Installation, testing and commissioning drilling holes, connections, fixing to complete work as required.","EA",6,null,0]
[6,"Split unit Air-conditioning:\nSupply, install, fixing, connect, test and commissioning best quality wall mounted Split unit air-conditioning (Cool & Heat) 1.5 ton.(18000btuh) using cable 2*4mm , switch 45 A, antioxidation painted steel base for the outdoor unit with all accessories, works and requirements to complete a good work.","EA",6,null,0]
[null,"SUB TOTAL FOR ELECTRICAL WORK  :",null,null,null,{"$f":"SUM(F17:F22)","v":0}]
[null,"Total",null,null,null,{"$f":"F23+F14","v":0}]