## BARCLAYVILLE DEPOT
RENOVATION OF TWO DEPOTS IN GRAND KRU AND SINOE COUNTIES
RULE OF LAW PROJECT
UNDP LIBERIA
TABLE 1: Price schedule for Barclayville Depot, Grand Kru County, Liberia
No | Description of Item | Unit | Quantity | Unit Price (USD) | Total Price (USD)
1 | Preleminaries
a | Provision for mobilzation and demobilization of tools, equipment, scafflod and manpower to site. | L/S | 1 |  | 0
b | The contractor must submit reports for the exisiting activities and materials on the project site supported with photographs before work start and take approval to start the work. | L/S | 1 |  | 0
c | Demolish and dispose ceiling tiles in the building and turn them over to the depot commander. | Sq.Ft | 2866.5 |  | 0
d | Demolish and dispose bathroom floor, wall tiles as per engineer instruction. | Sq.Ft | 144 |  | 0
e | Demolish and dispose portion of suspended canopy slab, proposed door openings and step as per drawings and engineer instruction. | L/S | 1 |  | 0
f | Dismantle and remove all electrical fixtures and plumbing fixtures where applicable and as per the engineer instructon. Make sure that the plumbing lines are not damage during this process and turn them over to the depot commander. | L/S | 1 |  | 0
g | Removal of damaged roof sheetings and turn them over to the depot commander. | L/S | 1 |  | 0
| Subtotal Cost- Preliminaries |  |  |  | 0
2 | Substructural works for extesion walls.
A | Excavation and backfilling of foundation (Lin. FT=83.83), 3'-0'' deep and 1'-6'' wide.
a | Setting out,excavtion of foundation walls of extension exit porch and office as per drawings and engineer instruction. | Cu.Yd | 13.97 |  | 0
b | Backfill in and around foundation trenches as per engineer instruction. | Cu.Yd | 6.99 |  | 0
| Sub-Total |  |  |  | 0
B | Concrete Work
a | (0'-6''thick x 1'-6''wide x 83'-10''long) Plain concrete block wall footing. Use (1:3:6)mix | CY | 2.56
1 | Ordinary portland cement (50kgs) | Bags | 13 |  | 0
2 | River sand (engineer approval) | CY | 1.44 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 2.88 |  | 0
| Sub-Total |  |  |  | 0
b | (0'-9''thick x 2'-0''wide x 0'-2'-0''length) Reinforced Concrete column footings. Use (1:2:4) mix | CY | 0.98
1 | Ordinary portland cement (50kgs) | Bags | 7 |  | 0
2 | River sand (engineer approval) | CY | 0.52 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 1.04 |  | 0
| Sub-Total |  |  |  | 0
c | (0'-6''wide x 0'-6''thickness x 5'-0''height)Reinforced Concrete column for substructure walls. Use (1:2;4)mix | CY | 0.41
1 | Ordinary portland cement (50kgs) | Bags | 3 |  | 0
2 | River sand (engineer approval) | CY | 0.22 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 0.44 |  | 0
| Sub-Total |  |  |  | 0
d | Reinforcement for substructural columns and columns mat
1 | 1/2''(12mm) diameter rebar | Bar | 16 |  | 0
2 | 3/8''(8mm) diameter rebar | Bar | 5 |  | 0
3 | Tie wire | Bdl | 1 |  | 0
| Sub-Total |  |  |  | 0
C | Masonry block wall including rendering of exterior walls. Use (1:3 mortar mix). 83'-10'' LF x 6'-0'' High | Sq.ft | 502.98
1 | 6'' cement/Sand hollow blocks ( Engineer approval) | Pcs | 622 |  | 0
2 | Ordinary Portland Cement (50kgs) | Bags | 30 |  | 0
3 | River sand (Engineer approval) | CY | 3.33 |  | 0
| Sub-Total |  |  |  | 0
D | Form work for substructural columns
1 | 12''x12'' x 14'length wawa plank | Pcs | 15 |  | 0
2 | Round poles for bracing | Pcs | 20 |  | 0
3 | Assorted wire nails | Ctn | 0.5 |  | 0
| Sub-Total |  |  |  | 0
E | 4'' thick Floor slab concrete ( Plain Concrete). Use 1:3:6 mix | Cu.Yd | 8.77
1 | Ordinary Portlant Cement (50kgs) | Bags | 45 |  | 0
2 | River sand (engineer approval) | CY | 5 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 10 |  | 0
| Sub-Total |  |  |  | 0
F | Termite Proofing
Providing and carrying out termite proofing by spraying anti-termite Carboline or approved equivalent as per instructions from the manufacturer under floors over the filling and all peripheral sides of the trenches for foundation of the entire building to avoid termite intrusion in to the building Complete in all respects as per drawings, technical provision and or as directed by the Engineer In charge.
1 | Under foundation | Lf | 272.66 |  | 0
2 | Under floor | Sq.Ft | 186.3 |  | 0
3 | Under Ramp/steps | Sq.Ft | 15 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Substructural works |  |  |  | 0
3 | Superstructure Works (Extension Walls)
A | Masonry block works including rendering of all wall surfaces ( Use 1:3 cement motar)
a | Area of extension walls including gables | Sq.Ft | 438.47
1 | Construct 6" cement, sand hollow blocks for exterior extension walls | Pcs | 540 |  | 0
2 | Ordinary Portland Cement | Bags | 30 |  | 0
3 | River Sand (Engineer approval) | Cu.Yd | 3.33 |  | 0
4 | Render with cement motar Column Cracks, Beam Cracks, and Wall Cracks found around in building | L/S | 1 |  | 0
| Sub-Total |  |  |  | 0
B | Concrete Work
a | (0'-6''wide x 0'-6''thickness x 9'-0''height) reinforced Concrete column for superstructure walls. Use (1:2;4)mix | CY | 0.73
1 | Ordinary portland cement (50kgs) | Bags | 6 |  | 0
2 | River sand (engineer approval) | CY | 0.44 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 0.88 |  | 0
| Sub-Total |  |  |  | 0
b | Reinforced Concrete Beams and Lintels for superstructure walls. Use (1:2;4)mix | CY | 1.16
1 | Ordinary portland cement (50kgs) | Bags | 9 |  | 0
2 | River sand (engineer approval) | CY | 0.67 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 1.33 |  | 0
| Sub-Total |  |  |  | 0
c | Reinforcement for superstructural columns, beams and lintels as per drawing and engineer instruction. | LF | 147.83
1 | 1/2''(12mm) diameter rebar | Bar | 19 |  | 0
2 | 3/8''(8mm) diameter rebar | Bar | 8 |  | 0
3 | Tie wire | Bdl | 1 |  | 0
| Sub-Total |  |  |  | 0
d | Form work for superstructural works
1 | 12''x12'' x 14'length wawa plank | Pcs | 20 |  | 0
2 | Round poles for bracing | Pcs | 25 |  | 0
3 | Assorted wire nails | Ctn | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Substructural wall extension |  |  |  | 0
4 | Carpentry Works
1 | Replace damaged ceiling tiles in building and eve including ceiling joist, noggings and wire nails. Also use carboline on all ceiling members. | Sq.Ft | 2228.51 |  | 0
2 | Roof- recondition roof using regular roofing sheet 28 Gauge W=22'', L=8'-0" complete over slap of building avoiding water drains down through the wall of the structure or destroying ceiling members. Take into consideration of roof members of entensions to the existing building. | Sq.Ft | 556
3 | 28 gauge aloy sheetings | Bdl | 4 |  | 0
4 | Ridge cap (1'-3'' x 8'-0'') | Pcs | 15 |  | 0
5 | Wire nails | Ctn | 1 |  | 0
6 | Roofing nail with washer | Box | 6 |  | 0
7 | Roofing felt | bdl | 2 |  | 0
8 | Carboline | Bkt | 1 |  | 0
9 | 2''x6'x14' wall plate and king post | Pcs | 5 |  | 0
10 | 2''x4''x14 rafters @4'-0''c/c | Pcs | 16 |  | 0
11 | 2''x2''x14' purlin @3'-6'' c/c | Pcs | 14 |  | 0
12 | Fascia board | Pcs | 6 |  | 0
13 | Install Panel Doors and Frames in respective sections of the building each with hard red wood and sprayed with Tobaco brown color enamel paint (Briton preferred), install door frame and hinges | set | 2 |  | 0
14 | Remove all damaged Door Lock from door in building, replace with original Yale cylinder lock | set | 10 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Carpentry works |  |  |  | 0
5 | Tile laying works
A | Tilling Work (Remove worn out from all parts of entire floor area of bathroom, damaged floor tiles of offices, wall tiles from bathroom walls and install 12''x12'' Anti-slip resistant porcelain floor tiles finished and 6''x12'' ceramic wall tiles ). Use 1:2 mortar mix and hydrated lime for fishing.
1 | Wall tiles laying in bathroom (LF=24', Height =6') | Sq.Ft | 144 |  | 0
2 | Floor tile in bathroom (6'x6') | Sq.Ft | 36 |  | 0
3 | Floor tile laying in other respective building locations | Sq.Ft | 144 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Tile Laying works |  |  |  | 0
6 | Electrical works ( NOTE to use all plastic or Ceramic components due to sea Corrosion)
1 | Replace in position with Havells 8-Breaker Panel Box complete using a plastic or ceramic component | Set | 1 |  | 0
2 | 75-85 Watts LED Energy Saving Bulbincluding light including sockets Pvc model. | No. | 20 |  | 0
3 | Utility Cup PVC model | No. | 8 |  | 0
4 | Receptacle | No. | 20 |  | 0
5 | Single pole Switch | No. | 5 |  | 0
6 | 3/4" Conduit | Pcs | 10 |  | 0
7 | 2 Gang Switch | No. | 2 |  | 0
8 | Super 33+ Electrical tape | Roll | 2 |  | 0
9 | #14 Liban Cable | Roll | 2 |  | 0
10 | #12 Liban Cable | Roll | 2 |  | 0
11 | #10 Liben Cable | yard | 8 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Electrical works |  |  |  | 0
7 | Plumbing (Use all Jaquar, Lecico or Sanitana brand)
1 | Replace in position Water closet - use Jaquar, Lecico or Sanitana brand complete set | Set | 1 |  | 0
2 | Replace in positionLavaratory or wash hand basin - use Jaquar, Lecico or Sanitana brand complete set | Set | 1 |  | 0
3 | 4" PVC Pipe | No. | 2 |  | 0
4 | 2" PVC Pipe | No. | 2 |  | 0
5 | 4''PVC Tee | No. | 5 |  | 0
6 | 4'' PVC clean out | No. | 5 |  | 0
7 | Shower pan | No. | 1 |  | 0
8 | Shower Faucet | No. | 1 |  | 0
9 | Stainless steel floor drain | No. | 3 |  | 0
10 | Demolish damaged manholes and Construction new ones | No. | 5 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Plumbing works |  |  |  | 0
8 | Metal Work (Use 5/8" or 16mm diameter size bars)
1 | Build steel door in the door way, used as gate at Exit entrance (3'-0" x 7'-0") with 3mm steel plate materials used but apply 2-coats of anti-rust paint. Including heavy duty steel door locks. | Set | 1 |  | 0
2 | Build Burglary Bar @ window 5'-0''x4'-0'' | Set | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Metal works |  |  |  | 0
9 | Aluminum Jealousy Windows (Recondition to work properly)
1 | Replace all of window glassess (2'-6''length x 4''wide blade) | Pcs | 250 |  | 0
2 | Provision and installation of window (5'-0''x4'-0'') with aluminium frame complete | Set | 1 |  | 0
3 | Provide missing parts like lockers, blade holders etc | L/S | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Aluminium Jealousy works |  |  |  | 0
10 | Painting Works
1 | Painting of Door and Frame both ways with Britone tobaco brown Enamel paint as in original applying two coats after sanding door and frame. | Sq.Ft | 480 |  | 0
2 | Exterior painting of renovated structure applying 2-coats of Briton navy blue Enamel paint down to the foundation and white enamel paint above in respective areas as instructed by the engineer incharge. | Sq.Ft | 3047.52 |  | 0
3 | Interior painting of renovated structure with 2-coats of Briton sky Blue Enamel paint half way and white half way as instructed by the engineer in charge. | Sq.Ft | 6076.26 |  | 0
4 | Paint Window bars install at lower windows applying 2-coats of Briton anti rust paint and enamel paint for finishing. | gallon | 5 |  | 0
5 | Apply two coats of emulsion paint (Briton) ceiling surfaces. | Sq.Ft | 120.84 |  | 0
6 | Paint accessories | L/S | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Painting works |  |  |  | 0
11 | Well Renovation
1 | Use de-watering machine, pump out water from the well, provied and install afridev hand pump including accessories, pump jacket for security, apron construction and apply chlorine. Make sure that the pump is functional. | No | 1 |  | 0
| Subtotal Cost -Well renovation |  |  |  | 0
| TOTAL MATERIAL COST |  |  |  | 0
| LABOUR COST ( 20%) OF TOTAL BILL |  |  |  | 0
| INTERNAL TRANSPORTATION( 15%) TOTAL BILL |  |  |  | 0
| PROFIT & OVERHEAD (10%) OF TOTAL BILL |  |  |  | 0
| ALLOW FOR CONTINGENCIES (3%) OF TOTAL BILL ( FOR UNDP) |  |  |  | 0
| GRAND TOTAL |  |  |  | 0

## GREENVILLE DEPOT
RENOVATION OF TWO DEPOTS IN GRAND KRU AND SINOE COUNTIES
RULE OF LAW PROJECT
UNDP LIBERIA
TABLE 1: Price schedule for Greenville Depot, Sinoe County, Liberia
No | Description of Item | Unit | Quantity | Unit Price (USD) | Total Price (USD)
1 | Preleminaries
a | Provision for mobilzation and demobilization of tools, equipment, scafflod and manpower to site. | L/S | 1 |  | 0
b | The contractor must submit reports for the exisiting activities and materials on the project site supported with photographs before work start and take approval to start the work. | L/S | 1 |  | 0
c | Demolish and dispose existing walls and lintels as specify in the demolition plan as per instruction from the engineer in charge. | Sq.Ft | 255.6 |  | 0
d | Clear the site of all unwanted materials and deposit them at an identified dumping site. | L/S | 1 |  | 0
| Subtotal Cost- Preliminaries |  |  |  | 0
2 | Substructural works ( Extension Walls).
A | Excavation and backfilling of foundation (Lin. FT=76.65), 3'-0'' deep and 1'-6'' wide.
a | Setting out,excavtion of foundation walls of extension exit porch and office as per drawings and engineer instruction. | Cu.Yd | 13.78 |  | 0
b | Backfill in and around foundation trenches of the entire building with laterite from borrowed pit as per engineer instruction. | Cu.Yd | 97.17 |  | 0
| Sub-Total |  |  |  | 0
B | Concrete Work
a | (0'-6''thick x 1'-6''wide x 76'-8''long) Plain concrete block wall footing. Use (1:3:6)mix | CY | 2.34
1 | Ordinary portland cement (50kgs) | Bags | 12 |  | 0
2 | River sand (engineer approval) | CY | 1.33 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 2.66 |  | 0
| Sub-Total |  |  |  | 0
b | (0'-9''thick x 2'-0''wide x 0'-2'-0''length) Reinforced Concrete column footings. Use (1:2:4) mix | CY | 0.49
1 | Ordinary portland cement (50kgs) | Bags | 4 |  | 0
2 | River sand (engineer approval) | CY | 0.3 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 0.6 |  | 0
| Sub-Total |  |  |  | 0
c | (0'-6''wide x 0'-6''thickness x 3'-0''height)Reinforced Concrete column for substructure walls. Use (1:2;4)mix | CY | 0.12
1 | Ordinary portland cement (50kgs) | Bags | 1 |  | 0
2 | River sand (engineer approval) | CY | 0.07 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 0.14 |  | 0
| Sub-Total |  |  |  | 0
d | Reinforcement for substructural columns and columns mat
1 | 1/2''(12mm) diameter rebar | Bar | 7 |  | 0
2 | 3/8''(8mm) diameter rebar 0'-8''c/c | Bar | 2 |  | 0
3 | Tie wire | Bdl | 1 |  | 0
| Sub-Total |  |  |  | 0
C | Masonry block wall including rendering of exterior walls. Use (1:3 mortar mix). 83'-10'' LF x 6'-0'' High. Also add one block courseto the foundation at each entrance to avoid storm water intrusion in to the building. Include morta for rendering of exterior walls | Sq.ft | 210.79
1 | 6'' cement/Sand hollow blocks ( Engineer approval) | Pcs | 243 |  | 0
2 | Ordinary Portland Cement (50kgs) | Bags | 19 |  | 0
3 | River sand (Engineer approval) | CY | 2.11 |  | 0
| Sub-Total |  |  |  | 0
D | Form work for substructural columns
1 | 12''x12'' x 14'length wawa plank | Pcs | 6 |  | 0
2 | Round poles for bracing | Pcs | 10 |  | 0
3 | Assorted wire nails | Ctn | 0.5 |  | 0
| Sub-Total |  |  |  | 0
E | 4'' thick Floor slab concrete ( Plain Concrete) in each room. Use 1:3:6 mix | Cu.Yd | 22.08
1 | Ordinary Portlant Cement (50kgs) | Bags | 110 |  | 0
2 | River sand (engineer approval) | CY | 12.22 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 24.44 |  | 0
| Sub-Total |  |  |  | 0
F | Termite Proofing
Providing and carrying out termite proofing by spraying anti-termite Carboline or approved equivalent as per instructions from the manufacturer under floors over the filling and all peripheral sides of the trenches for foundation of the entire building to avoid termite intrusion in to the building Complete in all respects as per drawings, technical provision and or as directed by the Engineer In charge.
1 | Under foundation | Lf | 175.4 |  | 0
2 | Under floor | Sq.Ft | 1642.24 |  | 0
3 | Under Ramp/steps | Sq.Ft | 18 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Substructural works (Extension Walls) |  |  |  | 0
3 | Superstructure Works
A | Elevation of block wall for proposed extension and interior walls to 2'-0'' ontop of existing walls as wall height. Including Rendering of walls.
a | Area of extension walls including gables | Sq.Ft | 661.05
1 | Construct 6" cement, sand hollow blocks for exterior extension walls | Pcs | 820 |  | 0
2 | Ordinary Portland Cement | Bags | 33 |  | 0
3 | River Sand (Engineer approval) | Cu.Yd | 3.67 |  | 0
4 | Render with cement motar interior and exterior walls and Columns. Use 1:3 Mortar mix. | Cu.Yd | 43.09
a | Cement | Bags | 387 |  | 0
b | Sand | Cu.Yd | 43 |  | 0
| Sub-Total |  |  |  | 0
B | Concrete Work
a | (0'-6''wide x 0'-6''thickness x 10'-0''height) reinforced Concrete column for superstructure walls. Use (1:2;4)mix | CY | 0.41
1 | Ordinary portland cement (50kgs) | Bags | 3 |  | 0
2 | River sand (engineer approval) | CY | 0.22 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 0.44 |  | 0
| Sub-Total |  |  |  | 0
b | Reinforced Concrete ring Beam and Lintels for superstructure walls (306.96' Length x 0'-9''deep x 0'-6'') as per drawing. Use (1:2;4)mix. | CY | 4.69
1 | Ordinary portland cement (50kgs) | Bags | 33 |  | 0
2 | River sand (engineer approval) | CY | 2.44 |  | 0
3 | Crushed rocks (Engineer approval) | CY | 4.88 |  | 0
| Sub-Total |  |  |  | 0
c | Reinforcement for superstructural columns, beams and lintels as per drawing and engineer instruction. Length =306.96'. | LF | 306.96
1 | 1/2''(12mm) diameter rebar | Bar | 38 |  | 0
2 | 3/8''(8mm) diameter rebar | Bar | 26 |  | 0
3 | Tie wire | Bdl | 1 |  | 0
| Sub-Total |  |  |  | 0
d | Form work for superstructural works
1 | 12''x12'' x 14'length wawa plank | Pcs | 40 |  | 0
2 | Round poles for bracing | Pcs | 15 |  | 0
3 | Assorted wire nails | Ctn | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Substructural wall extension |  |  |  | 0
4 | Carpentry Works
a | Use hard board ceiling tiles in building and eve including ceiling joist, noggings and wire nails. Also use carboline on all ceiling members. | Sq.Ft | 3163.38
1 | Ceiling tiles (8'-0''x4'-0'') | Pcs | 98 |  | 0
2 | Ceiling joist | Pcs | 170 |  | 0
3 | Ceiling noggings | Bdl | 17 |  | 0
4 | Carbolin | Bkt | 3 |  | 0
5 | Painting accessories | L/S | 1 |  | 0
6 | Assorted wire nails | Ctn | 3 |  | 0
| Sub-Total |  |  |  | 0
b | Use aloy roofing sheet 28 Gauge W=22'', L=8'-0" complete over slap of building avoiding water drains down through the wall of the structure or destroying ceiling members including roof members. | Sq.Ft | 3163.38
3 | 28 gauge aloy sheetings | Bdl | 13 |  | 0
4 | Ridge cap (1'-3'' x 8'-0'') | Pcs | 15 |  | 0
5 | Wire nails | Ctn | 3 |  | 0
6 | Roofing nail with washer | Box | 14 |  | 0
7 | Roofing felt | bdl | 2 |  | 0
8 | Carboline | Bkt | 3 |  | 0
9 | 2''x6'x14' wall plate and king post | Pcs | 28 |  | 0
10 | 2''x4''x14 rafters @4'-0''c/c | Pcs | 70 |  | 0
11 | 2''x2''x14' purlin @3'-6'' c/c | Pcs | 80 |  | 0
12 | Fascia board | Pcs | 21 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Carpentry works |  |  |  | 0
5 | Tile laying works
A | Tilling Work. Provide and install 12''x12'' Anti-slip resistant porcelain floor tiles for all floor and 6''x12'' ceramic wall tiles for bathrooms walls ). Use 1:2 mortar, hydrated lime and tile spacer for fishing. | Sq.Ft | 1664.34
1 | Porcelain floor tiles (12''x12'') | Ctn | 152 |  | 0
2 | Ceramic wall tiles (8''x12''), Height 6'-0'') | Ctn | 33 |  | 0
3 | Ordinary Portland cement | Bags | 89 |  | 0
4 | River sand ( engineer approval) | Cu.Yd | 4.33 |  | 0
5 | Hydrated Lime (white cement) | Bags | 4 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Tile Laying works |  |  |  | 0
6 | Electrical works ( NOTE to use all plastic or ceramic components due to sea corrosion)
1 | Use Havells 8-Breaker Panel Box complete using a plastic or ceramic component | Set | 1 |  | 0
2 | 75-85 Watts LED Energy Saving Bulb including light sockets ,Pvc model. | No. | 20 |  | 0
3 | Utility Cup, PVC model | No. | 27 |  | 0
4 | Junction Box, PVC model | No. | 4
5 | Universal Receptacle | No. | 13 |  | 0
6 | Single pole Switches | No. | 8 |  | 0
7 | 2 Gang Switches | No. | 2 |  | 0
8 | 3 Gang Switches | No. | 1 |  | 0
9 | #14 Liban Cable | Roll | 4 |  | 0
10 | #12 Liban Cable | Roll | 6 |  | 0
11 | #10 Liben Cable | yard | 5 |  | 0
12 | Convinient AC outlet | No. | 6 |  | 0
13 | 3/4" Conduit | Bdl | 10 |  | 0
14 | Super 33+ Electrical tape | Roll | 2 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost - Electrical works |  |  |  | 0
7 | Plumbing (Use all Jaquar, Lecico or Sanitana brand)
1 | Water closet - use Jaquar, Lecico or Sanitana brand complete set | Set | 2 |  | 0
2 | Lavaratory or wash hand basin - use Jaquar, Lecico or Sanitana brand complete set | Set | 2 |  | 0
3 | 4" PVC Pipe | No. | 4 |  | 0
4 | 2" PVC Pipe | No. | 8 |  | 0
5 | 4''PVC Tee | No. | 8 |  | 0
6 | 4'' PVC clean out | No. | 3 |  | 0
7 | 4''x 90deg. PVC elbow | No. | 8 |  | 0
8 | 2''x4'' Pvc reducer | No. | 6 |  | 0
9 | 2"x 90deg PVC elbow | No. | 6 |  | 0
10 | 2" PVC Tee | No. | 6 |  | 0
11 | 2" PVC couplins | No. | 4 |  | 0
12 | 1/2''CPVC Pipe | No. | 4 |  | 0
13 | 1/2''x90deg elbow | No. | 8 |  | 0
14 | 1/2'' Tee | No. | 8 |  | 0
15 | 1/2'' couplin | No. | 4 |  | 0
16 | finishing elbow | No. | 10 |  | 0
17 | Adaptor | No. | 6 |  | 0
18 | Shower valve | No. | 2 |  | 0
19 | Angle valve | No. | 6 |  | 0
20 | Shower head | No. | 1 |  | 0
21 | Build block wall as bath tub in one of the office bathroom | L/S | 1 |  | 0
22 | Plumbing tape | No. | 3 |  | 0
| PVC glue (L/S) | Tin | 1 |  | 0
| CPVC glue (L/S) | Tin | 1 |  | 0
23 | Construction of septic tank and associated inspection chambers | L/S | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Plumbing works |  |  |  | 0
8 | Metal Work (Use 5/8" or 16mm diameter size bars)
1 | Build Burglary Bar @ window 6'-0''x4'-0'' | No | 2 |  | 0
2 | Build Burglary Bar @ window 3'-0''x4'-0'' | No | 8 |  | 0
3 | Build Burglary Bar @ window 2'-0''x2'-0'' | No | 2 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Metal works |  |  |  | 0
9 | Aluminum slidding glass Windows with frame, lock at one end and screen at one side of the pannel.
1 | 6'-0'' x 4'-0'' Slidding glass window | Set | 2 |  | 0
2 | 3'-0'' x 4'-0'' Slidding glass window | Set | 8 |  | 0
3 | 2'-0'' x 2'-0'' Slidding glass window | Set | 2 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Aluminium Slidding Window |  |  |  | 0
10 | Provide and install Panel and plywoods doors with Frames, hinges and yale cylinder lock in respective sections of the building each with hard red wood and sprayed with Mahogany or reddish- brown color complete.
1 | 3'-4'' x 7'-2'' Pannel door with frame, yale cylinder locks and hinges complete | Set | 2 |  | 0
2 | 3'-0'' x 7'-2'' Plywood door with frame, yale cylinder locks and hinges complete | Set | 8 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Door Works |  |  |  | 0
10 | Painting Works
1 | Painting of Door and Frame both ways with Briton tobaco brown Enamel paint as in original applying two coats after sanding doors and frames. | Sq.Ft | 1151.66 |  | 0
| Use two coats emulsion paints to prime new walls including ceiling surfaces (interior and exterior surfaces). Briton preffered. | Sq.Ft | 8930.96 |  | 0
2 | Interior and Exterior wall painting of renovated structure applying 2-coats of Briton navy blue Enamel paint down to the foundation and white enamel paint above in respective areas as instructed by the engineer incharge. | Sq.Ft | 2644.2 |  | 0
3 | Paint Window bars install at lower windows applying 2-coats of BRITONE anti rust paint and enamel paint for finishing. | Gal | 6 |  | 0
5 | Paint accessories | L/S | 1 |  | 0
| Sub-Total |  |  |  | 0
| Subtotal Cost -Painting works |  |  |  | 0
| TOTAL MATERIAL COST |  |  |  | 0
| LABOUR COST ( 20%) OF TOTAL BILL |  |  |  | 0
| INTERNAL TRANSPORTATION( 12%) TOTAL BILL |  |  |  | 0
| PROFIT & OVERHEAD (10%) OF TOTAL BILL |  |  |  | 0
| ALLOW FOR CONTINGENCIES (3%) OF TOTAL BILL ( FOR UNDP) |  |  |  | 0
| GRAND TOTAL |  |  |  | 0