## Summary
LOT-1-Summary
Currency:_______________
Sr. No. | Description | Amunt
1 | A. Building Material for Chikwawa and Mwanza clinics | 0
2 | B. Electrical Equipment for Chikwawa and Mwanza Prisons Clinics | 0
3 | C. Carpentry for Chikwawa and Mwanza Prisons Clinics | 0
4 | D. Plumbing for Chikwawa, Mwanza, Mpyupyu and Mangochi, Prisons | 0
5 | E. Materials for Cisterns shields for ,Mpyupyu, Mwanza and Mangochi Prisons | 0
6 | F. Painting material for Clinics at Chikwakwa and Mwanza Prisons | 0
7 | G. Ventilation Improvement for Chikhwawa , Mangochi, and Mwanza Prisons | 0
8 | H. Septic Tank for Mangochi Prison | 0
| Material Total Cost (MWK) | 0
9 | Transportation Cost (MWK) | 0
10 | Labour Cost (MWK) | 0
| Total Amount (MWK) | 0
11 | VAT 16.5% | 0
| Total Amount (MWK) inclusive of VAT | 0

## Annex-A
A. Building Material for Chikwawa and Mwanza clinics
A | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
A1 | CHIKWAWA PRISON
1 | Cement 42.5 N each bag 50 kg |  |  | bags | 400 | 0 | 0
2 | Hollow blocks 400 mm by 200 mm by 200 mm |  |  | each | 6000 | 0 | 0
3 | Brick force wire 9” |  |  | rolls | 50 | 0 | 0
4 | River sand/Quarry dust |  |  | tones | 100 | 0 | 0
5 | Quarry stone |  |  | tonnes | 40 | 0 | 0
6 | Reinforcement bars y12 |  |  | each | 30 | 0 | 0
7 | Ndola lime each bag 50 kg |  |  | bags | 50 | 0 | 0
8 | 9” steel door frames standard size |  |  | each | 8 | 0 | 0
9 | 4½’’ steel door frames standard size |  |  | each | 3 | 0 | 0
10 | 12 glass window frames standard size |  |  | each | 3 | 0 | 0
11 | 8 glass window frames standard size |  |  | each | 4 | 0 | 0
12 | Flash doors |  |  | each | 11 | 0 | 0
13 | 3 lever mortice locks |  |  | each | 11 | 0 | 0
14 | Clear glass 4mm(for windows) for above windows |  |  | each | 80 | 0 | 0
15 | 2 glass window frames for toilets |  |  | each | 3 | 0 | 0
16 | Obscure glass standard size for toilets |  |  | each | 8 | 0 | 0
17 | Glazing putty |  |  | kgs | 50 | 0 | 0
18 | Window handles |  |  | pair | 20 | 0 | 0
19 | Window sliding stays |  |  | pair | 20 | 0 | 0
20 | Peg stays |  |  | pair | 3 | 0 | 0
21 | Air vents |  |  | pair | 22 | 0 | 0
22 | DPC 9” |  |  | rolls | 10 | 0 | 0
23 | Dpm Sheet |  |  | rolls | 50 | 0 | 0
24 | Antipison |  |  | tins | 3 | 0 | 0
26 | Reinforcement bars R6 |  |  | each | 8 | 0 | 0
27 | Binding Wire |  |  | kgs | 20 | 0 | 0
28 | Floor tiles 300mm by 300mm |  |  | M2 | 140 | 0 | 0
29 | Tile adhesive each bag 25kgs |  |  | bags | 80 | 0 | 0
30 | Wall Tiles |  |  | M2 | 15 | 0 | 0
31 | Tile Grout Grey colour |  |  | packets | 60 | 0 | 0
32 | Tile Grout White colour |  |  | packets | 10 | 0 | 0
A2 | MWANZA CLINIC
1 | Cement 42.5 N each bag 50 kg |  |  | bags | 400 | 0 | 0
2 | Hollow blocks 400 mm by 200mm by 200mm |  |  | each | 6000 | 0 | 0
3 | Brick force wire 9” |  |  | rolls | 50 | 0 | 0
4 | River sand/Quarry dust |  |  | tones | 100 | 0 | 0
5 | Quarry stone |  |  | tonnes | 40 | 0 | 0
6 | Reinforcement bars y12 |  |  | each | 30 | 0 | 0
7 | Ndola lime each bag 50 kg |  |  | bags | 50 | 0 | 0
8 | 9” steel door frames standard size |  |  | each | 8 | 0 | 0
9 | 4½’’ steel door frames standard size |  |  | each | 3 | 0 | 0
10 | 12 glass window frames standard size |  |  | each | 3 | 0 | 0
11 | 8 glass window frames standard size |  |  | each | 4 | 0 | 0
12 | Flash doors |  |  | each | 11 | 0 | 0
13 | 3 lever mortice locks |  |  | each | 11 | 0 | 0
14 | Clear glass 4mm(for windows) for above windows |  |  | each | 80 | 0 | 0
15 | 2 glass window frames for toilets |  |  | each | 3 | 0 | 0
16 | Obscure glass standard size for toilets |  |  | each | 8 | 0 | 0
17 | Glazing putty |  |  | kgs | 50 | 0 | 0
18 | Window handles |  |  | pair | 20 | 0 | 0
19 | Window sliding stays |  |  | pair | 20 | 0 | 0
20 | Peg stays |  |  | pair | 3 | 0 | 0
21 | Air vents |  |  | pair | 22 | 0 | 0
22 | DPC 9” |  |  | rolls | 10 | 0 | 0
23 | Dpm Sheet |  |  | rolls | 50 | 0 | 0
24 | Antipison |  |  | tins | 3 | 0 | 0
25 | Reinforcement bars R6 |  |  | each | 8 | 0 | 0
26 | Binding Wire |  |  | kgs | 20 | 0 | 0
27 | Floor tiles 300mm by 300mm |  |  | M2 | 140 | 0 | 0
28 | Tile adhesive each bag 25kgs |  |  | bags | 80 | 0 | 0
29 | Wall Tiles |  |  | M2 | 15 | 0 | 0
30 | Tile Grout Grey colour |  |  | packets | 60 | 0 | 0
31 | Tile Grout White colour |  |  | packets | 10 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0

## Annex-B
B. Electrical Equipment for Chikwawa and Mwanza Prisons Clinics
B | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
B1 | CHIKWAWA CLINIC
1 | Distribution board 4 ways |  |  | each | 1 | 0 | 0
2 | Pvc conduits |  |  | bundles | 6 | 0 | 0
3 | Round boxes |  |  | pks | 4 | 0 | 0
4 | Couplings 20mm |  |  | pks | 6 | 0 | 0
5 | Nipples 20mm |  |  | pks | 6 | 0 | 0
6 | Saddles 20mm |  |  | pks | 6 | 0 | 0
7 | Solvent cement |  |  | bottle | 2 | 0 | 0
8 | Chasing combs |  |  | bottle | 2 | 0 | 0
9 | 3 x 3 boxes |  |  | pks | 2 | 0 | 0
10 | 3 x 6 boxes |  |  | pks | 2 | 0 | 0
11 | Wire nails 3’’ |  |  | kgs | 4 | 0 | 0
12 | 1.5 red cable |  |  | rolls | 4 | 0 | 0
13 | 1.5 black cable |  |  | rolls | 4 | 0 | 0
14 | 1.5 green cable |  |  | rolls | 3 | 0 | 0
15 | 2.5 red |  |  | rolls | 3 | 0 | 0
16 | 2.5 black |  |  | rolls | 3 | 0 | 0
17 | 2.5 green |  |  | rolls | 3 | 0 | 0
18 | Supply 10mm armoured cable |  |  | metres | 100 | 0 | 0
19 | Wood screw 1’’ |  |  | pks | 2 | 0 | 0
20 | Main switch 63A |  |  | each | 1 | 0 | 0
21 | Circuit breaker 30 A |  |  | each | 2 | 0 | 0
22 | Circuit breaker 15A |  |  | each | 2 | 0 | 0
23 | Sockets double |  |  | each | 15 | 0 | 0
24 | Sockets 1 gang 1 way |  |  | each | 10 | 0 | 0
25 | Switches 2 gang 2 way |  |  | each | 5 | 0 | 0
26 | Earth rod 2.5mm |  |  | each | 1 | 0 | 0
27 | Ceiling roses |  |  | each | 20 | 0 | 0
28 | Wall glass fittings |  |  | each | 8 | 0 | 0
29 | Round covers |  |  | packets | 2 | 0 | 0
30 | Neutral link |  |  | Each | 1 | 0 | 0
31 | Earth link |  |  | Ech | 1 | 0 | 0
B2 | MWANZA CLINIC
1 | Distribution board 4 ways |  |  | Each | 1 | 0 | 0
2 | Pvc conduits |  |  | bundles | 6 | 0 | 0
3 | Round boxes |  |  | pks | 4 | 0 | 0
4 | Couplings 20mm |  |  | pks | 6 | 0 | 0
5 | Nipples 20mm |  |  | pks | 6 | 0 | 0
6 | Saddles 20mm |  |  | pks | 6 | 0 | 0
7 | Solvent cement |  |  | bottle | 2 | 0 | 0
8 | Chasing combs |  |  | bottle | 2 | 0 | 0
9 | 3 x 3 boxes |  |  | pks | 2 | 0 | 0
10 | 3 x 6 boxes |  |  | pks | 2 | 0 | 0
11 | Wire nails 3’’ |  |  | kgs | 4 | 0 | 0
12 | 1.5 red cable |  |  | rolls | 4 | 0 | 0
13 | 1.5 black cable |  |  | rolls | 4 | 0 | 0
14 | 1.5 green cable |  |  | rolls | 3 | 0 | 0
15 | 2.5 red |  |  | rolls | 3 | 0 | 0
16 | 2.5 black |  |  | rolls | 3 | 0 | 0
17 | 2.5 green |  |  | rolls | 3 | 0 | 0
18 | Supply 10mm armoured cable |  |  | metres | 100 | 0 | 0
19 | Wood screw 1’’ |  |  | packet | 2 | 0 | 0
20 | Main switch 63A |  |  | Each | 1 | 0 | 0
21 | Circuit breaker 30 A |  |  | Each | 2 | 0 | 0
22 | Circuit breaker 15A |  |  | Each | 2 | 0 | 0
23 | Sockets double |  |  | Each | 15 | 0 | 0
24 | Sockets 1 gang 1 way |  |  | Each | 10 | 0 | 0
25 | Switches 2 gang 2 way |  |  | Each | 5 | 0 | 0
26 | Earth rod 2.5mm |  |  | Each | 1 | 0 | 0
27 | Ceiling roses |  |  | Each | 20 | 0 | 0
28 | Wall glass fittings |  |  | Each | 8 | 0 | 0
29 | Round covers |  |  | packets | 2 | 0 | 0
30 | Neutral link |  |  | Each | 1 | 0 | 0
31 | Earth link |  |  | Each | 1 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0
Warranty period for the electrical materials "one year": YES/NO

## Annex-C
C. Carpentry for Chikwawa and Mwanza Prisons Clinics
C | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
C 1 | CHIKWAWA CLINIC
1 | Iron sheets (chromatic) 18feet IBR |  |  | Each | 60 | 0 | 0
2 | 2’’ x 6’’ x 18’ softwood timber machine sawn |  |  | Each | 75 | 0 | 0
3 | 2’’ x 4’’ x 18’ ‘’ |  |  | Each | 40 | 0 | 0
4 | 2’’ x 2’’ x 18’ |  |  | Each | 250 | 0 | 0
5 | 2’’ x 3 x 18’ |  |  | Each | 70 | 0 | 0
6 | 1’’ x 8’’ x 18’ |  |  | Each | 60 | 0 | 0
7 | Bluegum poles for scaffolding |  |  | Each | 20 | 0 | 0
8 | Solignum x 5 ltr |  |  | tins | 5 | 0 | 0
9 | IBR Roofing nails |  |  | kgs | 45 | 0 | 0
10 | Clout nails |  |  | kgs | 30 | 0 | 0
11 | 4’’ wire nails |  |  | kgs | 75 | 0 | 0
12 | 5’’ wire nails |  |  | kgs | 30 | 0 | 0
13 | 6’’ wire nails |  |  | kgs | 45 | 0 | 0
14 | 3’’ wire nails |  |  | kgs | 75 | 0 | 0
15 | Ridge caps |  |  | Each | 15 | 0 | 0
16 | Ridge Closures |  |  | Each | 30 | 0 | 0
17 | Wall plate wire |  |  | kg | 50 | 0 | 0
18 | Steel nails |  |  | kgs | 25 | 0 | 0
19 | Ceiling Boards |  |  | Each | 60 | 0 | 0
20 | Cornices |  |  | Each | 70 | 0 | 0
21 | Wood screws 1.5 inches |  |  | kgs | 7 | 0 | 0
22 | Wood Glue |  |  | bottle | 1 | 0 | 0
23 | Curtain Rails 2 metres by 600 square mm |  |  | Each | 3 | 0 | 0
24 | Curtain Rails 1.2 meters by 600 square metre |  |  | Each | 4 | 0 | 0
25 | Block board |  |  | sheets | 4 | 0 | 0
26 | Handles in round bars |  |  | Each | 20 | 0 | 0
27 | Piano hinges |  |  | Each | 10 | 0 | 0
28 | Ball Cutchers |  |  | Each | 10 | 0 | 0
30 | Cupboard Locks |  |  | Each | 10 | 0 | 0
C2 | MWANZA CLINIC
1 | Iron sheets (chromatic) 18feet IBR |  |  | Each | 60 | 0 | 0
2 | 2’’ x 6’’ x 18’ softwood timber machine sawn |  |  | Each | 75 | 0 | 0
3 | 2’’ x 4’’ x 18’ ‘’ |  |  | Each | 40 | 0 | 0
4 | 2’’ x 2’’ x 18’ |  |  | Each | 250 | 0 | 0
5 | 2’’ x 3 x 18’ |  |  | Each | 70 | 0 | 0
6 | 1’’ x 8’’ x 18’ |  |  | Each | 60 | 0 | 0
7 | Bluegum poles for scaffolding |  |  | Each | 20 | 0 | 0
8 | Solignum x 5 ltr |  |  | tins | 5 | 0 | 0
9 | IBR Roofing nails |  |  | kgs | 45 | 0 | 0
10 | Clout nails |  |  | kgs | 30 | 0 | 0
11 | 4’’ wire nails |  |  | kgs | 75 | 0 | 0
12 | 5’’ wire nails |  |  | kgs | 30 | 0 | 0
13 | 6’’ wire nails |  |  | kgs | 45 | 0 | 0
14 | 3’’ wire nails |  |  | kgs | 75 | 0 | 0
15 | Ridge caps |  |  | Each | 15 | 0 | 0
16 | Ridge Closures |  |  | Each | 30 | 0 | 0
17 | Wall plate wire |  |  | kg | 50 | 0 | 0
18 | Steel nails |  |  | kgs | 25 | 0 | 0
19 | Ceiling Boards |  |  | Each | 60 | 0 | 0
20 | Cornices |  |  | Each | 70 | 0 | 0
21 | Wood screws 1.5 inches |  |  | kgs | 7 | 0 | 0
22 | Wood Glue |  |  | bottle | 1 | 0 | 0
23 | Curtain Rails 2 metres by 600 square mm |  |  | Each | 3 | 0 | 0
24 | Curtain Rails 1.2 meters by 600 square metre |  |  | Each | 4 | 0 | 0
25 | Block board |  |  | sheets | 4 | 0 | 0
26 | Handles in round bars |  |  | Each | 20 | 0 | 0
27 | Piano hinges |  |  | Each | 10 | 0 | 0
28 | Ball Cutchers |  |  | Each | 10 | 0 | 0
30 | Cupboard Locks |  |  | Each | 10 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0

## Annex-D
D. Plumbing for Chikwawa, Mwanza, Mpyupyu and Mangochi, Prisons
D | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
D1 | CHIKWAWA CLINIC
1 | P-trap WC Pan (Toilet pan) |  |  | Each | 3 | 0 | 0
2 | Low level flushing cistern |  |  | Each | 3 | 0 | 0
3 | Pan connectors-110mm |  |  | Each | 3 | 0 | 0
4 | Flushing rubber non threaded |  |  | Each | 3 | 0 | 0
5 | Flexible connectors |  |  | Each | 6 | 0 | 0
6 | 110mm inspection bend |  |  | Each | 10 | 0 | 0
7 | 110mm plain bend |  |  | Each | 7 | 0 | 0
8 | 110 pvc pipes |  |  | Each | 15 | 0 | 0
9 | Hand washing basin |  |  | Each | 1 | 0 | 0
10 | Medium sink single low |  |  | Each | 1 | 0 | 0
11 | Hand washing basin medium waste 40mm |  |  | Each | 1 | 0 | 0
12 | Sink waste 50mm |  |  | Each | 2 | 0 | 0
13 | 50mm P-trap |  |  | Each | 1 | 0 | 0
14 | 40mm P-Trap |  |  | Each | 1 | 0 | 0
15 | ½’’ pillar tap |  |  | Each | 2 | 0 | 0
16 | ½’’ bib tap |  |  | Each | 2 | 0 | 0
17 | ½’’IPS pipes |  |  | Each | 10 | 0 | 0
18 | ½’’ IPS elbows |  |  | Each | 40 | 0 | 0
19 | ½’’ IPS Tee |  |  | Each | 40 | 0 | 0
20 | ½’’ IPS sockets |  |  | Each | 20 | 0 | 0
21 | ½’’ IPS union |  |  | Each | 20 | 0 | 0
22 | ½’’ IPS nipples |  |  | Each | 40 | 0 | 0
23 | 50mm pvc pipes |  |  | Each | 4 | 0 | 0
24 | 50mm pvc plain bend |  |  | Each | 6 | 0 | 0
25 | 50mm Inspection bend |  |  | Each | 8 | 0 | 0
26 | 110mm gully trap |  |  | Each | 2 | 0 | 0
27 | Bolts and nuts for handwashing basin |  |  | pairs | 2 | 0 | 0
28 | 40mm pvc pipes |  |  | Each | 2 | 0 | 0
29 | 40mm pvc plain bend |  |  | Each | 6 | 0 | 0
30 | 40mm pvc inspection bend |  |  | Each | 6 | 0 | 0
31 | Thread tape |  |  | rolls | 20 | 0 | 0
32 | ¾’’ HDPE pipe |  |  | metres | 30 | 0 | 0
33 | ¾’’ HDPE adaptor |  |  | Each | 30 | 0 | 0
34 | 3/4 ‘’ HDPE sockets |  |  | Each | 10 | 0 | 0
35 | ¾’’ X ½’’ HDPE |  |  | Each | 10 | 0 | 0
36 | 110mm vent cover |  |  | Each | 1 | 0 | 0
37 | 110mm vent clips |  |  | pairs | 2 | 0 | 0
38 | Solvent Cement 500 mls |  |  | bottle | 1 | 0 | 0
39 | Hacksaw Blades |  |  | Each | 4 | 0 | 0
40 | Putty |  |  | kg | 1 | 0 | 0
41 | ½ “ shower rose |  |  | Each | 1 | 0 | 0
42 | ¾ “ by ½ “ reducing bushes |  |  | Each | 10 | 0 | 0
43 | Fisher Bolts |  |  | Each | 4 | 0 | 0
44 | Toilet Tissue Holders |  |  | Each | 3 | 0 | 0
45 | ¾ “ IPS Sockets |  |  | Each | 10 | 0 | 0
46 | ¾ “ HDPE tee |  |  | Each | 10 | 0 | 0
47 | ½ “ Angle valve |  |  | Each | 6 | 0 | 0
48 | ½ “ Stop cork |  |  | Each | 10 | 0 | 0
49 | ½ “ gate valves |  |  | Each | 10 | 0 | 0
50 | Toilet sit cover |  |  | Each | 3 | 0 | 0
51 | Manhole Frames |  |  | Each | 5 | 0 | 0
52 | Manhole Covers |  |  | Each | 5 | 0 | 0
D2 | MWANZA CLINIC
1 | P-trap WC Pan (Toilet pan) |  |  | Each | 3 | 0 | 0
2 | Low level flushing cistern |  |  | Each | 3 | 0 | 0
3 | Pan connectors-110mm |  |  | Each | 3 | 0 | 0
4 | Flushing rubber non threaded |  |  | Each | 3 | 0 | 0
5 | Flexible connectors |  |  | Each | 6 | 0 | 0
6 | 110mm inspection bend |  |  | Each | 10 | 0 | 0
7 | 110mm plain bend |  |  | Each | 7 | 0 | 0
8 | 110 pvc pipes |  |  | Each | 15 | 0 | 0
9 | Hand washing basin |  |  | Each | 1 | 0 | 0
10 | Medium sink single low |  |  | Each | 1 | 0 | 0
11 | Hand washing basin medium waste 40mm |  |  | Each | 1 | 0 | 0
12 | Sink waste 50mm |  |  | Each | 2 | 0 | 0
13 | 50mm P-trap |  |  | Each | 1 | 0 | 0
14 | 40mm P-Trap |  |  | Each | 1 | 0 | 0
15 | ½’’ pillar tap |  |  | Each | 2 | 0 | 0
16 | ½’’ bib tap |  |  | Each | 2 | 0 | 0
17 | ½’’IPS pipes |  |  | Each | 10 | 0 | 0
18 | ½’’ IPS elbows |  |  | Each | 40 | 0 | 0
19 | ½’’ IPS Tee |  |  | Each | 40 | 0 | 0
20 | ½’’ IPS sockets |  |  | Each | 20 | 0 | 0
21 | ½’’ IPS union |  |  | Each | 20 | 0 | 0
22 | ½’’ IPS nipples |  |  | Each | 40 | 0 | 0
23 | 50mm pvc pipes |  |  | Each | 4 | 0 | 0
24 | 50mm pvc plain bend |  |  | Each | 6 | 0 | 0
25 | 50mm Inspection bend |  |  | Each | 8 | 0 | 0
26 | 110mm gully trap |  |  | Each | 2 | 0 | 0
27 | Bolts and nuts for handwashing basin |  |  | pairs | 2 | 0 | 0
28 | 40mm pvc pipes |  |  | Each | 2 | 0 | 0
29 | 40mm pvc plain bend |  |  | Each | 6 | 0 | 0
30 | 40mm pvc inspection bend |  |  | Each | 6 | 0 | 0
31 | Thread tape |  |  | rolls | 20 | 0 | 0
32 | ¾’’ HDPE pipe |  |  | metres | 30 | 0 | 0
33 | 3/4 ‘’ HDPE sockets |  |  | Each | 10 | 0 | 0
34 | ¾’’ X ½’’ HDPE |  |  | Each | 10 | 0 | 0
35 | 110mm vent cover |  |  | Each | 1 | 0 | 0
36 | 110mm vent clips |  |  | pairs | 2 | 0 | 0
37 | Solvent Cement 500 mls |  |  | bottle | 1 | 0 | 0
38 | Hacksaw Blades |  |  | Each | 4 | 0 | 0
39 | Putty |  |  | kg | 1 | 0 | 0
40 | ½ “ shower rose |  |  | Each | 1 | 0 | 0
41 | ¾ “ by ½ “ reducing bushes |  |  | Each | 10 | 0 | 0
42 | Fisher Bolts |  |  | Each | 4 | 0 | 0
43 | Toilet Tissue Holders |  |  | Each | 3 | 0 | 0
44 | ¾ “ IPS Sockets |  |  | Each | 10 | 0 | 0
45 | ¾ “ HDPE tee |  |  | Each | 10 | 0 | 0
46 | ½ “ Angle valve |  |  | Each | 6 | 0 | 0
47 | ½ “ Stop cork |  |  | Each | 10 | 0 | 0
48 | ½ “ gate valves |  |  | Each | 10 | 0 | 0
49 | Toilet sit cover |  |  | Each | 3 | 0 | 0
50 | Manhole Frames |  |  | Each | 5 | 0 | 0
51 | Manhole Covers |  |  | Each | 5 | 0 | 0
D3 | MPYUPYU PRISON (ZOMBA)
1 | ¾” IPS pipes |  |  | Each | 10 | 0 | 0
2 | ¾” IPS elbows |  |  | Each | 40 | 0 | 0
3 | ¾”IPS Union |  |  | Each | 25 | 0 | 0
4 | IPS tee |  |  | Each | 25 | 0 | 0
5 | IPS Sockets |  |  | Each | 30 | 0 | 0
6 | ¾” – ½” IPS reducing bush |  |  | Each | 25 | 0 | 0
7 | Thread tape |  |  | Each | 6 | 0 | 0
8 | ½” shower roses |  |  | Each | 10 | 0 | 0
9 | Showering grating |  |  | Sq metres | 14 | 0 | 0
10 | ½” IPS pipes |  |  | Each | 4 | 0 | 0
11 | ½” IPS elbows |  |  | Each | 30 | 0 | 0
12 | ½” IPS Union |  |  | Each | 30 | 0 | 0
13 | ½” IPS tee |  |  | Each | 30 | 0 | 0
14 | ½” IPS sockets |  |  | Each | 30 | 0 | 0
15 | Squat pans (stainless steel) |  |  | Each | 10 | 0 | 0
16 | 110mm pan connectors |  |  | Each | 10 | 0 | 0
17 | Flushing cistern (ELF) |  |  | Each | 10 | 0 | 0
18 | ½” Flexible connectors |  |  | Each | 10 | 0 | 0
19 | 40mm pvc pipes |  |  | Each | 6 | 0 | 0
20 | 40mm inspection bends |  |  | Each | 14 | 0 | 0
21 | 40mm plain bend |  |  | Each | 14 | 0 | 0
22 | 110mm inspection bend |  |  | Each | 12 | 0 | 0
23 | 110mm plain bend |  |  | Each | 12 | 0 | 0
24 | 200mm pvc sewer pipes |  |  | Each | 15 | 0 | 0
25 | 110mm pvc pipes |  |  | Each | 6 | 0 | 0
26 | 110mm vent cover |  |  | Each | 2 | 0 | 0
27 | 100mm vent clip |  |  | Each | 2 | 0 | 0
28 | Solvent cement 500 mls |  |  | bottle | 1 | 0 | 0
29 | ½” stop cork |  |  | Each | 14 | 0 | 0
30 | ¾” gate valve |  |  | Each | 10 | 0 | 0
31 | ½” IPS nipples |  |  | Each | 40 | 0 | 0
32 | ¾” IPS nipples |  |  | Each | 40 | 0 | 0
33 | 50mm pvc pipes |  |  | Each | 20 | 0 | 0
34 | 50mm pvc inspection bend |  |  | Each | 20 | 0 | 0
35 | 50mm pvc plain bend |  |  | Each | 20 | 0 | 0
36 | Bib tap |  |  | Each | 5 | 0 | 0
D4 | MANGOCHI PRISON
1 | ½” IPS pipes |  |  | Each | 10 | 0 | 0
2 | ½” IPS elbows |  |  | Each | 30 | 0 | 0
3 | ½” IPS nipples |  |  | Each | 40 | 0 | 0
4 | ½” IPS Union |  |  | Each | 40 | 0 | 0
5 | ½” IPS tee |  |  | Each | 40 | 0 | 0
6 | ½” IPS sockets |  |  | Each | 40 | 0 | 0
7 | ½” stop cork |  |  | Each | 20 | 0 | 0
8 | ½” shower roses |  |  | Each | 10 | 0 | 0
9 | Shower grating |  |  | M2 | 14 | 0 | 0
10 | 50mm pvc pipes |  |  | Each | 20 | 0 | 0
11 | 50mm pvc inspection bend |  |  | Each | 20 | 0 | 0
12 | 50mm pvc plain bend |  |  | Each | 20 | 0 | 0
13 | Squat pans |  |  | Each | 12 | 0 | 0
14 | Pan/ P/trap |  |  | Each | 12 | 0 | 0
15 | 110mm pan connectors |  |  | Each | 12 | 0 | 0
16 | Flushing cistern |  |  | Each | 12 | 0 | 0
17 | 40mm pvc pipes |  |  | Each | 6 | 0 | 0
18 | 40mm pvc plain bend |  |  | Each | 20 | 0 | 0
19 | Flush rubber threaded |  |  | Each | 12 | 0 | 0
20 | 110mm pvc tee |  |  | Each | 12 | 0 | 0
21 | 110mm pvc pipes |  |  | Each | 18 | 0 | 0
22 | 110mm inspection bend |  |  | Each | 15 | 0 | 0
23 | 110mm plain bend |  |  | Each | 15 | 0 | 0
24 | Flexible connectors |  |  | Each | 20 | 0 | 0
25 | Solvent cement |  |  | Litres | 2 | 0 | 0
D5 | MWANZA PRISON
1 | Flushing cistern |  |  | Each | 10 | 0 | 0
2 | Squart pan |  |  | Each | 10 | 0 | 0
3 | Pan trap |  |  | Each | 10 | 0 | 0
4 | Pan connector 110mm |  |  | Each | 12 | 0 | 0
5 | 110mm inspection bend |  |  | Each | 15 | 0 | 0
6 | 110mm plain bend |  |  | Each | 15 | 0 | 0
7 | ½” flexible connectors |  |  | Each | 15 | 0 | 0
8 | ½” stop cork |  |  | Each | 20 | 0 | 0
9 | ½” gate valves |  |  | Each | 12 | 0 | 0
10 | ½” IPS pipes |  |  | Each | 10 | 0 | 0
11 | ½” IPS elbows |  |  | Each | 40 | 0 | 0
12 | ½” IPS nipples |  |  | Each | 40 | 0 | 0
13 | ½” IPS Union |  |  | Each | 25 | 0 | 0
14 | ½” IPS tee |  |  | Each | 30 | 0 | 0
15 | ½” IPS socket |  |  | Each | 25 | 0 | 0
16 | Shower roses |  |  | Each | 12 | 0 | 0
17 | Shower grating |  |  | Sq metres | 12 | 0 | 0
18 | ¾” x ½” IPS reducing bush |  |  | Each | 20 | 0 | 0
19 | 40mm pvc pipes |  |  | Each | 10 | 0 | 0
20 | 40mm pvc plain bend |  |  | Each | 35 | 0 | 0
21 | 40mm pvc inspection bend |  |  | Each | 25 | 0 | 0
22 | 50mm pvc pipes |  |  | Each | 20 | 0 | 0
23 | 50mm pvc plain bend |  |  | Each | 20 | 0 | 0
24 | 50mm pvc inspection bend |  |  | Each | 20 | 0 | 0
25 | 160mm pvc pipes |  |  | Each | 15 | 0 | 0
26 | Flush rubbers |  |  | Each | 12 | 0 | 0
27 | Solvent cement |  |  | Litres | 2 | 0 | 0
28 | 110mm pvc pipes |  |  | Each | 10 | 0 | 0
29 | ¾” stop cork |  |  | Each | 10 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0

## Annex-E
E. Materials for Cisterns shields for ,Mpyupyu, Mwanza and Mangochi Prisons
E | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
E 1 | MPYUPYU PRISONS
1 | Flat bars 40 x 5 |  |  | Each | 10 | 0 | 0
2 | Angle iron 40 x 40 x 3 |  |  | Each | 20 | 0 | 0
3 | 1mm flat sheets |  |  | Each | 10 | 0 | 0
4 | M8 low bolts |  |  | Each | 40 | 0 | 0
5 | Hinges 4” |  |  | Pair | 10 | 0 | 0
6 | Lock system/padlock |  |  | Pair | 10 | 0 | 0
7 | Welding rodes |  |  | Kg | 52 | 0 | 0
8 | Red oxide paint |  |  | Litre | 10 | 0 | 0
9 | Black high gloss |  |  | Litre | 10 | 0 | 0
10 | Paint brushes 2” |  |  | Each | 20 | 0 | 0
11 | Turpentine |  |  | Litre | 10 | 0 | 0
12 | Paint brushes 4” |  |  | Each | 10 | 0 | 0
E 2 | MWANZA PRISON
1 | Flat bars 40 x 5 |  |  | Each | 10 | 0 | 0
2 | Angle iron 40 x 40 x 3 |  |  | Each | 20 | 0 | 0
3 | 1mm flat sheets |  |  | Each | 10 | 0 | 0
4 | M8 low bolts |  |  | Each | 40 | 0 | 0
5 | Hinges 4” |  |  | Pair | 10 | 0 | 0
6 | Lock system/padlock |  |  | Pair | 10 | 0 | 0
7 | Welding rodes |  |  | Kg | 52 | 0 | 0
8 | Red oxide paint |  |  | Litre | 10 | 0 | 0
9 | Black high gloss |  |  | Litre | 10 | 0 | 0
10 | Paint brushes 2” |  |  | Each | 20 | 0 | 0
11 | Turpentine |  |  | Litre | 10 | 0 | 0
12 | Paint brushes 4” |  |  | Each | 10 | 0 | 0
E 3 | MANGOCHI PRISON
1 | Flat bars 40 x 5 |  |  | Each | 10 | 0 | 0
2 | Angle iron 40 x 40 x 3 |  |  | Each | 20 | 0 | 0
3 | 1mm flat sheets |  |  | Each | 10 | 0 | 0
4 | M8 low bolts |  |  | Each | 40 | 0 | 0
5 | Hinges 4” |  |  | Pair | 10 | 0 | 0
6 | Lock system/padlock |  |  | Pair | 10 | 0 | 0
7 | Welding rodes |  |  | Kg | 52 | 0 | 0
8 | Red oxide paint |  |  | Litre | 10 | 0 | 0
9 | Black high gloss |  |  | Litre | 10 | 0 | 0
10 | Paint brushes 2” |  |  | Each | 20 | 0 | 0
11 | Turpentine |  |  | Litre | 10 | 0 | 0
12 | Paint brushes 4” |  |  | Each | 10 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0

## Annex-F
F. Painting material for Clinics at Chikwakwa and Mwanza Prisons
F | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
F1 | CHIKWAWA CLINIC
1 | Undercoat white x 5ltr |  |  | tins | 12 | 0 | 0
2 | Pink primer x 5ltr |  |  | tins | 2 | 0 | 0
3 | Sheen white x 5ltr |  |  | tins | 14 | 0 | 0
4 | High gloss grey x 5ltr |  |  | tins | 6 | 0 | 0
5 | Ceiling white x 5ltr |  |  | tins | 6 | 0 | 0
6 | Red oxide paint x 5ltr |  |  | tins | 1 | 0 | 0
7 | High gloss white x 5ltr |  |  | tins | 3 | 0 | 0
8 | Turpentine x 5 ltr |  |  | tins | 7 | 0 | 0
9 | Light ork 500 mls |  |  | Tins | 2 | 0 | 0
10 | Varnish x 5ltr |  |  | Tin | 1 | 0 | 0
11 | Crack filler |  |  | Kgs | 10 | 0 | 0
12 | Black gloss x 5ltr |  |  | tin | 2 | 0 | 0
13 | Roller brushes with g-trays |  |  | Each | 6 | 0 | 0
14 | 6 ‘’ wire brushes |  |  | Each | 6 | 0 | 0
15 | 4’’ wire brushes |  |  | Each | 6 | 0 | 0
16 | 2’’ wire brushes |  |  | Each | 4 | 0 | 0
17 | Sand paper |  |  | Rolls | 2 | 0 | 0
18 | Waster (mutton cloth) |  |  | Rolls | 2 | 0 | 0
19 | Ndola lime |  |  | Bags | 7 | 0 | 0
F2 | MWANZA CLINIC
1 | Undercoat white x 5ltr |  |  | tins | 12 | 0 | 0
2 | Pink primer x 5ltr |  |  | tins | 2 | 0 | 0
3 | Sheen white x 5ltr |  |  | tins | 14 | 0 | 0
4 | High gloss grey x 5ltr |  |  | tins | 6 | 0 | 0
5 | Ceiling white x 5ltr |  |  | tins | 6 | 0 | 0
6 | Red oxide paint x 5ltr |  |  | tins | 1 | 0 | 0
7 | High gloss white x 5ltr |  |  | tins | 3 | 0 | 0
8 | Turpentine x 5 ltr |  |  | tins | 7 | 0 | 0
9 | Light ork 500 mls |  |  | Tins | 2 | 0 | 0
10 | Varnish x 5ltr |  |  | Tin | 1 | 0 | 0
11 | Crack filler |  |  | Kgs | 10 | 0 | 0
12 | Black gloss x 5ltr |  |  | tins | 2 | 0 | 0
13 | Roller brushes with g-trays |  |  | Each | 6 | 0 | 0
14 | 6 ‘’ wire brushes |  |  | Each | 6 | 0 | 0
15 | 4’’ wire brushes |  |  | Each | 6 | 0 | 0
16 | 2’’ wire brushes |  |  | Each | 4 | 0 | 0
17 | Sand paper |  |  | Rolls | 2 | 0 | 0
18 | Waster (mutton cloth) |  |  | Rolls | 2 | 0 | 0
19 | Ndola lime |  |  | Bags | 7 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0

## Annex-G
G. Ventilation Improvement for Chikhwawa , Mangochi, and Mwanza Prisons
G | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
G1 | Ventilation improvement for Chikwawa
1 | Windows 12 glasses 17.25 x 11.5” |  |  | Each | 21 | 0 | 0
2 | Clear glasses 3mm x 17.25 x 11.5” |  |  | Each | 252 | 0 | 0
3 | Putty |  |  | Kgs | 40 | 0 | 0
4 | Putty knives |  |  | Each | 2 | 0 | 0
5 | Turpentine |  |  | Litres | 10 | 0 | 0
6 | Paint high gloss cream 5 litres tins |  |  | Tins | 15 | 0 | 0
7 | Paint Undercoat white 5 litres tins |  |  | Tins | 7 | 0 | 0
8 | Paint high gloss white 5 litres tins |  |  | Tins | 7 | 0 | 0
9 | Peg stays |  |  | Pairs | 21 | 0 | 0
10 | Wasters |  |  | Rolls | 3 | 0 | 0
11 | Cement 42.5N of 50kgs |  |  | Each | 30 | 0 | 0
12 | Ndola Lime each bag 50kg |  |  | Bags | 10 | 0 | 0
13 | Rivers sand or Quarry dust |  |  | Tonnes | 15 | 0 | 0
14 | Standard Burnt Bricks 225 mm by 105 mm by 65 mm |  |  | Each | 8000 | 0 | 0
15 | Lime brushes |  |  | Each | 5 | 0 | 0
16 | Masonary Cutting discs |  |  | Each | 6 | 0 | 0
17 | Club hammers 2lbs |  |  | Each | 2 | 0 | 0
18 | Brick cold chisels |  |  | Each | 5 | 0 | 0
19 | Grinding machine |  |  | Each | 1 | 0 | 0
20 | Flex cable core 3, 4 mm |  |  | Metres | 50 | 0 | 0
21 | Double Socket complete box |  |  | Each | 1 | 0 | 0
22 | Reinforcement bars Y16 |  |  | Each | 63 | 0 | 0
23 | Whirbird |  |  | Each | 28 | 0 | 0
G2 | VENTILATION IMPROVEMENT FOR MANGOCHI
1 | Windows 12 glasses 17.25 x 11.5” |  |  | Each | 8 | 0 | 0
2 | Clear glasses 3mm x 17.25 x 11.5” |  |  | Each | 100 | 0 | 0
3 | Putty |  |  | Kgs | 20 | 0 | 0
4 | Putty knives |  |  | Each | 2 | 0 | 0
5 | Turpentine |  |  | Litres | 5 | 0 | 0
6 | Paint high gloss cream 5 litres tins |  |  | Tins | 8 | 0 | 0
7 | Paint Undercoat white 5 litres tins |  |  | Tins | 5 | 0 | 0
8 | Paint high gloss white 5 litres tins |  |  | Tins | 5 | 0 | 0
9 | Peg stays |  |  | Pairs | 8 | 0 | 0
10 | Wasters |  |  | Rolls | 3 | 0 | 0
11 | Cement 42.5N each bag 50kgs |  |  | Each | 7 | 0 | 0
12 | Ndola Lime each bag 50kg |  |  | Bags | 3 | 0 | 0
13 | Rivers sand or Quarry dust |  |  | Tonnes | 4 | 0 | 0
14 | Standard Burnt Bricks 225 mm by 105 mm by 65 mm |  |  | Each | 2000 | 0 | 0
15 | Lime brushes |  |  | Each | 3 | 0 | 0
16 | Masonary Cutting discs |  |  | Each | 3 | 0 | 0
17 | Brick cold chisels |  |  | Each | 2 | 0 | 0
18 | Reinforcement bars Y16 |  |  | Each | 24 | 0 | 0
19 | Whirbird |  |  | Each | 32 | 0 | 0
G3 | VENTILATION IMPROVEMENT FOR MWANZA
1 | Whirbird |  |  | Each | 12 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0

## Annex-H
H. Septic Tank for Mangochi Prison
H | Description of goods | Compliance with technical specifications |  | Unit | Qty | Unit Price | Total Price | Manufacture Country
|  | Yes, we comply | No, we cannot comply (indicate discrepancies)
H1 | SPETIC TANK MANGOCHI Size 6000 mm long x 2750 mm wide x 2500 mm deep
1 | Standard burnt brick 225mm by 105 mm by 65 mm |  |  | each | 11000 | 0 | 0
2 | Cement 42.5 N each bag 50 kgs |  |  | bags | 75 | 0 | 0
3 | Quarry Stone |  |  | tonnes | 14 | 0 | 0
4 | A98 Mesh wire |  |  | metres | 12 | 0 | 0
5 | 19 mm by 12 m bars |  |  | each | 5 | 0 | 0
6 | Soft wire |  |  | kgs | 5 | 0 | 0
7 | Hacksaw Blades |  |  | each | 15 | 0 | 0
8 | 1 inch by 6 inch by 15 feet timber |  |  | Each | 45 | 0 | 0
9 | 2 inch by 6 inch by 15 feet timber |  |  | Each | 10 | 0 | 0
10 | 2 inch by 4 inch by 15 feet timber |  |  | Each | 20 | 0 | 0
11 | 1 inch by 4 inch by 15 feet timber |  |  | Each | 5 | 0 | 0
12 | 100 mm PVC pipes |  |  | Each | 25 | 0 | 0
13 | 100 mm inspection tee |  |  | Each | 10 | 0 | 0
14 | ¾ inches HDPE Pipes |  |  | Each | 80 | 0 | 0
15 | 4 inches wire nails |  |  | Kgs | 5 | 0 | 0
16 | 3 inches wire nails |  |  | kgs | 5 | 0 | 0
17 | 2 inches wire nails |  |  | kgs | 10 | 0 | 0
18 | Lump Stones |  |  | tonnes | 20 | 0 | 0
19 | River sand |  |  | tonnes | 42 | 0 | 0
20 | 9 inches brick force wire |  |  | rolls | 20 | 0 | 0
21 | Black plastic sheet |  |  | metres | 20 | 0 | 0
22 | Wheel barrows |  |  | Each | 3 | 0 | 0
23 | Shovels |  |  | Each | 4 | 0 | 0
24 | Building line |  |  | Each | 1 | 0 | 0
25 | Hacksaw Frame |  |  | Each | 1 | 0 | 0
26 | Picks and Handles |  |  | Each | 2 | 0 | 0
27 | Hammer 14lbs |  |  | Each | 1 | 0 | 0
28 | Vicker building trowels |  |  | Each | 4 | 0 | 0
29 | Vicker shinning trowels |  |  | Each | 2 | 0 | 0
30 | Corner trowel |  |  | pair | 1 | 0 | 0
31 | Builders square |  |  | Each | 2 | 0 | 0
32 | Manhole frame |  |  | Each | 6 | 0 | 0
33 | Man hole cover |  |  | Each | 6 | 0 | 0
34 | 4 feet spirit level |  |  | Each | 2 | 0 | 0
35 | 2 feet spirit level |  |  | Each | 1 | 0 | 0
36 | Pointing trowel |  |  | Each | 1 | 0 | 0
| TOTAL AMOUNT (MWK) | [5 empty] | 0