REQUEST FOR QUOTATION (RFQ)

(Goods)

| NAME & ADDRESS OF FIRM | DATE: September 10, 2019 |
| --- | --- |
|  | REFERENCE: RFQ/2019/10 |

Dear Sir / Madam:

# We kindly request you to submit your quotation for Rehabilitation and extension of steel structure hangar – North Badia / Mafraq as detailed in Annex 1 of this RFQ.  When preparing your quotation, please be guided by the form attached hereto as Annex 2.

# Quotations may be submitted on or before September 22, 2019 @12pm and via ☒courier mail to the address below:

# United Nations Development Programme

# Ishaq AlEdwan St. Building no. 16. Opposite

# the Shmeisani Police Station, Amman-Jordan

# Tel: +962 6 5100420 Fax: +962 6 5100430

# Procurement Unit

# Proposal submitted should have one original, 1 copy and one on USB

It shall remain your responsibility to ensure that your quotation will reach the address above on or before the deadline.  Quotations that are received by UNDP after the deadline indicated above, for whatever reason, shall not be considered for evaluation.  If you are submitting your quotation by email, kindly ensure that they are signed and in the .pdf format, and free from any virus or corrupted files.

Please take note of the following requirements and conditions pertaining to the supply of the abovementioned good/s:

| Delivery Terms [INCOTERMS 2010] (Pls. link this to price schedule) | ☐FCA ☐CPT ☐CIP ☒DAP ☐Other [pls. specify] |
| --- | --- |
| Customs clearance, if needed, shall be done by: | ☐UNDP ☒Supplier/Offeror ☐Freight Forwarder |
| Exact Address/es of Delivery Location/s (identify all, if multiple) | North Badia / Mafraq |
| Latest Expected Delivery Date and Time (if delivery time exceeds this, quote may be rejected by UNDP) | ☒ 45 days from the issuance of the Purchase Order (PO) and the issuance of Start Order Letter by the UNDP Engineer ☐ As per Delivery Schedule attached [if delivery will be staggered] |
| Delivery Schedule | ☒Required ☐Not Required |
| Packing Requirements |  |
| Mode of Transport | ☐ AIR | ☒LAND |
|  | ☐SEA | ☐OTHER [pls. specify] |
| Preferred Currency of Quotation | ☐United States Dollars ☐Euro ☒Local Currency: JOD |
| Value Added Tax on Price Quotation | ☐ Must be inclusive of VAT and other applicable indirect taxes ☒ Must be exclusive of VAT and other applicable indirect taxes |
| After-sales services required | ☒ Others A Bank Certified Check of 5% of project price as defects liability guarantee to be returned to the Contractor after 180 days of works substantial completion certificate issuance. |
| Deadline for the Submission of Quotation | Sunday, September 22, 2019 @12pm |
| All documentations, including catalogs, instructions and operating manuals, shall be in this language | ☒ English ☐ French ☐ Spanish ☒ Others Arabic |
| Documents to be submitted | ☒ Duly Accomplished Form as provided in Annex 2, and in accordance with the list of requirements in Annex 1; ☒ Provide proof of entity's classification (minimum class E (Fifth Grade) in Buildings Construction or rehabilitation or steel structure works according to Jordan Construction Contractors Association or licensed as maintenance, rehabilitation or decorative works company according to business registration certificate). ☒ Provide Experiences Statement from responsible authorities of Minimum 3 contracts of similar nature implemented over the last 5 years with value not less than 20,000 USD each. ☒ Latest Business Registration Certificate; ☐ Latest Internal Revenue Certificate / Tax Clearance; ☐ Complete documentation, information and declaration of any goods classified or may be classified as “Dangerous Goods”. ☒ Written Self-Declaration of not being included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List; |
| Period of Validity of Quotes starting the Submission Date | ☐ 60 days ☐ 90 days ☒ 120 days In exceptional circumstances, UNDP may request the Vendor to extend the validity of the Quotation beyond what has been initially indicated in this RFQ. The Proposal shall then confirm the extension in writing, without any modification whatsoever on the Quotation. |
| Partial Quotes | ☒ Not permitted ☐ Permitted [pls. provide conditions for partial quotes, and ensure that requirements are properly listed to allow partial quotes (e.g., in lots, etc.)] |
| Payment Terms | ☐ 100% upon complete delivery of goods ☒ Others Item / Description / Milestone Payment Portion SUPPLY OF EQUIPMENT & CONSTRUCTION WORKS Work in Progress (interim payments based on actual progress upon certification by UNDP Eng. With 10% retention) 90% Upon Certificate of Substantial Completion 10% |
| Liquidated Damages | Will be imposed under the following conditions: Percentage of contract price per day of delay: 1% Max. no. of days of delay: 30 days Next course of action: Termination of the contract |
| Evaluation Criteria [check as many as applicable] | ☒ Technical responsiveness/Full compliance to requirements and lowest price ☒ Full acceptance of the PO/Contract General Terms and Conditions [this is a mandatory criterion and cannot be deleted regardless of the nature of services required] |
| UNDP will award to: | ☒ One and only one supplier |
| Type of Contract to be Signed | ☒ Purchase Order ☒ Contract for Civil Works http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html ☐ Long-Term Agreement (if LTA will be signed, specify the document that will trigger the call-off. E.g., PO, etc.) ☐ Other Type/s of Contract |
| Special conditions of Contract | ☒ Cancellation of PO/Contract if the delivery/completion is delayed by 30 days ☐ Others [pls. specify] |
| Conditions for Release of Payment | ☒ Written Acceptance by UNDP Engineer of Goods based on full compliance with RFQ requirements |
| Annexes to this RFQ | ☒ Specifications of the Goods Required: Technical Standards & Technical Specifications” published by Government of Jordan and applied in Jordan ☒ Form for submission of quotation /Bill of Quantities (Annex 1) ☒PROJECT ACTIVIRY (WORK) SCHEDULE (Annex 3) ☒ Drawings (Annex 2). ☒ General Terms and Conditions / Special Conditions (Annex 4). Non-acceptance of the terms of the General Terms and Conditions (GTC) shall be grounds for disqualification from this procurement process. |
| Site Visit | Please contact Mr. Ghaleb Alserhan 0796252419 |
| Contact Person for Inquiries (Written inquiries only) | Nahla Soussou Procurement and ICT Analyst Offers.jo@undp.org Any delay in UNDP’s response shall be not used as a reason for extending the deadline for submission, unless UNDP determines that such an extension is necessary and communicates a new deadline to the Proposers. |
| UN Supplier code of conduct | https://www.un.org/Depts/ptd/sites/www.un.org.Depts.ptd/files/files/attachment/page/pdf/unscc/conduct_english.pdf |

Goods offered shall be reviewed based on completeness and compliance of the quotation with the minimum specifications described above and any other annexes providing details of UNDP requirements.

The quotation that complies with all of the specifications, requirements and offers the lowest price, as well as all other evaluation criteria indicated, shall be selected.  Any offer that does not meet the requirements shall be rejected.

Any discrepancy between the unit price and the total price (obtained by multiplying the unit price and quantity) shall be re-computed by UNDP.  The unit price shall prevail, and the total price shall be corrected.  If the supplier does not accept the final price based on UNDP’s re-computation and correction of errors, its quotation will be rejected.

After UNDP has identified the lowest price offer, UNDP reserves the right to award the contract based only on the prices of the goods in the event that the transportation cost (freight and insurance) is found to be higher than UNDP’s own estimated cost if sourced from its own freight forwarder and insurance provider.

At any time during the validity of the quotation, no price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted by UNDP after it has received the quotation.   At the time of award of Contract or Purchase Order, UNDP reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum twenty-five per cent (25%) of the total offer, without any change in the unit price or other terms and conditions.

Any Purchase Order that will be issued as a result of this RFQ shall be subject to the General Terms and Conditions attached hereto.  The mere act of submission of a quotation implies that the vendor accepts without question the General Terms and Conditions of UNDP herein attached as Annex 3.

UNDP is not bound to accept any quotation, nor award a contract/Purchase Order, nor be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process.

Please be advised that UNDP’s vendor protest procedure is intended to afford an opportunity to appeal for persons or firms not awarded a purchase order or contract in a competitive procurement process.  In the event that you believe you have not been fairly treated, you can find detailed information about vendor protest procedures in the following link:

http://www.undp.org/content/undp/en/home/operations/procurement/protestandsanctions/

UNDP encourages every prospective Vendor to avoid and prevent conflicts of interest, by disclosing to UNDP if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ.

UNDP implements a zero tolerance on fraud and other proscribed practices, and is committed to identifying and addressing all such acts and practices against UNDP, as well as third parties involved in UNDP activities.  UNDP expects its suppliers to adhere to the UN Supplier Code of Conduct found in this link : http://www.un.org/depts/ptd/pdf/conduct_english.pdf

Thank you and we look forward to receiving your quotation.

Sincerely yours,

Annex 1

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. RFQ 2019/00:

Terms of Reference Bill of Quantities

Services: Rehabilitation and extension of steel structure hangar – Mafraq

Background:

This project is implemented under the “Improving Livelihoods of Sheep owners in the Jordan Badia through Enhancing Sheep Wool Marketability and Profitability” programme that aims to develop the Badia area in cooperation with the Ministry of Environment/BRP.

Project location:

The project is administratively located in the North Badia/Deir Al Kahf District/ Rawdat Al Ameer Ali, on a parcel of land with approximate area of 42279 square meters owned by Anaqeed Al Khair NGO.

The land information is as following:

أراضي المفرق – مديرية أراضي البادية الشمالية – قرية روضة الأمير علي بن الحسين – حوض رقم 27 العبدون الشمالي – رقم الحي واللوحة 27 والعائدة ملكيتها لجمعية عناقيد الخير التعاونية لأبناء البادية

Scope of work:

- Construction of new slab on grade, block walls and finishing works

- Construction of steel structures

- Rehabilitation and upgrade of buildings including electro-mechanical works

General Terms:

- The rates shall be used for the price analyses and evaluation purposes or any other requirements, shall be fixed and firm for the duration of the contract and shall be inclusive of all facilities, office running cost, communication, transportation, company overheads …. etc. (prices are not subject for adjustment in any case including change in market material price or change of quantities of any percentage based on Engineer’s instructions). For any type of work, material, equipment, tool, fitting … etc. required for the scope of work, the contractor must follow the engineer's instructions with getting his approval in advance. The contractor's failure to achieve that shall cause rejecting the work, material, equipment, tool, fitting … etc.

- This Project is done in cooperation with Ministry of Environment/BRP and the Anaqeed Al Khair NGO, that is the end user of project and could upon UNDP authorization participate in technical inspections.

- The General Specifications for these works are the General Specifications for Building, Electrical Works, Mechanical Works and Roads issued by Ministry of Public Works and Housing (Volume I, II, III and IV).

- All required facilities for proper development of all phases of the project shall be the contractor’s own responsibility. Unless otherwise explicitly called upon, any facilities shall be deemed included and/or surcharged in/to the contractor’s price. It is the contractor’s responsibility to secure the Works against vandalism and interference during construction all the time till handing over the works officially.

- The Services provided by Contractor shall also include some duties normally performed by UNDP field staff, which includes the establishment and maintenance of contacts with counterparts and other stakeholders. These shall include, yet not be limited to, liaising and maintaining strong working relations with all stakeholders and obtain all required letters, approvals, documentation…etc.

- Reporting: One of UNDP’s management tools is through comprehensive progress reports supported by photographs, videos and similar materials from its implementation partners. The same also applies for illustrating project impacts. Contents of Report:

During implementation, the contractor shall provide UNDP with weekly progress reports including yet not limited to: Meetings held with counterparts, contractors …. etc. Progress reporting, delays…. etc.

Staff employed by contractor, sub-contractors, counterparts. Financial status, predicted cash flow, expected variations. Technical Issues. However, UNDP will supply the contractor with the format of the progress report.  The contractor shall provide adequate photographs and video materials as an integral part of any submitted report with the purpose of illustrating progress, impact, elements requiring particular attention and so forth. Photographs and videos shall also be captured and submitted as frequent as requested by UNDP. The contractor shall not convey any Arabic language correspondences to UNDP all official correspondences with the counterparts and other relevant material shall be translated to the English language by a certified translator. The contractor shall always submit the Arabic version together with the translated version including due stamping and sealing of the translated version with sufficient proof that the utilized translator is certified the Government.

The contractor’s cost shall be deemed included and/or surcharged in/to the rates for each activity.

- Cost of all samples and all laboratory testing in accordance with the instructions of the supervision engineer shall be borne by the Contractor and deemed to be included in the Contract price.

- The contractor shall at all times comply with the restrictions and conditions stipulated by the responsible authorities. Before any work is undertaken, the contractor shall give due notice to the engineer and all utilities where services may be in conflict with the works.

- The contractor shall provide and erect work signs, bollards, lighting, safety barriers, and such like where necessary or required to ensure safety of the public and workers.

- All care shall be taken to minimize damage to property in the execution of these works, by means of route planning, design, and prior consultation with owners, occupiers, and responsible authorities. It shall be the contractor's responsibility to make good any damage, which is caused, to lands, crops, trees, walls, fences, gates, drains, pipelines, buildings, roads, or other property, caused directly or indirectly by the execution of the works.

- HEALTH, SAFETY & ENVIROMENTAL (HS&E) REQUIREMENTS

The Contractor throughout the execution and completion of the works shall fully comply with international recognized safety regulations specified under the Technical Specifications i.e.:

•	Take care for the safety of all persons engaged at site works,

•	Use reasonable efforts to keep the site and works clear of unnecessary obstruction so as to avoid danger to these persons,

•	Provide and maintain electrical materials, diesel generators, guarding and watching of the works until completion and taking over of the works,

•	Take all reasonable steps to protect the environment on and off site and to avoid damage or nuisance to persons or to property of the public or others resulting from pollution, noise or other cause arising as a consequence of his method of operation.

•	Provide to all site workers personal protective equipment, safety clothes, equipment, materials, etc., to perform ongoing activity such as portable earths, safety helmets, working and insulated gloves and safety shoes.

- SITE SURVEY: Bidders shall be deemed to have inspected and examined the site and its  surroundings, and to have satisfied themselves with site conditions before submitting the Bid.

- SITE PREPARATION: The Contractor shall be responsible for all site preparation works.

- MEASUREMENT OF QUANTITIES: UNDP reserves right to increase, decrease quantities or cancel any items in the bill of quantities as per actual requirements. Bidders shall familiarize themselves with the conditions on site and actual quantities required as the prices submitted in the bid shall be inclusive of everything required for successful completion of the project.

- TRANSPORTATION OF MATERIALS: The Contractor shall be responsible for transport of all equipment to the site including loading, off-loading, etc. and all costs and expenses involved in transport from the warehouse storage works to the sites.

- The Contractor's responsibility shall also include the construction of an adequate access way, if necessary, for construction and delivery of plant from the public highway to each site. The Contractor shall ensure that damage to any public or private roads or footpaths used by any vehicles or plant proceeding to or from the site kept to a minimum and shall be responsible for the cost of all repairs necessary to restore such roads or footpaths at least to the condition previously obtaining.

- REDUNDANT EQUIPMENT: Redundant equipment as identified by the Engineer shall be carefully removed and delivered to the warehouse as indicated by the Engineer.  The contractor shall keep inventory of the quantities and obtain signature of acceptance from the applicable authority.

- PROGRAMME FOR THE WORKS: The Contractor shall within one week, (7) days of the “Commencement Date” submit a time-scaled linked bar chart in “Microsoft Projects” for approval by the UNDP. The program shall identify all key activities required to complete the works, show intermediate milestones for the purpose of assessing progress on the works and the proposed timing for all Contract deliverable’s including documentation. This program shall be maintained by the Contractor throughout the project and shall only be varied with the approval of the Engineer.

- Submittals

A.	Submit preliminary shop drawings, product data and samples for review and compliance with Contract Documents, for field dimensions and clearances, for relation to available space, and for relation to work of separate contracts. Revise and resubmit as required.

B.	Submit applications for payment on forms for review, and to Supervising Engineer/Owner’s Representative.

C.	Submit requests for interpretation of Contract Documents and obtain instructions through the Supervising Engineer/Owner’s Representative.

D.	Process requests for substitutions, and change orders, through the Supervising Engineer/Owner’s Representative.

E.	Deliver close-out submittals for review and preliminary inspection reports, to Supervising Engineer/Owner’s Representative.

The contractor must submit a submittal for any type of work, material, equipment, method statement, shop drawing, technical data … etc. required for the scope of work to get approval from the supervision engineer in advance before starting any activity of any type.

Any works without getting prior approval duly from the supervision engineer, the supervision engineer has the full authority to reject it, and the contractor will carry lonely the full responsibility technically & financially. The contractor has to follow the supervision engineer’s instructions duly.

- Submittal Procedures

A.	Transmit each submittal with an approved transmittal form to the Supervising Engineer / Owner’s Representative.

B.	Sequentially number the transmittal form. Revise submittals with original number and a sequential alphabetic suffix.

C.	Identify Project, Contractor, Subcontractor or Supplier; pertinent drawing and detail number, and specification section number, as appropriate.

D.	Apply Contractor’s stamp signed or initialed certifying that review, verification of Products required, field dimensions, adjacent construction Work, and coordination of information, is in accordance with the requirements of the Work and Contract Documents.

E.	Schedule submittals to expedite the Project and deliver to Supervising Engineer/Owner’s Representative at Site Office. Coordinate submission of related items.

F.	For each submittal for review, allow 4 working days (except for invoices) excluding delivery time to and from the contractor and no submittal shall be submitted on Holidays, Weekends (Fridays and Saturdays) or after 15:00 hr. at normal working days (Also for Request for Inspection (RFI) it should be allowed 2 working day after submittal day to check (working days are calendar days excluding official holidays, Fridays and Saturdays) where RFI shall not be submitted after 13:30 hr. at working days)

G.	Identify variations from Contract Documents and Product or system limitations which may be detrimental to successful performance of the completed Work.

H.	Provide space for Contractor and Supervising Engineer/Owner’s Representative review stamps.

I.	Revise and resubmit, identify all changes made since previous submission.

J.	Distribute copies of reviewed submittals as appropriate. Instruct parties to promptly report any inability to comply with provisions.

K.	Submittals not requested will not be recognized or processed.

- The Contractor shall submit design drawings when required in BoQ (to be stamped by authorized office according to Jordan Engineer’s Association by the Contractor without additional cost), shop drawings, site surveys, and as-built drawings for all works.

Bill of quantities

| تعتمد المواصفات الفنية العامة للمباني الصادرة عن وزارة الأشغال العامة والإسكان الأردنية لعام 1996 كمواصفة عامة لجميع البنود ولتحديد شمولية السعر وطريقة الكيل لكل بند. |
| --- |
| رقم | البنـــد | الوحدة | الكمية | السعر الافرادي | السعر الاجمالي |
| البند |  |  |  | دينـــار | دينـــــار |
|  | الاعمال المطلوب تنفيذها مستودع الصوف :- |  |  |  |  |
| 00/01 | تقديم وصب خرسانة مسلحة سماكة 10 سم مدة ارضية كسر 20 نيوتن/ملم2 بعد 28 يوم من الاسمنت المقاوم للاملاح والكبريتات وشبكها مع المدة القائمة على نفس منسوبها بين الجسرين عند الممر مع عمل ميول تصريف مياه باتجاه الجانبين للخارج والسعر يشمل التسوية الترابية والطمم اللازم للوصول للمناسيب المطلوبة مع فرشة عدسية سماكة 5 سم اسفل المدة كما يشمل الطوبار و تقديم حديد تسليح قطر 8 ملم grade 40 كل 20 سم بالاتجاهين وذلك للمساحة على جانبي الهنكر و الساحة امام الهنكر . | م2 | 560 |  |  |
| 00/02 | توريد وبناء طوب اسمنتي سماكة 15 سم مفرغ حيثما يلزم شاملا القموط اللازمة مصبوب من خرسانة عادية بحيث لا تقل مقاومة الكسر عن 3.5 نيوتن/ملم2 بعد 28 يوم للطوب والسعر يشمل الفريمات الخرسانية على فتحات الشبابيك والابواب والقموط من الخرسانة المسلحة 25 نيوتن بارتفاع 20 سم لكامل الجدار مع علاوتها وحديد تسليح عدد 4 وقطر 14ملم وكانات قطر 8 ملم كل 20 سم مع جميع ما يلزم لانجاز العمل على اكمل وجه حسب المخططات والمواصفات العامة | م2 | 155 |  |  |
| 00/03 | تفديم وعمل قصارة ثلاثة وجوه من مونة الاسمنت والرمل بنسبة 2:1 للوجه الاول وبنسبة 1:4 للوجهين الاخرين مضافا اليها مادة مميعة من مصدر معتمد من المختبر ويشمل السعر "السقايل والزوايا المعدنية للزوايا الخارجية والزوايا المعدنية للزوايا الداخلية والشرائح الشبكية المعدنية فوق انظمة الخدمات المختلفة غير الظاهرة وكذلك جميع الفواصل بين اعمدة الخرسانة وجدران الطوب وبين القموط والواجهات – يحمل على البند (لا يكال) صبانة القصارة القائمة وشبكها بالقصارة الجديدة حسب الاصول للقصارة الخارجية في حال تنفيذها للجدران الخارجية يتم اضافة مادة مانعة للنش مع وجه اضافي عبارة عن مادة خاصة مشابهة Vetonit FINISH WR EG مع اعتماد اللون والرسم المعتمد من قبل المهندس) | م2 | 310 |  |  |
| 00/04 | تركيب مناخل من الصاج المفرغ سماكة 1.5 ملم مدهون باللون الابيض طبقتين على إطار من الحديد زاوية 2*2 سم قياس 1*0.5 م طول*ارتفاع في المواقع التي يحددها المهندس | عدد | 12 |  |  |
| 00/05 | فك وازالة الحواجز الحديدية القائمة وتسليمها لإدارة الجمعية | مقطوع | 1 |  |  |
| 00/06 | فك وهدم وازالة أنقاض جسر خرساني على جانبي الممر المصبوب في منتصف الهنكر | مقطوع | 1 |  |  |
| 00/07 | تركيب ابواب لف جر عامودي roller shutter قياس 3 * 3 متر والسعر يشمل الحديد والصندوق والماكنة وكل اللوازم لتركيبه وتشغيله (نوعية تحتمل 10000 دورة، تحتمل قوة الرياح ، مدهونة دهان حراري ومصنعة من الحديد) و فك وازالة الزينكو القائم وذلك لتركيب الابواب | عدد | 3 |  |  |
| 00/08 | تركيب كشافات انارة ليد قدرة 50 واط كحد ادنى (على الاقل 140 lumen/watt) في اعلى جسم الهنكر والسعر يشمل التمديدات والمواسير والاسلاك الكهربائية المناسبة حسب الكودات الاردنية (بحد ادنى 2.5 ملم) والقواطع (بحد ادنى 15 امبير) والربط الكهربائي والمفاتيح (مفاتيح دركسيون لكل خط انارة محمل على السعر - يتم تحديد مواقع وحدات الانارة والمفاتيح من قبل المهندس داخل الهنجر الرئيسي او المظلة في اي موقع دون اية علاوة بسبب اختيار الموقع) | عدد | 16 |  |  |
| 00/09 | تركيب ابريز صناعي 1 فاز والسعر يشمل التمديدات والمواسير والاسلاك الكهربائية قطر 6 ملم والقواطع الكهربائية بحد ادنى 20 امبير (يتم تحديد مواقع الاباريز من قبل المهندس داخل الهنجر الرئيسي او المظلة في اي موقع دون اية علاوة لزيادة الاطوال بسبب اختيار الموقع) | عدد | 6 |  |  |
| 00/10 | تركيب ابريز 3 فاز والسعر يشمل يشمل التمديدات والمواسير والاسلاك 4*16ملم + 1*6ملم للوحة الفرعية الكهربائية والقواطع 3 فاز 63 امبير (يتم تحديد مواقع الاباريزمن قبل المهندس داخل الهنجر الرئيسي او المظلة في اي موقع دون اية علاوة لزيادة الاطوال بسبب اختيار الموقع) | عدد | 2 |  |  |
| 00/11 | تصميم وتقديم وتركيب مضلة من الزينكو المضلع والمجلفن والسعر يشمل القواطع الحديدية والتيوبات والجسور والأعمدة والقواعد والأعمدة الخرستنية اذا لزم حسب التصميم المقدم من المقاول وجميع ما يلزم وبارتفاع لا يقل عن 3 متر ومناسب لارتفاع الابواب القائمة للوصل بين الهنجر الرئيسي والهنجر المجاور في الساحة أمام غرفة العيادة البيطرية سابقاً. | م2 | 95 |  |  |
| 00/12 | بالمقطوع ازلة منهل صرف صحي اسفل المظلة الجديدة وانشاء منهل جديد بالعمق المناسب خارج المظلة باتجاه مبنى الادارة وذلك بالحفر على المنهل القائم وتوصيل المواسير وعمل منهل جديد على مسافة 3 متر على الاقل من المنهل المراد ازاحته والسعر يشمل جميع ما يلزم من مواسير وعمل منهل والبنشقة وغطاء منهل من النوع الثقيل وتوصيل المنهل القائم الى حفرة تجميع المجاري بالاضاف الى صيانة المنهلين القائمين تحت المظلة أمام العيادة البيطرية وتسليك خط المجاري | مقطوع | 1 |  |  |
| 00/13 | تصميم و تقديم وتركيب وتفصيل رمبة حديدية من الحديد والصاج المبزر والسعر يشمل الدهان وجميع مايلزم بحيث تكون الرمبة من منسوب المدة الارضية ولغاية ارتفاع 1.2 سم او حسب الارتفاع المناسب لارتفاع سيارات الشحن وبحيث تكون بميول مناسبة لصعود الرافعة الشوكية وبحيث تحتوي الرمبة عند نهايتها بسطة بقياس 3 *3 متر لدوران الرافعة الشوكية اثناء الصعود لسيارة الشحن وعلى ان تتحمل أحمال الاليات مثل الرافعة الشوكية والبوبكات محملة بالبضائع بين الهنجر الرئيسي والعيادة باتجاه الشارع الخارجي حسب الموقع الذي سيحدده المهندس. | مقطوع | 1 |  |  |
| 14/00 | توريد وتركيب لوحة كهربائية فرعية 24 قاطع حسب تعليمات المهندس داخل الهنجر الرئيسي على الجدار الملاصق للمظلة المقترحة من الحديد المقاوم للصدأ بسماكة 2 ملم شاملا الباب والقفل والدهان الحراري وكل القواطع الفرعية والقاطع الرئيسي 3 فاز 100 امبير مع وصلها بكيبل 4*25 ملم لمصدر الكهرباء الرئيسي شاملا كلف الحفر والطمم والمواسير UPVC والكوابل وكافة المواد من رمل وطوب مفرغ للحماية وشريط تحذيري وتأريض 1*10 ملم، على ان لا يتعدى طول مسار التوصيل بين اللوحة ومصدر الكهرباء عن 90 متر طولي | عدد | 1 |  |  |
|  |  | المجموع (دينار أردني) |  |

| SUMMARY OF PRICES |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Totals brought forward from “Breakdown of Prices” |  |  |  |
|  | GRAND TOTAL OF PRICES (JOD) |  |

Annex2

Drawings

- Photos of the work site

The main hangar                                                 The main Hangar and clinic room

The second hangar and clinic room                    The second hangar and electricity source

Annex3

PROJECT ACTIVIRY (WORK) SCHEDULE

| # | Activity / Description | Dates | Duration in Weeks from Contract Award |
| --- | --- | --- | --- |
|  |  | Start | Finish | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Authorized Signature: [In full and initials] Date: [Day/Month/Year] Company Stamp |

Annex 4

General Terms and Conditions

1.	ACCEPTANCE OF THE PURCHASE ORDER

This Purchase Order may only be accepted by the Supplier's signing and returning an acknowledgement copy of it or by timely delivery of the goods in accordance with the terms of this Purchase Order, as herein specified.  Acceptance of this Purchase Order shall effect a contract between the Parties under which the rights and obligations of the Parties shall be governed solely by the terms and conditions of this Purchase Order, including these General Conditions.  No additional or inconsistent provisions proposed by the Supplier shall bind UNDP unless agreed to in writing by a duly authorized official of UNDP.

2.	PAYMENT

  - UNDP shall, on fulfillment of the Delivery Terms, unless otherwise provided in this Purchase Order, make payment within 30 days of receipt of the Supplier's invoice for the goods and copies of the shipping documents specified in this Purchase Order.

  - Payment against the invoice referred to above will reflect any discount shown under the payment terms of this Purchase Order, provided payment is made within the period required by such payment terms.

  - Unless authorized by UNDP, the Supplier shall submit one invoice in respect of this Purchase Order, and such invoice must indicate the Purchase Order's identification number.

  - The prices shown in this Purchase Order may not be increased except by express written agreement of UNDP.

3.            TAX EXEMPTION

3.1  	Section 7 of the Convention on the Privileges and Immunities of the United Nations provides, inter alia, that the  United Nations, including its subsidiary organs, is exempt from all direct taxes, except charges for utilities services, and is exempt from customs duties and charges of a similar nature in respect of articles imported or exported for its official use.  In the event any governmental authority refuses to recognize UNDP's exemption from such taxes, duties or charges, the Supplier shall immediately consult with UNDP to determine a mutually acceptable procedure.

3.2  	Accordingly, the Supplier authorizes UNDP to deduct from the Supplier's invoice any amount representing such taxes, duties or charges, unless the Supplier has consulted with UNDP before the payment thereof and UNDP has, in each instance, specifically authorized the Supplier to pay such taxes, duties or charges under protest.  In that event, the Supplier shall provide UNDP with written evidence that payment of such taxes, duties or charges has been made and appropriately authorized.

4.	RISK OF LOSS

Risk of loss, damage to or destruction of the goods shall be governed in accordance with Incoterms  2010, unless otherwise agreed upon by the Parties on the front side of this Purchase Order.

5.	EXPORT LICENCES

Notwithstanding any INCOTERM 2010 used in this Purchase Order, the Supplier shall obtain any export licences required for the goods.

6.	FITNESS OF GOODS/PACKAGING

The Supplier warrants that the goods, including packaging, conform to the specifications for the goods ordered under this Purchase Order and are fit for the purposes for which such goods are ordinarily used and for purposes expressly made known to the Supplier by UNDP, and are free from defects in workmanship and materials.  The Supplier also warrants that the goods are contained or packaged adequately to protect the goods.

7.	INSPECTION

7.1	UNDP shall have a reasonable time after delivery of the goods to inspect them and to reject and refuse acceptance of goods not conforming to this Purchase Order; payment for goods pursuant to this Purchase Order shall not be deemed an acceptance of the goods.

7.2	Inspection prior to shipment does not relieve the Supplier from any of its contractual obligations.

8.	INTELLECTUAL PROPERTY INFRINGEMENT

The Supplier warrants that the use or supply by UNDP of the goods sold under this Purchase Order does not infringe any patent, design, trade-name or trade-mark.  In addition, the Supplier shall, pursuant to this warranty, indemnify, defend and hold UNDP and the United Nations harmless from any actions or claims brought against UNDP or the United Nations pertaining to the alleged infringement of a patent, design, trade-name or trade-mark arising in connection with the goods sold under this Purchase Order.

9.	RIGHTS OF UNDP

In case of failure by the Supplier to fulfil its obligations under the terms and conditions of this Purchase Order, including but not limited to failure to obtain necessary export licences, or to make delivery of all or part of the goods by the agreed delivery date or dates, UNDP may, after giving the Supplier reasonable notice to perform and without prejudice to any other rights or remedies, exercise one or more of the following rights:

  - Procure all or part of the goods from other sources, in which event UNDP may hold the Supplier responsible for any excess cost occasioned thereby.

  - Refuse to accept delivery of all or part of the goods.

  - Cancel this Purchase Order without any liability for termination charges or any other liability of any kind of UNDP.

10.	LATE DELIVERY

Without limiting any other rights or obligations of the parties hereunder, if the Supplier will be unable to deliver the goods by the delivery date(s) stipulated in this Purchase Order, the Supplier shall (i) immediately consult with UNDP to determine the most expeditious means for delivering the goods and (ii) use an expedited means of delivery, at the Supplier's cost (unless the delay is due to Force Majeure), if reasonably so requested by UNDP.

11.	ASSIGNMENT AND INSOLVENCY

  - The Supplier shall not, except after obtaining the written consent of UNDP, assign, transfer, pledge or make other disposition of this Purchase Order, or any part thereof, or any of the Supplier's rights or obligations under this Purchase Order.

  - Should the Supplier become insolvent or should control of the Supplier change by virtue of insolvency, UNDP may, without prejudice to any other rights or remedies, immediately terminate this Purchase Order by giving the Supplier written notice of termination.

12.	USE OF UNDP OR UNITED NATIONS NAME OR EMBLEM

The Supplier shall not use the name, emblem or official seal of UNDP or the United Nations for any purpose.

13.	PROHIBITION ON ADVERTISING

The Supplier shall not advertise or otherwise make public that it is furnishing goods or services to UNDP without specific permission of UNDP in each instance.

14.	CHILD LABOUR

The Supplier represents and warrants that neither it nor any of its affiliates is engaged in any practice inconsistent with the rights set forth in the Convention on the Rights of the Child, including Article 32 thereof, which, inter alia, requires that a child shall be protected from performing any work that is likely to be hazardous or to interfere with the child's education, or to be harmful to the child's health or physical, mental, spiritual, moral or social development.

Any breach of this representation and warranty shall entitle UNDP to terminate this Purchase Order immediately upon notice to the Supplier, without any liability for termination charges or any other liability of any kind of UNDP.

15.	MINES

The Supplier represents and warrants that neither it nor any of its affiliates is actively and directly engaged in patent activities, development, assembly, production, trade or manufacture of mines or in such activities in respect of components primarily utilized in the manufacture of Mines.  The term "Mines" means those devices defined in Article 2, Paragraphs 1, 4 and 5 of Protocol II annexed to the Convention on Prohibitions and Restrictions on the Use of Certain Conventional Weapons Which May Be Deemed to Be Excessively Injurious or to Have Indiscriminate Effects of 1980.

Any breach of this representation and warranty shall entitle UNDP to terminate this Purchase Order immediately upon notice to the Supplier, without any liability for termination charges or any other liability of any kind of UNDP.

16.	SETTLEMENT OF DISPUTES

16.1	Amicable Settlement.  The Parties shall use their best efforts to settle amicably any dispute, controversy or claim arising out of, or relating to this Purchase Order or the breach, termination or invalidity thereof.  Where the Parties wish to seek such an amicable settlement through conciliation, the conciliation shall take place in accordance with the UNCITRAL Conciliation Rules then obtaining, or according to such other procedure as may be agreed between the Parties.

16.2	Arbitration.  	Unless, any such dispute, controversy or claim between the Parties arising out of or relating to this Purchase Order or the breach, termination or invalidity thereof is settled amicably under the preceding paragraph of this Section within sixty (60) days after receipt by one Party of the other Party's request for such amicable settlement, such dispute, controversy or claim shall be referred by either Party to arbitration in accordance with the UNCITRAL Arbitration Rules then obtaining, including its provisions on applicable law.  The arbitral tribunal shall have no authority to award punitive damages.  The Parties shall be bound by any arbitration award rendered as a result of such arbitration as the final adjudication of any such controversy, claim or dispute.

17.	PRIVILEGES AND IMMUNITIES

Nothing in or related to these General Terms and Conditions or this Purchase Order shall be deemed a waiver of any of the privileges and immunities of the United Nations, including its subsidiary organs.

18.	SEXUAL EXPLOITATION:

18.1	The Contractor shall take all appropriate measures to prevent sexual exploitation or abuse of anyone by it or by any of its employees or any other persons who may be engaged by the Contractor to perform any services under the Contract.  For these purposes, sexual activity with any person less than eighteen years of age, regardless of any laws relating to consent, shall constitute the sexual exploitation and abuse of such person.  In addition, the Contractor shall refrain from, and shall take all appropriate measures to prohibit its employees or other persons engaged by it from, exchanging any money, goods, services, offers of employment or other things of value, for sexual favors or activities, or from engaging in any sexual activities that are exploitive or degrading to any person.  The Contractor acknowledges and agrees that the provisions hereof constitute an essential term of the Contract and that any breach of this representation and warranty shall entitle UNDP to terminate the Contract immediately upon notice to the Contractor, without any liability for termination charges or any other liability of any kind.

18.2	UNDP shall not apply the foregoing standard relating to age in any case in which the Contractor’s personnel or any other person who may be engaged by the Contractor to perform any services under the Contract is married to the person less than the age of eighteen years with whom sexual activity has occurred and in which such marriage is recognized as valid under the laws of the country of citizenship of such Contractor’s personnel or such other person who may be engaged by the Contractor to perform any services under the Contract.

- OFFICIALS NOT TO BENEFIT:

The Contractor warrants that no official of UNDP or the United Nations has received or will be offered by the Contractor any direct or indirect benefit arising from this Contract or the award thereof.  The Contractor agrees that breach of this provision is a breach of an essential term of this Contract.

20.       AUTHORITY TO MODIFY:

Pursuant to the Financial Regulations and Rules of UNDP, only the UNDP Authorized Official possess the authority to agree on behalf of UNDP to any modification of or change in this Agreement, to a waiver of any of its provisions or to any additional contractual relationship of any kind with the Contractor. Accordingly, no modification or change in this Contract shall be valid and enforceable against UNDP unless provided by an amendment to this Agreement signed by the Contractor and jointly by the UNDP Authorized Official.

This serves as a guide to the Supplier in preparing the quotation and price schedule.

Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes