**Clarifications**

**Batteries**

1. 250Ah RE Series Gel Batteries or equivalent

**Panels**

1. The requirement is mono-crystalline panels of 320w or equivalent with a maximum of 15 solar panels based on the space available for installation) Output of 4-5KWP

**Charge Controller**

1. charge controller you ay quote for Smart Solar MPPT 250/60-Tr Solar or any equivalent