Annex II

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This form must be submitted only using the Supplier’s Official Letterhead/stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No.RFQ/UNDP/CIWT/88703/007/2020

TABLE 1: Offer to BoQ Compliant with Technical Specifications and Requirements

| No | Item Material | Material Description | W | H | D | M | M2 | QTY | PRICE/M/M2 | Amount |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CIVIL WORKS |
| 1 | Ceiling with drops and LED indirect lights + Downlights | 1. Structure light steel channel galvanized and furing channel | 6.39 | 7.33 | 0.00 | 0.00 | 46.84 | 1 |  |  |
|  |  | 2. Insulation, 8mm Zelltech Aluminium Foil | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 3. Gypsum 9mm, Jayaboard/ Indoboard/ equivalent | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 4. Finishing Metrolite 001 Metro White/ equivalent | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 5. Light blue LED strip for dropping indirect light | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 6. LED downlight & Pendant lamp or room lighting, Philips 11 watt cool day light/ equivalent | LS | LS | LS | LS | LS | 24 |  |  |
|  |  | 7. Electricity, 2 x 1,5 SUPREME Cable for LED downlights and LED strip indirect light | LS | LS | LS | LS | LS | 30 |  |  |
| 2 | Flooring with solid Merbau parquet | 1. Solid wood parquet, merbau Wood, sanded | 6.39 | 7.33 | 0.00 | 0.00 | 46.84 | 1 |  |  |
|  |  | 2. Coating with Ultran Parquet Lack | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 3. Cable Tray with control openings | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
| 3 | Wall Leveling, painting and restructuring | 1. Wall leveling and treatment to flattended existing wall condition (Printer Side) (A) | 6.39 | 3.30 | 0.00 | 0.00 | 21.09 | 1.00 |  |  |
|  |  | 2. Wall leveling and treatment to flattended existing wall condition (LOGO Side) (B) | 7.33 | 3.30 | 0.00 | 0.00 | 24.19 | 1.00 |  |  |
|  |  | 3. Wall leveling and treatment to flattended existing wall condition (Entrance side) (C) | 6.39 | 3.30 | 0.00 | 0.00 | 21.09 | 1.00 |  |  |
|  |  | 4. Wall finishing with interior spotless paint NIPPON, Reticent White/ eq. (Printer side) (A) | 6.39 | 3.30 | 0.00 | 0.00 | 21.09 | 1.00 |  |  |
|  |  | 5. Wall finishing with interior spotless paint NIPPON, Reticent White/ eq. (LOGO side) (B) | 7.33 | 3.30 | 0.00 | 0.00 | 24.19 | 1.00 |  |  |
|  |  | 6. Wall finishing with interior spotless paint NIPPON, Reticent White/ eq. (Entrance side) (C) | 6.39 | 3.30 | 0.00 | 0.00 | 21.09 | 1.00 |  |  |
|  |  | 7. Blocking second existing door permanently with bricks and cement (C) | LS | LS | LS | LS | LS | 1.00 |  |  |
|  |  | 8. Aluminium Composite Panel (ACP) entrance gate, stucture Hollow Steel 1,5mm (C) | LS | LS | LS | LS | LS | 1.00 |  |  |
|  |  | 9. Electricity, 3 x 2,5mm SUPREME cable for power supplies, with Panasonic socket/ eq. (A) | LS | LS | LS | LS | LS | 6.00 |  |  |
|  |  | 10. Mirror sticker for windows (Printer Side) (A) | 6.35 | 1.40 | 0.00 | 0.00 | 8.89 | 1.00 |  |  |
| FURNITURES |
| 1 | Wall Partition for main display + cupboard + credenza | 1. Wall, 12mm multiplex, fin. Melaminto, fin. Duco brilliant white Nippe/ eq. | 7.00 | 3.30 | 0.00 | 0.00 | 23.10 | 1 |  |  |
|  |  | 2. Cupboard, 12mm multiplex & blockboard, fin. Melaminto, fin. Duco brilliant white Nippe/ eq. | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | (inside cupboard finishing TACO HPL white gloss, with light blue LED strip indirect light) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 2 (push to open door) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 3. Credenza, 12mm multiplez & blockboard, fin. Melaminto, fin. Duco brilliant white Nippe/ eq. | 3.50 | 1.00 | 0.00 | 0.00 | 3.50 | 1 |  |  |
|  |  | 2. (doors finishing HPL TACO TH 1202 AUCKLAND OAK) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 2. (inside credenza finishing TACO HPL white gloss, with light blue LED strip indirect light) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 2. (2 doors at the centre using exhaust fan with grill ventilation to prevent processor over heat) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 4. Electricity, for lights 2 x 1,5mm SUPREME cable | LS | LS | LS | LS | LS | 6 |  |  |
|  |  | 5. Electricity, for power 3 x 2,5mm SUPREME cable, socket Panasonic/ eq, MCB Schneider/ eq. | LS | LS | LS | LS | LS | 6 |  |  |
| 2 | Operator Table and Chair | 1. Table, 12mm multiplex & blockboarf, fin. Melaminto | 3.80 | 0.80 | 0.00 | 0.00 | 3.80 | 1 |  |  |
|  |  | 1. (table top, fin. Melaminto, fin. HPL TACO 1202 AUCKLAND OAK) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 1. (table leg, fin. Melaminto, fin. Duco brilliant white Nippe/ eq.) | Incl. | Incl. | Incl. | Incl. | Incl. | Incl. |  |  |
|  |  | 2. Electricity, for users power supply, 3 x 2,5mm SUPREME cable, socket Panasonic/ eq. | LS | LS | LS | LS | LS | 7 |  |  |
|  |  | 3. Working chair, barstool concept | LS | LS | LS | LS | LS | 4 |  |  |
| 3 | Intelligence Centre Background and Signage | 1. Backdrop, 20mm mixed solid wood, finishing melamic | 3.55 | 3.30 | 0.00 | 0.00 | 11.72 | 1.00 |  |  |
|  |  | 2. Signage, 3D laser cutting steel, painted in red and white - . ("INTELLIGENCE CENTER, Integritas - Profesional - Peduli - Responsif") | LS | LS | LS | LS | LS | 1.00 |  |  |
| 4 | Front and back operator tables | 1. Front Operator table, Table top, 12mm multiplex & Blockboard, fin. MDF, fin. HPL TACO 1202 | LS | LS | LS | LS | LS | 1.00 |  |  |
|  |  | 1. (equiped with LEGRAND Multiple plug in socket) |  |  |  |  |  |  |  |  |
|  |  | 2. Back Operator table, Table top, 12mm multiplex & Blockboard, fin. MDF, fin. HPL TACO 1202 | LS | LS | LS | LS | LS | 1.00 |  |  |
|  |  | 1. (equiped with LEGRAND Multiple plug in socket) |  |  |  |  |  |  |  |  |
|  |  | 3. Office chair for operators | LS | LS | LS | LS | LS | 6.00 |  |  |
| ACCESSORIES |
| 1 | Accessories | 1. Roller Blind grey Sharp Point/ eq. for operator windows (yellow circle) | LS | LS | LS | LS | LS | 4 |  |  |
|  |  | 2. Minimalist Pendand Lamp (red circle) | LS | LS | LS | LS | LS | 4 |  |  |
|  |  | 3. CCTV + installation HIKVISION/ eq. (not in 3D) | LS | LS | LS | LS | LS | 2 |  |  |
|  |  | 4. Main Entrance Door, 15mm tempered glass with sand blast sticker blocking (blue circle) | LS | LS | LS | LS | LS | 1 |  |  |
|  |  | 5. HDMI 10m (not in 3D) | LS | LS | LS | LS | LS | 6 |  |  |
|  |  | 7. Air Conditioner 2 PK (not in 3D) | LS | LS | LS | LS | LS | 2 |  |  |
|  |  | 8. Finger print & card access + Installation (Main Entrance door access) | LS | LS | LS | LS | LS | 1 |  |  |

TABLE 2: Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows : | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter proposal |
| Delivery Lead Time – 45 Days (1st March – 15th April 2020) |  |  |  |
| Warranty and After-Sales Requirements a) 60 days for workmanship b) Minimum one (1) year warranty on new product/goods |  |  |  |
| Validity of Quotation – 90 days |  |  |  |
| All Provision of the UNDP General Terms and Conditions |  |  |  |
| Payment terms |  |  |  |
| Others |  |  |  |
| Contact Person | Name : Phone No : Email : |

All the other information that we have not provided automatically implies our full compliance with the requirements, terms and confitions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]