## ALTERNATIVE A_Final
s/no | Description | Unit | Quantity | Rate | Amount
UN HOUSE ABUJA
PROVISION OF SECURITY LIGHTS ALONG THE PERIMETER FENCE
ALL IN ONE SOLAR LIGHTS
PRELIMINARIES
A | Mobilization of Equipment and materials to site | lot | 1 |  | 0
B | Site survey and interpretation of drawings | lot | 1 |  | 0
C | Provision of workshop drawings and product samples | lot | 1 |  | 0
D | Provision of As-Built drawings and maintenance manuals | lot | 1 |  | 0
E | Scaffolding and plant | lot | 1 |  | 0
| SUB - TOTAL PRELIMINARIES |  |  | N | 0
MAIN EQUIPMENT INSTALLATION
F | 100watts All-in-One solar street light with LED fittings as described in the Sunmaster Technical Datasheet enclosed | no | 60 |  | 0
G | 9m pole (galvanized steel) with two arms painted to agreed colours | no | 57 |  | 0
H | Concrete base of 1300 x 500 x 500mm (HxWxD), The base will be 300mm above natural ground | no | 57 |  | 0
J | Installation labour, testing and commissioning | no | 57 |  | 0
| SUB - TOTAL INSTALLATIONS |  |  | N | 0
| Sub-Total Preliminaries |  |  | N | 0
| Sub-Total Installations |  |  | N | 0
| TOTAL SUM FOR ALTERNATIVE A |  |  | N | 0