|  |  |
| --- | --- |
| **FORMULARIO DE PRESENTACIÓN DE COTIZACIONES POR PARTE DE PROVEEDORES** | **LOTE. No. 6.1 – TRINIDIDAD Y TOBAGO** |
|

***(La presentación de este formulario se realizará únicamente en papel de carta con el encabezamiento oficial del Proveedor)***

Los abajo firmantes aceptamos en su totalidad los Términos y Condiciones Generales del PNUD y por la presente nos ofrecemos a suministrar los artículos que se enumeran a continuación, de conformidad con las especificaciones y los requisitos del PNUD con arreglo a la RFQ con el número de referencia **17230 RSC 2020:**

**TABLA No.1: Oferta de suministro de bienes/servicios con arreglo a Especificaciones Técnicas y otros requisitos**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Linea | | Artículo | Especificación | Empaque requerido | Cant. | Precio Unitario | Precio Total por Artículo |
| 1 | **MASK - RESPIRATOR Particulate Respirator  FFP2 / N95  SIZE M** | | Good breathability with design that does not collapse against the mouth (e.g. duckbill, cup shaped)  "N95" respirator according to US NIOSH, or "FFP2" according to EN 149; Size M | Und | 2,000 |  |  |
| 2 | **MASK - RESPIRATOR Particulate Respirator  FFP2 / N95  SIZE L** | | Good breathability with design that does not collapse against the mouth (e.g. duckbill, cup shaped)  "N95" respirator according to US NIOSH, or "FFP2" according to EN 149, Size L | Und | 2,000 |  |  |
| 3 | **HAND SANITIZER 100 ml** | | Alcohol-based hand rub | Botella de 100ml |  |  |  |
| 4 | **HAND SANITIZER 500 ml** | | Alcohol-based hand rub | Botella dispensadora de 500ml | 600 |  |  |
| 5 | **GLOVES S (Small)** | | GLOVE, EXAMINATION, extended cuff, nitrile, powder-free, non-sterile single use, SMALL  Cuff length preferably reach mid-forearm (eg. minimum 280mm total length) reaching well above the wrist  • EU standard directive 93/42/EEC Class I, EN 455, • EU standard directive 89/686/EEC Category III, EN 374, • ANSI/ISEA 105-2011,  • ASTM D6319-10 • or equivalent | Caja de 100 | 20 |  |  |
| 6 | **GLOVES M (Medium)** | | GLOVE, EXAMINATION, extended cuff, single use, nitrile, powder-free, non sterile, MEDIUM   Cuff length preferably reach mid-forearm (eg. minimum 280mm total length), reaching well above the wrist  • EU standard directive 93/42/EEC Class I, EN 455,  • EU standard directive 89/686/EEC Category III, EN 374,  • ANSI/ISEA 105-2011,  • ASTM D6319-10  • or equivalent | Caja de 100 | 20 |  |  |
| 7 | **GLOVES L (Large)** | | GLOVE, EXAMINATION, extended cuff, single use, nitrile, powder-free, non-sterile, LARGE  Gloves, examination, , non-sterile. Cuff length preferably reach mid-forearm (eg. minimum 280mm total length), reaching well above the wrist  • EU standard directive 93/42/EEC Class I, EN 455,  • EU standard directive 89/686/EEC Category III, EN 374,  • ANSI/ISEA 105-2011,  • ASTM D6319-10  • or equivalent | Caja de 100 | 20 |  |  |
| 8 | **GOWN M (Medium)** | | Single use, fluid resistant, disposable, length mid-calf to cover the top of the boots, light colors  preferable to better detect possible contamination, thumb/finger loops or elastic cuff to anchor  sleeves in place.   • Option 1: fluid penetration resistant: EN 13795 high  performance, or AAMI PB70 level 3 performance or above, or equivalent  • Option 2: blood borne pathogens penetration resistant: AAMI  PB70 level 4 performance, or (EN 14126-B) and partial body  protection ( EN 13034 or EN 14605), or equivalent | Und | 1,500 |  |  |
| 9 | **GOWN L (Large)** | | Single use, fluid resistant, disposable, length mid-calf to cover the top of the boots, light colors  preferable to better detect possible contamination, thumb/finger loops or elastic cuff to anchor  sleeves in place.   • Option 1: fluid penetration resistant: EN 13795 high  performance, or AAMI PB70 level 3 performance or above, or equivalent  • Option 2: blood borne pathogens penetration resistant: AAMI   PB70 level 4 performance, or (EN 14126-B) and partial body protection ( EN 13034 or EN 14605), or equivalent | Und | 1,500 |  |  |
| 10 | **FULL FACESHIELD** | | Made of clear plastic and provides good visibility to both the wearer and the patient, Adjustable  band to attach firmly around the head and fit snuggly against the forehead, Fog resistant  (preferable), Completely cover the sides and length of the face, May be re-usable (made of robust  material which can be cleaned and disinfected) or disposable.   EU standard directive 86/686/EEC, EN 166/2002,  • ANSI/ISEA Z87.1-2010, or equivalent | Und | 500 |  |  |
| 11 | **GOOGLES** | | Good seal with the skin of the face, Flexible PVC frame to easily fit with all face contours with  even pressure, Enclose eyes and the surrounding areas, Accommodate wearers with prescription  glasses, Clear plastic lens with fog and scratch resistant treatments, Adjustable band to secure  firmly so as not to become loose during clinical activity, Indirect venting to avoid fogging, May be re-usable (provided appropriate arrangements for decontamination are in place) or disposable.   EU standard directive 86/686/EEC, EN 166/2002,  • ANSI/ISEA Z87.1-2010, or equivalent | Und | 1,500 |  |  |

|  |  |
| --- | --- |
| 1. **Precio total de los bienes Lote No. 6.1 – TRINIDAD Y TOBAGO** |  |
| 1. Costo adicional hasta FCA – aeropuerto de salida |  |
| 1. Costo total FCA – aeropuerto de salida (indicar aeropuerto) A+B |  |
| 1. Añadir: Costo del transporte hasta destino final |  |
| 1. Añadir: Costo del seguro |  |
| 1. **Cotización final DAP – aeropuerto de entrada en el destino requerido** |  |

**Oferta de cumplimiento con otras condiciones y requisitos relacionados al Lote No. 6.1 TRINIDAD Y TOBAGO:**

|  |  |  |  |
| --- | --- | --- | --- |
| **Se indica a continuación otra información que formará parte de su Cotización:** | **Sus respuestas** | | |
| ***Sí se cumplirá*** | ***No se cumplirá (indicar si no se cumplirá para lote completo o ítem específico)*** | ***Si la respuesta es no, sírvase indicar una contrapropuesta*** |
| Tiempo máximo de entrega |  |  |  |
| Cumple con las especificaciones técnicas detalladas en el Anexo 1 |  |  |  |
| Validez de la Cotización |  |  |  |
| Todas las disposiciones de los Términos y Condiciones Generales del PNUD |  |  |  |

Toda otra información que no hayamos proporcionado automáticamente implica nuestra plena aceptación de los requisitos, los términos y las condiciones de la RFQ.

*[Nombre y firma de la persona autorizada por el Proveedor]*

*[Designación]*

*[Fecha]*