Compliance Sheet

The following Technical data shall be furnished and filled by the bidders:

Item 01    2 tons wall mounted type AC unit

| No. | Description | Required Specification | Remark/Comment on proposed deviations (clearly explain any proposed deviations from the equipment/items requested in the BOQ) |
| --- | --- | --- | --- |
| 1 | A-C split unit | Wall Type |  |
| 2 | Make | Original manufacturer |  |
| 3 | Brand Name | TOSOT , GREE or equivalent |  |
| 4 | Tonnage Range | 2.0 TR |  |
| 5 | Power Supply | 220 V/single/50HZ |  |
| 6 | Compressor | DC Inverter / T3 |  |
| 7 | Refrigerant Gas | R410A |  |
| 8 | Cooling Capacity | 24000 BTUH |  |
| 9 | Filter Type | Micro dust protection filter washable |  |
| 10 | Starting current: | 12.0 Amp |  |
| 11 | Running current | 11.0 Amp |  |
| 12 | Operation Range | (17 -30) C |  |
| 13 | Remote Control | Wireless /LCD type |  |
| 14 | Noise Level | 30 - 35 -40 db |  |
| 15 | Max ambient temp. | T3 55C |  |
| 16 |  |  |  |

Name of Bidder: ______________________________

Authorized signature: ______________________________

Functional Title: ______________________________

Company: ______________________________

Date: ______________________________