Annex 2

FORM FOR SUBMITTING SUPPLIER’S  QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. UNDP/CYP/RFQ/080/2020:

TABLE 1 :  Offer to Supply Goods Compliant with Technical Specifications and Requirements

| Item No. | Description/Specification of Goods | Qty | Latest Delivery Date | Unit Price Euro | Total Price per Item Euro |
| --- | --- | --- | --- | --- | --- |
| 1. | Non-rebreathing Oxygen Mask (Adult) Non rebreathing, Connection tube, reservoir bag and valve, high-concentration, non-sterile, single-use | 3400 |  |  |  |
| 2. | Non Rebreathing Oxygen mask (Pediatric) Non rebreathing, Connection tube, reservoir bag and valve, high-concentration, non-sterile, single-use | 600 |  |  |  |
| 3. | Disposable Overshoes Over boot one size fit all. Water resistant. Elastic band under knee | 30,000 |  |  |  |
| 4. | MASK - RESPIRATOR, Particulate Respirator FFP2 / N95 SIZE L Good breathability with design that does not collapse against the mouth (e.g. duckbill, cupshaped) "N95" respirator according to US NIOSH, or "FFP3" according to EN 149, Size L | 5,000 |  |  |  |
| 5. | MASK - RESPIRATOR Particulate Respirator FFP2 / N95 SIZE M Good breathability with design that does not collapse against the mouth (e.g. duckbill, cupshaped) "N95" respirator according to US NIOSH, or "FFP3" according to EN 149; Size M | 20,000 |  |  |  |
| 6. | MASK - RESPIRATOR Particulate Respirator FFP2 / N95 SIZE S Good breathability with design that does not collapse against the mouth (e.g. duckbill, cupshaped) "N95" respirator according to US NIOSH, or "FFP2" according to EN 149, Size S | 5,000 |  |  |  |
| 7. | MASK - RESPIRATOR, Particulate Respirator FFP3 Good breathability with design that does not collapse against the mouth, or "FFP3" according to EN 149, | 5000 |  |  |  |
| 8. | CPAP Hood (adult) S CPAP hood with Venturi flow driven port. Adjustable PEEP valve Includes: inflatable neck cushion bi-directional anti-asphyxiation valve patient access port ear plugs for 34-41 cm neck (45%), for 40-47 cm neck (45%) and for 45-52 cm neck (10%) | 125 |  |  |  |
| 9. | CPAP Hood (adult) M CPAP hood with Venturi flow driven port. Adjustable PEEP valve Includes: inflatable neck cushion bi-directional anti-asphyxiation valve patient access port ear plugs for 34-41 cm neck (45%), for 40-47 cm neck (45%) and for 45-52 cm neck (10%) | 125 |  |  |  |
| 10. | CPAP Hood (adult) L CPAP hood with Venturi flow driven port. Adjustable PEEP valve Includes: inflatable neck cushion bi-directional anti-asphyxiation valve patient access port ear plugs for 34-41 cm neck (45%), for 40-47 cm neck (45%) and for 45-52 cm neck (10%) | 50 |  |  |  |
| 11. | Closed tracheal aspiration system 10 fr CTSS system for 24 up to 72 hours use. Must incude: Suction cathether of 50 cm wth markings Retainable Irrigation Cap Soft catheter tip with Murphy eyes Isolation valve Double swivel elbow Color coded to identify the adequate size Flexible catheter mount Disconnection wedge Sizes 10% 10fr 40% 12fr , 40% 14fr and 10% 16fr Suggested TrachSeal | 500 |  |  |  |
| 12. | Closed tracheal aspiration system 12 fr CTSS system for 24 up to 72 hours use. Must include: Suction cathether of 50 cm wth markings Retainable Irrigation Cap Soft catheter tip with Murphy eyes Isolation valve Double swivel elbow Color coded to identify the adequate size Flexible catheter mount Disconnection wedge Sizes 10% 10fr 40% 12fr , 40% 14fr and 10% 16fr Suggested TrachSeal | 2,000 |  |  |  |
| 13. | Closed tracheal aspiration system 14 fr CTSS system for 24 up to 72 hours use. Must include: Suction cathether of 50 cm wth markings Retainable Irrigation Cap Soft catheter tip with Murphy eyes Isolation valve Double swivel elbow Color coded to identify the adequate size Flexible catheter mount Disconnection wedge Sizes 10% 10fr 40% 12fr , 40% 14fr and 10% 16fr Suggested TrachSeal | 2,000 |  |  |  |
| 14. | Closed tracheal aspiration system 16 fr CTSS system for 24 up to 72 hours use. Must include: Suction cathether of 50 cm wth markings Retainable Irrigation Cap Soft catheter tip with Murphy eyes Isolation valve Double swivel elbow Color coded to identify the adequate size Flexible catheter mount Disconnection wedge Sizes 10% 10fr 40% 12fr , 40% 14fr and 10% 16fr Suggested TrachSeal | 2,000 |  |  |  |
| 15. | High Flow Adult Cannula Delivery of 99% to 100% Oxygen Concentration High Concentration at a Flow Rate of 15 LPM Flexible Plastic Mask with Elastic Head Strap Latex Free | 200 |  |  |  |
| 16. | GOGGLES Good seal with the skin of the face, Flexible PVC frame to easily fit with all face contours with even pressure, Enclose eyes and the surrounding areas, Accommodate wearers with prescription glasses, Clear plastic lens with fog and scratch resistant treatments, Adjustable band to secure firmly so as not to become loose during clinical activity, Indirect venting to avoid fogging, May be re-usable (provided appropriate arrangements for decontamination are in place) or disposable. EU standard directive 86/686/EEC, EN 166/2002, ANSI/ISEA Z87.1-2010, or equivalent | 15,000 |  |  |  |
| 17. | GLOVES M (Medium) GLOVE, EXAMINATION, extended cuff, single. Use, nitrile, powder-free, non-sterile, MEDIUM Cuff length preferably reach mid-forearm (eg. minimum 280mm total length), reaching well above the wrist • EU standard directive 93/42/EEC Class I, EN 455, • EU standard directive 89/686/EEC Category III, EN 374,• ANSI/ISEA 105-2011,• ASTM D6319-10 • or equivalent | 50,000 |  |  |  |
| 18. | GLOVES L (Large) GLOVE, EXAMINATION, extended cuff, single. Use, nitrile, powder-free, non-sterile, LARGE, Gloves, examination, non-sterile. Cuff length preferably reach mid-forearm (eg. minimum 280mm total length), reaching well above the wrist • EU standard directive 93/42/EEC Class I, EN 455,• EU standard directive 89/686/EEC Category III, EN 374, • ANSI/ISEA 105-2011,• ASTM D6319-10 • or equivalent | 20,000 |  |  |  |
| 19. | Hand sanitizer Alcohol >60% Bulk 5 lts bottles refill | 4,500 |  |  |  |
| 20. | Hand sanitizer dispenser, wall mounted | 2,500 |  |  |  |
| 21. | Shoes, Hard-toe for workers sizes 42, 43 and 44 | 150 |  |  |  |
| 22. | Clogs for use in the kitchen | 50 |  |  |  |
| Total without VAT All-Inclusive Price Quotation |  |  |  |  |

TABLE 2: Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows: | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter proposal |
| Delivery Lead Time | ASAP |  |  |  |
| Compliance with Technical Specifications |  |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]