Annex 2

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to perform the works as per the summary provided below and attached priced BoQ in conformity with the specification and requirements of UNDP as per RFQ Reference No. RFQ/LBY/SLCRR/2020/042 - Implementation of New HVAC System at the Animal House Building, Medicine Faculty, Benghazi- Libya.

| Description: | Total (US$) |
| --- | --- |
| Total work for Implementation of New HVAC System at the Animal House Building, Medicine Faculty, Benghazi- Libya. (as per priced BOQ-Annex 2A) |  |
| Grand Total: |  |

Currency: United States Dollars

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

We declare that the firm/company or individuals employed by the firm/company are not included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List.

Company Name:  __________________________________________________________

Contact Person: ____________________________________________________________

Position: _________________________________________________________________

Email: ___________________________________________________________________

Mobile Number: ________________________________________________

Address:  ________________________________________________________________________

Authorised Signature & Stamp: _______________________    Date:_________________________

Annex 2A

BILL OF QUANTITIES

Description: Implementation of New HVAC System at the Animal House Building, Medicine Faculty, Benghazi- Libya

RFQ Reference Number: RFQ/LBY/SLCRR/2020/042

| REF | Description | Unit | Quantity | Unit Price | Total Price |
| --- | --- | --- | --- | --- | --- |
| A | Dismanling and Preparation Works |  |  |  |  |
| A1 | Dismantling, removing and disposing off of existing metal ducts, complete along with its Diffusers, dampers and insulation as per supervisor Engineer's instructions. | LS | 1 |  |  |
| B | Fresh air units |  |  |  |  |
| B1 | Supply and installing of ceiling concealed duct split units, which supply 100% purified fresh air complete, but not limited with condensing coil, DC inverter compressor, condenser fan motors, condenser fans, control panel, valves, all protective devices, anti-vibration mountings, electrical isolators. The condensing units shall be of the air-cooled type, designed for use with refrigerant R-410 A for cooling and heating, with capacity of 22.00 KW (1680) m³/hr. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. See attached compliance sheet. | No | 2 |  |  |
| C | Duct Split Units |  |  |  |  |
|  | Supply and installation of ceiling concealed ducting split indoor complete with outdoor units and all electrical components, connections, accessories and hangers. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. See attached compliance sheet |  |  |  |  |
| C1 | ceiling concealed type 10.00 KW | No | 4 |  |  |
| C2 | ceiling concealed type 7.10 KW | No | 2 |  |  |
| D | Heat Reclaim Ventilator |  |  |  |  |
| D1 | Supply and installation of VAM (Heat Recovery Ventilation Unit) 1000 m³/hr capacity. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. See attached compliance sheet | No | 1 |  |  |
| D2 | Supply and installation of exhaust fan for animals’ incubators with capacity 2200m3/hr. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. See attached compliance sheet | No | 2 |  |  |
| D3 | Supply and installation of wired remote control | No | 9 |  |  |
| E | Piping Works |  |  |  |  |
| E1 | Supply and installation of copper pipes with insulation and all required works. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. | LM | 156 |  |  |
| E2 | Supply and installation of Y JOINT for copper pipes | No | 15 |  |  |
| F | Duct works & accessories |  |  |  |  |
| F1 | Supply and install slot diffusers of 120*10 cm are made of high quality aluminum in white color with all accessories. | NO | 24 |  |  |
| F2 | supply and installation Diffusers of 60*60 cm are made of high quality aluminum in white color with all accessories. | NO | 35 |  |  |
| F3 | Supply and installation of flexible ducts of diamter Ø200 mm, with all accessories according to the technical specifications and including all necessary to finish the work. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. | LM | 150 |  |  |
| F4 | Supply, manufacture and installation of galvanized ducts type G90 complete with accessories, flanges and according to SMACNA standard specifications. The item includes all necessary to finish the work. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. | m² | 125 |  |  |
| F5 | Supplying and installing thermal insulation for air ducts of aluminum-coated glass wool (at least 18 kg / m³, thickness of not less than 2.5 cm complete with all accessories and item,included all necessary to finish work. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor engineer instructions. | m² | 125 |  |  |
| G | Testing and commissioning |  |  |  |  |
| G1 | Testing and commissioning the HVAC system in the building in compliance with the technical specification and as per supervisor Engineer's instructions. | LS | 1 |  |  |
| H | Electrical works |  |  |  |  |
| H1 | Electrical works shall include inter connecting the outdoor unit with indoor units and required capacity of main distribution board, wires of the units, earthing and all necessary electrical components for indoor and outdoor units. All in accordance to technical specifications, shop drawings submitted by the Contractor and approved by the consultant Engineer and as per supervisor Engineer's instructions. | LS | 1 |  |  |
|  | TOTAL … USD |  |  |  |  |