**Clarifications to Questions raised on the Prebid held on 26 May 2020**

Date 26 May 2020

|  |  |  |
| --- | --- | --- |
|  | Questions | Answers |
| 1. | Request on the bill of quantities. | Attached  |
| 2. | One of the schools is termite infested. Can we propose steel trusses  | Bidders to adequately treat timber trusses or install metal termite shields |
| 3. | A request to have mild steel doors for all centres | All doors must be of mild steel for all centres |
| 4 | How long should the bid security be valid | A minimum of 150days from the final date of validity of the bid |
| 5. | Can we submit for bids for one lot | Yes. You are allowed to bid for one lot or all lots |
| 6 | Pricing schedule. can we submit four schedules for each lot | Yes. You can submit for each lot. However, it is important that you summarise the costs and submit form F as the final submission. |
| 7 | With the lock down- we are failing to get quotations from suppliers. Is it possible to get an extension | The tender has been extended to 15 June 2020 |
| 8  |  May we have the Layout of the buildings | attached |