Ref. RFQ-TKM-013-2020

Procurement and supply of equipment for energy audit in the building of the “Avaza” National Tourist Zone hotel complex, including operational training.

| № | Date | Question | Answer |
| --- | --- | --- | --- |
| Round 1 | 23.07.2020 | Kindly provide us with the application and the pipe size for below item as requested by manufacturer: - Portable ultrasonic flowmeter Portaflow 330 / or equal | The application and the pipe size will be identified when we conduct the energy audit in the concrete hotel (building), but at this moment we have not this information. |
| Round 1 | 30.07.2020 | It is necessary to specify what modification of the device is needed and its configuration. Modifications: Heat Flow Density Meter ITP-MG4.03/Х (10) (I) stream - registering, has Autonomous modules and an electronic unit that collects information accumulated by the modules. Heat Flow Density Meter ITP-MG4.03/Х (10) (II) stream - stationary recording, with non-Autonomous modules, for operation in climate chambers. It is necessary to specify how many heat flow and temperature sensors are needed (out of these 10). | According to the Specification, the Heat Flow Density Meter ITP-MG4.03/Х (10) «POTOK» must be equipped with 10 heat flow and temperature modules. It is necessary to offer ITP-MG4, 03/X (10) " POTOK " with temperature modules in the number of 5 PCs and heat flow modules in the number of 5 PCs. |