Annex 2

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. RFQ 091-1/20 (re-tender) – Supply and installation of the UN House rooftop windows

TABLE 1 :  Offer to Supply Goods Compliant with Technical Specifications and Requirements

| Item No. | Description/Specification of Goods | Quantity | Latest Delivery Date | Unit Price, currency | Total Price per Item, currency |
| --- | --- | --- | --- | --- | --- |
| 1 | Provision of the new wooden roof top window, quality equivalent to “Velux” GGL SK06 3050 (1140x1180mm). The window should be with all needed accessors to ensure proper slop, water and heat isolation etc. | 9 |  |  |  |
| 2 | Provision of the new wooden roof top window, quality equivalent to “Velux” GGL SK08 3050 (1140x1400mm). The window should be with all needed accessors to ensure proper slop, water and heat isolation etc. | 3 |  |  |  |
| 3 | Disassembly of the existing wooden roof top windows and installation of the new (quality equivalent to “Velux” GGL SK06 3050, 1140x1180mm). Installation should ensure the proper slop of window with all necessary roofing works. Installation also should include all finishing work in window adjacent areas: recover walls/ceilings by gypsum boards (average UP TO 15 sq.m/per window) with paintings by latex paint. | 9 |  |  |  |
| 4 | Disassembly of the existing wooden roof top windows and installation of the new (quality equivalent to “Velux” GGL SK08 3050, 1140x1400mm). Installation should ensure the proper slop of window with all necessary roofing works. Installation also should include all finishing work in window adjacent areas: recover walls/ceilings by gypsum boards (average UP TO 15 sq.m/per window) with paintings by latex paint. | 3 |  |  |  |
| 5 | Telescopic control for the new installed windows | 9 |  |  |  |
| 6 | Optional roll type blinds for “Velux” GGL SK06 3050 (1140x1180mm). | 14 |  |  |  |
| 7 | Optional roll type blinds for “Velux” GGL SK08 3050 (1140x1400mm). | 7 |  |  |  |
|  | Total Prices of Goods |  |  |  |  |
|  | Add: Cost of Transportation (Yerevan, Armenia) |  |  |  |  |
|  | Add: Other Charges (pls. specify) |  |  |  |  |
|  | Total Final and All-Inclusive Price Quotation |  |

TABLE 2: Offer to Comply with Other Conditions and Related Requirements

| No | Description | Availability (Yes/No) |
| --- | --- | --- |
| 1 | Technical responsiveness/Full compliance to requirements |  |
| 2 | Full acceptance of the PO/Contract General Terms and Conditions |  |
| 3 | Latest Business Registration Certificate |  |
| 4 | Written Self-Declaration of not being included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List |  |
| 5 | Minimum 3 years of experience in supply, installation and further service maintenance of similar equipment. |  |
| 6 | At least one-year warranty |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

This serves as a guide to the Supplier in preparing the quotation and price schedule.

Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes

Pricing of goods should be consistent with the INCO Terms indicated in the RFQ