FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby offer to supply the items listed below in conformity with the technical specifications and requirements of UNDP as per RFQ Reference No. RFQ/068/20 - supply of air conditioners for the premises of the Public Services Centers (PSC) of Khavast, Bakhmal and Dekhkanabad Districts .

| LOT 1 SPECIFICATIONS OF AIR CONDITIONERS FOR THE PREMISE OF PILOT PSC IN KHAVAST DISTRICT |
| --- |
| № | DESCRIPTION OF GOODS | UNIT | QUA-TY | VALUE IN [CURRENCY ] |
|  | Specify the details of required goods |  |  | Unit price | Total price |
|  | Wall Type Split Air Conditioner Cooling capacity: Min. 9000 BTU Heating capacity: Min. 9000 BTU Energy consumption class (cooling): Min. A++ Energy consumption class (heating): Min. A+ Power supply: 220 V Noise level (indoor): ≤ 27-33 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 5 |  |  |
|  | Wall Type Split Air Conditioner Cooling capacity: Min. 12000 BTU Heating capacity: Min. 12000 BTU Energy consumption class (cooling): Min. A++ Energy consumption class (heating): Min. A+ Power supply: 220 V Noise level (indoor): ≤ 27-35 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 4 |  |  |
|  | Type: Free-standing split air conditioner Cooling capacity: Min. 60000 BTU Heating capacity: Min. 60000 BTU Energy consumption class (cooling): Min. A Energy consumption class (heating): Min. B Power supply: 220 V Noise level (indoor): ≤ 60-65 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 1 |  |  |
|  | Type: Free-standing split air conditioner Cooling capacity: Min. 24000 BTU Heating capacity: Min. 24000 BTU Energy consumption class (cooling): Min. A Energy consumption class (heating): Min. B Power supply: 220 V Noise level (indoor): ≤ 50-55 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 2 |  |  |
|  | Total price of equipment |  |  |
|  | Transportation cost |  |  |
|  | Add: other charges (pls. Specify) |  |  |
|  | Equipment installation |  |  |
|  | VAT must be inclusive for only local companies in Uzbekistan if registered as VAT payer |  |  |
|  | Total Final and all-Inclusive Price Quotation |  |  |

| LOT 2 SPECIFICATIONS OF AIR CONDITIONERS FOR THE PREMISE OF PILOT PSC IN BAKHMAL DISTRICT |
| --- |
| № | DESCRIPTION OF GOODS | UNIT | QUA-TY | VALUE IN [CURRENCY ] |
|  | Specify the details of required goods |  |  | Unit price | Total price |
|  | Wall Type Split Air Conditioner Cooling capacity: Min. 9000 BTU Heating capacity: Min. 9000 BTU Energy consumption class (cooling): Min. A++ Energy consumption class (heating): Min. A+ Power supply: 220 V Noise level (indoor): ≤ 27-33 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 3 |  |  |
|  | Wall Type Split Air Conditioner Cooling capacity: Min. 12000 BTU Heating capacity: Min. 12000 BTU Energy consumption class (cooling): Min. A++ Energy consumption class (heating): Min. A+ Power supply: 220 V Noise level (indoor): ≤ 27-35 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 2 |  |  |
|  | Wall Type Split Air Conditioner Cooling capacity: Min. 18000 BTU Heating capacity: Min. 18000 BTU Energy consumption class (cooling): Min. A++ Energy consumption class (heating): Min. A+ Power supply: 220 V Noise level (indoor): ≤ 35-38 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 1 |  |  |
|  | Wall Type Split Air Conditioner Cooling capacity: Min. 24000 BTU Heating capacity: Min. 24000 BTU Energy consumption class (cooling): Min. A++ Energy consumption class (heating): Min. A+ Power supply: 220 V Noise level (indoor): ≤ 36-41 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 1 |  |  |
|  | Type: Free-standing split air conditioner Cooling capacity: Min. 60000 BTU Heating capacity: Min. 60000 BTU Energy consumption class (cooling): Min. A Energy consumption class (heating): Min. B Power supply: 220 V Noise level (indoor): ≤ 60-65 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 1 |  |  |
|  | Type: Free-standing split air conditioner Cooling capacity: Min. 24000 BTU Heating capacity: Min. 24000 BTU Energy consumption class (cooling): Min. A Energy consumption class (heating): Min. B Power supply: 220 V Noise level (indoor): ≤ 50-55 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 2 |  |  |
|  | Total price of equipment |  |  |
|  | Transportation cost |  |  |
|  | Add: other charges (pls. Specify) |  |  |
|  | Equipment installation |  |  |
|  | VAT must be inclusive for only local companies in Uzbekistan if registered as VAT payer |  |  |
|  | Total Final and all-Inclusive Price Quotation |  |  |

| LOT 3 SPECIFICATIONS OF AIR CONDITIONERS FOR THE PREMISE OF PILOT PSC IN DEKHKANABAD DISTRICT |
| --- |
| № | DESCRIPTION OF GOODS | UNIT | QUA-TY | VALUE IN [CURRENCY ] |
|  | Specify the details of required goods |  |  | Unit price | Total price |
|  | Type: Free-standing split air conditioner Cooling capacity: Min. 60000 BTU Heating capacity: Min. 60000 BTU Energy consumption class (cooling): Min. A Energy consumption class (heating): Min. B Power supply: 220 V Noise level (indoor): ≤ 60-65 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 4 |  |  |
|  | Type: Free-standing split air conditioner Cooling capacity: Min. 24000 BTU Heating capacity: Min. 24000 BTU Energy consumption class (cooling): Min. A Energy consumption class (heating): Min. B Power supply: 220 V Noise level (indoor): ≤ 50-55 dBA Remote Control: Yes Sleep Mode: Yes Color: White Inverter Technology: Yes The A/C units are required to be installed at the designated locations. Cost of installation and tubing up to 50 m and repairing the wall after installation shall be included in the price offer. Brochure or Catalog shall be provided with the quotation Guarantee: Min. 2 years manufacturer’s Guarantee | unit | 2 |  |  |
|  | Total price of equipment |  |  |
|  | Transportation cost |  |  |
|  | Add: other charges (pls. Specify) |  |  |
|  | Equipment installation |  |  |
|  | VAT must be inclusive for only local companies in Uzbekistan if registered as VAT payer |  |  |
|  | Total Final and all-Inclusive Price Quotation |  |  |

Notes:

- The bidders must quote genuine, branded products. UNDP may conduct post-delivery inspection at its sole discretions

- Price includes shipping, installation / testing / commissioning.

- Site survey of Bidder’s office will be arranged on request (as applicable)

- Brochures and Technical details of the model offered MUST be submitted with the bid offer.

- Participants can submit its offer for one or all lots. Further division of lots is not allowed. Bids will be considered by lots and UNDP reserves the right to award a contract for each lot separately or for a combination of lots based on the result of bid evaluation.

The UNDP General Terms and Conditions are an integral part of this RFQ and should be reviewed by all bidders.

http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html.

In submitting a quotation, bidders expressly accept to be bound by these General Terms and Conditions.

Any Purchase Order resulting from this process shall incorporate them in full.

Please submit your quotation by completing the right column of the form below:

| UNDP Requirements [to be filled out by Buyer] | Bidder’s Response |
| --- | --- |
| Validity of Offer: ☒ 90 days In exceptional circumstances, UNDP may request the Vendor to extend the validity of the Quotation beyond what has been initially indicated in this RFQ. The Proposal shall then confirm the extension in writing, without any modification whatsoever on the Quotation. | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Warranty Period Offered (as applicable): Not less than 24 months | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Description of Warranty Coverage (as applicable): The required devices exhibited defects attributable to the manufacturer, discovered during the warranty period for goods, must be replaced and eliminated for free of charge. | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Description of After Sales Service (as applicable): ☒ Warranty on devices not less than 24 months ☐ Technical Support ☐ Provision of Service Unit when pulled out for maintenance/ repair ☒ Others: Replacement for a new furniture if the defect is detected/fault is detected at the time of delivery by supplier. | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Delivery Terms (linked to INCOTERMS 2020): ☐ FCA ☐ CPT ☐ CIP The cargo shall come to the name of UNDP CO Uzbekistan followed with invoice (2 originals) and packing list (2 originals), with other quality confirmation documents if required. ☒ DAP Address indicated below ☒ Other: Delivery to destination: - Bunyodkor MFY, Khavast district, Syrdarya region, Uzbekistan - Usmat SHFY, Bakhmal district, Jizzakh region, Uzbekistan - Istiklol MFY, Dekhkanabad district, Kashkadarya region, Uzbekistan Customs clearance, if needed, shall be done by United Nations Development Programme for imported goods. | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Payment Terms: ☒ United States Dollars, for Foreign Suppliers will be paid in US Dollars by bank transfer 100% of the total invoice amount upon delivery and acceptance of goods ☒ Local Currency: Uzbek Soums (UZS), for Local Suppliers will be paid in Uzbek Soums by bank transfer 100% of the total invoice amount upon delivery and acceptance of goods | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| VAT terms: ☒ Must be exclusive of VAT for foreign companies registered outside of Uzbekistan ☒ Must be inclusive of VAT for local companies registered in Uzbekistan (if registered as VAT payer); | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Delivery terms: Lot 1 Supply of air conditioners for the Public Services Center of Khavast region no more than 35 calendar days after the date of signing the contract by both parties Lot 2 -3 Supply of air conditioners for the Public Services Center of Khavast region no more than 45 calendar days after the date of signing the contract by both parties Attention: If the offered delivery term exceeds the delivery time specified above, the respective proposed offer may be rejected. Exact address/ address of delivery: - Bunyodkor MFY, Khavast district, Syrdarya region, Uzbekistan - Usmat SHFY, Bakhmal district, Jizzakh region, Uzbekistan - Istiklol MFY, Dekhkanabad district, Kashkadarya region, Uzbekistan | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| All documentations, including catalogs, instructions and operating manuals, shall be in: ☒ English or Russian ☐ French ☐ Spanish ☐ Others | ☐ Yes ☐ No ☐ Please explain in case of “No”: _____________________ |
| Liquidated Damages: ☐ Will not be imposed ☒ Will be imposed under the following conditions: 0,5% of total contract amount for every day of delay, up to a maximum 10% of the contract amount. The contract may be terminated thereafter or after one month of delay, whichever occurs earlier. | ☐ Accept ☐ Does not accept ☐ Please explain in case of “Does not accept”: |
| Please confirm that your company is not included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List; | ☐ Not listed ☐ Listed ☐ Please explain in case of “Listed”: |
| Please confirm that you accept the UN Supplier Code of Conduct, available at https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct | ☐ Accept ☐ Does not accept ☐ Please explain in case of “Does not accept”: |
| Occupational Health, Safety and Environment The contractor is responsible for the performance of work in accordance with the legislation in the field of health, safety and environmental protection of the Republic of Uzbekistan | ☐ Accept ☐ Does not accept ☐ Please explain in case of “Does not accept”: |
| Offeror’s Legal Name: [insert Bidder’s legal name] Legal Address in the Country of Registration: [insert Bidder’s legal address in country of registration] |
| Offeror’s Authorized Representative Information: Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address] |

[Name and signature of authorized person]

[Position]

[Date]

Quotations that do not contain the specified subject or reference to the tender number in the subject line of e-mail message or on the envelope will not be opened and will be rejected.

Must be linked to INCO Terms chosen.