Annex 2

FORM FOR SUBMITTING SUPPLIER’S QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. 45-2020-UNDP-UKR-RFQ-RPP:

TABLE 1:  BRIEF COMPANY PROFILE

| BRIEF COMPANY PROFILE The Supplier must describe and explain how and why they are the best entity that can deliver the requirements of UNDP by indicating the following: |
| --- |
| Full registration name |  |
| Year of foundation |  |
| Legal status | If Consortium, please provide written confirmation from each member |
| Legal address |  |
| Actual address |  |
| Bank information |  |
| VAT payer status |  |
| Contact person name |  |
| Contact person email |  |
| Contact person phone |  |
| Company’s core activities |  |
| Profile – describing the nature of business, field of expertise, licenses, certifications, accreditations (If any); | Please indicate here |
| Business Licenses – Registration Papers, Tax Payment Certification, etc. |  |
| Certificates and Accreditation | Please indicate here applicable including Quality Certificates, Patent Registrations, Environmental Sustainability Certificates, etc. |
| Please provide contact details of at least 3 previous partners for reference | Please attach the signed reference letters (if any). |
| Company is not in the UN Security Council 1267/1989 List, UN Procurement Division List or Other UN Ineligibility List. | Please confirm (Answers: Yes, we are in the list/No, we are not in the list) |

TABLE 2:  Conformity to the specification

| Lot 1. Monitors |
| --- |
| No | Product name and specification requirements | Quantity of units of goods` components (items / units/ kits / vials / pcs / sets) | Proposed brand name, item product model, article number | Conformity to the Specification (Yes/No) |
| 1 | Portable monitor of vital functions Specifications: presence of sensors: - temperature; - blood pressure; - Saturation; - heart rate / cardiograph analysis with electrocardiogram recording function on film. Wi-fi module: yes Specifications: Electrocardiogram Outputs: Cable with 3 or 5 leads. Output selection: I, II, III / I, II, III aVR, aVL, aVF, V. Gain selection: 1 / 4.1 / 2.1, 2, 4mV or auto. Reamer speed: 6.25,12.5, 25, and 50 mm / sec. Pulse measurement range, not less than: 15-350 BPM (beats per minute) ECG calibration: ± 1 mV Temperature Regime: direct or central and peripheral. Resolution: 0.1 ° C Temperature display: T1, T2, ∆ T. Non-invasive blood pressure Operating mode: automatic oscillometric. Type of measurement: adult, child, neonatal. Measured parameters: systolic, mean, diastolic pressure. Measurement modes: manual, automatic and continuous. Units of measurement: mm Hg / kPa (optional) Accuracy ± 2 mmHg SPO2 Display mode: graph and numeric. Measuring range: 0-100%. Resolution: 1%. Pulse measurement range, not less than: 30-250 bpm Pulse measurement accuracy: ± 1 bpm Resolution: 1 bpm Breathing rate Measurement method: thoracic impedance or nasal tube Measuring Range, not less than: Adults: 0-120 bpm Accuracy: ± 1 sigh / min Resolution: 1 sigh / min Invasive blood pressure (optional) Measuring range, not less than: -6 ~ 40kPa (-50 ~ 300 mmHg). Channel: 2 channels. Pressure sensor: sensitivity: 5mV / V / mmHg Units of measurement: mm Hg / kPa. Power supply: mains Power Options: ~ 100… 240 V, 50/60 Hz, possibility of connection to 12 volts Portable Patient Monitor G3H HEACO or equivalent. | 1 |  |  |
|  | Set: |  |  |  |
|  | - Patient monitor, pc. | 1 |  |  |
|  | - Power cord, pcs. | 1 |  |  |
|  | - Cuff extender, pc. | 1 |  |  |
|  | - Cuff, pc. | 1 |  |  |
|  | - ECG cable, pc. | 1 |  |  |
|  | - Disposable ECG electrodes, pc. | 10 |  |  |
|  | - SPO2 detector, pc. | 1 |  |  |
|  | - Breathing tube (disposable), pc. | 1 |  |  |
|  | - Temperature sensor (rectal and epicutaneous), pc. | 2 |  |  |
|  | - User's Manual, pcs. | 1 |  |  |
|  | - Dust protective case , pc. | 1 |  |  |
|  | - Warranty card, pcs. | 1 |  |  |
|  | - 12V power supply, pc. | 1 |  |  |
|  | Wi-Fi module, pc. | 1 |  |  |
| 2 | Cardiograph portable with heart rate analysis function An electrocardiograph includes: - built-in thermal printer for printing not less than 12 leads; - touch screen with monitoring of not less than 3/12 channels simultaneously; - Built-in battery that supports not less than 4 hours of continuous printing, rechargeable; - connection to the PC via USB 2.0 or 3.0 port; - transfer to a USB flash drive and store examinations on an SD card or/and wi-fi module. Features: - Cardiograph type: Portable - Screen type: Color, touch - Monitor Size, not less than: 2.5 " - Number of ECG channels: 3/12 - Display: 12 channels - Simultaneous printing (channels): 3 - Record: Synchronous - Paper width, not more than: 50 mm - PC connection: Standard feature - Аutodiagnostics: yes - Auto-analysis: yes - Print speed, not less than: Automatic mode: 25mm / s, 50mm / s. Recording mode: 25 mm / s, 50 mm / s. Manual mode: 5 mm / s, 6.25 mm / s, 10 mm / s, 12.5 mm / s, 50 mm / s. Portable cardiograph 3/12 channel Heaco 100G or equivalent | 1 |  |  |
|  | Set: |  |  |  |
|  | - ECG apparatus, pc. | 1 |  |  |
|  | - ECG cable (10 branches), pc. | 1 |  |  |
|  | - Paper compatible with cardiograph model pc. | 1 |  |  |
|  | - AC cable, pc. | 1 |  |  |
|  | - Power supply unit, pc. | 1 |  |  |
|  | - Ball syringe electrode, pc. | 6 |  |  |
|  | - Pin electrode, pc. | 4 |  |  |
|  | - G-cable,pc. | 1 |  |  |
|  | - Software disk, pc. | 1 |  |  |
|  | - SD card and/or wi-fi module, pc. | 1 |  |  |
|  | - Bag, pc. | 1 |  |  |
|  | - Instruction, pc. | 1 |  |  |
|  | - Warranty card, pc. | 1 |  |  |
| Lot 2. Portable ultrasound investigation device |
| No | Product name and specification requirements | Quantity of units of goods` components (items / units/ kits / vials / pcs / sets) | Proposed brand name, item product model, article number | Conformity to the Specification (Yes/No) |
| 1 | Portable ultrasound investigation device with abdominal, linear sensors • Stationary or portable - Portable • Diagnostic accuracy class - Expert • LCD / LCD • Monitor size, not less - 15 ” • Number of ports - 3 • Color M-Mode (a combination of one-dimensional ultrasound scanning, which investigates anatomical structures in time axis scanning and color Doppler mapping, in which the M-mode graph displays a color-coded component image in addition to the gray-scale) • General calculations • Cardiac calculations • Vascular calculations • Obstetric and gynecological calculations The functionality of the equipment has the following features: • 3D / 4D volume visualisation; • PW pulse-wave, CW constant-wave, color, energy doppler; • Tissue harmonic imaging; • Virtual convex scan mode (trapezoidal scan); • optimization of scanning and reception of a signal with multipath technology (Q-beam), assistant for improved visualization of blood flow in Doppler study (Q-flow), automatic image optimization (Q-image); • enhancing image contrast in different tissues (X-contrast); • DICOM standard (Digital Imaging and Communications in Medicine) Power supply: 100-240 V Battery: yes Chison SonoBook 9 portable ultrasound investigation device or equivalent | 1 |  |  |
| Lot 3. Portable bronchoscope |
| No | Product name and specification requirements | Quantity of units of goods` components (items / units/ kits / vials / pcs / sets) | Proposed brand name, item product model, article number | Conformity to the Specification (Yes/No) |
| 1 | Portable bronchoscope with a set of probes for emergency therapeutic bronchoscopy, evacuation of a foreign body from the respiratory tract Specification: • Angle of view, not less than: 100 degrees. • Depth of field, not less than: 3 - 50 mm • Diopters, not less than: from + 2D to -8D • Bending of the distal end, not less than: up - 180 degrees, Down - 130 degrees. • Diameters of the distal end, not more than: 4.8 mm • Tube diameter, not more than: 4.9 mm • Diameter of working channel, not more than: 2.2 mm • Working tube length, not less: 600 mm • Overall length, not less: from 880 mm Fibrotic bronchoscope Pentax FB-8V or Pentax FB-15RBS or equivalent | 1 |  |  |
| Lot 4. Medical equipment |
| No | Product name and specification requirements | Quantity of units of goods` components (items / units/ kits / vials / pcs / sets) | Proposed brand name, item product model, article number | Conformity to the Specification (Yes/No) |
| 1 | Portable otoscope-rhinoscope Specifivcation: Lighting system: fiber optics Light source: LED (LED) Material: plastic Magnifying lens : turning, not less than 3x magnification Power : standalone power source (batteries or accumulator) Composition: - otoscope; -cover for storage; - disposable ear speculum Ø 2.5 mm; - disposable ear speculum Ø 4 mm KaWe PICCOLIGHT Otoscope or equivalent | 1 |  |  |
| 2 | Portable suction device Specifications: Classification according to EC Directive 93/42 / EEC - IIb Compliance with standards - EN ISO 10079-1, EN 1789 Degree of protection against water, not worse than - IPX 1 Overall dimensions (WxHxD), not more than - 370 × 280 × 140 mm Engine power, not less - 50 W Powered by: built-in rechargeable battery or external DC 12 - 13.8V, or 12V onboard vehicle, or via charging and mains supply. Battery capacity- not less then 2.8 Ah; Suction efficiency at 12 V in free flow, not less than: 20 l / min; max. vacuum at 12 V, not less than - 0.8 bar (80 kPa); secret container - reusable container, sterilized; hydrophobic bacterial filter - 1st filtration class, maximum allowable pressure is 0.3 bar; volumes of containers for secrets - max. 900 ml; overflow protection - ball sealing and hydrophobic filter; aspiration tube - Ø10 mm, length not less than 1300 mm Suction device Aspiration Weinmann ACCUVAC Rescue or equivalent | 1 |  |  |
| 3 | Vein visualizer Features: - Irradiation power is less than 200 mV / m2 - Resolution - 0.3 mm - Accuracy of alignment - 0.3 mm - Autonomous power supply - Not less than 8 hours of uninterrupted work Vein visualizer Veinscope BR-1.02 or equivalent | 1 |  |  |
| Lot 5. Defibrillators |
| No | Product name and specification requirements | Quantity of units of goods` components (items / units/ kits / vials / pcs / sets) | Proposed brand name, item product model, article number | Conformity to the Specification (Yes/No) |
| 1 | Defibrillator with synchronization function Screen Color, LCD, TFT, diagonal not less than 7inches, resolution not less than 800x 480 2 variants of CO² determination at the end of exhalation: in the side stream; into the micro-stream. Number of curves displayed: up to 4 curves Registration options: - episodes status report - tabular trends - frozen picture of wave curves - examination - check of operation and settings Thermal recorder: built-in type, tape width 50 mm, method - thermal printing with high resolution, paper feed rate - 25, 50 mm / s Power: AC power or accumulator Accumulator: rechargeable lithium-ion; Storage of patient's information: up to 100 patient data Saving episodes: up to 1000 episodes Storage of wave curves: up to 24 hours of continuous ECG wave Data export: to PC via USB or Wi-Fi Discharge energy accuracy: ± 2 J or 15% of setpoint Discharge supply: through multifunctional defibrillation electrodes Manual mode: output energy (1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 15, 20, 30, 50, 70, 100, 150, 170, 200, 300, 360 J) ; synchronized cardioversion (energy transfer begins within 60 ms after the R tooth of e QRS complex. Automatic external defibrillation (AED) mode: output energy: operator controlled; AED series of discharge: energy level: 100-360 J, adjustable; series of charges: 1, 2, 3 adjustable. Non-invasive cardiac stimulation: curve: single phase rectangular pulse; pulse width: 20 ms, ± 5%; nonsusceptible period: 200-300 ms, ± 3% (frequency function); cardiac stimulation mode (on command or fixed); pacing rate (40-170 pulses / min, ± 1.5%; output signal at cardiac stimulation 0-200 mA, ± 5% or 5mA (large of values); cardiac stimulation 4: 1: after activation of impulses frequency of stimulation is reduced by 4 times. ECG monitoring, breathing, temperature, pulse oximeter, NIBP, IBP Accessories and related products bag for transportation; standard electrodes; adhesive electrodes; hooks for attaching the device to the bed; monitoring equipment. BeneHeart D6 Defibrillator Monitor with rhythm driver or equivalent | 1 |  |  |
| 2 | Portable Defibrillator Monitor Monitor Defibrillator Requirements: - Power supply should be combined and operate from AC and variable battery. - Defibrillation impulse must be trapezoidal asymmetric bipolar pulse of limited duration. - Forced discharge of stored energy to internal load in the event of defibrillation failure. The defibrillator monitor must have a recorder, an adult defibrillator block, a replaceable battery, an ECG monitor blockt with a cable protected against defibrillation pulses, a display and a recorder. Specifications 200 J Energy Set Time: 6 seconds or less. 360 J Energy Set Time: Minimum 10 seconds Voice support for operator events and instrument operation: Yes Additional Features: - Blocking the release of energy when the patient's body support is less than 12 Ohms and more than 300 Ohms. - Automatic defibrillation current limitation at <30A with patient body resistance less than 25 Ohms. - Automatic stabilization of the output pulse perimeters depending on the resistance of the patient's chest in the range 25-100 Ohms. - Blocking energy output over 150 J in child mode. - Energy time of 200 J - not more than 6 s. - Voice support for the operator's actions and the operation of the device. - The amount of energy discharge of 200 J from a fully charged battery is at least 70. - Time of continuous operation of the device in the monitoring mode - not less than 7 hours from replaceable rechargeable batteries (2 pieces), work from electrical network of 220 V - not less than 168 hours, from vehicle electrical system (12-30) V - to full discharge of motor vehicles batteries. - The display shows the amount of interelectrode resistance of the patient, measured before shock and at moment of shock, the amount of the established dose of effect (current and energy), one of the ECG channels, the status of the built-in battery, the number of selected lead, the sensitivity of the ECG channel, the limits of the alarm heart rate a , current heart rate, accumulation and storage process, current time, startup mode selected. Portable Defibrillator Monitor ДКИ-Н-10 «АКСИОН-БЕЛ» or equivalent | 2 |  |  |
| Lot 6. Medical oxygen concentrator |
| No | Product name and specification requirements | Quantity of units of goods` components (items / units/ kits / vials / pcs / sets) | Proposed brand name, item product model, article number | Conformity to the Specification (Yes/No) |
| 1 | Medical oxygen concentrator with oxygen inhaler function Type: portable Oxygen supply (l / min), not less than - 1-5 Oxygen concentration (%), not less than - 91 (1l / min), 60 (2l / min), 45 (3l / min), 35 (4l / min), 31 (5l / min) Resource (hours), not less - 10,000 Operating mode: continuous Information on the screen -general working time; - duration of the current session; - time before the end of the procedure - percentage of oxygen - amount of oxygen (l / min) Oxygen Humidifier: yes Remote control: yes Flow controller: touch Thermal protection: The compressor automatically shuts off when overheated Outlet oxygen pressure: 0.3 - 0.7 atm (0.03 - 0.07MPa, 40 - 70 kPa) Operating voltage (V / Hz): AC220 V + - 10% / 50 Hz Rated power (Br): ≤160 Medical Oxygen Concentrator "МЕДИКA" Y007-1 with Oxygen Inhaler Function or equivalent | 2 |  |  |

..

TABLE 3:  Price offer Financial proposal for the supply of goods in accordance with the technical specification and requirements

Lot 1. Monitors

| No | Product name and specification requirements | Quantity of units of goods` components ( pcs / pair ) | Unit price, without VAT, currency | Total price, without VAT, currency |
| --- | --- | --- | --- | --- |
| 1 | Portable monitor of vital functions (Please indicate brand, model, article number) | 1 |  |  |
| 2 | Cardiograph portable with heart rate analysis function (Please indicate brand, model, article number) | 1 |  |  |
|  | Transportation costs |  |  |  |
| Total, without VAT, currency |  |

Lot 2. Portable ultrasound investigation device

| No | Product name and specification requirements | Quantity of units of goods` components ( pcs / pair ) | Unit price, without VAT, currency | Total price, without VAT, currency |
| --- | --- | --- | --- | --- |
| 1 | Portable ultrasound investigation device with abdominal, linear sensors (Please indicate brand, model, article number) | 1 |  |  |
|  | Transportation costs |  |  |  |
| Total, without VAT, currency |  |

Lot 3. Portable bronchoscope

| No | Product name and specification requirements | Quantity of units of goods` components ( pcs / pair ) | Unit price, without VAT, currency | Total price, without VAT, currency |
| --- | --- | --- | --- | --- |
| 1 | Portable bronchoscope with a set of probes for emergency therapeutic bronchoscopy, evacuation of a foreign body from the respiratory tract (Please indicate brand, model, article number) | 1 |  |  |
|  | Transportation costs |  |  |  |
| Total, without VAT, currency |  |

Lot 4. Medical equipment

| No | Product name and specification requirements | Quantity of units of goods` components ( pcs / pair ) | Unit price, without VAT, currency | Total price, without VAT, currency |
| --- | --- | --- | --- | --- |
| 1 | Portable otoscope-rhinoscope (Please indicate brand, model, article number) | 1 |  |  |
| 2 | Portable suction device (Please indicate brand, model, article number) | 1 |  |  |
| 3 | Vein visualizer (Please indicate brand, model, article number) | 1 |  |  |
|  | Transportation costs |  |  |  |
| Total, without VAT, currency |  |

Lot 5. Defibrillators

| No | Product name and specification requirements | Quantity of units of goods` components ( pcs / pair ) | Unit price, without VAT, currency | Total price, without VAT, currency |
| --- | --- | --- | --- | --- |
| 1 | Defibrillator with synchronization function (Please indicate brand, model, article number) | 1 |  |  |
| 2 | Portable Defibrillator Monitor (Please indicate brand, model, article number) | 2 |  |  |
|  | Transportation costs |  |  |  |
| Total, without VAT, currency |  |

Lot 6. Medical oxygen concentrator

| No | Product name and specification requirements | Quantity of units of goods` components ( pcs / pair ) | Unit price, without VAT, currency | Total price, without VAT, currency |
| --- | --- | --- | --- | --- |
| 1 | Medical oxygen concentrator with oxygen inhaler function (Please indicate brand, model, article number) | 2 |  |  |
|  | Transportation costs |  |  |  |
| Total, without VAT, currency |  |

TABLE 4: Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows: | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate alternative (counter) proposal |
| Delivery time (Delivery of equipment must be carried out within 90 days from PO/Contact signature date) |  |  |  |
| Technical compliance with the Specification: |  |  |  |
| LOT 1 |  |  |  |
| LOT 2 |  |  |  |
| LOT 3 |  |  |  |
| LOT 4 |  |  |  |
| LOT 5 |  |  |  |
| LOT 6 |  |  |  |
| The supplier shall deliver all required equipment the address, mentioned at Annex No. 1 (175 Mytropolitska street, Mariupol, 87547, Ukraine) |  |  |  |
| The products meet the required quality standards (including certification in Ukraine, registration in Ukraine, conformity to the standards, if applicable for product type): |  |  |  |
| LOT 1 |  |  |  |
| LOT 2 |  |  |  |
| LOT 3 |  |  |  |
| LOT 4 |  |  |  |
| LOT 5 |  |  |  |
| LOT 6 |  |  |  |
| Warranty and after sales requirement: |  |  |  |
| a) Warranty period both for medical equipment and medical goods: warranty for operation and spare parts for not less than 1 year from the date of delivery |  |  |  |
| b) Warranty period for medicines – shelf life not less than 15 months at the date of delivery |  |  |  |
| c) Official warranty service provider in Ukraine (if applicable for product type) |  |  |  |
| d) Availability of warranty certificates of the Manufacturer (if applicable for product type) |  |  |  |
| Validity of Quotation (min. 60 days) |  |  |  |
| All Provisions of the UNDP General Terms and Conditions. https://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html |  |  |  |
| Other requirements (if appear) |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

This serves as a guide to the Supplier in preparing the quotation and price schedule.

Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes