## Beitbridge
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| System reconfiguration to optimise power production to 40kWmax | Lot | 1
| 325 solar panels as in the specification table for 40kW | No. | 6
| 16mm sq 4core swg cable | mtrs | 550
| 4mm sq 3 core swg cable | mtrs | 85
| 2.5mm sq 3 core swg cable black | mtrs | 100
| 2.5mm sq 3 core swg cable red | mtrs | 100
| 1.5mm sq 3 core swg cable red | mtrs | 100
| 1.5mm sq 3 core swg cable red | mtrs | 100
| 20A daylight switch | No. | 6
| isolators | No. | 6
| surge protectors | No. | 6
| 40amp 4 pole breakers | No. | 14
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| Termite poison | volume | 5
| 25mm steel steel saddles | No. | 100
| Fisher plugs | No. | 100
| Screws | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
Security of power house
| ovide for 35W LED Flood lights powered independent from solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Binga
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No. | 4
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| 16mm2 4 Core swg | mtrs | 650
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| Size 2 cable gland with shroud | No | 2
| Air terminal earth | No | 4
| fisher plugs and screws | No | 400
| 63Amp 4 Pole MCB | No | 2
| 40Amp 4 pole MCB | No | 10
| 8 Way PVC Sub DB | No | 3
| Air terminal earth | No | 4
| 40Amp 4 Pole MCB | No | 40
| Air terminal earth | No. | 4
| No 2 cable gland | No. | 18
63 Amp 4pole changeover switch with enclosure
| No 3 Earth Tag | No. | 20
| No 3 Shroud | No. | 20
| termite poison | litres | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
Security of power house
| ovide for 35W LED Flood lights powered independent from solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Brunapeg
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No. | 4
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| 16mm2 4 Core swg | mtrs | 365
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 20A daylight switch | No. | 4
| 100A 4P | No. | 1
| 60A TP | No. | 1
| 40A TP | No. | 1
| 30 TP | No. | 1
| 20A DP | No. | 2
| 5A 1P | No. | 10
| Cable Glands No 3 Gland | No. | 20
| Cable Glands No 3 Earth Tag | No. | 20
| Cable Glands No 3 Shroud | No. | 20
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
Security Lighting
| ovide for 35W LED Flood lights powered independent from solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Accessories to make the above installation complete | Lot | 1
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Earthing provision
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Chivi
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Reconfiguration of two systems to optimise power production to 40kWmax during the day | Lot | 1
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No | 4
| 16mm sq 4core swg cable | mtrs | 540
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 20A daylight switch | No. | 6
| 8 way surface distribution boxes | No. | 1
| termite poison | litres | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Security Lighting
| ovide for 35W LED Flood lights powered independent from solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Filabusi
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No | 5
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| 16mm2 4 Core swg | mtrs | 330
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| Size 2 cable gland with shroud | No | 2
| Size 1 cable gland and shroud | No | 12
| Air terminal earth | No | 4
| fisher plugs and screws | No | 18
| 63Amp 4 Pole MCB | No | 2
| 40Amp 4 pole MCB | No | 10
| 8 Way PVC Sub DB | No | 2
| Air terminal earth | No | 4
| 40Amp 4 Pole MCB | No | 40
| Air terminal earth | No. | 4
| No 2 cable gland | No. | 18
| No 3 Earth Tag | No. | 20
| No 3 Shroud | No. | 20
| termite poison | litres | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
| DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
Security of power house
| ovide for 35W LED Flood lights powered independent from solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Gutu
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Replacement of victron quattro 48/8000-110-100A single phase off grid as indicated in the 40kW specification table | No. | 1
| System resetting | Lot | 1
| System reconfiguration to optimise power production to 40kWmax | Lot | 1
| 6mm sq 4core swg cable | mtrs | 600
| 16mm sq 4 core eathwire | mtrs | 50
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| Glands (no. 3 ) | No. | 15
| Glands (no. 1 ) | No. | 30
| Breakers (1x63amp 4 pole) | No. | 1
| 4 way surface wall DB boxes | 1 | 1
| 5 A breaker | No. | 15
| air terminal | No. | 4
| Provide for disconecting existing lighting circuits from ZESA to solar | Lot | 1
| Provide an 6Way surface distribution board with a neutral earth bar (Male Ward 2 solar sub-distribution board) | No. | 1
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| termite poison | litres | 5
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
| DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Security Lighting
| ovide for 35W LED Flood lights powered independent from solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Imbizo
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| 16mm2 4 Core SWA | mtrs | 560
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 8 way surface PVC DB | No. | 6
| 20A daylight switch | No. | 4
| 100A 4P cicuit breaker | No. | 1
| 60A TP cicuit breaker | No. | 1
| 40A TP cicuit breaker | No. | 1
| 30 TP cicuit breaker | No. | 1
| 20A DB | No. | 2
| 5A 1Pcicuit breaker | No. | 10
| No 3 Gland | No. | 20
| No 3 Earth Tag | No. | 20
| No 3 Shroud | No. | 20
| termite poison | vol | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
Security of power house
| Provide for 35W LED Flood lights powered independent of solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Mberengwa
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No | 5
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| 16mm2 4 Core swg | mtrs | 250
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| Size 2 cable gland with shroud | No | 2
| Size 1 cable gland and shroud | No | 12
| Air terminal earth | No | 4
| fisher plugs and screws | No | 18
| 8 Way PVC Sub DB | No | 2
| Air terminal earth | No. | 4
| No 2 cable gland | No. | 18
| termite poison | litres | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Security of power house
| Provide for 35W LED Flood lights powered independent of solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Ndanga
DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
Have a changeover switch that separates solar and zesa power 63amp 4 pole | No. | 1
Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
Resuscitation of the colour controller of the Fronius inverter | Lot | 1
6mm2 4 Core swg | mtrs | 400
2.5mm sq 3 core swg cable black | mtrs | 200
2.5mm sq 3 core swg cable red | mtrs | 200
1.5mm sq 3 core swg cable red | mtrs | 200
1.5mm sq 3 core swg cable red | mtrs | 200
size 1 glands | No. | 10
5amp single pole Breaker |  | 5
termite poison | litres | 5
Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
25mm steel steel saddles | No. | 100
screws | No. | 100
Fisher plugs | No. | 100
Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
76" round corner poles | No. | 6
provide for 1.8m 36" round standards-F7 | No. | 22
single entry gate with lockable feature | No. | 1
straining wires | kg | 33
tying wires | kg | 3
barbed wire | kg | 20
50 kg of 42.5 superset cement | No. | 5
50kgs quarry stone | No | 7
50kgs river sand | No | 5
Fire extinguisher3A:40B:C – 5 lbs | No | 1
Security Lighting
Provide for 35W LED Flood lights powered independent of solar plant | No. | 4
Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
Earthing provision
Lightning mast 1.2m Air Termination set | No. | 4
| No. | 4
Earth spike 4ft + clamp 12mm | No. | 1
Total of Bill: Security for the solar power plant to summary of Bills |  |  |  |  | $
Tranings
Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
Provision of training materials and Operation manuals | No | 1
$

## Silobela
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| 16mm sq 4core swg cable | mtrs | 410
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 6mm sq 4 core swg cable | mtrs | 65
| 20A daylight switch | No. | 6
| 25mm steel steel saddles | No. | 100
| Fisher plugs | No. | 100
| Screws | No. | 100
| 4 pole MCB 20 amps | No. | 1
| Air termination | No. | 4
| Change over switch 63A 4 core 3 phase | No. | 1
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| termite poison | litres | 5
| Provide for connection of Wi-Fi to internet with 6 months subscription | Lot | 1
Total Bill connections and power house configurations
| Security for the Solar Power Plant | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
| Security Lighting | No. | 4
| Provide for 35W LED Flood lights powered independent of solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
| Tranings | Hrs | 16
| Training on Management, Operations and maintenance of the PV systems for 3 people | No | 1
| Provision of training materials and Operation manuals | no | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Thorngroove
BILL:
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Reconfiguration of two systems to optimise power production to 40kWmax during the day | Lot | 1
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No | 11
| 16mm sq 4core swa cable | mtrs | 350
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 20A daylight switch | No. | 6
| Victron ccgx | No. | 1
| Mc4 connectors | No. | 6
| 2,5mm lugs | No. | 30
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Change over switch 63a 4 core 3 phase | No. | 1
| 15 amp day light switch | No. | 6
| 4 pole MCB 20 amps | No. | 1
| termite poison | litres | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
| DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Security Lighting
| Provide for 35W LED Flood lights powered independent of solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $

## Zivishavane
ITEM | DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Materials:Connections and power house configurations
| Replacement of 325W Trina Solar TSM-325PD14 as indicated in the specification table for 40kW | No. | 4
| Reconfiguration of two systems to optimise power production to 40kWmax | Lot | 1
| Resuscitation of the colour controller of the Fronius inverter | Lot | 1
| 16mm2 4 core swg | mtrs | 350
| 2.5mm sq 3 core swg cable black | mtrs | 200
| 2.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| 1.5mm sq 3 core swg cable red | mtrs | 200
| termite poison | litres | 5
| Provide distribution board adhesive flexible labels for labeling all circuits of up to 22 lettering | rolls | 1
| Provide for connection of Wi-Fi to internet with 6 months subscription | No. | 1
| 25mm steel steel saddles | No. | 100
| screws | No. | 100
| Fisher plugs | No. | 100
| Total Bill connections and power house configurations |  |  |  |  | $
Security for the Solar Power Plant
| DISCRIPTION | UNITY | QNTY | BASIC PRICE US$ | INSTALLED PRICE US$ | TOTAL INSTALLED PRICE US$
Fencing
| Provide for 1.8m height X 2.5 mm mesh wire fully galvanised forfencing the solar power plant | m | 110
| 76" round corner poles | No. | 6
| provide for 1.8m 36" round standards-F7 | No. | 22
| single entry gate with lockable feature | No. | 1
| straining wires | kg | 33
| tying wires | kg | 3
| barbed wire | kg | 20
| 50 kg of 42.5 superset cement | No. | 5
| 50kgs quarry stone | No | 7
| 50kgs river sand | No | 5
| Fire extinguisher3A:40B:C – 5 lbs | No | 1
Security Lighting
| Provide for 35W LED Flood lights powered independent of solar plant | No. | 4
| Provide for 8m galavanised steel light poles LED Flood lights | No. | 2
Earthing provision
| Lightning mast 1.2m Air Termination set | No. | 4
|  | No. | 4
| Earth spike 4ft + clamp 12mm | No. | 1
Total of Bill: Security for the solar power plant to summary of Bills | [5 empty] | $
Tranings
| Training on Management, Operations and maintenance of the PV systems for 3 people | Hrs | 16
| Provision of training materials and Operation manuals | No | 1
Total of Bill : Traning on solar technology and O& M of installed system | [5 empty] | $