Construction of Abdelkafy Physical Therapy Center, Sebha, Libya      Annex - 1

Scope of Work:

Supply all labour, materials and equipment for the rehabilitation of entire building with and including all required finishes to the satisfaction and approval of Site Engineer and/or described in Bill of Quantity attached herewith. All works should be compliant with the description in the technical Specifications and Bill of Quantity to meet the following main completion status:

- Excavation for foundation

- PCC

- RCC work for building

- Water curing for the casted concrete for 4 weeks.

- Back filing.

- Surveying works for screening at roof level and followed by concrete cast.

- Waterproof materials will be applied and followed by approved roof tiles.

- Cement hollow blocks will be installed according to the details mentioned in BoQ lintel beams for doors and windows

- Plastering works for internal and external walls must be according to the mentioned specifications.

- Painting works to be done as follow sanding of the walls, one under coat primer, needed coat of putty and min. 2-coats of semi glossy emulsion approved paint.

- terrazzo tiles.

- high quality marble.

- Ceramic tiles for floor and walls need to submit samples in advance.

- Steel door for Main and side entrance doors and protection grill for windows

- Mahoney wood door contractor has to submit shop drawings for its the design for approval before manufacturing.

- UPVC for office windows for the whole building,

- Curtains.

- 60x60 cm fiber glass ceiling tiles.

- Plumbing: PPR water supply pipes, UPVC sewage/sanitation pipes, Hand wash basin, with all valves, fitting and accessories.

- The WC and wash basin.

- Floor drain it must be in chromium materials.

- UPVC pipe.

- Electrical 80 liters water heater.

- PVC water tank with capacity 2000 liters.

- The supplying of 2 HP horizontal centrifugal pumps, 50 HZ motor for the supply of potable water.

- Electrical / lighting: conduits, wires, Led lighting throughout, sub-main distribution boards, Sockets, Circuit breaker.

- 18 BTU A/C with inverter needs to submit the catalogs and get the approval in advance before the purchasing the materials and the condensate pipe network to be install in the wall and the cut walls need to be plastered.

- Exhaust fan.

- All the electrical connections need to be commissioned and tested, as whole for the building.

General:

Target building is located in Sebha City within one of the planned residential suburbs. The project site is located in much crowded district in the city. Water and electrical sources are available within Building. The Project site has suitable access road for transportation of construction material and equipment. No any major restrictions have been applied on the access route to the project site.

Site cleaning:

All excess construction materials on site are to be removed and site left neat and tidy after completion of the works. All debris arising from the construction process shall be disposed as directed by the UNDP site Engineer.