## ALJAMDU
PROGRAM FOR ACCELERATED COMMUNITY DEVELOPMENT (PACD)
RURAL ELECTRIFICATION PROJECT (PHASE 2)
PROPOSED 160KVA TRANSFORMER & LV NETWORK FOR ALJAMDU
ITEM | MATERIALS & DESCRIPTION | SIZE | UNIT | QTY | UNIT PRICE | TOTAL
A | ELECTRICAL WORKS
1 | TRANSFORMER (30KV) | 250kva | pcs | 1
2 | ARRESTORS | 30KV | set | 1
3 | FUSE CUT-OUT | 30KV | set | 1
4 | PC CONNECTORS |  | pcs | 6
5 | PILLAR UNIT | 30KV | pcs | 1
6 | MAIN LINE TAP FOR BARE CONDUCTOR | 70/95mm | pcs | 12
7 | EARTHING LESS THAN 10 OHM |  |  | 1
8 | MV STEEL POLE | 850dan | pcs | 1
9 | MV STEEL POLE | 1600dan | pcs | 0
10 | MV POLE FOUNDATION |  |  | 1
10 | ADDITIONAL CONCRETE POLE | 28' | pcs | 21
11 | ADDITIONAL CONCRETE POLE | 32' | pcs | 5
13 | POLES TO BE RELOCATED | 28' | pcs | 0
14 | POLES TO BE SHIFTED | 28' | pcs | 5
12 | POLES TO BE REPLACED |  | pcs | 0
13 | BOLT & NUT | 9 x 5/8 | pcs | 112
14 | SUPPLY OF SUSPENSION ASSEMBLY | ES 1500 | pcs | 91
15 | SUPPLY OF SINGLE ANCHOR ASSEMBLY | EA 1500 | pcs | 38
16 | SUPPLY OF DOUBLE ANCHOR ASSEMBLY | EAD 1500 | pcs | 2
17 | SUPPLY OF CONNECTOR | 2S70,150 | pcs | 80
18 | RILSAN TIE | C55,96 | pcs | 342
19 | END CAP | CRR1670 | pcs | 72
20 | TWISTED CABLE 4X 70mm |  | meters | 5471
21 | TRIMMING & CUTTING |  |  | 1
22 | LABOUR COST |  |  | 1
23 | TRANSPORTATION |  |  | 1
| SUB-TOTAL |  |  |  |  | 0
B | CIVIL WORKS
DEMOLITION, EXCAVATION, FILLING AND SITE CLEARANCE
1 | CLEAR ALL SHRUBS, WEEDS AND DEBRIS AROUND AREA OF PIT |  | m2 | 98
2 | EXCAVATE TO RECEIVE FOUNDATION PIT (500 x 600 x 1400mm) |  | m3 | 41
3 | SPREAD NEATLY EXCAVATED MATERIALS AROUND AREA OF PIT |  | m3 | 41
4 | ALLOW FOR REMOVAL, SHIFTING AND REALIGNMENT OF EXISTING POLES AND MAKE GOOD AREAS AFFECTED |  | lumpsum
CONCRETE
PLAIN IN-SITU CONCRETE 20N/MM2 20MM AGGREGATE SIZE SCREEN GRAVEL MIX RATIO 1:2:4
1 | POLE FOUNDATION FOOTING FOR ANGLE AND DEAD END POLES (500X600X1400MM) | 28'/32' | m3 | 7
2 | POLE FOUNDATION FOOTING FOR INTERMEDIATE POLES (500X600X500MM) | 28'/32' | m3 | 12
3 | BOULDER STONES FOR INTERMEDIATE POLES (500X600X900MM) |  | m3 | 22
4 | POLE FOUNDATION FOR MV POLES AND TRANSFORMER POLES | 28'/32' | m3 | 1
5 | SITE CLEANING UPON COMPLETION OF THE WORK |  | lumpsum
| SUB-TOTAL |  |  |  |  | 0
| TOTAL |  |  |  |  | 0
| ALLOW FOR CONTINGENCY |  |  |  |  | 0
| GRAND TOTAL |  |  |  |  | 0