ANNEX 2

# PART 1: FORM FOR SUBMISSION OF THE SUPPLIER PROPOSAL

(This form should be provided on the official letterhead of the Supplier)

We, the undersigned, hereby accept the General Terms and Conditions in full and hereby offer the supply of the following goods/services in accordance with the specifications and requirements of UNDP as per the Request for Quotation RFQ/087/20:

TABLE 1 – FINANCIAL PROPOSAL FOR INSTALLATION OF DRIP IRRIGATION SYSTEMS:

| # | Name of equipment | Quantity | Description/ specification of goods | Price per unit (Please specify the currency of the proposal) | Total cost (Please specify the currency of the proposal) |
| --- | --- | --- | --- | --- | --- |
| LOT 1. DELIVERY AND INSTALLATION OF DRIP IRRIGATION SYSTEMS ON THE AREA OF 8.1 HECTARES. |
| 1.1. | Drip irrigation system for grape orchard on the area of 8.1 hectares according to submitted technical specifications | 1 set |  |  |  |
|  | Total cost of goods |  |
|  | Costs of transportation, installation and commissioning (DAP: Republic of Uzbekistan, Fergana Province, Altyarik District, Zilol rural citizens' assembly, Burbanlik village) |  |
|  | Other costs (please specify) |  |
|  | VAT (if applicable to local suppliers) |  |
|  | Total cost of the proposal for LOT 1, including all costs |  |
| LOT 2. DELIVERY AND INSTALLATION OF DRIP IRRIGATION SYSTEMS ON THE AREA OF 11 HECTARES |
| 2.1. | Drip irrigation system for grape orchard on the area of 11 hectares according to submitted technical specifications | 1 set |  |  |  |
|  | Total cost of goods |  |
|  | Transportation costs (DAP: Republic of Uzbekistan, Fergana Province, Altyarik District, Zilol rural citizens' assembly, Burbanlik village) |  |
|  | Other costs (please specify) |  |
|  | VAT (if applicable to local suppliers) |  |
|  | Total cost of the proposal for LOT 2, including all costs |  |
| LOT 3. DELIVERY AND INSTALLATION OF DRIP IRRIGATION SYSTEMS ON THE AREA OF 15 HECTARES (THREE ORCHARDS OF 5 HECTARES EACH). |
| 3.1. | Drip irrigation system for almond and walnut orchards on the area of 15 hectares according to submitted technical specifications | 1 set |  |  |  |
|  | Total cost of goods |  |
|  | Transportation costs (DAP: Republic of Uzbekistan, Andijan Province, Bulokboshin District, Balandchek rural citizens' assembly) |  |
|  | Other costs (please specify) |  |
|  | VAT (if applicable to local suppliers) |  |
|  | Total cost of the proposal for LOT 3, including all costs |  |
| LOT 4. DELIVERY AND INSTALLATION OF EQUIPMENT FOR DRIP IRRIGATION AND HEATING OF THE GREENHOUSE |
| Equipment for drip irrigation |
| 4.1. | Filter (SMF 150 or analog) | 1 set |  |  |  |
| 4.2. | Controller (DREAM 2 or analog) | 1 set |  |  |  |
| Equipment for heating and ventilation of the greenhouse |
| 4.3. | Solid fuel water boiler (MUGK800 or analog) | 2 sets |  |  |  |
| 4.4. | Exhaust blower | 66 units |  |  |  |
|  | Total cost of goods |  |
|  | Transportation costs (DAP: Republic of Uzbekistan, Namangan Province, Yangikurgan District) |  |
|  | Other costs (please specify) |  |
|  | VAT (if applicable to local suppliers) |  |
|  | Total cost of the proposal for LOT 4, including all costs |  |

[Name and signature of the authorized person]

[Position]

[Stamp]

[Date]

# PART 2: TABLE OF TECHNICAL COMPLIANCE OF PROPOSED GOODS

| Description / specifications of goods (compulsorily) | Description / specifications of (proposed) goods Please specify parameters of proposed goods |
| --- | --- |
| LOT 1. DELIVERY AND INSTALLATION OF DRIP IRRIGATION SYSTEMS ON THE AREA OF 8.1 HECTARES. |
| Drip irrigation system for grape orchard on the area of 8.1 hectares according to submitted technical specifications | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| Technical specifications |
| Pump assembly for fully-featured operation of the drip irrigation system on the area of 8.1 ha (Grandfar 30 m3/hour, 3 bar or equivalent) – 1 set |  |
| Filter assembly for fully-featured operation of the drip irrigation system on the area of 8.1 hectares with a view to irrigation of not less than 45-50 m3/h (irrigation will be conducted through two lines, so 2 filters will be used) – 2 units |  |
| Fertilization station (for fertilizer mixing of 1 m3) – 1 set |  |
| Set of fittings, accessories for bundling of the filtration system – 1 set |  |
| 110 mm PVC pipe – not less than 650 meters |  |
| 50 mm PE pipe – not less than 800 meters |  |
| Set of fittings, accessories for pipes – 1 set |  |
| Valve (stop valves), water meter, drainage, connections, irrigation programmer (if required) – in sufficient quantity for 8.1 ha. |  |
| PVC hydrant – not less than 12 units |  |
| Set of accessories for bundling and installation – 1 set |  |
| 16 mm dribble tube with thickness of 1.0 mm, of the flat-emitter type, compensated, 2.0 l/h – not less than 28,000 meters |  |
| Set of fittings and accessories for drip irrigation tube – 1 set |  |
| LOT 2. DELIVERY AND INSTALLATION OF DRIP IRRIGATION SYSTEMS ON THE AREA OF 11 HECTARES |
| Drip irrigation system for grape orchard on the area of 11 hectares according to submitted technical specifications | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| Technical specifications: |
| Pump assembly for fully-featured operation of the drip irrigation system on the area of 11 hectares, 2 units with the volume of 30 m3 each, 3 bar (Grandfar 30 m3/hour, 3 bar or equivalent) |  |
| Filter assembly for fully-featured operation of the drip irrigation system on the area of 11 hectares, 3 units with a view to irrigation of not less than 45-50 m3/h each |  |
| Fertilization station (for fertilizer mixing) – 3 sets, 1 m3 each |  |
| Set of fittings, accessories for bundling of the filtration system, 1 set |  |
| 110 mm PVC pipe – not less than 1,700 meters |  |
| 50 mm PE pipe – not less than 2,000 meters |  |
| Set of fittings, accessories for pipes |  |
| Valve (stop valves), water meter, drainage, connections, irrigation programmer (if required) in sufficient quantity for 11 ha |  |
| PVC hydrant – not less than 16 units |  |
| Set of accessories for bundling and installation, 1 set |  |
| 16 mm dribble tube with thickness of 1.0 mm, of the flat-emitter type, compensated, 2.0 l/hour – not less than 38,000 meters |  |
| Set of fittings, accessories for drip irrigation, 2 sets |  |
| LOT 3. DELIVERY AND INSTALLATION OF DRIP IRRIGATION SYSTEMS ON THE AREA OF 15 HECTARES (THREE ORCHARDS OF 5 HECTARES EACH) |
| Drip irrigation system for almond and walnut orchards on the total area of 15 hectares according to submitted technical specifications | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| Technical specifications: |
| Pump assembly for fully-featured operation of the drip irrigation system on the area of 5 ha, 3 pumps for each orchard on the area of 5 ha with a view to irrigation of not less than 40-50 m3/h |  |
| Filter assembly for fully-featured operation of the drip irrigation system on the area of 15 ha, 3 units with a view to irrigation of not less than 45-50 m3/h each |  |
| Fertilization station – 3 units (for fertilizer mixing, volume of 400-600 liters each) |  |
| Set of fittings, accessories for bundling of the filtration system, one for each orchard, 3 sets |  |
| 110 mm PVC pipe – not less than 700 meters |  |
| 76 mm PE pipe – not less than 2,100 meters |  |
| Complete set of fittings, accessories for pipes |  |
| Valve (stop valves), water meter, drainage, connections, irrigation programmer (if required) in sufficient quantity for 15 ha (3 x 5 ha) |  |
| 100 mm valve – not less than 4 |  |
| 80 mm valve – not less than 24 |  |
| 16 mm dribble tube with thickness of 1.0 mm, of the flat-emitter type, compensated, 2.0 l/hour not less than 30,000 meters |  |
| Set of fittings and accessories for drip irrigation, 1 set |  |
| LOT 4. DELIVERY AND INSTALLATION OF EQUIPMENT FOR DRIP IRRIGATION AND HEATING OF THE GREENHOUSE |
| Equipment for drip irrigation |
| 4.1. Filter (SMF 150 or analog) | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| Technical specifications: |
| Capacity: | not less than 150 m3/hour; |  |
| Pipe size: | 3-inch spring washer clamp; |  |
| Thickness of the filter | not less than 4 mm; |  |
| Number of filters: | 1 unit; |  |
| The set also includes the following: | controller, solenoid valve, disk filter |  |

| 4.2. Controller (DREAM 2 or analog) | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| --- | --- |
| Flexible settings of irrigation modes (schedule, volume, weather, humidity); | available; |  |
| Filter control; | available; |  |
| Remote control capability: | available; |  |
| Equipment for heating and ventilation of the greenhouse |
| 4.3. Solid fuel water boiler (MUGK800 or analog) | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| Pressure: | not less than 4 bar; |  |
| Supplying fuel: | coal; |  |
| Capacity: | not less than 800,000 kcal/h / 930 kW |  |
| Hight: | 2,200-2,700 mm |  |
| 4.4. Exhaust blower | Please specify the following for proposed goods: Model: ____ Manufacturer: ____ Country of origin: ____ |
| Technical specifications (within the limits): |  |
| Capacity: | not less than: 350 (W); |  |
| Inlet/ outlet hole diameter: | 500-600 (mm); |  |
| Material of the blade: | alloyed metal; |  |
| Material of the frame: | galvanized steel frame; |  |
| Pressure: | not less than 200 Pa. |  |

[Name and signature of the authorized person]

[Position]

[Stamp]

[Date]

PART 3: PROPOSAL FOR FULFILMENT OF OTHER CONDITIONS AND CORRESPONDING REQUIREMENTS

| Other information regarding our Proposal: | Your answer |
| --- | --- |
|  | Yes, we will fulfill | No, we will not fulfill | If you cannot fulfill, provide a counter proposal |
| Term of delivery and installation of equipment to the final destination (exact delivery address) within 70 calendar days from the date of signing the contract/order. |  |  |  |
| Correspondence of each proposed equipment to the specifications. |  |  |  |
| Country/countries of origin. |  |  |  |
| Warranty and after-sales requirements: |  |  |  |
| А) The validity period of the warranty for each unit of equipment shall be not less than 12 consecutive months |  |  |  |
| B) Operational training. |  |  |  |
| C) Maintenance services shall be provided when necessary, and repair of supplied equipment shall be conducted on the territory of the Republic of Uzbekistan. |  |  |  |
| Connection of the head unit to the existing infrastructure and water lines / pipes |  |  |  |
| Ensuring fully-featured operation of the drip irrigation system at optimum capacity |  |  |  |
| Proposal validity period: 60 calendar days from the date of bid opening; |  |  |  |
| Acceptance of General Conditions and Provisions of UNDP |  |  |  |

[Name and signature of the authorized person]

[Position]

[Stamp]

[Date]

PART 2: DECLARATION OF INTEREST

Dear Sir/Madam,

We/I, ________________ (Name and Title), as shareholder(s)/owner(s) of ________ Company, declare that:

- Have no financial and other interests in, association or relationship with, are not employed and do not have relatives (i.e. spouse, parents, children or siblings) employed by the United Nations Development Programme (UNDP) or the Government of Uzbekistan that announced the RFQ; and do not have access to information about, or influence on the selection process for this RFQ

- Have no common controlling partner, director, shareholder, legal representative for the purposes of this RFQ with any other entity submitting its Quotation under this RFQ; are not subcontracting or are subcontractors to other entities for the purposes of this RFQ; and that the experts proposed in the team do not participate in more than one Quotation for this RFQ

- Are not involved in activities that could have an impact on the objectivity and independence of the Contractor’s team in carrying out its duties under the contract or can affect the image of the United Nations and the Government of Uzbekistan.

We certify that the information stated is true, correct and complete to the best of our knowledge and belief. We are obliged to comply with all requests for additional information, documentation, clarification and/or verification concerning the Declaration of Interest statement.

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

We submit that we are not being included in the UN Security Council 1267/1989 list, UN Procurement Division list or other UN Ineligibility List.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Seal]

[Date]

# PART 3: COMPANY PROFILE

| 1. Offeror’s Legal Name [insert Bidder’s legal name]. |
| --- |
| 2. In case of Joint Venture (JV), legal name of each party: [insert legal name of each party in JV]. |
| 3. Actual or intended Country/ies of Registration/Operation: [insert actual or intended Country of Registration]. |
| 4. Year of Registration in its Location: [insert Bidder’s year of registration]. |
| 5. Countries of Operation: | 6. No. of permanent staff in each Country: | 7.Years of Operation in each Country: |
| 8. Legal Address/es in Country/ies of Registration/Operation: [insert Bidder’s legal address in country of registration]. |
| 9. Value and Description of Top two (2) Biggest Contracts for the past three (3) years. |
| 10. Latest Credit Rating (Score and Source, if any). |
| 11. Brief description of litigation history (disputes, arbitration, claims, etc.), indicating current status and outcomes, if already resolved. |
| 12. Offeror’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address] |
| 13. Are you in the UNPD List 1267.1989 or UN Ineligibility List? ☐ YES or ☐ NO |

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Seal]

[Date]

# PART 4: EXPERIENCE IN SIMILAR NATURE*

| Name of the good supplied | Delivery period (month, year) | Amount of the contract | Client (Name, contact person, telephone, email) |
| --- | --- | --- | --- |

*At least 2 contracts for the last 3 years for supply of similar equipment and/or services is a must

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Seal]

[Date]

# Footnotes

Please provide description of proposed product, model, brand that should correspond to minimum technical requirements as defined in the Annex 1 above

If the country of origin requires export license for supplied good or other documents, that the destination country may require, the supplier shall provide them to UNDP in case of award of contract

You must specify address of permanent office, landline telephone numbers