## MTC Business Centre
Bill of Quantities for Construction of Business Centre at MTC Juba
Item | Description | Qty | Unit | Rate US$ | Amount US$
B | EXCAVATIONS AND EARTHWORKS
Unless other wise stated, Rate shall include for
a) back filling with selected excavated material & consolidating. Surface treatment; compaction before filling / foundation.
b) disposal of surplus soil as directed & keeping all excavations free from water unless other wise measured separately.
c) any additional excavation for working space.
Excavation & Earthwork Supports
B.1 | Clearing and preparation of the site including cutting down and removal of top soil up to a depth of 150mm and disposed off as directed. | 121 | m² |  | 0
B.2 | Excavation of trenches for wall foundations up to 1.5m deep in any material except rock requiring blasting and removal of surplus as directed. | 51 | m³ |  | 0
B.2a | Ditto: Columns bases | 14 | m³ |  | 0
B.3 | Filling & Back filling
B.4 | Filling around strip foundations with selected excavated materials: ram and compact well | 24 | m³ |  | 0
B.5 | Filling under floors with gravel or other approved quality imported filling material. Spreading, watering and well ramming in | 24 | m³ |  | 0
B.6 | Anti - termite treatment to fillings and tops of foundations: as " Aldrex" or equal and approved insecticide treatment: applied in accordance with the manufacturer's printed instructions : include for 10 years warranty period. | 87 | m²
B | Excavation and Earth Works |  | To Summary
C | CONCRETE WORKS
a | Rate shall include for form work depositing, handling, hoisting into position, vibrating, curing etc. and making good after removal of formwork etc. | Note
b | Reinforcements are paid separately unless otherwise specified in the item | Note
c | Rate shall include for supplying and laying of gauge 1000 polythene on ground, where concrete is in direct contact with ground, before pouring concrete unless other wise measured separately. | Note
In Situ Concrete
C.1 | Supplying and placing of Gr.20 concrete as specified to foundation strip footings | 8 | m³ |  | 0
C.1a | Ditto: 100mm thick floor beds | 9 | m³ |  | 0
C.2 | Supplying and placing of concrete Gr.25/20 to foundation footings | 3.3 | m³ |  | 0
C.3 | ditto for 11no. Stiffener columns & footings | 2 | m³ |  | 0
C.3a | Ditto: in ground beams | 2.6 | m³ |  | 0
C.3b | Ditto: for roof Tie beams | 2.6 | m³ |  | 0
C.3c | Ditto: 100mm thick splash appron beds 600mm wide laid to fall. | 24 | m² |  | 0
Formwork as specified : to
C.4 | Ditto: for stiffener columns | 49 | m² |  | 0
C.4a | Ditto: for ground beams | 26 | m² |  | 0
C.4b | Ditto: for roof tie beams | 26 | m² |  | 0
C.4c | Ditto: for edges of floor beds | 4 | m² |  | 0
Reinforcement
Rate to include for supplying, cleaning, cutting, bending, fabricating, placing and the provision of all necessary temporary fixings and supports etc. including binding wires, bends, hooks, tying wires, chairs, distance blocks, steel separators/spacers
Tor steel reinforcement (to BS 4449 and characteristic strength fy = 460N/mm2) and Mild steel reinforcement ( to BS 4449 and characteristic strength fy = 250N/mm2)
C.5 | R8 mild steel reinforcement bars | 249 | Kg |  | 0
| High yield reinforcement bars ( T10) | 206 | Kg |  | 0
C.6 | High yield reinforcement bars ( T12) | 485 | Kg |  | 0
C.7 | Supplying & laying A142 BRC net for ground floor slab: include laps and waste | 89 | m² |  | 0
| Page Total to collection |  |  |  | 0
Lintel
C.8 | Lintel size 200 x 200 mm in cross section: complete with 4 T12 bars and R6 bars at 200mm centres : include all required formwork | 0 | m |  | 0
| Page Total to collection |  |  |  | 0
COLLECTION
| Page -2 |  |  |  | 0
| Page-3 |  |  |  | 0
C | Concrete Works |  | To Summary |  | 0
D | MASONRY WORKS
| Rate shall include for lifting, handling, weighting all rough and fair cutting, plumbing angles, normal straight cutting, forming rebated reveals and raking out joints for plastering. | Note
Masonry Work
Up to DPC level
D.1 | Solid concrete block walls in cement sand (1:5) mortar in steps | 1 | item |  | 0
D.2 | 200 mm Thick solid concrete block walls in cement sand (1:5) mortar in foundations plinth walls | 54 | m² |  | 0
Concrete block work
D.3 | 200mm thick walls in standard precast hollow cement blocks in 1:5 cement sand mortar for superstructure walls. | 137 | m² |  | 0
D | Masonry Work |  | To Summary |  | 0
E | THERMAL AND MOISTURE PROTECTION
Damp Proof Course
E.1 | Horizontal damp proof course: bituminous: laid horizontally on screeded 20 mm thick (1:3) screeded beds to receive block walls. | 52 | m² |  | 0
Damp proof membrane
E.2 | Horizontal damp proof membrane :1000 gauge polythene membrane: laid on compacted fillings (measured separately) in ground floor beds. ( The rate shall include for laps & wastage). | 87 | m² |  | 0
E | Thermal and Moisture Protection |  | To Summary |  | 0
F | STRUCTURAL METALWORKS
Definitions
| “Welding” is deemed to be in accordance with the specification and for the material to which it is to be used. Gusset plates, shoe plates, ends, caps, cleats, brackets, stiffeners, bolts, etc., have been included to the rate of the associated steel work i | Note
Note :
| a] For the description of materials and workmanship refer "Specification of works", "preambles" and "Drawings". | Note
| b] Rate shall include for | Note
| b.1] All shop fabrication work, marking, delivery, unloading, hoisting, erecting and fixing as per detail drawings. | Note
| b.2] All welds are 6mm thick fillet weld & allowance for rolling margin. | Note
| b.3] The weight of weld metal in welded constructions. | Note
| b.4] Members of any length. | Note
| b.5] Cutting to size and shape and joints in the running length. | Note
| b.6] Grinding to a smooth finish, unless otherwise required. | Note
| b.7] Machine drilled bolt, holes, bolts, nuts and washers, cleats, shoe and gusset plates and all other connections. | Note
| b.8] After fabrication wire brushed to clean the all steel surfaces and spray painted with two coats of quick drying metal primer zinc phosphate & two coats of matt anti corrosive with necessary accessories. | Note
Fabricating and erecting framed structures
F.1 | Roof timbe truss, RT1 spanning 8400mm long x 1960mm high, consisting of 100x50mm Rafters, 100x50mm ties & struts, and 150x50mm tie member Rate shall include for painting of members using burnt oil & securing of joints using hoop iron | 6 | No |  | 0
Purlins
F.2 | Supplying & fixing of timber purlins, 75x 50mm nailed to roof trusses ( measured separately)at 900mm centres: complete with all the required paint works and all necessary supports | 163 | m |  | 0
F.3 | Allow sum for any other item required for the construction and completion of the roof framework, which are not covered under the above items. | 1 | Item |  | 0
F | Structural Metal Works |  | To Summary |  | 0
G | ROOF COVERINGS, CEILING AND PLUMBING
| Rate shall include; | Note
a.01 | All, rivets, nails, clips, strips and delivering and fixing in position. | Note
a.02 | All timber shall apply Priming backs & applying two coats of an approved wood preservative before fixing. | Note
a.03 | All timber including plywood sheets shall have Final Finish; Two coat of wood preservative, two coats of primer, two coats of wood sheen spray paint. | Note
a.04 | Roof plumbing shall be measured & grouped separately; | Note
Roof Covering
G.1 | Supplying & fixing of gauge 26 pre-painted Super VI profiled roofing sheets of approved colour: fixed with J-bolts to 100 x 50 x 2mm zed purlins ( measured separately) and rubber caping to tops of bolts | 125 | m² |  | 0
Ridges
G.2 | Supplying & fixing Gauge 26 prepainted ridge cap; 650mm girth (average) in position complete with all necessary roofing screws or hooks as required. | 12 | m |  | 0
Valance / Barge Board
G.3 | 25x225mm high timber valance board / barge board fixed to edges of rafters including necessary fittings screws and nails etc.: including wood preservative and painting all as per drawings | 45 | m |  | 0
0
G | Roof Covering ,Roof Ceiling & Roof Plumbing |  | To Summary |  | 0
H | DOORS AND WINDOWS
a | The work shall include supply, fabricate and installation of doors, windows, made out of approved quality timber Jak or equivalent to be finish as per the respective specification & drawings. | Note
b | Doors & Windows frame sections to be of,
b.01 | Outer frame & Inner frame - 75mm x 100mm minimum - Finish Size, unless otherwise stated. | Note
b.02 | The contractor shall submit shop drawings for the approval of the Architect & Engineer, prior to fabrication. | Note
b.03 | The contractor shall refer to all relevant specifications and drawings prior to pricing and it shall be his responsibility to complete the said works to the entire satisfaction of the Engineer at no additional cost. | Note
b.04 | All samples shall be provided for Engineer's approval prior to purchase of material. | Note
b.05 | Where swing doors has been specified prices shall include for provisions of floor hinges. | Note
c | Rates shall include;
c.01 | Hoisting and fixing in position, drilling and making good. | Note
c.02 | Brass Nails, Brass screws, glue, rawl plugs etc,. | Note
c.03 | Framing together all work in accordance with the best practices. | Note
c.04 | Priming backs & applying two coats of an approved wood preservative before fixing. | Note
c.05 | Final Finish; Two coat of wood preservative, two coats of primer, two coats of wood sheen spray paint. | Note
c.06 | Rate to include for providing sundry items related to the door & windows like Glass blocks etc.. where necessary as a Architectural Feature to the door or window. | Note
c.07 | Rate shall include for 5mm thick clear float glass/ wired glass /tinted glass /translucent glass as appropriate to suit the respective doors and windows as shown in the drawings. | Note
c.08 | Rate shall include for ply wood sheets of approved colour with melamine coat on both sides where necessary. | Note
c.09 | Rates shall include for fixing timber frame, door sash / window casement brass fixing screws, lock sets with 3 keys manufactured in Europe to be used on all doors.
d | Only 16% of moisture content is recommended for all timber. | Note
e | All timber shall be pressured impregnated termite proofed, seasoned, planed timber and sand papered by hand to have smooth finish and to receive paint. | Note
f | Preservative Treatment
f.01 | Minimum of two application of C I C wood preservative or approved equivalent. | Note
f.02 | Preservative treatment for back of door & door frame in contact with masonry or concrete. | Note
g | Sizes
g.01 | The sizes given in the drawings and description of Bill of Quantities are finished sizes and subject to same permitted in the specifications. | Note
g.02 | The contractor shall check the measurement of openings physically at the site before fabricating the doors & windows. | Note
g.03 | Door / window frames are twice rebated and backed as appropriate. The sizes are as given in the detail drawing. | Note
g.04 | Mullions and transoms shall be rebated or non rebated as appropriate. The sizes are as given in the detail drawing. | Note
g.05 | Finished thickness of door & window sashes sash shall be 32mm and if there is any discrepancy in the sizes and detail given in the drawings and Bill of Quantities, the same given in the drawing shall prevail. | Note
h | Ironmongery
h.01 | All the locks shall be union / yale or approved equivalent supplied by authorized dealer appointed by the manufacturer & approved by the Architect. | Note
h.02 | All ironmongery shall be heavy quality brass of approved European manufacture subject to approval of the Architect, ironmongery samples should be submitted for approval. | Note
j | Painting / Final Finish
j.01 | Unless otherwise stated all surface of timber Doors & Windows and casements and plywood door sashes shall be applied with two coat of wood preservative, two coats of primer, two coats of wood sheen spray paint. | Note
Page Total to collection
Doors
H.1 | Metal door set, type D2, of size 900x2400mm high overall including 400mm high steel louvre PV, comprising of door profile steel sections frame fully welded and mitred at corners, bottle steel section shutter frames: infilled with 2.5mm thick mild steel plate: include for all necessary door locks, iron mongery, final finish, & fixing to concrete or blockwork as per drawings. | 3 | Nos. | 260 | 780
Windows
H.2 | Window, type W1, steel, size 1500x1500mm high overall including 400mm high steel louvre PV, Comprising of 60x40x4mm RHS frame fully welded and mitred at corners, Zed & Tee section side hung glass infilled window sashes, :include for all necessary fasteners, burglar proof and iron mongery, final finish, & fixing to concrete or blockwork as per drawings. | 8 | Nos. |  | 0
| Page Total to collection |  |  |  | 0
COLLECTION
Page -9
| Page -10 |  |  |  | 0
H | Doors & Windows |  | To Summary |  | 0
J | FLOOR, WALL AND CEILING FINISHES
a | The contractor is advised to refer to the specification prior to pricing of this section of work | Note
b | The rate shall include for all temporary rules, screeds, grounds etc. for raking out joints of new brick work or hacking new concrete for key, internal & curved angles, joints between different surfaces arises quirks, inter sections between curved or irre | Note
c | All samples shall be provided for approval by the Engineer prior to purchase of materials. | Note
Wall Finishes
J.1 | 20mm thick cement & sand (1:5) render finished semi rough with wood float on external faces, on blockwalls or concrete surfaces | 143 | m² |  | 0
J.2 | 12mm thick cement lime sand (1:1:5) plaster finished smooth with lime putty or approved equivalent on internal faces, on blockwalls or concrete surfaces. | 174 | m² |  | 0
Floor finishes
J.3 | 20mm. thick cement and sand 1:3 screed finished rough with wooden float ready to receive floor tiles (ms). | 78 | m² |  | 0
0
J.4 | Supply and fix 300mm x 300mm porcelain/ceramic floor tiles on screed (ms) with approved adhesive, inclusive of 150mm high skirting. | 86 | m² |  | 0
0
| Plinth Plaster |  |  |  | 0
0
J.5 | 20mm. thick cement and sand 1:3 plinth plaster finished smooth with coloured cement steel floating. | 15 | m² |  | 0
0
| Ceiling Finishes |  |  |  | 0
0
0
j.6.1 | provide 150X50mm joists and 75x50mm timber brandering at maximun spacing of 600x600mm and to it expanded metal lathe nailed ready to receive plaster | 78 | m² |  | 0
j.6.2 | 20mm thick cement and sand 1:3 ceiling plaster finished smooth with lime floating | 78 | m² |  | 0
J | Floor, Wall & Ceiling Finishes |  | To Summary |  | 0
K | PAINTING
a | Rate shall include for preparation of surface cleaning down, smoothing, knotting, stepping etc. protection of floors and fitting, removing & replacing door and window, furniture, and cleaning windows etc.upon completion. | Note
b | Paint shall be from approved colour with approved manufacturer. | Note
Walls
K.1 | Prepare and apply one coat of primer and two coats of weather shield paint of approved colour and quality to external faces of walls | 143 | m² |  | 0
K.2 | Prepare and apply one coat of primer and two coats of emulsion paint of approved colour and quality to internal faces of walls | 174 | m² |  | 0
K.3 | Ditto: Plinths | 15 | m² |  | 0
K | Painting |  | To Summary |  | 0
M | ELECTRICAL INSTALLATIONS
a | Unless otherwise stated, Rates in Bill of Quantities shall include all necessary materials Cables, conduits, PVC sunk box, bulbs, switches etc.) and labour required to complete the electrical installation to good working order. | Note
b | Except where specifically stated, all costs associated with provision of all holes, openings, chases, ducts and other builders' work required for installation and make them good, shall be included in the rates. | Note
c | Testing and commissioning of the electrical installation is to be carried out by the contractor and Cost of such testing and reports to be included in the rates unless otherwise mention separately. | Note
d | All types of fittings, materials, painting and finishes shall be approved by the Engineer prior to installation. | Note
Sub Distribution Board (SDB-1)
M.1 | MCCB, MCB shall be manufactured by Merlin Gerin , F&G, Moler or equivalent & approved by the Engineer.
Supply and installation of switch gear cubicle made out of (2mm thickness) sheet steel enclosure (IP54) powder coated to the approval of the engineer.
Control panel for 40A, 3 Phase supply
01 Nos 40A , 2P RCCB
01 Nos 20A , 1P MCCB
02 Nos 6A , 1P MCCB
03 Nos 10 A , 2P MCB
01 Nos 30 A , 2P MCB
Set of Cu bus bars with neutral
Cu earth bar
Phase indicator lamps
| Wiring & other installation cost to include supply of a maximum of 100m 4 core 16mm2 diamter armoured underground electric cable connection to the nearest power supply | 1 | Nos. |  | 0
Final Circuit Wiring
Rates for final circuit wiring shall include all necessary switches, sockets, materials Cables, conduits, PVC sunk box, & junction boxes, draw wires, etc. and labour required to complete the electrical installation to good working order.
| Page Total to collection |  |  |  | 0
Light Point Wiring
M.2 | Wiring and installation (including supply of all materials) of the light points using approved type PVC insulated PVC sheathed 1 mm² copper cable and 2.5mm² Earth cable drawn through securely fixed concealed PVC conduit. (Switches shall be ABB / Clipsal / | 6 | Nos. |  | 0
13ASocket Outlet
M.3 | Supply & installation of 13A fused shuttered switched socket outlet to comply with relevant BS standard (Clipsal, Orange, Crabtree/ Tenby/ABB or equivalent). Wiring (including supply of earth wire & all other material required ) of above socket outlet | 8 | Nos. |  | 0
Fan Point Wiring
M.4 | Wiring & installation (including supply of all material, earth wire & switch) for ceiling / wall mounted fans using approved type 1.5 mm2 PVC insulated PVC sheathed copper cable & 2.5mm2 earth wire drawn through securely fixed PVC conduits. | 4 | Nos. |  | 0
Fittings & Equipments
|  |  | Nos. |  | 0
Light Fittings
M.5 | Supply and installation of Pendent lamp/Flourescent fitting complete with 11 W CFL (Philips or equivalent) Lamp suitable for indoor use including all other necessary accessories like terminal block etc. (accessories - thorn / Philips or equivalent & fitting | 13 | Nos. |  | 0
Ceiling Fans
M.5 | Supply and installation of 56" sweep ceiling fan (KDK, National or equivalent) complete with regulator, fan hook, extension rod & attachment - Guarantee cards should be provided from accredited agent before installation including all wiring of 2.5mm2 | 4 | Nos. |  | 0
0
| Earthing Arrangement |  |  |  | 0
0
M.6 | Supply and installation of approved type earthining system as approved by the engineer in order to keep the earth resistance below 10 ohms. The earth bar at the main distribution board should connect to the earth electrode with a 16mm2 PVC/CU cables |  | item |  | 0
| Lightning Protection |  |  |  | 0
0
M.7 | Supply and installation of approved type Lightning conductor system as approved by the engineer. | 1 | item |  | 0
0
0
M.8 | Testing & commissioning the entire installation | 1 | item |  | 0
| Page Total to collection |  |  |  | 0
COLLECTION
| Page - 13 |  |  |  | 0
| Page- 14 |  |  |  | 0
M | Electrical Installation |  | To Summary |  | 0
\
| Total |  |  |  | 0