## Sheet1
FORM F: Price Schedule Form
Currency of the Bid: PHP or USD equivalent
ITEM | UNIT | QTY | Unit Price | Total Price
MAJOR COMPONENTS
Pod Controllers | pcs | 120
Solar Panel 300W | pcs | 24
Solar Panel 200W | pcs | 0
Solar Panel 150W | pcs | 30
Solar Panel 100W | pcs | 77
Solar Panel 70W | pcs | 0
Battery 200Ah | pcs | 13
Battery 150Ah | pcs | 0
Battery 100Ah | pcs | 30
Battery 65Ah | pcs | 0
Battery 50Ah | pcs | 77
2C 2.5sqmm TPS cable | m | 2899.7928
2C 4sqmm TPS cable | m | 45
2C 6sqmm TPS cable | m | 95.5
MOUNTING & PROTECTION
Poles + hardware | pcs | 101
20mm uPVC MD conduit | m | 2899.7928
3 way junction box (for joining share cable) | pcs | 10
Cable clips (for wall mounting) | pcs | 720
Solar Panel Mount - Pole | pcs | 65.5
Pole U-Clamp | pcs | 131
Solar Panel Mount - Flush kit | pcs | 65.5
Steel roof flashing | pcs | 65.5
Battery terminal lugs | pcs | 240
MC4 connector pair | pcs | 131
25mm screws (for controller mounting) | pcs | 480
HOUSEHOLD & CONSUMABLES
Junction Box (for household) | pcs | 120
Cigarette Car Charger x3 outlets | pcs | 120
Cigarette Plugs (for appliances) | pcs | 360
Share rail SPD (1 for 30HH) | pcs | 4
Plastic Distribution Box (for SPD) | pcs | 4
1C 4sqmm earth cable | m | 8
1.8m earth rod + clamp | pcs | 4
Other Consumables (see list below) | pcs | 12
APPLIANCES
2 Lights + holders + cable | pcs | 0
Fans | pcs | 0
TVs | pcs | 0
Satellite TV Receivers | pcs | 0
Freezers | pcs | 0
LABOUR AND SHIPPING
Installation Labour | man-days | 360
(4 personnel x 90 man-days each)
Shipping | cbm | 34.28
OTHER MATERIALS AND CONSUMABLES | UNIT | PER 10 HH
Drill bit masonry 3/8'' | PC | 1
Drill bit masonry 3/16'' | PC | 1
Drill bit metal 1/8'' | PC | 1
Hole Saw 2" for metal | PC | 1
Soldering Lead | ROLL | 1
Soldering Cream | PC | 1
Pencil Torch | PC | 1
Lug Screw, 5/16" x 3" | PC | 32
Lead Tox / Expansion Shield (3") | PC | 32
Concrete Nail, 4" | PC | 16
Plastic Cable Ties 12", pack of 100 | PACK | 2
Elastomeric Sealant | SACHET | 6
SOLAR IRRIGATION -
2 x 54 cu. m. pumping capacity + 2 x 4.95 kWp PV
Solar Water Pump (at least 2 years warranty) | Unit | 1
Solar PV system with ground mounting |  | 1
Controllers |  | 1
Cables and Accessories |  | 1
Additional Accessories (concrete water tank) |  | 1
FCA charges, if any
Transportation/Delivery Cost
Bid Total DDP, off-loaded/cleared (Incoterms 2020)
Installation
Training
Warranty
After Sales
GRAND TOTAL