Scope of Work

- Scope of works

The main scope of this project is to carry out the renovation works Estoril Secondary school in Beira / Sofala province.

The main objective is to rehabilitate the school which consists building of 12 buildings and external works

The Contract Duration is 4 months

The building has been subjected to damages caused by several cyclones which affect some of the main structural elements, mainly the roofs of these buildings

The works include but not limited to the following:

- Removing the damaged roof and replaced with new resilient roof according to the design drawings.

- Repair electrical, water and wastewater elements in all building.

- Carpentry and metal works.

- Plastering and painting.

- The contractor shall contact Beira municipality for proper removing and safe deposition of existing fiber cement sheets (Asbestos)

- Site Visit.

Site visit is compulsory, the vendors who will not attend the site visit their bids will be dropped.

- Warranty.

The warranty period is 12 months after the initial handing over

- Required Staff

| Staff Position | Minimum educational qualification | Minimum years of experience | Time-effort required |
| --- | --- | --- | --- |
| Team leader (Civil Engineer or Architect) | BSc in Civil Engineering or Architecture from a recognized university | 7 years of experience in on-site management of construction works | Full-time |
| Site Engineer | BSc in Civil Engineering from a recognized university | 5 years of experience in local management of school construction works or similar works | Full-time |
| Electrical Engineer | BSc in electrical engineering from a recognized university | 5 years of experience in school rehabilitation works or similar works | Part -time 50% |

- Required equipment

| LIST OF EQUIPMENT | Minimum Required |
| --- | --- |
| Tipper truck with a minimum capacity of 5 tons | 1 |
| Concrete mixers with a minimum capacity of 500L | 2 |
| Concrete vibrators | 2 |
| Scaffolding pairs | 20 |
| Electric generator | 2 |