INVITATION TO BID

Construction of the Music School in Tuzla, Bosnia and Herzegovina

ITB No.:	BiH-ITB-009-21

Project:	Country Infrastructure Development Initiative

Country:	BOSNIA AND HERZEGOVINA

Issued on:	18 March 2021

Contents

Section 1. Letter of Invitation	4

Section 2. Instruction to Bidders	6

GENERAL PROVISIONS	6

1.	Introduction	6

2.	Fraud & Corruption,  Gifts and Hospitality	6

3.	Eligibility	6

4.	Conflict of Interests	7

B.	PREPARATION OF BIDS	7

5.	General Considerations	7

6.	Cost of Preparation of Bid	7

7.	Language	7

8.	Documents Comprising the Bid	8

9.	Documents Establishing the Eligibility and Qualifications of the Bidder	8

10.	Technical Bid Format and Content	8

11.	Price Schedule	8

12.	Bid Security	8

13.	Currencies	9

14.	Joint Venture, Consortium or Association	9

15.	Only One Bid	10

16.	Bid Validity Period	10

17.	Extension of Bid Validity Period	10

18.	Clarification of Bid (from the Bidders)	10

19.	Amendment of Bids	10

20.	Alternative Bids	11

21.	Pre-Bid Conference	11

C.	SUBMISSION AND OPENING OF BIDS	11

22.	Submission	11

Hard copy (manual) submission	11

Email and eTendering submissions	12

23.	Deadline for Submission of Bids and Late Bids	12

24.	Withdrawal, Substitution, and Modification of Bids	12

25.	Bid Opening	12

D.	EVALUATION OF BIDS	13

26.	Confidentiality	13

27.	Evaluation of Bids	13

28.	Preliminary Examination	13

29.	Evaluation of Eligibility and Qualification	13

30.	Evaluation of Technical Bid and prices	13

31.	Due diligence	14

32.	Clarification of Bids	14

33.	Responsiveness of Bid	14

34.	Nonconformities, Reparable Errors and Omissions	14

E.	AWARD OF CONTRACT	15

35.	Right to Accept, Reject, Any or All Bids	15

36.	Award Criteria	15

37.	Debriefing	15

38.	Right to Vary Requirements at the Time of Award	15

39.	Contract Signature	15

40.	Contract Type and General Terms and Conditions	15

41.	Performance Security	15

42.	Bank Guarantee for Advanced Payment	16

43.	Liquidated Damages	16

44.	Payment Provisions	16

45.	Vendor Protest	16

46.	Other Provisions	16

Section 3. Bid Data Sheet	17

Section 4. Evaluation Criteria	21

Section 5a: Schedule of Requirements and Technical Specifications/Bill of Quantities	25

Section 5b: Other Related Requirements	25

Section 6: Returnable Bidding Forms / Checklist	27

Form A: Bid Submission Form	28

Form B: Bidder Information Form	29

Form C: Joint Venture/Consortium/Association Information Form	32

Form D: Eligibility and Qualification Form	33

Form E: Format of Technical Bid	35

FORM F: Price Schedule Form	38

FORM G: Form of Bid Security	39

# Section 1. Letter of Invitation

The United Nations Development Programme (UNDP) hereby invites you to submit a Bid to this Invitation to   Bid (ITB) for the above-referenced subject.

This ITB includes the following documents and the General Terms and Conditions of Contract which is inserted in the Bid Data Sheet:

Section 1: This Letter of Invitation

Section 2: Instruction to Bidders

Section 3: Bid Data Sheet (BDS)

Section 4: Evaluation Criteria

Section 5: Schedule of Requirements and Technical Specifications

Section 6: Returnable Bidding Forms

- Form A: Bid Submission Form

- Form B: Bidder Information Form

- Form C: Joint Venture/Consortium/Association Information Form

- Form D: Qualification Form

- Form E: Format of Technical Bid

- Form F: Price Schedule

Section 7: Performance Security

If you are interested in submitting a Bid in response to this ITB, please prepare your Bid in accordance with the requirements and procedure as set out in this ITB and submit it by the Deadline for Submission of Bids set out in Bid Data Sheet.

Detailed instructions on how to register, submit, modify or cancel a bid in the e-Tendering system are provided in Bidder User Guide and Video available on link:

http://www.ba.undp.org/content/bosnia_and_herzegovina/bs/home/presscenter/vijesti/2019/introductionofetendering.html

http://www.ba.undp.org/content/bosnia_and_herzegovina/en/home/presscenter/articles/2019/introductionofetendering.html

In case your company is not registered in the E-Tendering Module, please use the following temporary username and password to register your company/firm:

Username: event.guest

Password: why2change

Bidders, who registered on the e-tendering, will be able to download the complete bidding documents from the e-tendering website at:  https://etendering.partneragencies.org.

Insert BU Code: BIH10

Event ID: 0000008797

Please acknowledge receipt of this ITB by sending an email to registry.ba@undp.org  indicating whether you intend to submit a Bid or otherwise. You may also utilize the “Accept Invitation” function in eTendering system, where applicable. This will enable you to receive amendments or updates to the ITB. Should you require further clarifications, kindly communicate with the contact person/s identified in the attached Data Sheet as the focal point for queries on this ITB.

UNDP looks forward to receiving your Bid and thank you in advance for your interest in UNDP procurement opportunities.

UNDP BiH

# Section 2. Instruction to Bidders

| GENERAL PROVISIONS |
| --- |
| Introduction | Bidders shall adhere to all the requirements of this ITB, including any amendments made in writing by UNDP. This ITB is conducted in accordance with the UNDP Programme and Operations Policies and Procedures (POPP) on Contracts and Procurement which can be accessed at https://popp.undp.org/SitePages/POPPBSUnit.aspx?TermID=254a9f96-b883-476a-8ef8-e81f93a2b38d Any Bid submitted will be regarded as an offer by the Bidder and does not constitute or imply the acceptance of the Bid by UNDP. UNDP is under no obligation to award a contract to any Bidder as a result of this ITB. UNDP reserves the right to cancel the procurement process at any stage without any liability of any kind for UNDP, upon notice to the bidders or publication of cancellation notice on UNDP website. As part of the bid, it is desired that the Bidder registers at the United Nations Global Marketplace (UNGM) website (www.ungm.org). The Bidder may still submit a bid even if not registered with the UNGM. However, if the Bidder is selected for contract award, the Bidder must register on the UNGM prior to contract signature. |
| Fraud & Corruption, Gifts and Hospitality | UNDP strictly enforces a policy of zero tolerance on proscribed practices, including fraud, corruption, collusion, unethical or unprofessional practices, and obstruction of UNDP vendors and requires all bidders/vendors observe the highest standard of ethics during the procurement process and contract implementation. UNDP’s Anti-Fraud Policy can be found at http://www.undp.org/content/undp/en/home/operations/accountability/audit/office_of_audit_andinvestigation.html#anti Bidders/vendors shall not offer gifts or hospitality of any kind to UNDP staff members including recreational trips to sporting or cultural events, theme parks or offers of holidays, transportation, or invitations to extravagant lunches or dinners. In pursuance of this policy, UNDP: (a) Shall reject a bid if it determines that the selected bidder has engaged in any corrupt or fraudulent practices in competing for the contract in question; (b) Shall declare a vendor ineligible, either indefinitely or for a stated period, to be awarded a contract if at any time it determines that the vendor has engaged in any corrupt or fraudulent practices in competing for, or in executing a UNDP contract. All Bidders must adhere to the UN Supplier Code of Conduct, which may be found at http://www.un.org/depts/ptd/pdf/conduct_english.pdf |
| Eligibility | A vendor should not be suspended, debarred, or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. Vendors are therefore required to disclose to UNDP whether they are subject to any sanction or temporary suspension imposed by these organizations. It is the Bidder’s responsibility to ensure that its employees, joint venture members, sub-contractors, service providers, suppliers and/or their employees meet the eligibility requirements as established by UNDP. |
| Conflict of Interests | Bidders must strictly avoid conflicts with other assignments or their own interests, and act without consideration for future work. Bidders found to have a conflict of interest shall be disqualified. Without limitation on the generality of the above, Bidders, and any of their affiliates, shall be considered to have a conflict of interest with one or more parties in this solicitation process, if they: Are or have been associated in the past, with a firm or any of its affiliates which have been engaged by UNDP to provide services for the preparation of the design, specifications, Terms of Reference, cost analysis/estimation, and other documents to be used for the procurement of the goods and services in this selection process; Were involved in the preparation and/or design of the programme/project related to the goods and/or services requested under this ITB; or Are found to be in conflict for any other reason, as may be established by, or at the discretion of UNDP. In the event of any uncertainty in the interpretation of a potential conflict of interest, Bidders must disclose to UNDP, and seek UNDP’s confirmation on whether or not such conflict exists. Similarly, the Bidders must disclose in their Bid their knowledge of the following: If the owners, part-owners, officers, directors, controlling shareholders, of the bidding entity or key personnel who are family members of UNDP staff involved in the procurement functions and/or the Government of the country or any Implementing Partner receiving goods and/or services under this ITB; and All other circumstances that could potentially lead to actual or perceived conflict of interest, collusion or unfair competition practices. Failure to disclose such an information may result in the rejection of the Bid or Bids affected by the non-disclosure. The eligibility of Bidders that are wholly or partly owned by the Government shall be subject to UNDP’s further evaluation and review of various factors such as being registered, operated and managed as an independent business entity, the extent of Government ownership/share, receipt of subsidies, mandate and access to information in relation to this ITB, among others. Conditions that may lead to undue advantage against other Bidders may result in the eventual rejection of the Bid. |
| PREPARATION OF BIDS |
| General Considerations | In preparing the Bid, the Bidder is expected to examine the ITB in detail. Material deficiencies in providing the information requested in the ITB may result in rejection of the Bid. The Bidder will not be permitted to take advantage of any errors or omissions in the ITB. Should such errors or omissions be discovered, the Bidder must notify the UNDP accordingly. |
| Cost of Preparation of Bid | The Bidder shall bear all costs related to the preparation and/or submission of the Bid, regardless of whether its Bid is selected or not. UNDP shall not be responsible or liable for those costs, regardless of the conduct or outcome of the procurement process. |
| Language | The Bid, as well as any and all related correspondence exchanged by the Bidder and UNDP, shall be written in the language (s) specified in the BDS. |
| Documents Comprising the Bid | The Bid shall comprise of the following documents and related forms which details are provided in the BDS: Documents Establishing the Eligibility and Qualifications of the Bidder; Technical Bid; Price Schedule; Bid Security, if required by BDS; Any attachments and/or appendices to the Bid. |
| Documents Establishing the Eligibility and Qualifications of the Bidder | The Bidder shall furnish documentary evidence of its status as an eligible and qualified vendor, using the Forms provided under Section 6 and providing documents required in those forms. In order to award a contract to a Bidder, its qualifications must be documented to UNDP’s satisfaction. |
| Technical Bid Format and Content | The Bidder is required to submit a Technical Bid using the Standard Forms and templates provided in Section 6 of the ITB. Samples of items, when required as per Section 5, shall be provided within the time specified and unless otherwise specified by the Purchaser, at no expense to the UNDP. If not destroyed by testing, samples will be returned at Bidder’s request and expense, unless otherwise specified. When applicable and required as per Section 5, the Bidder shall describe the necessary training programme available for the maintenance and operation of the equipment offered as well as the cost to the UNDP. Unless otherwise specified, such training as well as training materials shall be provided in the language of the Bid as specified in the BDS. When applicable and required as per Section 5, the Bidder shall certify the availability of spare parts for a period of at least five (5) years from date of delivery, or as otherwise specified in this ITB. |
| Price Schedule | The Price Schedule shall be prepared using the Form provided in Section 6 of the ITB and taking into consideration the requirements in the ITB. Any requirement described in the Technical Bid but not priced in the Price Schedule, shall be assumed to be included in the prices of other activities or items, as well as in the final total price. |
| Bid Security | A Bid Security, if required by BDS, shall be provided in the amount and form indicated in the BDS. The Bid Security shall be valid for a minimum of thirty (30) days after the final date of validity of the Bid. The Bid Security shall be included along with the Bid. If Bid Security is required by the ITB but is not found in the Bid, the offer shall be rejected. If the Bid Security amount or its validity period is found to be less than what is required by UNDP, UNDP shall reject the Bid. In the event an electronic submission is allowed in the BDS, Bidders shall include a copy of the Bid Security in their bid and the original of the Bid Security must be sent via courier or hand delivery as per the instructions in BDS. The Bid Security may be forfeited by UNDP, and the Bid rejected, in the event of any, or combination, of the following conditions: If the Bidder withdraws its offer during the period of the Bid Validity specified in the BDS, or; In the event the successful Bidder fails: to sign the Contract after UNDP has issued an award; or to furnish the Performance Security, insurances, or other documents that UNDP may require as a condition precedent to the effectivity of the contract that may be awarded to the Bidder. |
| Currencies | All prices shall be quoted in the currency or currencies indicated in the BDS. Where Bids are quoted in different currencies, for the purposes of comparison of all Bids: UNDP will convert the currency quoted in the Bid into the UNDP preferred currency, in accordance with the prevailing UN operational rate of exchange on the last day of submission of Bids; and In the event that UNDP selects a Bid for award that is quoted in a currency different from the preferred currency in the BDS, UNDP shall reserve the right to award the contract in the currency of UNDP’s preference, using the conversion method specified above. |
| Joint Venture, Consortium or Association | If the Bidder is a group of legal entities that will form or have formed a Joint Venture (JV), Consortium or Association for the Bid, they shall confirm in their Bid that : (i) they have designated one party to act as a lead entity, duly vested with authority to legally bind the members of the JV, Consortium or Association jointly and severally, which shall be evidenced by a duly notarized Agreement among the legal entities, and submitted with the Bid; and (ii) if they are awarded the contract, the contract shall be entered into, by and between UNDP and the designated lead entity, who shall be acting for and on behalf of all the member entities comprising the joint venture. After the Deadline for Submission of Bid, the lead entity identified to represent the JV, Consortium or Association shall not be altered without the prior written consent of UNDP. The lead entity and the member entities of the JV, Consortium or Association shall abide by the provisions of Clause 9 herein in respect of submitting only one Bid. The description of the organization of the JV, Consortium or Association must clearly define the expected role of each of the entities in the joint venture in delivering the requirements of the ITB, both in the Bid and the JV, Consortium or Association Agreement. All entities that comprise the JV, Consortium or Association shall be subject to the eligibility and qualification assessment by UNDP. A JV, Consortium or Association in presenting its track record and experience should clearly differentiate between: Those that were undertaken together by the JV, Consortium or Association; and Those that were undertaken by the individual entities of the JV, Consortium or Association. Previous contracts completed by individual experts working privately but who are permanently or were temporarily associated with any of the member firms cannot be claimed as the experience of the JV, Consortium or Association or those of its members, but should only be claimed by the individual experts themselves in their presentation of their individual credentials JV, Consortium or Associations are encouraged for high value, multi-sectoral requirements when the spectrum of expertise and resources required may not be available within one firm. |
| Only One Bid | The Bidder (including the individual members of any Joint Venture) shall submit only one Bid, either in its own name or as part of a Joint Venture. Bids submitted by two (2) or more Bidders shall all be rejected if they are found to have any of the following: they have at least one controlling partner, director or shareholder in common; or any one of them receive or have received any direct or indirect subsidy from the other/s; or they have the same legal representative for purposes of this ITB; or they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about, or influence on the Bid of another Bidder regarding this ITB process; they are subcontractors to each other’s Bid, or a subcontractor to one Bid also submits another Bid under its name as lead Bidder; or some key personnel proposed to be in the team of one Bidder participates in more than one Bid received for this ITB process. This condition relating to the personnel, does not apply to subcontractors being included in more than one Bid. |
| Bid Validity Period | Bids shall remain valid for the period specified in the BDS, commencing on the Deadline for Submission of Bids. A Bid valid for a shorter period may be rejected by UNDP and rendered non-responsive. During the Bid validity period, the Bidder shall maintain its original Bid without any change, including the availability of the Key Personnel, the proposed rates and the total price. |
| Extension of Bid Validity Period | In exceptional circumstances, prior to the expiration of the Bid validity period, UNDP may request Bidders to extend the period of validity of their Bids. The request and the responses shall be made in writing and shall be considered integral to the Bid. If the Bidder agrees to extend the validity of its Bid, it shall be done without any change to the original Bid. The Bidder has the right to refuse to extend the validity of its Bid, in which case, the Bid shall not be further evaluated. |
| Clarification of Bid (from the Bidders) | Bidders may request clarifications on any of the ITB documents no later than the date indicated in the BDS. Any request for clarification must be sent in writing in the manner indicated in the BDS. If inquiries are sent other than specified channel, even if they are sent to a UNDP staff member, UNDP shall have no obligation to respond or confirm that the query was officially received. UNDP will provide the responses to clarifications through the method specified in the BDS. UNDP shall endeavour to provide responses to clarifications in an expeditious manner, but any delay in such response shall not cause an obligation on the part of UNDP to extend the submission date of the Bids, unless UNDP deems that such an extension is justified and necessary. |
| Amendment of Bids | At any time prior to the deadline of Bid submission, UNDP may for any reason, such as in response to a clarification requested by a Bidder, modify the ITB in the form of an amendment to the ITB. Amendments will be made available to all prospective bidders. If the amendment is substantial, UNDP may extend the Deadline for submission of Bid to give the Bidders reasonable time to incorporate the amendment into their Bids. |
| Alternative Bids | Unless otherwise specified in the BDS, alternative Bids shall not be considered. If submission of alternative Bid is allowed by BDS, a Bidder may submit an alternative Bid, but only if it also submits a Bid conforming to the ITB requirements. Where the conditions for its acceptance are met, or justifications are clearly established, UNDP reserves the right to award a contract based on an alternative Bid. If multiple/alternative bids are being submitted, they must be clearly marked as “Main Bid” and “Alternative Bid” |
| Pre-Bid Conference | When appropriate, a pre-bid conference will be conducted at the date, time and location specified in the BDS. All Bidders are encouraged to attend. Non-attendance, however, shall not result in disqualification of an interested Bidder. Minutes of the Bidder’s conference will be disseminated on the procurement website and shared by email or on the e-Tendering platform as specified in the BDS. No verbal statement made during the conference shall modify the terms and conditions of the ITB, unless specifically incorporated in the Minutes of the Bidder’s Conference or issued/posted as an amendment to ITB. |
| SUBMISSION AND OPENING OF BIDS |
| Submission | The Bidder shall submit a duly signed and complete Bid comprising the documents and forms in accordance with requirements in the BDS. The Price Schedule shall be submitted together with the Technical Bid. Bid can be delivered either personally, by courier, or by electronic method of transmission as specified in the BDS. The Bid shall be signed by the Bidder or person(s) duly authorized to commit the Bidder. The authorization shall be communicated through a document evidencing such authorization issued by the legal representative of the bidding entity, or a Power of Attorney, accompanying the Bid. Bidders must be aware that the mere act of submission of a Bid, in and of itself, implies that the Bidder fully accepts the UNDP General Contract Terms and Conditions. |
| Hard copy (manual) submission | Hard copy (manual) submission by courier or hand delivery allowed or specified in the BDS shall be governed as follows: a) The signed Bid shall be marked “Original”, and its copies marked “Copy” as appropriate. The number of copies is indicated in the BDS. All copies shall be made from the signed original only. If there are discrepancies between the original and the copies, the original shall prevail. (b) The Technical Bid and Price Schedule must be sealed and submitted together in an envelope, which shall: Bear the name of the Bidder; Be addressed to UNDP as specified in the BDS; and Bear a warning not to open before the time and date for Bid opening as specified in the BDS. If the envelope with the Bid is not sealed and marked as required, UNDP shall assume no responsibility for the misplacement, loss, or premature opening of the Bid. |
| Email and eTendering submissions | Electronic submission through email or eTendering, if allowed as specified in the BDS, shall be governed as follows: Electronic files that form part of the Bid must be in accordance with the format and requirements indicated in BDS; Documents which are required to be in original form (e.g. Bid Security, etc.) must be sent via courier or hand delivered as per the instructions in BDS. Detailed instructions on how to submit, modify or cancel a bid in the eTendering system are provided in the eTendering system Bidder User Guide and Instructional videos available on these links: https://www.ba.undp.org/content/bosnia_and_herzegovina/bs/home/presscenter/vijesti/2019/introductionofetendering.html http://www.undp.org/content/undp/en/home/operations/procurement/business/procurement-notices/resources/ |
| Deadline for Submission of Bids and Late Bids | Complete Bids must be received by UNDP in the manner, and no later than the date and time, specified in the BDS. UNDP shall only recognise the actual date and time that the bid was received by UNDP UNDP shall not consider any Bid that is received after the deadline for the submission of Bids. |
| Withdrawal, Substitution, and Modification of Bids | A Bidder may withdraw, substitute or modify its Bid after it has been submitted at any time prior to the deadline for submission. Manual and Email submissions: A bidder may withdraw, substitute or modify its Bid by sending a written notice to UNDP, duly signed by an authorized representative, and shall include a copy of the authorization (or a Power of Attorney). The corresponding substitution or modification of the Bid, if any, must accompany the respective written notice. All notices must be submitted in the same manner as specified for submission of Bids, by clearly marking them as “WITHDRAWAL” “SUBSTITUTION,” or “MODIFICATION” eTendering: A Bidder may withdraw, substitute or modify its Bid by Cancelling, Editing, and re-submitting the Bid directly in the system. It is the responsibility of the Bidder to properly follow the system instructions, duly edit and submit a substitution or modification of the Bid as needed. Detailed instructions on how to cancel or modify a Bid directly in the system are provided in the Bidder User Guide and Instructional videos. Bids requested to be withdrawn shall be returned unopened to the Bidders (only for manual submissions), except if the bid is withdrawn after the bid has been opened. |
| Bid Opening | UNDP will open the Bid in the presence of an ad-hoc committee formed by UNDP of at least two (2) members. The Bidders’ names, modifications, withdrawals, the condition of the envelope labels/seals, the number of folders/files and all other such other details as UNDP may consider appropriate, will be announced at the opening. No Bid shall be rejected at the opening stage, except for late submissions, in which case, the Bid shall be returned unopened to the Bidders. In the case of e-Tendering submission, bidders will receive an automatic notification once the Bid is opened. |
| EVALUATION OF BIDS |
| Confidentiality | Information relating to the examination, evaluation, and comparison of Bids, and the recommendation of contract award, shall not be disclosed to Bidders or any other persons not officially concerned with such process, even after publication of the contract award. Any effort by a Bidder or anyone on behalf of the Bidder to influence UNDP in the examination, evaluation and comparison of the Bids or contract award decisions may, at UNDP’s decision, result in the rejection of its Bid and may subsequently be subject to the application of prevailing UNDP’s vendor sanctions procedures. |
| Evaluation of Bids | UNDP will conduct the evaluation solely on the basis of the Bids received. Evaluation of Bids shall be undertaken in the following steps: Preliminary Examination including Eligibility Arithmetical check and ranking of bidders who passed preliminary examination by price. Qualification assessment (if pre-qualification was not done) Evaluation of Technical Bids Evaluation of prices Detailed evaluation will be focussed on the 3 - 5 lowest priced bids. Further higher priced bids shall be added for evaluation if necessary |
| Preliminary Examination | UNDP shall examine the Bids to determine whether they are complete with respect to minimum documentary requirements, whether the documents have been properly signed, and whether the Bids are generally in order, among other indicators that may be used at this stage. UNDP reserves the right to reject any Bid at this stage. |
| Evaluation of Eligibility and Qualification | Eligibility and Qualification of the Bidder will be evaluated against the Minimum Eligibility/Qualification requirements specified in the Section 4 (Evaluation Criteria). In general terms, vendors that meet the following criteria may be considered qualified: They are not included in the UN Security Council 1267/1989 Committee's list of terrorists and terrorist financiers, and in UNDP’s ineligible vendors’ list; They have a good financial standing and have access to adequate financial resources to perform the contract and all existing commercial commitments, They have the necessary similar experience, technical expertise, production capacity, quality certifications, quality assurance procedures and other resources applicable to the supply of goods and/or services required; They are able to comply fully with the UNDP General Terms and Conditions of Contract; They do not have a consistent history of court/arbitral award decisions against the Bidder; and They have a record of timely and satisfactory performance with their clients. |
| Evaluation of Technical Bid and prices | The evaluation team shall review and evaluate the Technical Bids on the basis of their responsiveness to the Schedule of Requirements and Technical Specifications and other documentation provided, applying the procedure indicated in the BDS and other ITB documents. When necessary, and if stated in the BDS, UNDP may invite technically responsive bidders for a presentation related to their technical Bids. The conditions for the presentation shall be provided in the bid document where required. |
| Due diligence | UNDP reserves the right to undertake a due diligence exercise, aimed at determining to its satisfaction, the validity of the information provided by the Bidder. Such exercise shall be fully documented and may include, but need not be limited to, all or any combination of the following: Verification of accuracy, correctness and authenticity of information provided by the Bidder; Validation of extent of compliance to the ITB requirements and evaluation criteria based on what has so far been found by the evaluation team; Inquiry and reference checking with Government entities with jurisdiction on the Bidder, or with previous clients, or any other entity that may have done business with the Bidder; Inquiry and reference checking with previous clients on the performance on on-going or completed contracts, including physical inspections of previous works, as deemed necessary; Physical inspection of the Bidder’s offices, branches or other places where business transpires, with or without notice to the Bidder; Other means that UNDP may deem appropriate, at any stage within the selection process, prior to awarding the contract. |
| Clarification of Bids | To assist in the examination, evaluation and comparison of Bids, UNDP may, at its discretion, request any Bidder for a clarification of its Bid. UNDP’s request for clarification and the response shall be in writing and no change in the prices or substance of the Bid shall be sought, offered, or permitted, except to provide clarification, and confirm the correction of any arithmetic errors discovered by UNDP in the evaluation of the Bids, in accordance with the ITB. Any unsolicited clarification submitted by a Bidder in respect to its Bid, which is not a response to a request by UNDP, shall not be considered during the review and evaluation of the Bids. |
| Responsiveness of Bid | UNDP’s determination of a Bid’s responsiveness will be based on the contents of the bid itself. A substantially responsive Bid is one that conforms to all the terms, conditions, specifications and other requirements of the ITB without material deviation, reservation, or omission. If a bid is not substantially responsive, it shall be rejected by UNDP and may not subsequently be made responsive by the Bidder by correction of the material deviation, reservation, or omission. |
| Nonconformities, Reparable Errors and Omissions | Provided that a Bid is substantially responsive, UNDP may waive any non-conformities or omissions in the Bid that, in the opinion of UNDP, do not constitute a material deviation. UNDP may request the Bidder to submit the necessary information or documentation, within a reasonable period, to rectify nonmaterial nonconformities or omissions in the Bid related to documentation requirements. Such omission shall not be related to any aspect of the price of the Bid. Failure of the Bidder to comply with the request may result in the rejection of its Bid. For the bids that have passed the preliminary examination, UNDP shall check and correct arithmetical errors as follows: if there is a discrepancy between the unit price and the line item total that is obtained by multiplying the unit price by the quantity, the unit price shall prevail and the line item total shall be corrected, unless in the opinion of UNDP there is an obvious misplacement of the decimal point in the unit price; in which case, the line item total as quoted shall govern and the unit price shall be corrected; if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail. If the Bidder does not accept the correction of errors made by UNDP, its Bid shall be rejected. |
| AWARD OF CONTRACT |
| Right to Accept, Reject, Any or All Bids | UNDP reserves the right to accept or reject any bid, to render any or all of the bids as non-responsive, and to reject all Bids at any time prior to award of contract, without incurring any liability, or obligation to inform the affected Bidder(s) of the grounds for UNDP’s action. UNDP shall not be obliged to award the contract to the lowest priced offer. |
| Award Criteria | Prior to expiration of the period of Bid validity, UNDP shall award the contract to the qualified and eligible Bidder that is found to be responsive to the requirements of the Schedule of Requirements and Technical Specification, and has offered the lowest price. |
| Debriefing | In the event that a Bidder is unsuccessful, the Bidder may request for a debriefing from UNDP. The purpose of the debriefing is to discuss the strengths and weaknesses of the Bidder’s submission, in order to assist the Bidder in improving its future Bids for UNDP procurement opportunities. The content of other Bids and how they compare to the Bidder’s submission shall not be discussed. |
| Right to Vary Requirements at the Time of Award | At the time of award of Contract, UNDP reserves the right to vary the quantity of goods and/or services, by up to a maximum twenty-five per cent (25%) of the total offer, without any change in the unit price or other terms and conditions. |
| Contract Signature | Within fifteen (15) days from the date of receipt of the Contract, the successful Bidder shall sign and date the Contract and return it to UNDP. Failure to do so may constitute sufficient grounds for the annulment of the award, and forfeiture of the Bid Security, if any, and on which event, UNDP may award the Contract to the Second highest rated or call for new Bids. |
| Contract Type and General Terms and Conditions | The types of Contract to be signed and the applicable UNDP Contract General Terms and Conditions, as specified in BDS, can be accessed at http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html |
| Performance Security | A performance security, if required in the BDS, shall be provided in the amount specified in BDS and form available at https://popp.undp.org/_layouts/15/WopiFrame.aspx?sourcedoc=/UNDP_POPP_DOCUMENT_LIBRARY/Public/PSU_Solicitation_Performance%20Guarantee%20Form.docx&action=default within a maximum of fifteen (15) days of the contract signature by both parties. Where a performance security is required, the receipt of the performance security by UNDP shall be a condition for rendering the contract effective. |
| Bank Guarantee for Advanced Payment | Except when the interests of UNDP so require, it is UNDP’s standard practice to not make advance payment(s) (i.e., payments without having received any outputs). If an advance payment is allowed as per the BDS, and exceeds 20% of the total contract price, or USD 30,000, whichever is less, the Bidder shall submit a Bank Guarantee in the full amount of the advance payment in the form available at https://popp.undp.org/_layouts/15/WopiFrame.aspx?sourcedoc=/UNDP_POPP_DOCUMENT_LIBRARY/Public/PSU_Contract%20Management%20Payment%20and%20Taxes_Advanced%20Payment%20Guarantee%20Form.docx&action=default |
| Liquidated Damages | If specified in the BDS, UNDP shall apply Liquidated Damages for the damages and/or risks caused to UNDP resulting from the Contractor’s delays or breach of its obligations as per Contract. |
| Payment Provisions | Payment will be made only upon UNDP's acceptance of the goods and/or services performed. The terms of payment shall be within thirty (30) days, after receipt of invoice and certification of acceptance of goods and/or services issued by the proper authority in UNDP with direct supervision of the Contractor. Payment will be effected by bank transfer in the currency of the contract. |
| Vendor Protest | UNDP’s vendor protest procedure provides an opportunity for appeal to those persons or firms not awarded a contract through a competitive procurement process. In the event that a Bidder believes that it was not treated fairly, the following link provides further details regarding UNDP vendor protest procedures: http://www.undp.org/content/undp/en/home/procurement/business/protest-and-sanctions.html |
| Other Provisions | In the event that the Bidder offers a lower price to the host Government (e.g. General Services Administration (GSA) of the federal government of the United States of America) for similar goods and/or services, UNDP shall be entitled to the same lower price. The UNDP General Terms and Conditions shall have precedence. UNDP is entitled to receive the same pricing offered by the same Contractor in contracts with the United Nations and/or its Agencies. The UNDP General Terms and Conditions shall have precedence. The United Nations has established restrictions on employment of (former) UN staff who have been involved in the procurement process as per bulletin ST/SGB/2006/15 http://www.un.org/en/ga/search/view_doc.asp?symbol=ST/SGB/2006/15&referer |

# Section 3. Bid Data Sheet

The following data for the goods and/or services to be procured shall complement, supplement, or amend the provisions in the Invitation to Bid In the case of a conflict between the Instructions to Bidders, the Bid Data Sheet, and other annexes or references attached to the Bid Data Sheet, the provisions in the Bid Data Sheet shall prevail.

| BDS No. | Ref. to Section.2 | Data | Specific Instructions / Requirements |
| --- | --- | --- | --- |
| 1 | 7 | Language of the Bid | English and/or BIH Local languages |
| 2 |  | Submitting Bids for Parts or sub-parts of the Schedule of Requirements (partial bids) | Not Allowed |
| 3 | 20 | Alternative Bids | Shall not be considered |
| 4 | 21 | Pre-Bid conference | Will not be conducted |
| 5 | 16 | Bid Validity Period | 90 days |
| 6 | 13 | Bid Security | Required -In the amount of BAM 20,000 or equivalent amount in EUR Acceptable Form of Bid Security: - Bank Guarantee (See Form G for template) Note: Bid Security should be delivered not later than the bid closing date and time by Courier/Hand Delivery to Zmaja od Bosne bb, 71 000 Sarajevo, Bosnia and Herzegovina. Ref: ITB-009-21 Bank Guarantee and a PDF copy submitted as part of the electronic submission |
| 7 | 42 | Advanced Payment upon signing of contract | Allowed up to a maximum of 20% of contract value contingent upon receipt and acceptance by UNDP of a bank guarantee for the full amount of the advance payment issued by a Bank and in a form acceptable to UNDP |
| 8 | 43 | Liquidated Damages | Will be imposed as follows: Percentage of contract price per day of delay: 0.5% Max. number of days of delay 20, after which UNDP may terminate the contract. |
| 9 | 40 | Performance Security | Required in the amount of BAM 10% of the contract value and valid until a date two months from the date of issue by UNDP of a certificate of satisfactory performance and full completion of works by the Contractor. |
| 10 | 12 | Currency of Bid | Local currency BAM or EUR |
| 11 | 31 | Deadline for submitting requests for clarifications/ questions | 5 days before the submission deadline |
| 12 | 31 | Contact Details for submitting clarifications/questions | Focal Point in UNDP: REGISTRY UNDP BIH E-mail address: registry.ba@undp.org Ref: BIH-ITB-009-21 |
| 13 | 18, 19 and 21 | Manner of Disseminating Supplemental Information to the ITB and responses/clarifications to queries | -Direct communication to prospective Proposers by email and Posting on the websites: www.ba.undp.org , www.undp.org and UNGM -Uploading in the E-tendering system. Once uploaded, Prospective bidder (i.e. bidder that have accepted the bid Invitation in the system) will be notified via email that changes have occurred. It is the responsibility of the bidder to view the respective changes and clarifications in the system |
| 14 | 23 | Deadline for Submission | 21 April 2021, 14:00 CET Note that system time zone is in EST/EDT (New York) time zone. Try to submit your bid in a system a day prior or well before the closing time. Do not wait until last minute. If you face any issue submitting your bid at the last minute, UNDP may not be able to assist. |
| 14 | 22 | Allowable Manner of Submitting Bids | ☒ Electronic submission (eTendering) Detailed instructions on how to register, submit, modify or cancel a bid in the e-Tendering system are provided in Bidder User Guide and Video available on link: http://www.ba.undp.org/content/bosnia_and_herzegovina/bs/home/presscenter/vijesti/2019/introductionofetendering.html http://www.ba.undp.org/content/bosnia_and_herzegovina/en/home/presscenter/articles/2019/introductionofetendering.html Bid Security should be delivered not later than the bid closing date and time by Courier/Hand Delivery to Zmaja od Bosne bb, 71 000 Sarajevo, Bosnia and Herzegovina. Ref: ITB-009-21 Bank Guarantee and a PDF copy submitted as part of the electronic submission: |
| 15 | 22 | Bid Submission Address | UNDP ATLAS E-Tendering system, which can be accessed at https://etendering.partneragencies.org. Insert BU Code: BIH10 Event ID: 0000008797 |
| 16 | 22 | Electronic submission (email or eTendering) requirements | -Format: PDF and excel files -File names must be maximum 60 characters long and must not contain any letter or special character other than from Latin alphabet/keyboard. -All files must be free of viruses and not corrupted. -Max. File Size per transmission: 50MB -If you are uploading a large number of files (ex. 15 or more), please zip the files into a ZIP folder and upload the folder instead of each file individually. You can upload several ZIP folders, but if you do this, please note that the total size of each ZIP folder uploaded cannot exceed 50MB. |
| 17 | 25 | Date, time and venue for the opening of bid | No public bid opening applicable- Bidders will receive an automatic notification once their Bids are opened. |
| 18 | 27, 36 | Evaluation Method for the Award of Contract | Lowest priced technically responsive, eligible and qualified bid. |
| 19 |  | Expected date for commencement of Contract | Phase I – May 2021 Phase II –Subject to secured budget. End of August 2021 |
| 20 |  | Maximum expected duration of contract | Phase I – 120 calendar days, from May to September 2021 Phase II – 120 calendar days, from August to November 2021 |
| 21 | 35 | UNDP will award the contract to: | One contractor, depending on the following factors: Technical responsiveness/Full compliance to requirements Lowest price offer for technically qualified/responsive Bid |
| 22 | 39 | Type of Contract | Contract for Civil Works http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html |
| 23 | 39 | UNDP Contract Terms and Conditions that will apply | UNDP General Terms and Conditions for Works http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html |
| 24 |  | Other Information Related to the ITB | Important note: Brand/trade names and manufacturer are indicated in the BoQ specifications only for reference. The bidders can offer any other brand/type/manufacturer of equal or better equipment, materials and products. (Equal means of comparable quality and/or capable of performing the intended function) Original Bid Security should be delivered not later than the bid closing date and time by Courier/Hand Delivery to Zmaja od Bosne bb, 71 000 Sarajevo, Bosnia and Herzegovina. Ref: ITB-009-21 Bank Guarantee and a PDF copy submitted as part of the electronic submission Construction of the Music School in Tuzla is planned to be executed in two phases. The budget is ensured for the Phase I and in preparation for the Phase II. The Bidders are obliged to offer unit prices for the works for both project phases. The contract will be signed with awarded bidder only for the Phase I. Contracting of the Phase II will be subject to secured budget. Before the final payment under the contract/s, awarded contractor / contractors are obliged to submit following: Duly notarized guarantee letter for quality of works and installation works, valid two (2) years from the date of issue of a certificate of satisfactory performance and full completion of works To provide UNDP BiH with a proof that construction waste materials are disposed/recycled in a proper way and according to relevant legislation |

# Section 4. Evaluation Criteria

Preliminary Examination Criteria

Bids will be examined to determine whether they are complete and submitted in accordance with ITB requirements as per below criteria on a Yes/No basis:

- Appropriate signatures

- Power of Attorney

- Minimum Bid documents provided

- Bid Validity

- Bid Security submitted as per ITB requirements with compliant validity period

Minimum Eligibility and Qualification Criteria

Eligibility and Qualification will be evaluated on a Pass/Fail basis.

If the Bid is submitted as a Joint Venture/Consortium/Association, each member should meet the minimum criteria, unless otherwise specified.

Ukoliko je ponuda u formi Joint Venture/Consortium/Association, svaki član mora zadovoljavati minimalne kritetije, osim ako je drugačije navedeno

| Subject | Criteria | Document Submission requirement |
| --- | --- | --- |
| ELIGIBILITY |  |  |
| Legal Status | Vendor is a legally registered entity. | Form B: Bidder Information Form and all documents indicated in the Form enclosed |
| Eligibility | Vendor is not suspended, nor debarred, nor otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization in accordance with ITB clause 3. | Form A: Bid Submission Form |
| Conflict of Interest | No conflicts of interest in accordance with ITB clause 4. | Form A: Bid Submission Form |
| Bankruptcy | Has not declared bankruptcy, is not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against the vendor that could impair its operations in the foreseeable future. | Form A: Bid Submission Form |
| Certificates and Licenses | Official appointment as local representative, if Bidder is submitting a Bid on behalf of an entity located outside the country Certified copy of company’s registration relevant to perform required works, as per relevant legislation. Certified copies of Bidder’s licenses to perform the required construction and other works for which the permit is issued by the relevant ministry, if applicable | Form B: Bidder Information Form and all documents indicated in the Form enclosed |
| QUALIFICATION |  |  |
| History of Non-Performing Contracts | Non-performance of a contract did not occur as a result of contractor default for the last 3 years. | Form D: Qualification Form |
| Litigation History | No consistent history of court/arbitral award decisions against the Bidder for the last 3 years. | Form D: Qualification Form and all documents indicated in the Form enclosed |
| Previous Experience | Minimum 5 years of relevant experience. | Form D: Qualification Form and all documents indicated in the Form enclosed |
|  | The Bidder must have successfully completed minimum 3 (three) contracts for construction of similar scope, nature and complexity implemented over the last 5 years. (For JV/Consortium/Association, all Parties should meet requirement). | Form D: Qualification Form and all documents indicated in the Form enclosed |
| Financial Standing | Minimum average annual turnover of BAM 2,000.000 for the last 3 years. (For JV/Consortium/Association, all Parties cumulatively should meet requirement). | Form D: Qualification Form and all documents indicated in the Form enclosed |
|  | Bidder must demonstrate the current soundness of its financial standing and indicate its prospective long-term profitability. |  |
| Technical Evaluation | The technical bids shall be evaluated on a pass/fail basis for compliance or non-compliance with the technical specifications identified in the bid document. | Form E: Technical Bid Form and all documents indicated in the Form enclosed |
| Financial Evaluation | Detailed analysis of the price schedule based on requirements listed in Section 5 and quoted for by the bidders in Form F. Price comparison shall be based on the landed price, including transportation, insurance and the total cost of ownership (including spare parts, consumption, installation, commissioning, training, special packaging, etc., where applicable) Comparison with budget/internal estimates. | Form F: Price Schedule Form and all documents indicated in the Form enclosed |
| Other | Minimum number and profile of employees required for completion of works: -One (1) full-time employed graduate civil engineer/architect with professional exam certificate and minimum ten (10) years of relevant experience (Jedan (1) stalno zaposlen diplomirani građevinski inženjer/arhitekt sa položenim stručnim ispitom i minimalno deset (10) godina iskustva na sličnim poslovima) -One (1) full-time employed graduate civil engineer/architect with professional exam certificate and minimum five (5) years of relevant experience (Jedan (1) stalno zaposlen diplomirani građevinski inženjer/arhitekt sa položenim stručnim ispitom i minimalno pet (5) godina iskustva na sličnim poslovima) -One (1) full-time employed civil engineering technician with minimum five (5) years of relevant experience (Jedan (1) stalno zaposlen građevinski tehničar sa minimalno pet (5) godina iskustva na sličnim poslovima) -Twenty (20) full-time employed construction workers (Dvadeset (20) stalno zaposlenih građevinskih radnika) -One (1) full-time employed graduate electrical engineer with professional exam certificate and minimum five (5) years of relevant experience (Jedan (1) stalno zaposlen diplomirani elektro inžinjer sa položenim stručnim ispitom i minimalno pet (5) godina iskustva na sličnim poslovima) -Five (5) full-time employed electrical workers, including 2 VKV electrical workers (Pet (5) stalno zaposlenih radnika električara, od čega 2 VKV električara) -One (1) full-time employed graduate mechanical engineer (HVAC) with professional exam certificate and minimum five (5) years of relevant experience (Jedan (1) stalno zaposleni diplomirani mašinski inžinjer (smjer klimatizacija, grijanje i hlađenje) sa položenim stručnim ispitom i minimalno pet (5) godina iskustva na sličnim poslovima) -Five (5) full-time employed mechanical installations (HVAC) workers, including (Pet (5) stalno zaposlenih radnika za mašinske instalacije KGH) Minimum required type and number of construction vehicles and machines: Trucks - 2; Loading shovel - 1; Backhoe - 1 Roller - 1; (Minimalna zahtijevana vrsta i broj građevinskih vozila i mašina: Kamioni – 2; Utovarivac – 1; Rovokopač – 1 Valjak – 1 For JV/Consortium/Association, all Parties cumulatively should meet requirement). | Form B: Bidder Information Form and all documents indicated in the Form enclosed |

# Section 5a: Schedule of Requirements and Technical Specifications/Bill of Quantities

Unless otherwise stipulated in the related sections of technical specifications, the following Annexes shall take precedence in terms of technical specifications / requirements.

- Annex I - Bill of Quantities (Phase I; Phase II and Recapitulation)

- Annex II - Technical documents

- Annex III – Gant Chart (Phase I and Phase II)

Annex I (Excel form) will serve to this purpose! The Bidder is required to upload completed BoQ in Excel and pdf. format.

The BoQ is available at : BiH-ITB-009-21_Construction of the Music School in Tuzla.zip

SECTION 5A.1 STATEMENT OF WORKS

      - GENERAL

1.1. INTRODUCTION AND BACKGROUND

Country Infrastructure Development Initiative (CIDI) is a joint initiative of the interested local and cantonal governments in Bosnia and Herzegovina with the aim to support projects relating to targeted upgrade in essential communal infrastructure. The CIDI project will primarily focus on improvements in underperforming and underfunded segments of municipal public services delivery, as well as the establishment of new public services previously unavailable to the local population. In particular, the project will focus on improving water supply and sanitation, alongside health and education facilities for targeted local communities.

This procurement is a part of the CIDI Project effort to support construction of the Music School in Tuzla, Bosnia and Herzegovina.

1.2. DEFINITION AND SCOPE OF THE CONTRACT

1.2.1. Definition

Construction of the Music School in Tuzla, Bosnia and Herzegovina as per the Scope of Works and Design Drawings.

Construction of the Music School in Tuzla is planned to be executed in two phases. The budget is ensured for the Phase I and in preparation for the Phase II. Expected date for commencement and maximum expected duration of Contract:

- Phase I – from May to September 2021 (120 calendar days)

- Phase II –Subject to secured budget. End of August to November 2021 (120 calendar days)

The Bidders are obliged to offer unit prices for the works included in both project phases.

The contract will be signed with awarded vendor only for the Phase I. Contracting of the Phase II will be subject to secured budget.

1.2.2. Scope of Works

The works mainly consist of:

· Construction craftsman works

· Works on hydro installations

· Works on electrical installations

· Works on mechanical installations

The Contractor will perform all the works defined in the Scope of Works aimed at full functionality of the building. The Contractor will provide all "as-built drawings" at the end of the Works, fully describing the finalized Works. The works shall be executed in accordance with the technical descriptions, specifications and drawings provided in the Main design.

Before installation for any materials, the contractor shall request prior approval from the Supervising engineer. All measurements given on the drawings shall be checked on-site by the Contractor. The Contractor shall prepare the shop drawings accordingly and get the approval of the Engineer before starting the construction.

The Contractor shall be responsible for taking all the necessary health & safety measures according to the

relevant legislations until the taking over of the works by the Employer.

The Employer may request variations and/or additional works to be designed by the Contractor. The variations or new design works shall be carried out in accordance with the provisions of Technical Specifications and will be subject to Supervisor’s approval.

1.2.3. Construction Site

Construction site is situated in Tuzla (k.č.br.8 k.o. Tuzla II), address Ludvika Kube, Tuzla 75000.

1.3. SPECIFICATIONS AND STANDARDS

Equivalency of Standards and Codes

Wherever reference is made in the Contract to specific standards and codes to be met by the goods and

materials to be furnished, and work performed or tested, the provisions of the latest current edition or revision of the relevant standards and codes in effect shall apply, unless otherwise expressly stated in the Contract.

Where such standards and codes are national or related to a particular country or region, other authoritative international standards that ensure substantially equal or higher quality than the specified standards and codes should be acceptable subject to the Engineer’s prior review and written consent. Differences between the standards specified and the proposed alternative standards shall be fully described in writing by the Contractor and submitted to the Engineer at least 7 days prior to the date when the Contractor desires Engineer’s consent.

In the event the Engineer determines that such proposed deviations do not ensure substantially equal or higher quality, the Contractor shall comply with the standards specified in the documents.

During the implementation and management of all issues of the Works; the standards, specifications and

principles shall be adhered to in the management, design, construction, testing and acceptance and

commissioning of all works.

1.3.1. Standards

The Contractor shall comply with the:

a. last updated editions of the relevant legislation, rules and standards for construction works in Bosnia and Herzegovina.

In circumstances for which there is no description in the standards, it shall be permitted to use the last updated editions of other international standards (EN, ISO, DIN).

b. European Norm (EN),

c. International Standards Organization (ISO),

(Izvođač je dužan izvoditi radove u skladu sa važećim zakonima, propisima, odredbama Zakona o uređenju prostora i građenju i relevantnim Pravilnicima važećim u Bosni i Hercegovini, i administrativnm jedinicama na čijoj se teritoriji gradi objekat, a sve u skladu sa tehničkim normativima i pravilima struke, a tamo gdje ih nema, drugim odgovarajućim normama (EN,ISO,DIN)

1.3.2. Legislation

The Contractor shall execute and complete the Works in strict accordance with applicable legislation of Bosnia and Herzegovina.

1.4. SITE

Refer to provisions stipulated in Clauses 11, 32, 33, 37, 39, 41 and Sub-Clauses 6.2, 34.2 of the General Conditions of Contract.

1.4.1. Arrangement of the Site

The Contractor shall construct temporary parking areas, loading and unloading areas, open storage areas, approach and internal roads, temporary facilities to facilitate its methodology and order of construction of the Works.

1.4.2. Site Requirements

Provision of all the necessary utility requirements on site, such as electricity, water, gas, etc. during the execution of the works shall be under the responsibility of the Contractor.

Application to the relevant authorities for subscription to provide utility connections shall also be under the responsibility of the Contractor. All costs of the consumptions on site shall be covered by the Contractor.

Any temporary fencing used by the contractor to protect the works shall be appropriate for the task to keep the public from danger and protect the workers.

The Contractor shall erect such fencing as soon as he is given possession of the relevant portion of the Site. The Contractor shall regularly inspect and maintain all such fencing, any defects being made good without delay.

Access shall be provided in temporary site fencing as necessary for the use of the occupiers of adjacent

properties.

Temporary site fencing shall remain in position until the Works are sufficiently completed to enable that portion of the Site to be brought into use without danger to the public.

1.4.2.1. Site Temporary Buildings

The Contractor shall provide offices, dining halls and accommodation places for his own personnel,

Subcontractors and furnish and maintain these places.

1.4.2.2. Temporary Water Supply

The Contractor shall supply and distribute water both for the personnel and for the Works. All of the piping, storage and similar main and intermediate systems shall be established in accordance with drawings and specifications. In the event that the municipal water supply is not available in sufficient amounts or pressure, additional supplies shall be provided by the Contractor.

It is the responsibility of the Contractor to provide all necessary back-up, maintenance and repair works for the uninterrupted supply of water sufficient for construction of the Works.

1.4.2.3. Temporary Electricity Supply

Provision of all the necessary utility requirements on site, such as electricity and gas, etc. during the execution of the works shall be under the responsibility of the Contractor.

The Contractor shall be required to make all necessary arrangements with relevant local authorities and/or owners/occupiers of the properties in order to obtain the supply of necessary utilities and cover the expenses for supplying and consuming these services, where necessary.

The Contractor shall provide connection to the site from a suitable point.

The Contractor is obliged to take all precautions for the safety of employees and third parties both in the supply and distribution of the energy. It is the responsibility of the Contractor to provide all necessary back-up, maintenance and repair works for the uninterrupted performance of the temporary electrical supply.

The Contractor shall take necessary measures related to the unexpected cuts off of these services.

1.4.2.4. Temporary Sanitary Installation, Cleaning

The Contractor shall clean the site when necessary and in such a way as to preserve it in a hygienic state and shall comply with the relevant laws and instructions of the Engineer.

The Contractor shall establish temporary sanitary facility in the site in order to meet the requirements for the working personnel. For this purpose, the Contractor shall supply flushed W.C. in suitable places on the site.

Domestic water connections of facilities shall be protected against frost. Sewerage drains shall be connected to the sewerage network as much as possible. In the event that this is not possible, connection shall be made to cesspools built in accordance with national specifications. Cesspools shall be drained at suitable intervals.

1.4.2.5. Employer’s Equipment and Free-issue material

There is no Employer’s Equipment available for the use of the Contractor in the execution of the Works.

Free-issue materials are not available on behalf of the Employer.

1.4.2.6. Temporary Project Sign Board

The Contractor shall at his own cost supply, erect and maintain 1 signboard (size 1.5 m x 2 m) at locations to be determined by the Engineer on which the names and information asked by the Engineer. The design of the sign board requires the prior approval of the Engineer and the Employer.

1.4.2.7. Plant and Temporary Works

The property of all structures, materials, vehicles, tools and equipment supplied and established by the

Contractor for the performance of the Work belongs to the Contractor.

Temporary facilities shall be removed within the time and method to be decided by the Engineer after

Substantial Completion and their places shall be cleared. Fences, billboards, etc. that have been removed

temporarily shall be placed again.

1.4.2.8. Protection of Existing Structures and Utilities

The Contractor shall assume full responsibility for the protection of all buildings, structures, and roads existing in the area of the construction site, public or private, whether or not they are shown on the drawings. Any damage resulting from the Contractor's operations shall be repaired at his expense.

The Contractor shall take all necessary precautions to avoid causing any unwarranted damage to roads, lands, properties, trees and other features and, during the Contract, shall deal promptly with any complaints by owners or occupiers.

Where any portion of the Works is close to, across, or under any existing apparatus of Statutory Undertakers, the Municipality or other parties, the Contractor shall temporarily support and work round, under or adjacent to all apparatus in a manner designed to avoid damage, leakage or danger, and to ensure uninterrupted operation.

Should any leakage’s or damage be discovered, the Contractor shall at once notify the Employer and the

Statutory Undertaker, Municipality or owner concerned, as appropriate and the Contractor shall afford every facility for the repair or replacement of the apparatus affected.

Building interiors shall be adequately protected during the course of the works to ensure that they remain

water-tight.

The Contractor shall adequately safeguard the buildings affected by the works against damage and theft.

All electrical installations shall comply with the relevant national regulations and shall be safe for the Contractor and members of the public. All Works shall be illuminated when daylight deems to be insufficient.

Before commencement of works nearby the existing structures preconstruction photos shall be taken.

1.7. MATERIALS

1.7.1. Conditions for Materials and Equipment

Materials and equipment within the scope of the Work shall comply with the conditions stated in the Technical Specifications. Materials and equipment proposed to be used by the Contractor and which have not been specified shall only be incorporated in the Works after their equivalence with the Technical Specifications has been verified and approved by the Supervisor.

Any material or equipment proposed by the Contractor for substitution from that specified shall be subject to prior approval of the Supervisor.

1.7.2. Storage Facilities

The Contractor shall establish open and closed storage places in suitable and sufficient extent at his own

expense for the storage of materials and equipment in the site. The Contractor is obliged to take all necessary protective precautions against damage, contamination inclement weather and theft.

1.7.3. Terms of Transportation

All of the materials and equipment shall be packaged in such a way to facilitate transporting in and out of the storage and to the Workplace and to be protected against damage.

Materials and equipment shall be loaded on vehicles in conformity with international transportation rules.

During transportation, all necessary additional precautions shall be taken, and adequate transportation

insurance shall be provided at the sole responsibility and cost of the Contractor.

1.8. SETTING - OUT

All necessary application, measurement and instrumentation processes and equipment necessary for

construction of the Works and for preservation of the environment in the vicinity of the Works are the

responsibility of the Contractor at his own expense.

1.8.1. Application Works

The Contractor shall prepare application drawings showing the setting out of the structures on the site and based on the reference points and levels given in the Drawings and submit to the Supervisor for approval. The accuracy of the setting out shall be the sole responsibility of the Contractor.

For application and measurement processes; the Contractor shall:

• Employ qualified and experienced land surveyors.

• Use modern type and high-quality topography devices suitable for the works.

1.9. ACCOMODATION FOR THE ENGINEER

Before commencing the Contract, the Contractor shall supply and erect on the site an office of a minimum 10 m2 room for the exclusive use of the Engineer at a location to be agreed with the Engineer. This office shall be provided for the total construction period.

The washroom shall be provided with a washbasin, hot and cold-water supplies and a flush operated WC

connected to the existing sewer. The Contractor shall be responsible for the security of the Engineer’s office and all equipment therein until the office is finally closed.

The Contractor shall maintain, light, heat/cooling and clean the office for the duration of the contract. The

Contractor shall be responsible for the insurance of the office for the duration of the contract. The Contractor shall insure the office and the contents provided by him, against fire, burglary and other risks ordinarily insured against during the period of the Contract.

The electricity, water supply, and maintenance costs of this office shall be met by the Contractor(s) until

substantial completion of the Works.

The Contractor shall ensure that all equipment is kept in good condition and shall repair or replace, as directed by the Engineer, any equipment that becomes unserviceable.

1.10. COORDINATION

The Contractor is responsible for ensuring all coordination necessary for the execution of the work in accordance with the quality, cost and timing objectives foreseen by the Employer at the beginning of the work. The Contractor shall prepare a Critical Path Method (CPM) work schedule, inspect the schedules according to the project timeframe, check the integrity of the schedules between infrastructure, superstructure constructions, electrical and mechanical works, combine the schedules and submit to the Engineer for approval.

The Contractor shall be responsible for ensuring administrative and technical coordination with the Employer, the Engineer and other parties who might directly affect the works along with the following parties who might have indirect effect:

a. Relevant official institutions and organizations,

b. Other authorized persons, institutions and organizations

1.11. CONTROL AND EXAMINATION OF MATERIALS AND EQUIPMENT

If the Engineer requests, s/he sends his own members to the project offices, factories of the Contractor and to factories of its subcontractors for the technical control and examination of the material and equipment, production in factories and for their participation in the project works.

As a result of the control and counting of the material, replacement of materials, which are not in compliance with the quality identified in the specifications, are malfunctioned, deficient or sent by mistake, will be realized and delivered to the buyer within 14 days (this term will be determined mutually, when special manufacturing is necessary) and all expenditures made. Otherwise, the Employer will procure these, and collect all expenditures from the receivables or performance security in the Employer.

1.12. OBTAINING OF RELEVANT APPROVALS AND CERTIFICATES

The Contractor shall obtain all relevant approvals and certificates from local Authorities regarding construction and operation of the Plants in the site.

1.13. AS-BUILT DRAWINGS AND OPERATION & MAINTENANCE MANUALS

This part of the Specifications covers the "As-built Drawings" to be prepared by the Contractor including

Operation and Maintenance Manuals. Three complete draft sets of prints of Drawings showing all Works exactly as made shall be submitted to the Engineer for approval within one month following the substantial completion of the Works on site.

The Contractor shall record all information necessary for preparing as-built drawings during the execution of the Works on the Sites. Neatly marked-up drawings and other documents covering the Permanent Works as completed shall be available to the Engineer at any time during construction.

Marked-up drawings shall be kept up to date and submitted to the Engineer for approval, as the Works are completed. The Contractor shall submit complete sets of instructions and manuals to Engineer for approval describing the installed Plant in order to facilitate operation and maintenance, together with the "As-built Drawings". The documents shall include but not be limited to:

• Layout drawings

• Schematic cabling diagrams

• Specific operation instructions

• Specific maintenance instructions

• Detailed record of all types of tests

• Ensuring all materials, as-built drawings, final finish schedules and plans, and all warranties,

guarantees and certifications – that are contractually owed to contractor are collected from

contractor’s design team before final payments are made.

All information in these manuals shall apply specifically to the Plant and equipment being supplied, and they shall be free from irrelevant matters such as might be contained in the manufacturer's general literature. The as-built documentation shall include all architectural and engineering disciplines including architectural/structural, electrical and mechanical drawings, and operation and maintenance manuals. Final version of as-built drawings in two hard copies and one electronic (in Auto CAD and Microsoft Word, Excel, etc) copy of each document shall be provided together with the notice for substantial completion incorporating Engineers’ comments and all the modifications/revisions effected during construction. Operation and maintenance manuals shall be provided in local language.

All material except drawings shall be A4 size. Drawings shall be on international A size sheets, and drawings shall be marked as "AS-BUILT".

      - PROJECT CONTROL DOCUMENTS

2.1. PROJECT MANAGEMENT

2.1.1. Project Management Obligation

The Contractor shall be responsible for effectively managing his efforts in carrying out the requirements of this Contract.

The Contractor shall be responsible for the management, performance, monitoring and coordination of the whole project in order to fulfil all requirements of the Contract and those given in Technical Specifications.

The Contractor's management obligations shall include the efficient planning of work to be performed in

cooperation with the Engineer and Employer along with their appointed representatives to ensure project

progress visibility.

2.1.2. General Requirements

The Contractor shall establish a project organization in accordance with requirements included herein, having the necessary resources, qualification and experience to fulfil all the Contractor's obligations.

The Contractor shall unambiguously define the tasks, responsibilities and authorities of each individual role within the organization, at least at the management level.

The project organization shall have clear and well-defined command lines and channels for reporting, within and outside the project organization.

The Contractor shall describe which parts of the Contractor's organization are used for staffing the project, and how the project organization aligns with the Contractor's main organization.

The Contractor shall describe the support functions, which are available for the project organization in the

Contractor's main organization and how such resources are put to the disposal of the project.

The Contractor shall describe the organizational interfaces towards any sub-contractor and supplier that shall be in or outside the project organization. Such interfaces shall provide a clear reference between the project management level within the Contractor's and the sub-contractor's/Supplier's organizations.

The Contractor shall appoint key staff members, and these shall to the highest possible extent remain

unchanged by the Contractor for the entire project.

Any later changes in such appointments shall be informed to and approved by the Engineer and shall be argued by the Contractor in order for the Engineer to assess the reasons and likely impact of such change. The Contractor shall, unless this is not within the power of the Contractor, ensure that existing staff remains until suitable and acceptable replacements have been found.

2.1.3. Programme of Work

The programme of work shall comprise following as minimum:

· The proposed location of office on the site, stations (steel/concrete structures), warehouses, accommodation, etc. (sketches to be attached as required).

· A brief outline for completing the works in accordance with the required method of construction and stated time of completion

· A critical milestone bar chart (schedule of execution) representing the construction programme and detailing relevant activities, dates, allocation of labor and plant resources, etc.

· If the tenderer plans to subcontract part of the works, he must provide the following details:

– Details of work to be subcontracted,

– Name and details of subcontractors,

– Value of subcontracting,

– Experience of subcontractor in similar work.

2.1.4. Project Manager Responsibilities

The Contractor shall define a project management team and shall appoint a Project Manager in charge of the entire project.

The Contractor shall allocate the necessary competence and authority to the Project Manager, entitling the Project Manager to make decisions related to all aspects of the day-to-day management of the project.

Any restriction in the Project Manager's rights in this respect shall be clearly identified and described. Such restriction shall not impose management difficulties upon the project.

All official communication between the Engineer/ the Employer and the Contractor shall be passed through the Contractor's Project Manager.

2.1.5. Engineer`s Involvement

For the execution of this project, the Engineer reserves the right to be assisted by other agencies for technical, operational and contractual matters.

The Contractor shall establish a close coordination with the Engineer for the development of all planning

activities related to the project, and shall forward relevant plans, procedures etc. for review and approval, prior to putting such plans or procedures into force.

Engineer`s duties and responsibilities are defined within the UNDP General Conditions of Contract for Civil Works.

2.1.6. Project Plans

The Contractor shall prepare the following Project plans, which shall be reviewed and approved by the Engineer:

a) Quality Control and Quality Assurance Plan

b) Safety Management Plan

In co-ordination with the Engineer, the Contractor shall also unambiguously define which information is required from the Engineer and when during development and testing.

In addition, the Contractor shall prepare method statements for each activity. Any site activity (excavation, filling etc.) can be start after the approval of the method statements by the Engineer.

2.1.7. Reporting and Reports

The Contractor shall ensure that the Engineer and the Employer are kept informed about the status of all areas within the project, and as a whole ensure that the Engineer can maintain a complete and detailed knowledge of the project.

The Contractor shall provide progress reports to the Engineer describing, but not limited to, achievement,

problems, risks and containing updated schedules, WBS, cost/schedule control reports, status of contract

variation proposals, and other data which are required for the efficient management of the project.

The Contractor shall agree with the Employer dates for the submission of monthly Progress Reports. These reports shall normally be submitted no later than 7 working days after the completion of each month.

Such reports shall provide information on the status of the Contract, and/or on any matters that could interfere with the timely achievement of any aspect of the Contract and the steps proposed by the Contractor to remedy such matters. The progress report will have minimum the following contents:

• Project progress

* Project management overview. Describes major results achieved, problems that have occurred, and

corrective action that has been taken or is planned for solving the problems.

* Technical status: Identifies detailed status, including requirements definition status, design and development progress, problems encountered, corrective actions taken, and a summary of outstanding and approved change items during the period.

* Quality follow-up: Describes activities of the quality assurance program

• Project Schedules: Shows activities completed (e.g., milestones and deliveries), status of ongoing activities, schedule changes (if any). This section also identifies the outlook for the next three months with an assessment of the major activity completion dates.

• Action item status: Describes outstanding action items and action items that have been closed during the reporting period.

• Risk assessment: Presents the current critical paths, critical activities, and technical risk, including assessment, impact, and containment plans.

2.1.8. Meetings

2.1.8.1. Progress Meetings

Progress meetings will be held at the times indicated on the progress chart (at least every 1 months, unless agreed otherwise), and will take place at location, which shall be proposed by the Contractor and approved by the Engineer.

The following persons shall be present at progress meetings:

• The Contractor's representative (i.e. the project manager)

• The representatives of the Employer, the Engineer, Site Supervisor and the Implementing Partner,

• Any other persons whom the above representatives consider should be present in an assistant/consulting capacity.

The major items to be addressed in the progress meetings are those identified for the progress reports and any other items, which are deemed necessary by the Engineer, the Implementing Partner or the Contractor.

The Contractor shall prepare an agenda and forward it to the Engineer no later than 1 week prior to each meeting for review and approval.

The Contractor shall prepare and produce the minutes. Draft minutes will be ready at the end of meetings and reviews. Minutes signed by the Engineer and the Contractor shall be attached to the contract file and shall become binding for both parties. All of these proceedings pertaining to progress meetings shall be conducted by the Contractor under the orientation of the Engineer.

2.1.8.2. Weekly Site Meetings

Site Meetings (SMs) will be convened by the Contractor as mutually agreed between the Contractor and the Engineer, during the project to allow discussion on specific aspects of the execution, orientation, future arrangement and coordination of the works and also for briefing. SMs may be held to formalize important

technical discussions, generally prior to the Progress Meetings and record information's and recommendations arising from these discussions. Decision shall be normally taken at the Progress Meeting.

SMs will be held at locations to be mutually agreed between the Contractor and the Engineer. The Contractor shall provide SMs with the papers documenting the technical items for discussion and recommendations.

The agenda of SMs shall be determined by the Engineer and the Contractor together. In addition to the

Engineer, the Employer and the Contractor, SMs can be attended by supply companies, manufacturer companies, subcontractors and other institutions and organizations related to the works when necessary.

Meeting minutes shall be recorded by the Contractor, kept carefully and these shall be distributed as minutes of SMs to the Employer and the Engineer, participants and other persons, institutions and organizations to be found necessary by the Engineer. Minutes signed by the Engineer and the Contractor shall be attached to the contract file and shall become binding for both parties. Minutes shall be forwarded to the Employer for consideration at the next Progress Meeting. All of these proceedings pertaining to SMs shall be conducted by the Contractor under the orientation of the Engineer.

The Contractor is also responsible for organizing additional meetings upon the instruction of the Employer or the Engineer.

2.1.9. Sub-Contractor Involvement

If the Contractor needs to engage a sub-contractors for specific type of the works, it must be approved by  the Employer. It is the responsibility of the Contractor that all sub-contractors perform their part of the work in accordance with the rules laid down in the contract between the Employer and the Contractor.

This implies that the sub-contractors are subject to the same Project Management procedures and must follow the same standards as applied by the Contractor. The Engineer has the same rights against any sub-contractor as against the Contractor, but this will not free the Contractor for his responsibility for the work performed by the sub-contractors.

To finish the approval procedure for Sub-Contractors involved by the Contractor within the Project, the Contractor shall provide to the Engineer specified documents for each Sub-Contractor (means Sub-Contractor and Sub-Designer) as stated below:

-Registration

-Delivery statement of previous project accomplished by the sub-contractor

-Relevant quality certificates like ISO 9001

-Other documents required by the Employer

Be aware that this matter is pre-condition of payment for works done by sub-contractors.

The Engineer shall have the right to disapprove a proposed sub-contractor in case of objective evidence that the sub-contractor cannot comply with requirements within this contract, that be related to the delivery or the Project Management and Quality Assurance.

The Contractor shall keep a list of all sub-contractors and suppliers, which are used or are planned to be used within the project and shall forward such list to the Engineer every time it is updated.

The list shall include a precise identification of which parts or components the sub-contractor or supplier in question shall deliver to the Contractor.

The Contractor shall be fully responsible for the work performed by any sub-contractor as for the work

performed by the Contractor himself.

2.2. SPECIFIC ON-SITE ACTIVITIES

2.2.1. Management and Planning

The Contractor shall have the full responsibility for the construction, installation and setting up the Works.

The planning of the construction, installation and setting up of the Works shall be developed in close cooperation with the Engineer.

The Contractor shall be responsible for the maintenance and operation of the system during its installation and setting up.

2.2.2. Installation Plan

At each site where installation is going to take place, the Contractor shall prepare an installation plan comprising:

• The Engineer`s activities

• Sub-contractors involved

• Tasks to be performed and who is responsible for each task

• Timing of the tasks

• Documentation of installation (e.g. instructions, specifications and drawings)

• and other information important for the final installation.

The installation plan shall be approved by the Engineer in due time before the final installation

2.2.3. Installation

The Contractor shall, in due time before installation, submit instructions and specifications with detailed

information concerning:

• interior

• installation

• cabling, routing, grounding, power, communication

• other topics important for the installation of the Works.

The installation shall take into consideration local legislation, rules and procedures to (i.e.) cabling, power

connection and working conditions.

The Contractor shall produce, procure and supply all necessary equipment, tools, etc. consumable as well as non-consumable needed for the installation and setting-up.

2.2.4. Setting up

Setting up covers the activities after the physical installation to adjust and tailor system parameters, fine tuning, etc. to make the system 100% operational.

The Contractor shall specify which procedures will be used to set up the Works.

2.3. SAFETY

The Contractor is responsible for taking all necessary precautions in respect of Works, materials, machinery, equipment and current facilities, persons on site and neighboring environment. All expenses including indemnities that might arise are the responsibility of the Contractor.

2.3.1. Safety of the Construction Site and Periphery

2.3.1.1. Safety Fence

Contractor shall determine the extent of site boundary fencing necessary to protect the site, works, materials, equipment and facilities against unauthorized access and for safety of the public, to control entries-exits and prevent the entrance of unauthorized persons.

There shall be sufficient number of security officers provided by the Contractor at entrance-exit gates and

locations where deemed necessary. There shall be adequate night lighting for ensuring supervision of security officers throughout the fence.

2.3.1.2. Fire Protection

The Contractor is responsible for taking necessary precautions for the protection of Works, Temporary Works and any kind of property and person during performance. All of the precautions, including raising the awareness of personnel, and the proceedings to be implemented in the event of a fire shall be determined working closely with the Fire Department.

During the Work, the special additional precautions that might be needed in the following cases shall be taken and implemented:

• Storage of materials that might easily inflame,

• Collection, storage and disposing of inflammable wastes,

• Operations performed with electric-arc welding and oxy-acetylene cutting machines,

In case a fire breaks out, the Contractor shall supply and get ready following equipment:

• Dry chemical powder type fire extinguishers that can be installed to walls, carried manually with

nitrogen pressurized in certain places

• Special extinguishing systems in sections where Fire Department can't enter or access easily

2.3.1.3. Warning Marks, Lighting

All of the open excavations, material piles, structures, facilities and equipment that might create hazard shall be surrounded by barricades with appropriate marks with the aim of protecting the employees and other people.

In the same manner, the roads and passages blocked due to Works shall be protected by barricades.

This kind of areas shall be marked with warning plates placed in appropriate distances and attract the attention of people. All of the barricades, obstacles and marks shall be illuminated from dusk to sunrise.

2.3.2. Safety at Work

It is the responsibility of the Contractor to take necessary precautions to prevent accidents that might cause damage to persons, materials, equipment and facilities during the work.

The Contractor shall assign a Safety Team under the leadership of an experienced Safety Manager for any kind of work on safety at work. The primary duties of this team shall include but not limited to:

· Training the employees in respect of actions and practices that shall cause accidents or damage, taking precautions in the site that shall meet relevant Safety regulations in Bosnia and Herzegovina.

· Taking additional precautions, warning orally, and giving punishment in the event that faults are detected.

· Stepping in and performing what should be done in the event of a harmful event.

The Contractor shall carry out the works in accordance with the Bosnia and Herzegovina Health and Safety regulations.

2.3.2.1. First Aid

Shall be arranged in accordance with the applicable Bosnia and Herzegovina Health and Safety Regulations.

2.3.2.2. Hazardous Substances

When the following are encountered, Works shall be ceased in the section where the event occurs:

• Buried known or unknown toxic substances,

• Unnaturally colored ground water or soil,

• Asbestos,

• Volatile organic compounds measured with photo ionization detector,

• Chemical substances or oil products or other similar circumstances that are spilt and spread on the site. Cleaning of the area in such a way not to damage employees and removal of the hazardous substance shall be performed by an expert team trained and equipped for this kind of works.

2.4. QUALITY CONTROL AND QUALITY ASSURANCE

2.4.1. Quality Responsibility

All the Works shall be performed according to the most appropriate engineering practices and standards in respect of construction, material, equipment and workmanship.

It is the responsibility of the Contractor to control the quality of the work and to take samples and carry out necessary tests in respect of achieving conformity with specifications and approved materials at his own expense. A Quality Control and Quality Assurance Manager to be assigned by the Contractor shall be responsible for all phases of quality control and sustain an efficient communication with the Engineer.

2.4.2. Material Quality and Equivalent Materials

All the materials and equipment supplied to be used permanently within the scope of the works shall comply with current standards and specifications. The products of other Manufacturers instead of determined materials and equipment shall be accepted on condition that their equivalency is approved by the Engineer. In such events, the Contractor shall submit to the Engineer all the evidence of the equivalency of the new product.

3. ENVIRONMENTAL MANAGEMENT

The Contractor shall comply with the provisions of the applicable Bosnia and Herzegovina legislation and good construction practice on environment protection that may affect the Project (the "Environmental Requirements").

Prior to Commencement of works the Contractor shall submit to the Engineer for his consent a detailed Environmental Management Plan (EMP) that will include:

Plan and method for the implementation of the good environmental construction practice during all construction activities, and to reduce the damage caused to vegetation, soil, groundwater, surface water, landscape, as well as disturbance of settlements and local communications to the lowest possible extent,

Especial attention has to be paid to the:

•	Supply and transport of materials,

•	Prevention of dust emissions,

•	Prevention of the noise pollution,

•	Prevention of the pollution from the construction vehicles and machines (washing, maintenance, mechanical failures),

•	Construction site organization with appropriate solutions for drainage and treatment of sanitary wastewater, as well as storm water, from the construction site zone,

•	Construction waste material management, disposal, and recycling in a proper way and according to relevant legislation and good construction practice.

# Section 5b: Other Related Requirements

Further to the Schedule of Requirements in the preceding Table, Bidders are requested to take note of the following additional requirements, conditions, and related services pertaining to the fulfillment of the requirements: [check the condition that applies to this ITB, delete the entire row if condition is not applicable to the goods being procured]

| Delivery Term [INCOTERMS 2010] | DAP |
| --- | --- |
| Exact Address of Delivery/Installation Location | Ludvika Kube Street, City of Tuzla |
| Mode of Transport Preferred | N/A |
| UNDP Preferred Freight Forwarder, if any | N/A |
| Distribution of shipping documents (if using freight forwarder) | N/A |
| Customs, if required, clearing shall be done by: | N/A |
| Ex-factory / Pre-shipment inspection | N/A |
| Inspection upon delivery | Yes, in accordance with Annex I and Annex II |
| Installation Requirements | Yes, in accordance with Annex I and Annex II |
| Testing Requirements | Yes, in accordance with Annex I and Annex II |
| Scope of Training on Operation and Maintenance | Yes, in accordance with Annex I and Annex II |
| Commissioning | Final Inspection of works will be performed by UNDP Engineer, appointed independent construction supervisory entity and beneficiary's representatives |
| Warranty Period | Warranty on Labor, Materials and Equipment for minimum period of 24 months from the date of issuance of a certificate of satisfactory performance and full completion of works. |
| Local Service Support | N/a |
| Technical Support Requirements | N/a |
| After-sale services Requirements | N/a |
| Payment Terms | Based upon Invoices submitted by the Contractor and Interim Payment Certificates issued by the Engineer, UNDP shall make progress payments. The period covered by each Invoice shall be at least 30 (thirty) days during the Time for completion. Invoices shall indicate the percentage of completion of each portion of Works as of the end of the period covered by the Invoice. Each Invoice shall be based on the Programme of Work submitted by the Contractor in accordance with the tender documents. |
| Conditions for Release of Payment | Written Acceptance of Performed Works by UNDP Engineer appointed independent construction supervisory entity and beneficiary's representatives based on full compliance with ITB requirements . Before the final payment under the Contract, awarded Contractor is obliged to submit following: Duly notarized guarantee letter for works, equipment and materials, valid 24 months from the date of issue of a certificate of satisfactory performance and full completion of works. To provide UNDP BiH with a proof that construction waste materials are disposed/recycled in a proper way and according to relevant legislation. (Prije plaćanja okončane situacije izvođač je dužan dostaviti: -Notarski ovjerenu izjavu o garanciji za izvedene radove za period od 24 mjeseca od dana okončanja svih poslova i tehničkog prijema objekta od strane UNDP-a.) -Dokaz da je otpadni materijal deponovan/recikliran na odgovarajući način u skladu sa važećom zakonskom regulativom. |
| All documentations, including catalogues, instructions and operating manuals, shall be in this language | Local language |

# Section 6: Returnable Bidding Forms / Checklist

This form serves as a checklist for preparation of your Bid. Please complete the Returnable Bidding Forms in accordance with the instructions in the forms and return them as part of your Bid submission. No alteration to format of forms shall be permitted and no substitution shall be accepted.

Before submitting your Bid, please ensure compliance with the Bid Submission instructions of the BDS 22.

Technical Bid:

| Have you duly completed all the Returnable Bidding Forms? |  |
| --- | --- |
| Form A: Bid Submission Form | ☒ |
| Form B: Bidder Information Form | ☐ |
| Form C: Joint Venture/Consortium/ Association Information Form | ☐ |
| Form D: Qualification Form | ☐ |
| Form E: Format of Technical Bid/Bill of Quantities | ☐ |
| From G: Form of Bid Security |  |
| [Add other forms as necessary] | ☐ |
| Have you provided the required documents to establish compliance with the evaluation criteria in Section 4? | ☐ |

Price Schedule:

| Form F: Price Schedule Form | ☐ |
| --- | --- |

## Form A: Bid Submission Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | [Insert ITB Reference Number] |

We, the undersigned, offer to complete Construction of the Music School in Tuzla in accordance with your Invitation to Bid No. [Insert ITB Reference Number] and our Bid. We hereby submit our Bid, which includes this Technical Bid and Price Schedule.

Our attached Price Schedule is for the sum of [Insert amount in words and figures and indicate currency].

We hereby declare that our firm, its affiliates or subsidiaries or employees, including any JV/Consortium /Association members or subcontractors or suppliers for any part of the contract:

- is not under procurement prohibition by the United Nations, including but not limited to prohibitions derived from the Compendium of United Nations Security Council Sanctions Lists;

- have not been suspended, debarred, sanctioned or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization;

- have no conflict of interest in accordance with Instruction to Bidders Clause 4;

- do not employ, or anticipate employing, any person(s) who is, or has been a UN staff member within the last year, if said UN staff member has or had prior professional dealings with our firm in his/her capacity as UN staff member within the last three years of service with the UN (in accordance with UN post-employment restrictions published in ST/SGB/2006/15);

- have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;

- undertake not to engage in proscribed practices, including but not limited to corruption, fraud, coercion, collusion, obstruction, or any other unethical practice, with the UN or any other party, and to conduct business in a manner that averts any financial, operational, reputational or other undue risk to the UN and we embrace the principles of the United Nations Supplier Code of Conduct and adhere to the principles of the United Nations Global Compact.

We declare that all the information and statements made in this Bid are true and we accept that any misinterpretation or misrepresentation contained in this Bid may lead to our disqualification and/or sanctioning by the UNDP.

We offer to supply the goods and related services in conformity with the Bidding documents, including the UNDP General Conditions of Contract and in accordance with the Schedule of Requirements and Technical Specifications.

Our Bid shall be valid and remain binding upon us for the period specified in the Bid Data Sheet.

We understand and recognize that you are not bound to accept any Bid you receive.

I, the undersigned, certify that I am duly authorized by [Insert Name of Bidder] to sign this Bid and bind it should UNDP accept this Bid.

Name: 	_____________________________________________________________

Title: 	_____________________________________________________________

Date:	_____________________________________________________________

Signature: 	_____________________________________________________________

[Stamp with official stamp of the Bidder]

## Form B: Bidder Information Form

| Legal name of Bidder | [Complete] |
| --- | --- |
| Legal address | [Complete] |
| Year of registration | [Complete] |
| Bidder’s Authorized Representative Information | Name and Title: [Complete] Telephone numbers: [Complete] Email: [Complete] |
| Are you a UNGM registered vendor? | ☐ Yes ☐ No If yes, [insert UGNM vendor number] |
| Are you a UNDP vendor? | ☐ Yes ☐ No If yes, [insert UNDP vendor number] |
| Countries of operation | [Complete] |
| No. of full-time employees | [Complete] |
| Quality Assurance Certification (e.g. ISO 9000 or Equivalent) (If yes, provide a Copy of the valid Certificate): | [Complete] |
| Does your Company hold any accreditation such as ISO 14001 or ISO 14064 or equivalent related to the environment? (If yes, provide a Copy of the valid Certificate): | [Complete] |
| Does your Company have a written Statement of its Environmental Policy? (If yes, provide a Copy) | [Complete] |
| Does your organization demonstrates significant commitment to sustainability through some other means, for example internal company policy documents on women empowerment, renewable energies or membership of trade institutions promoting such issues | [Complete] |
| Is your company a member of the UN Global Compact | [Complete] |
| Contact person that UNDP may contact for requests for clarifications during Bid evaluation | Name and Title: [Complete] Telephone numbers: [Complete] Email: [Complete] |
| Please attach the following documents: | Company Profile, which should not exceed fifteen (15) pages, including printed brochures and product catalogues relevant to the works being procured Certificate of Incorporation/ Business Registration to perform the subject works, as per relevant legislation. Quality Certificate (e.g., ISO, etc.) and/or other similar certificates, accreditations, awards and citations received by the Bidder, if any Environmental Compliance Certificates, Accreditations, Markings/Labels, and other evidences of the Bidder’s practices which contributes to the ecological sustainability and reduction of adverse environmental impact (e.g., use of non-toxic substances, recycled raw materials, energy-efficient equipment, reduced carbon emission, etc.), either in its business practices or in the goods it manufactures, if any. Latest Original Tax Administration Excerpt confirming contributions paid for the min. requested number of full-time employees for companies registered in BiH. The excerpt must attain the certified list of employees. Certified copies of Bidder’s licenses to perform the required construction and other works for which the permit is issued by the relevant ministry, if applicable List and value of projects performed for the last 5 years with indicated value, scope and nature, plus client’s contact details who may be contacted for further information on those contracts. Reference list and at least 3 (three) purchasers’ recommendation letters for completed projects considered as of similar scope, nature and complexity (to comply with this requirement, work cited should be 80 percent complete) in last 5 years). CVs and professional exam certificates for: Two (2) full-time employed graduate civil engineers/architects. One (1) full-time employed graduate electrical engineer. One (1) full-time employed graduate mechanical engineer (HVAC) Diploma for one (1) full-time employed civil engineering technician Copies of financial statements for last 3 years (Income Statement and Balance Sheet) Verified List of registered employees on companies’ letterhead (names, profiles, skills, experience) Technical data sheets, catalogues, attests and certificates for materials and equipment to be supplied or used during construction works (materials specified in the design documents). Gant Chart - Construction Timetable with completion deadline no longer than 120 calendar days for each Phase from the works commencement date. List of construction vehicles and machines owned/leased by the Bidding Company (with use permits for mechanization). In case of the equipment is leased, lease agreement must be submitted. - Gant Chart - Construction Timetable with completion deadline no longer than 120 calendar days for each Phase from the works commencement date. |

Form C: Joint Venture/Consortium/Association Information Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | [Insert ITB Reference Number] |

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

| No | Name of Partner and contact information (address, telephone numbers, fax numbers, e-mail address) | Proposed proportion of responsibilities (in %) and type of goods and/or services to be performed |
| --- | --- | --- |
| 1 | [Complete] | [Complete] |
| 2 | [Complete] | [Complete] |
| 3 | [Complete] | [Complete] |

| Name of leading partner (with authority to bind the JV, Consortium, Association during the ITB process and, in the event a Contract is awarded, during contract execution) | [Complete] |
| --- | --- |

We have attached a copy of the below referenced document signed by every partner, which details the likely legal structure of and the confirmation of joint and severable liability of the members of the said joint venture:

☐ Letter of intent to form a joint venture	OR 	☐ JV/Consortium/Association agreement

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNDP for the fulfillment of the provisions of the Contract.

| Name of partner: ___________________________________ | Name of partner: ___________________________________ |
| --- | --- |
| Signature: ______________________________ | Signature: _______________________________ |
| Date: ___________________________________ | Date: ___________________________________ |
| Name of partner: ___________________________________ | Name of partner: ___________________________________ |
| Signature: ______________________________ | Signature: _______________________________ |
| Date: ___________________________________ | Date: ___________________________________ |

## Form D: Eligibility and Qualification Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | [Insert ITB Reference Number] |

If JV/Consortium/Association, to be completed by each partner.

History of Non- Performing Contracts

| ☐Non-performing contracts did not occur during the last 3 years |
| --- |
| ☐ Contract(s) not performed in the last 3 years |
| Year | Non- performed portion of contract | Contract Identification | Total Contract Amount (current value in US$) |
|  |  | Name of Client: Address of Client: Reason(s) for non-performance: |  |

Litigation History (including pending litigation)

| ☐ No litigation history for the last 3 years |
| --- |
| ☐ Litigation History as indicated below |
| Year of dispute | Amount in dispute (in US$) | Contract Identification | Total Contract Amount (current value in US$) |
|  |  | Name of Client: Address of Client: Matter in dispute: Party who initiated the dispute: Status of dispute: Party awarded if resolved: |  |

Previous Relevant Experience

The Bidder must have successfully completed minimum 3 (three) contracts for construction of similar scope, nature and complexity over the last five years.

Please list only previous similar assignments successfully completed in the last 5 years.

List only those assignments for which the Bidder was legally contracted or sub-contracted by the Client as a company or was one of the Consortium/JV partners. Assignments completed by the Bidder’s individual experts working privately or through other firms cannot be claimed as the relevant experience of the Bidder, or that of the Bidder’s partners or sub-consultants, but can be claimed by the Experts themselves in their CVs. The Bidder should be prepared to substantiate the claimed experience by presenting copies of relevant documents and references if so requested by UNDP.

| Project name & Country of Assignment | Client & Reference Contact Details | Contract Value | Period of activity and status | Types of activities undertaken |
| --- | --- | --- | --- | --- |

Bidders may also attach their own Project Data Sheets with more details for assignments above.

☐ Attached are the Statements of Satisfactory Performance from the Top 3 (three) Clients or more.

Financial Standing

| Annual Turnover for the last 3 years | Year USD Year USD Year USD |
| --- | --- |
| Latest Credit Rating (if any), indicate the source |  |

| Financial information (in US$ equivalent) | Historic information for the last 3 years |
| --- | --- |
|  | Year 1 | Year 2 | Year 3 |
|  | Information from Balance Sheet |
| Total Assets (TA) |  |  |  |
| Total Liabilities (TL) |  |  |  |
| Current Assets (CA) |  |  |  |
| Current Liabilities (CL) |  |  |  |
|  | Information from Income Statement |
| Total / Gross Revenue (TR) |  |  |  |
| Profits Before Taxes (PBT) |  |  |  |
| Net Profit |  |  |  |
| Current Ratio |  |  |  |

☐ Attached are copies of the audited financial statements (balance sheets, including all related notes, and income statements) for the years required above complying with the following condition:

  - Must reflect the financial situation of the Bidder or party to a JV, and not sister or parent companies;

  - Historic financial statements must be audited by a certified public accountant;

  - Historic financial statements must correspond to accounting periods already completed and audited. No statements for partial periods shall be accepted.

## Form E: Format of Technical Bid

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | [Insert ITB Reference Number] |

The Bidder’s Bid should be organized to follow this format of the Technical Bid. Where the bidder is presented with a requirement or asked to use a specific approach, the bidder must not only state its acceptance, but also describe how it intends to comply with the requirements. Where a descriptive response is requested, failure to provide the same will be viewed as non-responsive.

SECTION 1: Bidder’s qualification, capacity and expertise

  - General organizational capability which is likely to affect implementation: management structure, financial stability and project financing capacity, project management controls, extent to which any work would be subcontracted (if so, provide details).

  - Relevance of specialized knowledge and experience on similar engagements done in the region/country.

  - Quality assurance procedures and risk mitigation measures.

  - Organization’s commitment to sustainability.

SECTION 2: Scope of Supply, Technical Specifications, and Related Services

This section should demonstrate the Bidder’s responsiveness to the specification by identifying the specific components proposed, addressing the requirements, as specified, point by point; providing a detailed description of the essential performance characteristics proposed; and demonstrating how the proposed bid meets or exceeds the requirements/specifications. All important aspects should be addressed in sufficient detail.

  - A detailed description of how the Bidder will deliver the required goods and services, keeping in mind the appropriateness to local conditions and project environment. Details how the different service elements shall be organized, controlled and delivered.

  - Explain whether any work would be subcontracted, to whom, how much percentage of the requirements, the rationale for such, and the roles of the proposed sub-contractors and how everyone will function as a team.

  - The bid shall also include details of the Bidder’s internal technical and quality assurance review mechanisms.

  - Implementation plan including a Gantt Chart or Project Schedule indicating the detailed sequence of activities that will be undertaken and their corresponding timing.

  - Demonstrate how you plan to integrate sustainability measures in the execution of the contract.

| Works, Goods and services to be Supplied and Technical Specifications | Your response |
| --- | --- |
|  | Compliance with requirements and specifications | Delivery Date (confirm that you comply or indicate your delivery date) | Quality Certificate/Export Licenses, etc. (indicate all that apply and attach) | Comments |
|  | Yes, we comply | No, we cannot comply (indicate discrepancies) |  |  |  |
| Construction of the Music School in Tuzla (Phase I) |  |  |  |  |  |
| Construction of the Music School in Tuzla (Phase II) |  |  |  |  |  |

| Other Related services and requirements (based on the information provided in Section 5b) | Compliance with requirements | Details or comments on the related requirements |
| --- | --- | --- |
|  | Yes, we comply | No, we cannot comply (indicate discrepancies) |  |
| Delivery Term |  |  |  |
| Warranty |  |  |  |
| UNDP General Terms and Conditions |  |  |  |

SECTION 3: Management Structure and Key Personnel

  - Describe the overall management approach toward planning and implementing the project. Include an organization chart for the management of the project describing the relationship of key positions and designations. Provide a spreadsheet to show the activities of each personnel and the time allocated for his/her involvement.

  - Provide CVs for key personnel that will be provided to support the implementation of this project using the format below. CVs should demonstrate qualifications in areas relevant to the scope of goods and/or services.

Format for CV of Proposed Key Personnel

| Name of Personnel | [Insert] |
| --- | --- |
| Position for this assignment | [Insert] |
| Nationality | [Insert] |
| Language proficiency | [Insert] |
| Education/ Qualifications | [Summarize college/university and other specialized education of personnel member, giving names of schools, dates attended, and degrees/qualifications obtained.] |
|  | [Insert] |
| Professional certifications | [Provide details of professional certifications relevant to the scope of goods and/or services] |
|  | Name of institution: [Insert] Date of certification: [Insert] |
| Employment Record/ Experience | [List all positions held by personnel (starting with present position, list in reverse order), giving dates, names of employing organization, title of position held and location of employment. For experience in last five years, detail the type of activities performed, degree of responsibilities, location of assignments and any other information or professional experience considered pertinent for this assignment.] |
|  | [Insert] |
| References | [Provide names, addresses, phone and email contact information for two (2) references] |
|  | Reference 1: [Insert] Reference 2: [Insert] |

I, the undersigned, certify that to the best of my knowledge and belief, the data provided above correctly describes my qualifications, my experiences, and other relevant information about myself.

________________________________________	___________________

Signature of Personnel						     Date (Day/Month/Year)

## FORM F: Price Schedule Form

| Name of Bidder: | [Insert Name of Bidder] | Date: | Select date |
| --- | --- | --- | --- |
| ITB reference: | [Insert ITB Reference Number] |

The Bidder is required to prepare the Price Schedule following below format. The Price Schedule must include a detailed cost breakdown of all works to be provided. Separate figures must be provided for each functional grouping or category, if any.

Annex I (Excel forms for Phase I and Phase II) will serve to this purpose!

Currency of the Bid: [Insert Currency]

Price Schedule

| “ | Description | Total without VAT | VAT (17%) | Total with VAT |
| --- | --- | --- | --- | --- |
| 1 | Construction craftsman works (Gradjevinsko zanatski radovi) |  |  |  |
| 2 | Hydro installation works (Hidro instalacije) |  |  |  |
| 3 | Electrical installation works (Elektro instalacije) |  |  |  |
| TOTAL Construction of the Music School in Tuzla (Phase I) |  |  |  |
| 1 | Construction craftsman works (Gradjevinsko zanatski radovi) |  |  |  |
| 2 | Hydro installation works (Hidro instalacije) |  |  |  |
| 3 | Electrical installation works (Elektro instalacije) |  |  |  |
| 4 | Mechanical installation works (Mašinske instalacije) |  |  |  |
| TOTAL Construction of the Music School in Tuzla (Phase II) |  |  |  |
| TOTAL Construction of the Music School in Tuzla (Phase I + Phase II) |  |  |  |

Name of Bidder: 		________________________________________________

Authorised signature: 		________________________________________________

Name of authorised signatory:	________________________________________________

Functional Title:			________________________________________________

## FORM G: Form of Bid Security

Bid Security must be issued using the official letterhead of the Issuing Bank.

Except for indicated fields, no changes may be made on this template.

To:	UNDP

[Insert contact information as provided in Data Sheet]

WHEREAS [Name and address of Bidder] (hereinafter called “the Bidder”) has submitted a Bid to UNDP dated Click here to enter a date. to execute goods and/or services [Insert Title of Goods and/or Services] (hereinafter called “the Bid”):

AND WHEREAS it has been stipulated by you that the Bidder shall furnish you with a Bank Guarantee by a recognized bank for the sum specified therein as security if the Bidder:

- Fails to sign the Contract after UNDP has awarded it;

- Withdraws its Bid after the date of the opening of the Bids;

- Fails to comply with UNDP’s variation of requirement, as per ITB instructions; or

- Fails to furnish Performance Security, insurances, or other documents that UNDP may require as a condition to rendering the contract effective.

AND WHEREAS we have agreed to give the Bidder such Bank Guarantee:

NOW THEREFORE we hereby affirm that we are the Guarantor and responsible to you, on behalf of the Bidder, up to a total of [amount of guarantee] [in words and numbers], such sum being payable in the types and proportions of currencies in which the Price Bid is payable, and we undertake to pay you, upon your first written demand and without cavil or argument, any sum or sums within the limits of [amount of guarantee as aforesaid] without your needing to prove or to show grounds or reasons for your demand for the sum specified therein.

This guarantee shall be valid up to 30 days after the final date of validity of bids.

SIGNATURE AND SEAL OF THE GUARANTOR BANK

Signature: 	_____________________________________________________________

Name: 	_____________________________________________________________

Title: 	_____________________________________________________________

Date:	_____________________________________________________________

Name of Bank __________________________________________________________

Address ________________________________________________________________

[Stamp with official stamp of the Bank]

Non-performance, as decided by UNDP, shall include all contracts where (a) non-performance was not challenged by the contractor, including through referral to the dispute resolution mechanism under the respective contract, and (b) contracts that were so challenged but fully settled against the contractor. Non-performance shall not include contracts where Employers decision was overruled by the dispute resolution mechanism. Non-performance must be based on all information on fully settled disputes or litigation, i.e. dispute or litigation that has been resolved in accordance with the dispute resolution mechanism under the respective contract and where all appeal instances available to the Bidder have been exhausted.