REQUEST FOR QUOTATION (RFQ)

| UNDP BIH Zmaja od Bosne bb; Sarajevo | DATE: July 22, 2021 |
| --- | --- |
|  | REFERENCE: BIH/RFQ/112/21 |

Dear Sir / Madam:

# We kindly request you to submit your quotation for: Supply and delivery of laboratory centrifuges as detailed in Annex 1 of this RFQ.  When preparing your quotation, please be guided by the form attached hereto as Annex 2.

# Quotations may be submitted on or before Monday, August 12, 2021 by 12:00 CET via email to the address below:

# United Nations Development Programme

# by email to registry.ba@undp.org

REF: BIH- RFQ-112-21

Quotations submitted by email must be limited to a maximum of 20 MB, virus-free  and no more than 5 email  transmissions.  They must be free from any form of virus or corrupted contents, or the quotations shall be rejected.

It shall remain your responsibility to ensure that your quotation will reach the address above on or before the deadline.  Quotations that are received by UNDP after the deadline indicated above, for whatever reason, shall not be considered for evaluation.  If you are submitting your quotation by email, kindly ensure that they are signed and in the .pdf format, and free from any virus or corrupted files.

Please take note of the following requirements and conditions pertaining to the supply of the abovementioned good/s:

| Delivery Terms [INCOTERMS 2010] | Item 1: Livno, Mostar, Sarajevo, Zenica, Tesanj, Travnik, Nova Bila, Tuzla, Bihac, Orasje I Gorazde Item 2: Livno, Mostar, Sarajevo, Zenica, Tesanj, Travnik, Tuzla I Bihac, |
| --- | --- |
| Customs clearance, if needed, shall be done by: | Supplier/Offeror |
| Exact Address/es of Delivery Location/s | Exact locations and addresses will be provided upon issuance of the PO, and before delivery |
| UNDP Preferred Freight Forwarder, if any | Not applicable |
| Distribution of shipping documents | Not applicable |
| Latest Expected Delivery Date and Time (if delivery time exceeds this, quote may be rejected by UNDP) | Max 30 calendar days from the issuance of the Purchase Order |
| Delivery Schedule | N/A |
| Packing Requirements | N/A |
| Mode of Transport | N/A |
| Preferred Currency of Quotation | Local Currency: BAM |
| Value Added Tax on Price Quotation | Must be exclusive of VAT and other applicable indirect taxes (VAT stated separately) |
| After-sales services required | ☒ Warranty for minimum period of 1 year for the all Items ☒ Spare parts provided for a minimum of 2 years after the cessation ☒ Brand new replacement if Purchased Unit is beyond repair ☒ Service response max 24 hours |
| Deadline for the Submission of Quotation | August 12, 2021 by 12:00 CET |
| All documentations, including catalogues, instructions and operating manuals, shall be in this language | Local language (Bosnian/ Croatian / Serbian) for catalogues, instructions and operating manuals Local or English language for bidding documents |
| Documents to be submitted | ☒ Duly Accomplished Form as provided in Annex 2, and in accordance with the list of requirements in Annex 1 / Pravilno ispunjen obrazac kako je navedeno u Prilogu 2 i u skladu sa listom zahtjeva u Prilogu 1; ☒ Latest Business Registration Certificate / Najnovije rješenje o registraciji; ☒ Reference list on company’s memorandum for delivery of similar items in last 3 years (minimum 2 contract) / Referentna lista na memorandumu firme za posljednje tri (3) godine za sličan opseg usluga i/ili isporuku robe (minimalno 2 ugovora); ☒ Catalogue/technical specification of the offered products and equipment / Katalog proizvoda sa tačno označenim proizvodima i specifikacijom iz ponude za traženu opremu; ☒ Official appointment as local representative, if Bidder is submitting a Bid on behalf of an entity located outside the country / Potvrda o zastupanju, ukoliko ponuđač nudi proizvode u ime kompanije izvan BiH; ☒Certification or authorization to act as Agent in behalf of the Manufacturer, if bidder is not a manufacturer /Dokaz o saglasnosti ili ovlaštenju da je ponuđač zastupnik u ime proizvođača, ukoliko sam ponuđač nije proizvođač ☒ CE Certificate / CE certifikat; ☒ Declaration of CE marking Conformity for those equipment whose technical specifications require such marking. /Deklaracija o CE oznakama Usaglašenost za opremu čije tehničke specifikacije zahtevaju takvo obilježavanje ☒ Statement in which bidder guarantees that they have the offered goods on stock in BiH or statement from the bidders distributor/producer that the offered goods can be delivered to the stated location in BiH no later than latest expected delivery date, as defined in RFQ / Izjava prema kojoj ponuđač garantuje da posjeduje ponuđenu robu na lageru u BiH ili izjava od strane ponuđačevog dobavljača/proizvođača da će ponuđene stavke biti isporučene na naznačenu lokaciju u BiH najkasnije do datuma isporuke definisanog u tenderu. ☒ Proofs of service and spare parts availability in Bosnia and Herzegovina such as contract with service and spare parts providers etc./ Dokaz o dostupnosti rezervnih dijelova i servisa u BiH kao što su ugovori sa serviserima i distributerima rezervnih dijelova; ☒ Written Self-Declaration of not being included in the UN Security Council 1267/1989 list, UN Procurement Division List or other UN Ineligibility List / Izjava da ponuđač nije na listi Vijeća sigurnosti UN-a 1267/1989, listi Odjela za nabavku UN-a ili drugoj UN listi neprihvatljivih ponuđača. |
| Period of Validity of Quotes starting the Submission Date | Min. 60 calendar days |
| Partial Quotes | Allowed. Partial quotes are allowed, partial items are not allowed. |
| Payment Terms | 100% within 30 days upon UNDP’s acceptance of the goods delivered as specified and receipt of invoice |
| Advanced Payment | Not allowed |
| Evaluation Criteria | ☒ Technical responsiveness/Full compliance to requirements and lowest price per Item ☒ Full acceptance of the PO/Contract General Terms and Conditions |
| UNDP will award to: | One or more suppliers, depending on the following factors: ☒ Technical responsiveness/Full compliance to requirements and lowest price per Item |
| Type of Contract to be Signed | ☒ Purchase Order |
| Special conditions of Contract | Cancellation of PO/Contract if the delivery/completion is delayed by 10 days |
| Conditions for Release of Payment | ☒ Inspection upon arrival at destination ☒ Written Acceptance of Goods based on full compliance with RFQ requirements |
| Annexes to this RFQ | ☒ Specifications of the Goods Required (Annex 1) ☒ Form for Submission of Quotation (Annex 2) ☒ General Terms and Conditions / Special Conditions (Annex 3) Link: English version Non-acceptance of the terms of the General Terms and Conditions (GTC) shall be grounds for disqualification from this procurement process. |
| Contact Person for Inquiries (Written inquiries only) | UNDP BIH - GENERAL SERVICES registry.ba@undp.org Fax: 033 552 330 Any delay in UNDP’s response shall be not used as a reason for extending the deadline for submission, unless UNDP determines that such an extension is necessary and communicates a new deadline to the Proposers. |

Goods offered shall be reviewed based on completeness and compliance of the quotation with the minimum specifications described above and any other annexes providing details of UNDP requirements.

The quotation that complies with all of the specifications, requirements and offers the lowest price, as well as all other evaluation criteria indicated, shall be selected.  Any offer that does not meet the requirements shall be rejected.

Any discrepancy between the unit price and the total price (obtained by multiplying the unit price and quantity) shall be re-computed by UNDP.  The unit price shall prevail and the total price shall be corrected.  If the supplier does not accept the final price based on UNDP’s re-computation and correction of errors, its quotation will be rejected.

After UNDP has identified the lowest price offer, UNDP reserves the right to award the contract based only on the prices of the goods in the event that the transportation cost (freight and insurance) is found to be higher than UNDP’s own estimated cost if sourced from its own freight forwarder and insurance provider.

At any time during the validity of the quotation, no price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted by UNDP after it has received the quotation.   At the time of award of Contract or Purchase Order, UNDP reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum twenty five per cent (25%) of the total offer, without any change in the unit price or other terms and conditions.

Any Purchase Order that will be issued as a result of this RFQ shall be subject to the General Terms and Conditions attached hereto.  The mere act of submission of a quotation implies that the vendor accepts without question the General Terms and Conditions of UNDP herein attached as Annex 3.

UNDP is not bound to accept any quotation, nor award a contract/Purchase Order, nor be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process.

Please be advised that UNDP’s vendor protest procedure is intended to afford an opportunity to appeal for persons or firms not awarded a purchase order or contract in a competitive procurement process.  In the event that you believe you have not been fairly treated, you can find detailed information about vendor protest procedures in the following link:

http://www.undp.org/content/undp/en/home/operations/procurement/protestandsanctions/

UNDP encourages every prospective Vendor to avoid and prevent conflicts of interest, by disclosing to UNDP if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ.

UNDP implements a zero tolerance on fraud and other proscribed practices, and is committed to identifying and addressing all such acts and practices against UNDP, as well as third parties involved in UNDP activities.  UNDP expects its suppliers to adhere to the UN Supplier Code of Conduct found in this link : http://www.un.org/depts/ptd/pdf/conduct_english.pdf

Thank you and we look forward to receiving your quotation.

Sincerely yours,

UNDP BIH			July 22, 2021

Annex I

TECHNICAL SPECIFICATION

| Item no. | Specifications | Unit of measure | Quantity |
| --- | --- | --- | --- |
| Item 1. | Laboratory centrifuge/Laboratorijska centrifuga Stolna centrifuga bez hlađenja za 48 x 1,5-2 ml tube s rotorom nepropusnim za aerosol, Max.brzina ne manje od rpm 16.000, Rotor za falkon tube od 50 ml. Rotori i adapteri kapaciteta od 0,2 ml do 250 ml Digitalni prikaz vremena, brzine Poklopac za centrifugu s zatvaračem osjetljivim na dodir Tihi rad Automatsko prepoznavanje rotora i otkrivanje neravnoteže za maksimalnu operativnu sigurnost Automatsko isključivanje nakon nekorištenja, kako bi se smanjila potrošnja energije i produžio vijek trajanja centrifuge | Pcs | 13 |
| Item 2. | Laboratory centrifuge with microtitration plates/ Laboratorijska centrifuga s mikrotitracionim pločama Brzina 2,500 rpm I vise, Prihvatljivi rotori swing out Minimalni kapacitet: 2 mikrotitracione PCR ploče (2x96) s adapterima Pogodna za sve vrste PCR plocča Start/stop prekidači i otvarač poklopca Smanjena razina buke, Jednostavno podesavanje brzine i vremena centrifugiranja putem LCD, TFT ili LED zaslona Elektromehaničko otvaranje poklopca Automatsko praćenje neravnoteže Komora od nehrđajućeg metala s minimalnim zahtjevima za održavanjem, Zaključavanje poklopca dok centrifuga radi, | Pcs | 10 |

For all items:

Important Note: The bidders can offer any brand/manufacturer of equal or better equipment and products. (Equal means device of comparable quality with enlisted specifications and/or capable of performing the intended function).

- Warranty: Minimum: one year for all ITEMs

- Delivery terms: DDP :

- Item 1: : Livno, Mostar, Sarajevo, Zenica, Tesanj, Travnik, Nova Bila, Tuzla, Bihac, Orasje I Gorazde
 Item 2: Livno, Mostar, Sarajevo, Zenica, Tesanj, Travnik,  Tuzla and Bihac

- Lead time: Max 30 calendar days

- Authorized Service in BiH

[Enter name of authorized staff]

[Designation]

Annex 2

FORM FOR SUBMITTING SUPPLIER’S  QUOTATION

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. BIH/RFQ/112/21:

TABLE 1 :  Offer to Supply Goods Compliant with Technical Specifications and Requirements

| Item No. | Description/Specification of Goods | Quantity | Latest Delivery Date | Unit Price | Total Price per Item |
| --- | --- | --- | --- | --- | --- |
| Item 1. | Laboratory centrifuge/Laboratorijska centrifuga | 13 |  |  |  |
| Item 2. | Laboratory centrifuge with microtitration plates/ Laboratorijska centrifuga s mikrotitracionim pločama | 10 |  |  |  |
|  | Total Price of Goods |  |  |  |  |
|  | Add : Cost of Transportation |  |  |  |  |
|  | Add : Cost of Insurance |  |  |  |  |
|  | Add : Other Charges (pls. specify) |  |  |  |  |
|  | TOTAL without VAT |  |  |  |  |
|  | Add: VAT 17% |  |  |  |  |
|  | Total Final and All-Inclusive Price Quotation |  |  |  |  |

TABLE 2: Offer to Comply with Other Conditions and Related Requirements

| Other Information pertaining to our Quotation are as follows: | Your Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter proposal |
| Delivery Lead Time | ASAP but not later than 20 days from the date of a Purchase Order Issuance |  |  |  |
| Compliance with Technical Specifications | yes |  |  |  |
| Warranty | Item 1 -one year Item 2 ‘ one year |  |  |  |
| Delivery terms: DDP | Yes |  |  |  |
| Authorized service in BiH with response time of max 24 hours | yes |  |  |  |
| Validity of Quotation: | Minimum 60 calendar days |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

[Name and Signature of the Supplier’s Authorized Person]

[Designation]

[Date]

Annex 3

General Terms and Conditions

General Terms and Conditions (for Goods and/or Services)

Link:  English version