**Scope of Work**

1. **Scope of works**

The main scope of this project is to carry out the renovation works Matacuane Primary school in Beira / Sofala province.

The main objective is to rehabilitate the buildings, playground, bathrooms, water and sewer system, electrical system, external sidewalk, and the fence wall around the school

**The Contract Duration is 8 months**

The building has been subjected to damages caused by several cyclones which affect some of the main structural elements, mainly the roofs of these buildings

The works include but not limited to the following:

* Removing the damaged roof and replaced with new resilient roof according to the design drawings.
* Repair electrical, water and wastewater elements in all building.
* Carpentry and metal works.
* Plastering and painting.
* Water and sewer system, external
* Electrical system
* External sidewalk and the fence wall
* The contractor shall contact Beira municipality for proper removing and safe deposition of existing fiber cement sheets (Asbestos)
1. **Site Visit.**

Site visit is compulsory, the vendors who will not attend the site visit their bids will be dropped.

1. **Warranty.**

The warranty period is 12 months after the initial handing over

1. **Required Staff**

|  |  |  |  |
| --- | --- | --- | --- |
| **Staff Position** | **Minimum educational qualification** | **Minimum years of experience** | **Time-effort required** |
| Team leader (Civil Engineer or Architect) | BSc in Civil EngineeringorArchitecture from a recognized university | 7 years of experience in on-site management of construction works | Full-time |
| Site Engineer | BSc in Civil Engineeringfrom a recognized university | 5 years of experience in local management of school construction works or similar works | Full-time |
| Electrical Engineer | BSc in electrical engineering from a recognized university | 5 years of experience in school rehabilitation works or similar works | Part -time 50% |

1. **Required equipment**

|  |  |
| --- | --- |
| LIST OF EQUIPMENT | Minimum Required |
| Tipper truck with a minimum capacity of 5 tons |  1 |
| Concrete mixers with a minimum capacity of 500L | 2 |
| Concrete vibrators | 2 |
| Scaffolding pairs | 20 |
| Electric generator | 2 |

1. Minimum Experience
* Two similar projects in complexity and value in the last 5 years.
* Minimum one project of nature and complexity implemented in Sofala province over the last 5 years.
* Valid registration certificate to trade in Mozambique as a construction firm, minimum license 6th class (Alvará de Construção Válido, mínimo 6ª Classe. Categoria I - Sub Categoria 1ª a 14ª Categoria II - Sub Categoria 1ª a 5ª