## G Summary
CONSTRUCTION OF MODEL POLICE STATION GHALANI DISTRICT MOHMAND
SUMMARY OF COST
Item No. |  | Description | Amount (Rs.)
1 | Cost of Civil Works Building
|  | Scheduled Items | 0
|  | Non Scheduled Items | 0
| Total - Civil Works |  | 0
2 | Cost of Plumbing Works
|  | Scheduled Items | 0
3 | Total - Plumbing Works |  | 0
4 | Cost of Electrical Works
|  | Scheduled Items | 0
| Total - Electric Works |  | 0
5 | External Development Works
|  | Scheduled Items | 0
| Total - Civil Works |  | 0
| Grand Total (PKR) |  | 0

## B.O.Q CIVIL WORK
CONSTRUCTION OF MODEL POLICE STATION GHALANI DISTRICT MOHMAND
BILL OF QUANTITIES
CIVIL WORKS
ITEM No. |  | Ref KPK MRS 2020 | DESCRIPTION | UNIT | Qty | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(A) |  | (B) | (C) | (D) | (E) | (F) | (G)= E x F
SCHEDULED ITEMS
MPS-C | 1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc | 1000 Cft | 38613.3 |  | 0
MPS-C | 2 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 Cft | 45422.3 |  | 0
MPS-C | 3 | 03-25-b | Excavation in foundation of building, bridges etc complete :: in ordinary soil | 1000 Cft | 84035.6 |  | 0
MPS-C | 4 | ,06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100Cft. | 4670.6 |  | 0
MPS-C | 5 | 06-05-h | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:3:6) | 100Cft. | 421.3 |  | 0
MPS-C | 6 | 06-05-f | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 100Cft. | 2403 |  | 0
MPS-C | 7 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100Cft. | 9270.8 |  | 0
MPS-C | 8 | 06-07-a-02 | RCC in roof Slab, beam, column & other structural members, insitu or precast. Type B (1:1.5:3) | 100 Cft | 9781.8 |  | 0
MPS-C | 9 | 06-07-a-02 + 06-07-e | RCC in roof Slab, beam, column & other structural members, insitu or precast. Type B (1:1.5:3) in 2nd storey. | 100 Cft | 9902.55 |  | 0
MPS-C | 10 | 06-07-a-02 + 2 x (06-07-e) | RCC in roof Slab, beam, column & other structural members, insitu or precast. Type B (1:1.5:3) in 3rd storey. | 100 Cft | 2368.8 |  | 0
MPS-C | 11 | 06-07-b-02 | RCC in raft foundation Slab, base slab of column & ret. wall etc, not including in 06-06 Type B (1:1.5:3) | 100 Cft | 12069.75 |  | 0
MPS-C | 12 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | Tonne | 68.277 |  | 0
MPS-C | 13 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | Tonne | 45.518 |  | 0
MPS-C | 14 | 06-46-a | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Horizontal | 100 Sft | 26341.7 |  | 0
MPS-C | 15 | 06-46-b | Erection and removal of Form work with Wood Surface Finshing for RCC or Plain cement Concrete in any shape - Position / Vertical | 100 Sft | 38954.3 |  | 0
MPS-C | 16 | 06-22 | Providing and fixing 6" wide GI sheet 18 SWG. stopper to expansion joint. | Rft | 376 |  | 0
MPS-C | 17 | 06-25-b | Providing and fixing 1.5'' x 3/4 '' Expansion Joint with one component polyurethane fuel sealant including 40 mm Baker Rod and one coat of primer but without Aluminum or steel cover. | Rft | 146 |  | 0
MPS-C | 18 | 07-04-a-04 | Pacca brick work in foundation and plinth in Cement, sand mortar 1:5 | 100Cft. | 5060 |  | 0
MPS-C | 19 | 07-05-a-04 | Pacca brick work in ground floor Cement, sand mortar 1:5 | 100Cft. | 9684.4 |  | 0
MPS-C | 20 | 07-05-a-04 + 07-06-a | Pacca brick work in first floor Cement, sand mortar 1:5 | 100Cft. | 8621.8 |  | 0
MPS-C | 21 | 07-05-a-04 + 07-06-b | Pacca brick work in second floor Cement, sand mortar 1:5 | 100Cft. | 904.2 |  | 0
MPS-C | 22 | 07-30 | Supplying and filling sand under floor or plugging in wells | 100Cft. | 416.9 |  | 0
MPS-C | 23 | 07-39-a | Providing and Fixing Face Work with Brick Tiles (Gutka) of size 2'' x 2'' x 9'' on interior, exterior wall with cement sand mortar 1:3 including ties and scaffolding complete in all respects. | 100Sft | 12591.6 |  | 0
MPS-C | 24 | 09-35-a | Provide & lay roof insulation complete with Thermopore sheet 1/2" thick | Sft | 12448 |  | 0
MPS-C | 25 | 10-14-a | Cement tiles (8"x8"x3/4") laid flat in 1:2 c/s mortar, over 3/4" thick bed of c/s mortar 1:2 | 100 Sft | 2470 |  | 0
MPS-C | 26 | 10-22-a | 1.5" thick mosaic flooring, including rubbing & polishing complete : Using grey cement | 100 Sft | 341 |  | 0
MPS-C | 27 | 10-25 | Lay floor of approved coloured glazed (matt) tiles ¼" thick in white cement and pigment complete. | 100 Sft | 1455 |  | 0
MPS-C | 28 | 10-26-e | Providing and Laying marble fine dressed stone 4-5 feet and 12" wide 1" thick for stairs steps. | 100 Sft | 943 |  | 0
MPS-C | 29 | 10-26-c-i | Provide & lay marble fine dressed stone flooring on surface in white cement complete: 3/4" thick 12 x 12 Super Sunny White Marble. | 100 Sft | 20711 |  | 0
MPS-C | 30 | 10-38-a | Providing and Laying 1" Thick Super White Marble Slab Exceeding 12"x12" size Kitchen Top in White Cement including all labour for Grinding and Polishing | Sft | 85.8 |  | 0
MPS-C | 31 | 10-39-b | Glazed tiles ¼" thick dado jointed in white cement complete: coloured plain tiles | 100 Sft | 5392 |  | 0
MPS-C | 32 | 10-41-a-02 | Mosaic dado or skirting complete as per specs Using grey cement : 1/2" thick. | 100 Sft | 546.7 |  | 0
MPS-C | 33 | 10-45-a-ii | Provide & lay marble fine dressed stone dado or skirting in white cement complete: 3/8" thick 12 x 12 Sunny White Marble | 100 Sft | 89.1 |  | 0
MPS-C | 34 | 10-45-b-i | Provide & lay marble fine dressed stone dado or skirting in white cement complete: 0.5" thick 12 x 12 Super Sunny White Marble | 100 Sft | 391 |  | 0
MPS-C | 35 | 10-47-c | Providing and Fixing marble strip 1.5 inch wide 3/8 inch thick for dividing the floor into panels | 100 Rft | 10 |  | 0
MPS-C | 36 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 Sft | 24125.85 |  | 0
MPS-C | 37 | 11-09-b 11-26 | Cement plaster 1:4 from 20' to 30' height 1/2" thick | 100 Sft | 22401.75 |  | 0
MPS-C | 38 | 11-09-b + 2 x (11-26) | Cement plaster 1:4 from 30' to 40' height 1/2" thick | 100 Sft | 3556.35 |  | 0
MPS-C | 39 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slTBs only upto 20' height : (1:4) | 100 Sft | 9771.3 |  | 0
MPS-C | 40 | 11-10-c + (11-26) | Cement plaster 3/8" thick under soffit of RCC roof slTBs only from 20' to 30' height : (1:4) | 100 Sft | 9434.25 |  | 0
MPS-C | 41 | 11-10-c + 2 x (11-28) | Cement plaster 3/8" thick under soffit of RCC roof slTBs only from 30' to 40' height : (1:4) | 100 Sft | 662.55 |  | 0
MPS-C | 42 | 11-20-a | Priming coat of chalk under distemper | 100 Sft | 19868.1 |  | 0
MPS-C | 43 | 11-21-a-03 | Distempering New surface : Three coats | 100 Sft | 19868.1 |  | 0
MPS-C | 44 | 12-08-c | First class deodar wood wrought joinery in doors and windows etc. complete : 1.5" thick | Sft | 94 |  | 0
MPS-C | 45 | 12-63-d | Hollow flush door 2" thick including iron mongery excluding chowkat & lock : Commercial veneered | Sft | 1051 |  | 0
MPS-C | 46 | 12-21-b | P/F hydraulic Door Closer (Best Quality) | Each | 10 |  | 0
MPS-C | 47 | 12-22-b-02 | Providing and fixing sliding bolt to doors CP sliding bolts : 12" long | Each | 70 |  | 0
MPS-C | 48 | 12-27-b | Provide & fix wooden box type wardrobe 22" deep Deodar wood boxing & deodar shelves etc | Sft | 963 |  | 0
MPS-C | 49 | ,12-45 | P/F of plaster of paris tile of size 2' x 2' x 1'' false ceiling with finishing of joints along with Aluminum L and T sections and Hanging wires | 100 Sft | 558 |  | 0
MPS-C | 50 | 12-65-a-06 | Supply and Fixing aluminium door/window, Sliding Window Premium model (2.00 mm gauge) 4" Section | Sft | 2418 |  | 0
MPS-C | 51 | 12-64-a-06 | Supply and Fixing aluminium door/window,Fixed Glazing Premium model (2.00 mm gauge) 4" section | Sft | 39 |  | 0
MPS-C | 52 | 12-64-d-05 | Supply and Fixing aluminium door/window, FlyScreen shutter with separate outer frame Premiummodel (2.00 mm gauge) 2" section | Sft | 1209 |  | 0
MPS-C | 53 | 12-70-a | Providing and fixing MS sheet 16 gauge (10"x2") box type chowkats including fixing in position with all charges for holdfast, hinges and painting etc. | Rft | 1228 |  | 0
MPS-C | 54 | 12-78-a | Kitchen Floor Cabinet as per approved Design/Specification. | Sft | 107.8 |  | 0
MPS-C | 55 | 12-78-b | Kitchen Wall Cabinet as per approved Design/Specification. | Sft | 85.8 |  | 0
MPS-C | 56 | ,12-84 | Providing & fixing uPVC white color full body doors with UPVC frame and chowkat including, locks and all hardware fittings, etc. complete in all respects | Sft | 473 |  | 0
MPS-C | 57 | 13-03-c-01 | Prepare & Paint new surface, doors & windows Priming coat | 100 Sft | 8249.85 |  | 0
MPS-C | 58 | 13-03-c-02 | Prepare & Paint new surface, doors & windows Each subsequent coat of paint. | 100 Sft | 16499.7 |  | 0
MPS-C | 59 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 Sft | 11100 |  | 0
MPS-C | 60 | 13-22-a | Preparing surface and painting with emulsion paint : First coat. | 100 Sft | 44929.5 |  | 0
MPS-C | 61 | 13-22-b | Preparing surface and painting with emulsion paint : 2nd & each subsequent coat. | 100 Sft | 89859 |  | 0
MPS-C | 62 | 13-25-a | Preparing surface & painting with snowcem / weathershield paint : First coat | 100 Sft | 6825 |  | 0
MPS-C | 63 | 13-25-b | Preparing surface & painting with snowcem / weathershield paint : 2nd & subsequent coats | 100 Sft | 13650 |  | 0
MPS-C | 64 | 25-33-a | Providing and fixing terrace railing 2" i/d conduit pipe 16 SWG, welded with 5/8" x 5/8" square bar 2.75 ft. high fixed at 5" centre to centre, in RCC slab with suitable arrangement, complete in allresppects as per design and drawing. | Rft | 227.7 |  | 0
MPS-C | 65 | 25-37 | Providing and Fixing stair railing of 2.5" i/d GIpipe, welded with 5/8"x5/8" MS bars 2'-9" high, fixed in each step | Rft | 140.8 |  | 0
MPS-C | 66 | 25-45-a | Supplying and Fixing 18 SWG MS sheet door with angle iron frame (1.5"x1.5"x1/8") bolt, hinges, paint etc. | Sft | 53.9 |  | 0
MPS-C | 67 | 24-40 | Supplying and Fixing PVC Water Stopper 8" wide 3/8" thick | Rft | 79.2 |  | 0
MPS-C | 68 | 12-61 | MS flat 1/2"x1/8" grill in windows of approved design | Sft | 2168 |  | 0
MPS-C | 69 | 28-15 | Pre anti Termite Treatment in the building mixed with water of mixing ratio as per the manufacturer's certified manual | 100Sft/spr | 19169 |  | 0
MPS-C | 70 | 28-18 | Providing and fixing with steel nails and washers, the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip) before plastering etc complete. | Sft | 2522.9975 |  | 0
Cost of Scheduled Items= | [6 empty] | 0
Total Cost of Schedule Items Civil Work = | [6 empty] | 0
NON-SCHEDULED ITEMS
MPS-C | 71 | N.S.I -01 | Providing and Fixing in position 3/4'' dia circular bars steel doors, windows and ventilators comprising 2 1/2'' x 2 1/2'' x 1/4'' angle iron frame and 2'' x 2'' x 1/4'' door leaf frame, 2'' x 1/4'' flat iron strips including cutting, welding, fabricating, redoxide and enamel paint, hold fasts, sliding bolt, steel hinges etc as per sizes shown on drawings complete in all respects. | Sft | 180 |  | 0
Cost of Non-Scheduled Items= | [6 empty] | 0
Total Cost of (Scheduled + Non-sheduled)= | [6 empty] | 0

## BOQ - PW
CONSTRUCTION OF MODEL POLICE STATION GHALANI DISTRICT MOHMAND
BILL OF QUANTITIES
PLUMBING WORKS
ITEM No. |  | KPK MRS 2020. | DESCRIPTION | UNIT | QTY. | UNIT RATE (Rs.) | TOTAL AMOUNT(Rs.)
(A) |  | (B) | (C) | (D) | (E) | (F) | (G)= E x F
MPS-P- | 1 | 06-07-d-05 | Providing manhole size 24" x 18" (inside dimensions) as per approved design and specifications complete for 4" to 12" dia pipes upto 4 ft. (1.2 m) depth with 16" dia.Concrete Cover fixed in 4" thick RCC 1:2:4 slab (with 5 lbsper Cu.ft. or 80 kg/Cu.m of steel), burnt brickmasonry walls 9" (225 mm) thick set in 1:3 cement sand mortar, 6" thick 1:3:6 cement concrete in foundation, 4" av. thickness 1:2:4 cement concrete in benching and 1/2" (13mm) thick cement sand plaster in 1:3 to all inside wall surfaces, channels and benching including making requisite number of main and branch channels but excluding the cost of excavation, back filling and disposal of excavated stuff. | Each | 13 |  | 0
MPS-P- | 2 | 14-01-b+ 14-02-b+ 14-10-b+ 14-25+ 14-47-a | Providing and Fixing glazed Earthen ware WC European type; Coloured with plastic double seat and cover , glazed earthenware low down flushing cistern 3 gallons Capacity: Coloured, 1/2" CP tee stop-cock,1/2" plastic rubber connection including check nuts, etc. | Each | 21 |  | 0
MPS-P- | 3 | 14-03-b+ 14-25 + 14-44-a+ 14-78+ 14-47-a | Providing and Fixing glazed Earthen ware WC English squatting types with built-in foot rest including low level plastic flushing cistern, 1/2" CP tee stop -cock, 1/2" plastic rubber connection including check nuts flushing bend of PVC: 1.25" etc. | Each | 4 |  | 0
MPS-P- | 4 | 14-05-a-2+ 14-25+ 14-29-b+ 14-41-a+ 14-47-a+ 14-45-a | Providing & Fixing glazed earthen ware coloured WHB (wash hand basin) with pedestal complete of size 22"x16" including CP swan-neck double way cock ½"dia , 1/2" CP tee stop-cocks, 1/2" plastic rubber connections with check nuts, 1.25" CP waste coupling and CP bottle trough with waste pipe 1.25" dia etc.complete in all respects. | Each | 16 |  | 0
MPS-P- | 5 | 14-06-b+ 14-27-a+ 14-41-b | Providing and Fixing stainless steel sink with drain board size 18" x 36", including set of brackets, waste pipe etc including CP mixing valve for sink. | Each | 2 |  | 0
MPS-P- | 6 | 14-13 | Providing & Fixing CP soap dish. | Each | 16 |  | 0
MPS-P- | 7 | 14-144-a | Supplying and Fixing UPVC soil waste and vent pipe class B : 6" dia | Rft | 550 |  | 0
MPS-P- | 8 | 14-144-d | uPVC Soil, Waste and vent pipes conforming to ISO:3633 type "B" or BS-4514/5255 class "A" ,including imported rubber ring/solvent cement fittings, jointing, cutting, and breaking concrete/masonry and then making it good, applying painting, cleaning and testing etc. complete in all respects.(for sanitary drainage) : 2" dia | Rft | 325 |  | 0
MPS-P- | 9 | 14-148-a | ﻿Providing and Fixing brass ball float valve of approved quality: 1/2" (13 mm) dia | Each | 1 |  | 0
MPS-P- | 10 | 14-15 | Providing & Fixing CP toilet paper holder. | Each | 25 |  | 0
MPS-P- | 11 | 14-152 | Supply and Fixing of Electric Water Cooler 45 Gallons (Local) | Each. | 2 |  | 0
MPS-P- | 12 | 14-154 | Supply and Installation of G.I. water pipes conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wraping polythene tape, giving anticorrosion treatment, applying protective painting, making holes in concrete or masonry and then repairing holes, flushing, disinfecting, testing and commissioning etc. of the following diameters. 2" dia | Rft | 800 |  | 0
MPS-P- | 13 | 14-155 | Galvanised MS ladder rings 3/4" dia inside and outside water tanks; Each rung of 12" width, 6" projected outside the wall and 6" embeded in RCC on both ends; including all necessary works for complete installation. | Kg | 18.9 |  | 0
MPS-P- | 14 | 14-157 | P-Trap (uPVC) for squatting type WC | Each | 4 |  | 0
MPS-P- | 15 | 14-161 | Triple water filter (10") including inlet and outlet connections, power supply, and all accessories for complete installation. | Each. | 2 |  | 0
MPS-P- | 16 | 14-162-a | G.I. water pipes (cold and hot water, in ducts & in exposed condition) Conforming to BS-1387 (1985), Medium Grade, I/c all fittings, wraping glasswool thermal insulation with aluminium vapour barrier, making holes in concrete or masonry and then repairing holes, supports and hangers etc. of approved make of the following diameters, complete in all respects: (a) 1 inch | Rft | 500 |  | 0
MPS-P- | 17 | 14-164 | uPVC Multi Floor Trap (110x75mm) including strainer; supports; making required number of connections; breaking concrete or masonry work & then making it good; etc. | Each | 28 |  | 0
MPS-P- | 18 | 14-165-a | uPVC floor Cleanout including 2 No. 45o elbows, transition pipe, SS screwed plug/cover assembly jointed air-tight with pipe, breaking concrete or masonry work & then making it good, etc. complete in all respects. (i) 3" dia | Each | 16 |  | 0
MPS-P- | 19 | 14-165-b | uPVC floor Cleanout including 2 No. 45o elbows, transition pipe, SS screwed plug/cover assembly jointed air-tight with pipe, breaking concrete or masonry work & then making it good, etc. complete in all respects. (i) 4" dia | Each | 16 |  | 0
MPS-P- | 20 | 14-166 | Supply & installation of cast iron roof drain, including strainer, flashing material, and all accessories for complete installation, as per specifications. 4 inches dia | Each | 6 |  | 0
MPS-P- | 21 | 14-28-a | Providing and fixing gun metal peet / gate valve (screwed) 32 mm(1-1/4") dia of approved quality. | Each | 12 |  | 0
MPS-P- | 22 | 14-28-d | Providing and fixing gun metal peet / gate valve (screwed) 50 mm & 63 mm (2") dia of approved quality. | Each | 2 |  | 0
MPS-P- | 23 | 14-169 | Air relief valves, of approved quality including jointing arrangement with pipe; nuts, bolts etc. complete in all respects. (i) 3/4 " | Each | 4 |  | 0
MPS-P- | 24 | 14-16-a | Providing & Fixing CP towel rail: 24" long, 3/4" dia. | Each | 16 |  | 0
MPS-P- | 25 | 14-170 | Cowel on vent pipes of the following diameter. (i) 3" | Each | 25 |  | 0
MPS-P- | 26 | 14-172-a | Supplying and fixing of Dry Chemical Powder Fire Extinguisher 6Kg Capacity complete in all respect | Each | 5 |  | 0
MPS-P- | 27 | 14-172-b | Supplying and fixing of Foam Type fire extinguishers capacity 12 liters complete in all respect | Each | 5 |  | 0
MPS-P- | 28 | 14-17-a | ﻿Providing and fixing best quality looking glass 5 mm thick neatly fitted on masonry wall etc. as per instruction of Engineer In-charge complete. Mirror 60 x 45 cm (24"x18") size | Each | 16 |  | 0
MPS-P- | 29 | 14-18-a | Providing & Fixing best quality 5mm glass shelf 24"x5" with chromium plated brackets & railing. | Each | 16 |  | 0
MPS-P- | 30 | 14-27+ 14-26-a | Providing and Fixing CP shower rose : 1/2"x4 | Each | 13 |  | 0
MPS-P- | 31 | 14-55-e | Providing and Fixing GI pipe & including specials complete: 3/4" dia (light) | Rft | 200 |  | 0
MPS-P- | 32 | 14-56-b | Providing and Fixing oxidized gas cock : 3/4" dia. | Each | 2 |  | 0
MPS-P- | 33 | 14-70-a | Providing and Fixing of pipe type B nikasi system including testing in all respect 110 mm | Rft | 600 |  | 0
MPS-P- | 34 | 14-70-b | Providing and Fixing of pipe type B nikasi system including testing in all respect 75 mm | Rft | 400 |  | 0
MPS-P- | 35 | 14-71-a | Providing & Fixing of Polydex high pressure PPR (green) including testing etc. complete 25mm (including all specials etc.) | Rft | 550 |  | 0
MPS-P- | 36 | 14-86 | Providing & fixing chromium plated double bib-cock with Muslim Shower of approved qualityComplete is all respects. | Each. | 25 |  | 0
MPS-P- | 37 | 15-220-b | Supply and fixxing of 15-25 Litres Electric Geyser including all accessories and fittings | Each | 11 |  | 0
MPS-P- | 38 | 24-30-a-02 | Providing, laying, cutting, jointing, testing and disinfecting High Density Polyethylene Pipe (HDPE) Din-8074/Din-8075/ISO-4427 in trenches, complete in all respects except excavation. (50 mm dia) PN-8 | Rft | 400 |  | 0
Cost of Scheduled Items= | [6 empty] | 0
Total Cost of Scheduled Items = | [6 empty] | 0

## BOQ (E.W)
CONSTRUCTION OF MODEL POLICE STATION GHALANI DISTRICT MOHMAND
BILL OF QUANTITIES
ELECTRICAL WORKS
ITEM No. |  | KPK MRS 2020 REF. | DESCRIPTION | UNIT | QTY. | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(A) |  | (B) | (C) | (D) | (E) | (F) | (G)= E x F
EARTHING SYSTEM
MPS-E- | 1 | 15-105-e | Supply, Installation & Connecting up of earth electrodes with 600mm x 600mm x 3.2mm conductors to main earth bar including all accessories, in 50mm dia G.I. pipe / PVC pipe class D/E up inspection chamber, heavy duty C.I. Cover etc. | Job | 3 |  | 0
MPS-E- | 2 | 15-48-d | Wiring of sub main/earthing in 1 single core PVC insulated & sheathed cable : 7/0.064" | Rft. | 600 |  | 0
|  |  | Sub-Total |  |  |  | 0
LT CABLES
MPS-E- | 3 | 15-122-e | Supply at site, installation, testing and commissioning of PVC insulated un-armoured copper conductor cable 600 / 1000 Volt grade (or otherwise mentioned in cable description ) in prelaid conduits / trenches to be installed as per routes shown on drawings including cost of all necessary materials, connections, identification tags, cables lugs properly crimped at both ends for the following sizes complete in all respects. 35 Sqmm, 4 Core PVC/PVC Standard Copper Conductor Cable | RMtr | 100 |  | 0
MPS-E- | 4 | 15-122-c | Supply at site, installation, testing and commissioning of PVC insulated un-armoured copper conductor cable 600 / 1000 Volt grade (or otherwise mentioned in cable description ) in prelaid conduits / trenches to be installed as per routes shown on drawings including cost of all necessary materials, connections, identification tags, cables lugs properly crimped at both ends for the following sizes complete in all respects. 16 Sqmm, 4 Core PVC/PVC Standard Copper Conductor Cable | RMtr | 110 |  | 0
MPS-E- | 5 | 15-122-b | Supply at site, installation, testing and commissioning of PVC insulated un-armoured copper conductor cable 600 / 1000 Volt grade (or otherwise mentioned in cable description ) in prelaid conduits / trenches to be installed as per routes shown on drawings including cost of all necessary materials, connections, identification tags, cables lugs properly crimped at both ends for the following sizes complete in all respects. 10 Sqmm, 4 Core PVC/PVC Standard Copper Conductor Cable | RMtr | 110 |  | 0
MPS-E- | 6 | 15-42-b | Manhole For LT Cable Pulling | Each | 7 |  | 0
|  |  | Sub-Total |  |  |  | 0
GENERAL WIRING
MPS-E- | 7 | 15-02-b-02 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3/4" i/d | Rft. | 5500 |  | 0
MPS-E- | 8 | 15-02-b-03 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 1" i/d | Rft. | 3800 |  | 0 | 316.6667 | 1
MPS-E- | 9 | 15-02-b-05 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 1.5" i/d | Rft. | 600 |  | 0 | 50 | 1.125
MPS-E- | 10 | 15-02-b-06 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 2" i/d | Rft. | 500 |  | 0
MPS-E- | 11 | 15-02-b-07 | Supply and Erection PVC pipe for wiring purpose complete Recessed in walls including chase etc : 3" i/d | Rft | 500 |  | 0
MPS-E- | 12 | 15-06-a | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 3/0.029"(1.5mm2). | Rft | 13731.96 |  | 0
MPS-E- | 13 | 15-06-c | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.029"(2.5mm2) . | Rft | 8114.34 |  | 0
MPS-E- | 14 | 15-06-d | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.036" . | Rft | 4577.32 |  | 0
MPS-E- | 15 | 15-06-e | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.044" | Rft | 100 |  | 0
MPS-E- | 16 | 15-06-f | Supply and Erection single core PVC insulated+sheathed copper conductor 250/440 V grade cable : 7/0.064" | RFT | 100 |  | 0
MPS-E- | 17 | 15-127-a | Supply at site, installation, testing and commissioning of the One gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | Each | 10 |  | 0
MPS-E- | 18 | 15-127-b | Supply at site, installation, testing and commissioning of Two gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | Each | 20 |  | 0
MPS-E- | 19 | 15-127-c | Supply at site, installation, testing and commissioning of Three gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | Each | 20 |  | 0
MPS-E- | 20 | 15-127-d | Supply at site, installation, testing and commissioning of Four gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | Each | 39 |  | 0
MPS-E- | 21 | 15-127-f | Supply at site, installation, testing and commissioning ofSix gang light control switches 10 Amps, 250Volts one way, including appropriate size concealed MS, powder coated back box, complete in all respects. | Each | 52 |  | 0
MPS-E- | 22 | 15-127-h | Supply at site, installation, testing and commissioning of One gang light control switches 10 Amps, 250Volts two way, including appropriate size concealed MS, powder coated back box, complete in all respects. | Each | 4 |  | 0
MPS-E- | 23 | 15-127-j | Supply at site, installation, testing and commissioning of 3 pin switched socket unit 13 Amps, 250Volts, round pin including appropriate size MS, powder coated back box, complete in all respects. | Each | 114 |  | 0
MPS-E- | 24 | 15-127-j | Supply at site, installation, testing and commissioning of 3 pin switched socket unit 15 Amps, 250Volts, round pin including appropriate size MS, powder coated back box, complete in all respects. | Each | 71 |  | 0
MPS-E- | 25 | 15-127-m | Supply at site, installation, testing and commissioning of Fan Dimmer with switch/ MS, powder coated back box with all associated accessories, complete in all respects. | Each | 48 |  | 0
MPS-E- | 26 | 15-127-n | Supply at site, installation, testing and commissioning of DP switch 20 Amps with neon indication lamp complete with MS, powder coated back box, complete in all respects. | Each | 32 |  | 0
|  |  | Sub-Total |  |  |  | 0
LIGHTING FIXTURES
MPS-E- | 27 | 15-36-i-14 | Supply, installation, testing and commissioning of Recessed Down Light with CFL (1 X 13) watt Energy saver and Convex Frosted Lens IP 54, complete in all respects | Each | 407 |  | 0
MPS-E- | 28 | 15-36-i-5 | Supply, installation, testing and commissioning of following light fittings, 1x18 Watt Impact Resistant Lamp fixture with Compact Flourescent lamp, complete in all respects. Mirror Light tube light fixture 1x18 watt LED | Each | 16 |  | 0
MPS-E- | 29 | 15-36-k-03 | Supply, installation, connecting, testing and commissioning of Wall mounted Bulkhead light fixtures with LED retrofit lamp 540 Lumens output, complete in all respects | No. | 5 |  | 0
MPS-E- | 30 | 15-36-l-09 | Supply & Erection of emergency light | No | 11 |  | 0
|  |  | Sub-Total |  |  |  | 0
FANS
MPS-E- | 31 | 15-68-c | S & E best quality AC ceiling fan complete with GI rod, canopy, blades & regulator: 56" sweep. | Each | 48 |  | 0
MPS-E- | 32 | 15-68-e | Supply, installation, testing & commissioning of Direct axial Wall Bracket fan | Each | 2 |  | 0
MPS-E- | 33 | 15-69-a | S & E best quality exhaust fan complete with shutter & regulator: 10" sweep. | Each | 17 |  | 0
|  |  | Sub-Total |  |  |  | 0
LT PANELS
LT PANELS (PDB # 01 , 02)
MPS-E | 34 | 15-162-a | Supply, Installation, connecting, testing & commissioning of wall mounted LPDB-B7-B1, LPDB-B7-B1/1 Distribution Boards, compes with all metering with indication lamps complete win all respects | No | 2 |  | 0
MPS-E | 35 | 15-70-b | Supply and Erection transpower auto circuit breaker 3-phase, 400V fungus moisture proofing : 60 Amp. | Each | 2 |  | 0
MPS-E | 36 | 15-71-c | Supply and Erection single phase imported auto circuit breaker 20 Amp. | Each | 40 |  | 0
|  |  | Sub-Total |  |  |  | 0
LT PANELS (AC.DB)
MPS-E | 37 | 15-162-a | Supply, Installation, connecting, testing & commissioning of wall mounted LPDB-B7-B1, LPDB-B7-B1/1 Distribution Boards, compes with all metering with indication lamps complete win all respects | No | 1 |  | 0
MPS-E | 38 | 15-70-c | Supply and Erection transpower auto circuit breaker 3-phase, 400V fungus moisture proofing : 100 Amp. | Each | 1 |  | 0
MPS-E | 39 | 15-71-c | Supply and Erection single phase imported auto circuit breaker 20 Amp. | Each | 27 |  | 0
|  |  | Sub-Total |  |  |  | 0
LT PANELS (LDB 1 & 2)
MPS-E | 40 | 15-162-a | Supply, Installation, connecting, testing & commissioning of wall mounted LPDB-B7-B1, LPDB-B7-B1/1 Distribution Boards, compes with all metering with indication lamps complete win all respects | No | 2 |  | 0
MPS-E | 41 | 15-70-a | Supply and Erection transpower auto circuit breaker 3-phase, 400V fungus moisture proofing : 30 Amp. | Each | 2 |  | 0
MPS-E | 42 | 15-71-b | Supply and Erection single phase imported auto circuit breaker 15 Amp. | Each | 48 |  | 0
|  |  | Sub-Total |  |  |  | 0
[6 empty] | TOTAL FOR LT PANELS= | 0
Total Cost of Scheduled Items = | [6 empty] | 0
Total Cost of Scheduled Items = | [6 empty] | 0

## B.O.Q C.Work (External Srv)
CONSTRUCTION OF MODEL POLICE STATION GHALANI DISTRICT MOHMAND
BILL OF QUANTITIES
EXTERNAL DEVELOPMENT WORK
ITEM No. |  | KPK MRS 2020 REF. | DESCRIPTION | UNIT | QTY. | UNIT RATE (Rs.) | TOTAL AMOUNT (Rs.)
(A) |  | (B) | (C) | (D) | (E) | (F) | (G)= E x F
Sub Head: Boundary Wall.
MPSED-C | 1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc | 1000 Cft | 8381.015 |  | 0
MPSED-C | 2 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 Cft | 4413.235 |  | 0
MPSED-C | 3 | 03-25-b | Excavation in foundation of building, bridges etc complete :: in ordinary soil | 1000 Cft | 12794.25 |  | 0
MPSED-C | 4 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100Cft. | 734.31 |  | 0
MPSED-C | 5 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100Cft. | 787.259 |  | 0
MPSED-C | 6 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 Cft | 2165.625 |  | 0
MPSED-C | 7 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | Tonne | 5.908 |  | 0
MPSED-C | 8 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | Tonne | 3.939 |  | 0
MPSED-C | 9 | 07-04-a-04 | Pacca brick work in foundation and plinth in Cement, sand mortar 1:5 | 100Cft. | 2247.61 |  | 0
MPSED-C | 10 | 07-05-a-04 | Pacca brick work in ground floor Cement, sand mortar 1:5 | 100Cft. | 3832.04 |  | 0
MPSED-C | 11 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 Sft | 8534.7255 |  | 0
MPSED-C | 12 | 11-18-a | Cement pointing struck joints, on walls, upto 20' height : Ratio 1:2 | 100 Sft | 5572.1505 |  | 0
MPSED-C | 13 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 Sft | 3310.75 |  | 0
MPSED-C | 14 | 13-25-a | Preparing surface & painting with snowcem / weathershield paint : First coat | 100 Sft | 9572.0625 |  | 0
MPSED-C | 15 | 13-25-b | Preparing surface & painting with snowcem / weathershield paint : 2nd & subsequent coats | 100 Sft | 19144.125 |  | 0
MPSED-C | 16 | 25-60-a | Supply and fixing razor wire (2'-0" dia) consisting of 1-1/2"X1-1/2"X3/16" angle iron Y post 2'-6" long 6' to 8' center to center embedded in concrete block of size 3"X9"X6" (PCC 1:2:4), at top of boundary wall including painting posts etc.Complete in all respects. | Rft | 726.67 |  | 0
MPSED-C | 17 | 25-45-b | Supplying and Fixing 18 SWG MS Sheet Gate with angle iron frame (2"x2"x3/16") with side window, lock, painting etc | Sft | 144 |  | 0
MPSED-C | 18 | 28-18 | Providing and fixing with steel nails and washers, the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip) before plastering etc complete. | Sft | 682 |  | 0
|  |  | Sub-Total |  |  |  | 0
Sub Head : Parking
MPSED-C | 1 | 06--02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100Cft. | 5517.6 |  | 0
MPSED-C | 2 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100Cft. | 5517.6 |  | 0
MPSED-C | 3 | 10-49-d | Providing and Fixing Precast Concrete 7000 psi TUFF Tiles 80mm thick over bed of 2" thick sand | 100 Sft | 16720 |  | 0
|  |  | Sub-Total |  |  |  | 0
Sub Head : Watch Tower ( 02 Nos) and Guard Room ( 01 Nos)
MPSED-C | 1 | 03-18-a | Filling watering and ramming earth under floor with surplus earth from foundation etc | 1000 Cft | 2227.26 |  | 0
MPSED-C | 2 | 03-20-a | Transportation of earth all types beyond 250 m and upto 500 m. | 1000 Cft | 1161.433 |  | 0
MPSED-C | 3 | 03-25-b | Excavation in foundation of building, bridges etc complete :: in ordinary soil | 1000 Cft | 3388.693 |  | 0
MPSED-C | 4 | 06--02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100Cft. | 113.256 |  | 0
MPSED-C | 5 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100Cft. | 277.024 |  | 0
MPSED-C | 6 | 06-07-a-03 | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) | 100Cft. | 566.654 |  | 0
MPSED-C | 7 | 06-07-a-03 + 06-07-e | RCC in roof slab, beam, column & other structural members, insitu or precast. (1:2:4) in 2nd storey. | 100Cft. | 353.925 |  | 0
MPSED-C | 8 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 Cft | 777.975 |  | 0
MPSED-C | 9 | 06-08-b | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 60) | Tonne | 3.399 |  | 0
MPSED-C | 10 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | Tonne | 2.2656 |  | 0
MPSED-C | 11 | 07-04-a-04 | Pacca brick work in foundation and plinth in Cement, sand mortar 1:5 | 100Cft. | 448.811 |  | 0
MPSED-C | 12 | 07-05-a-04 | Pacca brick work in ground floor Cement, sand mortar 1:5 | 100Cft. | 958.243 |  | 0
MPSED-C | 13 | 07-05-a-04 + 07-06-a | Pacca brick work in first floor Cement, sand mortar 1:5 | 100Cft. | 252.45 |  | 0
MPSED-C | 14 | 09-35-a | Provide & lay roof insulation complete with Thermopore sheet 1/2" thick | Sft | 343.2 |  | 0
MPSED-C | 15 | 10-25 | Lay floor of approved coloured glazed (matt) tiles ¼" thick in white cement and pigment complete. | 100 Sft | 26.4 |  | 0
MPSED-C | 16 | 10-39-b | Glazed tiles ¼" thick dado jointed in white cement complete: coloured plain tiles | 100 Sft | 96.25 |  | 0
MPSED-C | 17 | 10-45-a-ii | Provide & lay marble fine dressed stone dado or skirting in white cement complete: 3/8" thick 12 x 12 Sunny White Marble | 100 Sft | 55.77 |  | 0
MPSED-C | 18 | 10-15-d | Provide & lay topping of concrete 1:2:4, including surface finishing & dividing in panels : 2" thick | 100 Sft | 521.4 |  | 0
MPSED-C | 19 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 Sft | 3693.745 |  | 0
MPSED-C | 20 | 11-09-b 11-26 | Cement plaster 1:4 from 20' to 30' height 1/2" thick | 100 Sft | 1377.2 |  | 0
MPSED-C | 21 | 11-10-c | Cement plaster 3/8" thick under soffit of RCC roof slTBs only upto 20' height : (1:4) | 100 Sft | 343.2 |  | 0
MPSED-C | 22 | 11-10-c+ (11-26) | Cement plaster 3/8" thick under soffit of RCC roof slTBs only from 20' to 30' height : (1:4) | 100 Sft | 426.25 |  | 0
MPSED-C | 23 | 11-20-a | Priming coat of chalk under distemper | 100 Sft | 769.45 |  | 0
MPSED-C | 24 | 11-21-a-03 | Distempering New surface : Three coats | 100 Sft | 769.45 |  | 0
MPSED-C | 25 | 12-65-a-06 | Supply and Fixing aluminium door/window, Sliding Window Premium model (2.00 mm gauge) 4" Section | Sft | 53.9 |  | 0
MPSED-C | 26 | 12-64-d-05 | Supply and Fixing aluminium door/window, FlyScreen shutter with separate outer frame Premiummodel (2.00 mm gauge) 2" section | Sft | 26.95 |  | 0
MPSED-C | 27 | 13-08-a | Bitumen coating to plastered / cement concrete surface : 20 Ibs. per 100 sft. | 100 Sft | 844.8 |  | 0
MPSED-C | 28 | 13-22-a | Preparing surface and painting with emulsion paint : First coat. | 100 Sft | 2052.6 |  | 0
MPSED-C | 29 | 13-22-b | Preparing surface and painting with emulsion paint : 2nd & each subsequent coat. | 100 Sft | 4105.2 |  | 0
MPSED-C | 30 | 13-25-a | Preparing surface & painting with snowcem / weathershield paint : First coat | 100 Sft | 2877.545 |  | 0
MPSED-C | 31 | 13-25-b | Preparing surface & painting with snowcem / weathershield paint : 2nd & subsequent coats | 100 Sft | 5755.09 |  | 0
MPSED-C | 32 | 24-34 | ﻿Supplying and Fixing flat iron (2"x3/8") ladder for OHR, holes @ 15" c/c, steps of MS bars 5/8" i/d & paint compl | Rft | 30 |  | 0
MPSED-C | 33 | 25-45-a | Supplying and Fixing 18 SWG MS sheet door with angle iron frame (1.5"x1.5"x1/8") bolt, hinges, paint etc. | Sft | 90.475 |  | 0
MPSED-C | 34 | 28-18 | Providing and fixing with steel nails and washers, the chicken wire mesh of approved quality, at joint of concrete and masonry work (4" wide strip) before plastering etc complete. | Sft | 646.8 |  | 0
|  |  | Sub-Total |  |  |  | 0
Sub Head: Septic Tank (12'x 6'x6') & Sockage Pit 5' Dia upto 15' depth
MPSED-C | 1 | 03-25-b | Excavation in foundation of building, bridges etc complete :: in ordinary soil | 1000 Cft | 1426.08 |  | 0
MPSED-C | 2 | 06-02 | Dry rammed shingle brick ballast or stone ballast 1.5" to 2" gauge | 100Cft. | 78.55 |  | 0
MPSED-C | 3 | 06-05-i | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 100Cft. | 35.66 |  | 0
MPSED-C | 4 | 06-07-b-03 | RCC in raft foundation slab, base slab of column & ret. wall etc, not including in 06-06. (1:2:4) | 100 Cft | 351.94 |  | 0
MPSED-C | 5 | 06-08-c | Supply & fabricate M.S. reinforcement for cement concrete (Hot rolled deformed bars Grade 40) | 100 KG | 1173.6653 |  | 0
MPSED-C | 6 | 10-22-a | 1.5" thick mosaic flooring, including rubbing & polishing complete : Using grey cement | 100 Sft | 101.25 |  | 0
MPSED-C | 7 | 10-41-a-02 | Mosaic dado or skirting complete as per specs Using grey cement : 1/2" thick. | 100 Sft | 234 |  | 0
MPSED-C | 8 | 11-09-b | Cement plaster 1:4 upto 20' height 1/2" thick | 100 Sft | 335.25 |  | 0
MPSED-C | 9 | 14-37-b | Supply and Fixing cast iron (CI) manhole cover with frame etc (Heavey Type) of approved quality complete: 18" (455 mm) dia | Each | 2 |  | 0
MPSED-C | 10 | 08-01-a | Random rubble masonry in foundn. & plinth Dry masonry. | 100 Cft | 343.66 |  | 0
|  |  | Sub-Total |  |  |  | 0
Cost of Scheduled Items= | [6 empty] | 0
Total Cost for Civil Work Rs. | [6 empty] | 0