## Summary
Model Police Station Initiative - Falluja Police Station in Falluja City
Summary
Part No. | Part Name | Part Total Cost $
Part 1 | Construction of Inspection and Entrance Room
Part 2 | Construction of Hodling Cells (Women and Men)
Part 3 | Construction of Sleeping Hall
Part 4 | Interrogation Rooms
Part 5 | Rehabilitation of The Resturant
Part 6 | Rehabilitation of The Sanitary Units
Part 7 | Provision Works
Total Cost $ |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P1-Inspection and Entrance Room
Bill of Quantity
Model Police Station Initiative - Falluja Police Station in Falluja City
Falluja City - Anbar Governorate
General Obligations Included within the Contract Cost: 1- All required works are subjected to the Iraqi's Standard Specifications and attached specifications. The measurements of all quantities of the implemented works will be calculated based on the actual findings and dimensions according to the engineering specifications. 2- All used materials must be subjected to the necessary laboratory tests both inside and outside the country as required. UNDP engineers have the right to re-test any materials in the project in a different laboratory. 3- The contractor is required to obtain an official approval by the supervisory committee before supplying any required materials, devices, systems...etc. or starting the implementation of any new items; including the provision of samples, mockup, catalogues for testing/inspection required to obtain this official approval. 4- The contractor is responsible for the safety of all activities in the site including the provision of all occupational safety requirements for all employees and workers (PPE). 5-The contractor is obliged to provide all work staff in the site with all required personal safety and protection equipment such as face masks, safety goggles, gloves, sterilization materials ... etc. 6- The contractor cannot demand all the quantities mentioned in the BOQ, if the final measurement will show less quantities. 7- All the concrete works in the project should be provided by approved ready mix concrete batching plant which should be subjected to all quality control tests periodically and all its gauges and materials balances are calibrated by Central Organization for Standardization and Quality Control (COSQR). The calibration certificates must be in force and not-expired. 8- The contractor is required to provide and Install a prefabricated office with area not less than 30 m2 of two rooms at least including kitchen and toilet for the supervisory committee of the project with all required furniture, two color printers, two laptops core i5,electrical, mechanical and communications services according supervisory engineering committee instructions. Also, it is required to provide only a one means of transport with its driver for the following-up of the project implementation by the committee. 9- The contractor must take in consideration that the police station with all its parts should continue in providing services to citizens without stopping work or evacuating it during the works of project period. The contractor must submit a work schedule for all required works to the supervisory committee showing detailed timeframe which ensure the project completion within the contracted period. 10-The contractor shall be obliged to carry out any laboratory tests required by the work according to the supervisory engineering committee instructions 11- The contractor shall upload, transport, unload and delivery any extracted materials from the project will be determined by supervisory engineering committee to the end user warehouse and delivering them by official storage documents. 12- The maintenance works of the defect liability period (12 months) (maintenance period)includes all civil, sanitary, electrical and mechanical works ( All mentioned items in below BOQ).
Part 1 : Construction of Inspection and Entrance Room:
# | Item | Unit | Quantity | Price $ | Total $
A : Site Preparation Works
1 | Excavation Works: Excavation in all types of soil (even rock layers, concrete foundations, etc..) for the training room area starting at the existing ground level down to the required depth approved by the engineering committee, removing of all material a site approved by local authorities. The price include cleaning and leveling the bed of the excavation, compaction using heavy construction equipment - single drum sheep feet and vibratory road roller compactor (the compaction of these areas should not be less than 90% of MDD to comply with the modified proctor test) and dewatering the underground water if the groundwater level is high on a daily basis using water tank truck until the completion of the foundations and all the required works to complete the Job. All needed work to complete the job will be included within the price. | M3 | 50 |  | 0
2 | Spreading Stone Layer Supply materials, tools and manpower to spread and pave stone layer of class B regularly under the buildings areas, the stone layer thickness not less than 30 cm, the work includes excavating drainage channel to dewatering the underground water if the groundwater level is high on a daily basis using water tank truck, compaction of the stone layer well using vibratory road roller compactor and all the required works to complete the Job. | M2 | 50 |  | 0
3 | Spreading Sub-base Layers Supply of materials, tools and manpower for filling (in layers not exceeding 20cm, including compaction up to 95% of MDD to comply with the modified proctor test ) with sub base (type B) up to the required levels for the area of project, with required treatment. All needed work to complete the job will be included within the price. | M3 | 30 |  | 0
B: Civil Works
B-1: Concrete Works
4 | Laying One Layer of Thick Nylon Supply materials, tools and manpower for laying one layer of thick agricultural nylon of 1mm thick) . The nylon should lay before casting the concrete covering , with all the required works to complete the Job. | M2 | 50 |  | 0
5 | Sulphate Resistant Plain Concrete Supply materials, tools and manpower to cast Sulphate resistant plain concrete with compressive strength 21 MPa , (Slump 5"), the work includes expansion joints every 20 m2 and according to the instructions of engineering committee, and all the required works to complete the Job. As the following:
A | Minimum 10 cm thick Under foundations (Blinding) | M2 | 40 |  | 0
B | Minimum 20 cm thick and 25cm width with using Sika proof for D.P.C layer using heavy thickness steel frame of 15 cm height | M.l | 40 |  | 0
C | Minimum 10 cm thick under mosaic tiles by using BRC dia. (15x15)cm gage 6mm | M2 | 30 |  | 0
6 | Reinforced Concrete: Supply materials, tools and manpower to cast reinforced concrete with compressive strength 30 Mpa for all concrete works , the work includes shuttering( formwork), reinforcement and all accessories as per the attached drawings and technical specification, the price should include using high yield strength of (420N/mm2) deformed steel reinforcement (Ukraine or Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process and conform to the required specifications), coating the buried foundations and any part of columns using the tar class II or III and emphasis on water spraying (Curing) not less than 7 days, the use of Jute Cloth in the curing process with all the required works to complete the Job, as following:
A | Foundations using sulfur resistant cement | M3 | 12 |  | 0
B | Roofs of 18 cm thick and parapets | M3 | 10 |  | 0
C | Drop beams (The prominent part of the ceiling is calculated) | M3 | 4 |  | 0
D | lintel beams above the openings of doors and windows | M3 | 2 |  | 0
B-2: Building Works With bricks
7 | Build The Walls Under D.P.C Layer Using Red Clay Bricks Supply materials, tools and manpower to build the walls under D.P.C layer using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process , the work includes filling joints and spaces by sulfur resistant cement-sand mortar (1:3) , plastering the walls with cement –sand mortar (1:3) and spreading for both sides of the walls with tar Class II or III with all the required works to complete the Job. | M3 | 6 |  | 0
8 | Build The Walls Above D.P.CLayer Using Red Clay Bricks Supply materials, tools and manpower to build the walls building and parapets walls of 24cm thick above D.P.C layer and 12 cm thick for the partitions using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process, with all the required works to complete the Job. | M3 | 21 |  | 0
B-3: Backfilling With River Sand Layers
9 | Backfilling Works: Supply of materials, tools and manpower for filling in layers not exceeding 40cm thick for the one layer, including good compaction using approved river sand up to D.P.C layer level inside the building and in any area required within inside the building with all necessary works, with required treatment. All needed work to complete the job will be included within the price. | M3 | 40 |  | 0
B-4: Tiling Works and False Ceiling Works
10 | Mosaic Tiles for The Building Floors Supply materials, tools and manpower to finish the buildings floors using Mosaic tiles of (40X40) cm dimensions and 4 cm thick with Class A which should be approved by the supervisory committee before starting supplying process (original, not commercial or imitative) and cement sand mortar (1:3) , the tiles final faces should be flat and free from any ripples, the price includes steps of polishing and glazing the Mosaic tiles in site and not limited to fill the joints with white cement, use of pieces and strips of Mosaic tiles (Different in terms of colors) to work decorations and geometric shapes in the floors according to the direction of the Engineering Committee, cleaning the concrete floors well before finishing the floor using the tiles and taking into consideration the make of joints which not exceeding the width it of 1.5 cm for each 8 to 12 M.l and it is subsequently filled with Sikaflex construction AP with Back up rod for joints tiles . The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the full physical and chemical laboratory tests and according to Iraqi standard specifications, with all the required works to complete the work. | M2 | 36 |  | 0
11 | Ceramic Skirting: Supply materials, tools and manpower to finish the walls 10cm height skirting a first-class (Spanish Brand) and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work. | M.L | 44 |  | 0
12 | Roofing Using Concrete Tiles Supply materials, tools and manpower for roofing works according to the technical specifications, the work includes the following: A: Cleaning the roof well using air compressor and coating all the roof with two layers of liquid bitumen primer for waterproofing (flancote). B: Spreading opposite layers of tar of (30/20) grade and laying between them a good quality of SBS modified bitumen waterproofing membrane (Saudi, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process) of 3mm thick, the tar layers and bitumen waterproofing membranes level must be raised 20 cm height around water baffles for the building and overlapping between the bitumen waterproofing membrane pieces not less than 15 cm for both directions. C: Spreading high density and compressed corks layer of 5 cm thickness and laying one layer of thick agricultural nylon (polyphone sheets 1 mm). D: Spreading clean river sand layer with 8 cm thickness at the lowest area and increase the thickness according to the required slope. E: Finishing with concrete tiles of (80x80x4) cm thickness, taking into consideration the slope towards water drainage. F: Casting the edges by plain concrete of 21 Mpa compressive strength. G: Filling the joints with bitumen mastic with cautery with all required works to complete the job. | M2 | 40 |  | 0
B-5: Plastering, Exterior Cladding for The Building and Painting Works: Including all materials, scaffolds, workmanship, tools and anywhere else needed
13 | Smoothed Cement Plastering: Supply materials, tools and manpower to plaster the building external walls and parapets using smooth-finished cement plastering of 20mm thick with cement sand mortar (1:3) using aluminum straight edges, plastering in two coats over, the work includes spreading one layer of cement splash dash, putting a layer of metal mesh on the area under the cement plastering which should be installed at the linking area of the concrete beams and columns with the bricks walls with decoration works in the plastering according to supervisory committee directions, and all the required works to complete the work. | M2 | 130 |  | 0
14 | Gypsum Plastering Supply of materials, tools and manpower for gypsum plastering of the two layers minimum 20mm of brown and white gypsum using aluminum straight edges for the interior walls up to the concrete ceiling, the price includes one layer of cement splash dash under Gypsum plastering with cement-sand mortar, putting a layer of metal mesh on the area under the gypsum plastering which should be installed between the linking area of concrete beams and columns with the bricks walls and all the required works to complete the work. | M2 | 125 |  | 0
15 | Plastic Painting for Internal Walls: Supply of materials, tools and manpower to paint the interior walls with 3 layers of plastic painting (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls and ceilings, removing the dirt and dust with all the repairing works. All needed works to complete the job, shall be included within the price. | M2 | 125 |  | 0
16 | Plastic Painting For External Walls: Supply of materials, tools and manpower to paint the exterior walls and ceiling, with three layers of plastic (silicon water proof) paint (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls, removing the dirt and dust. All needed works to complete the job, shall be included within the price. | M2 | 130 |  | 0
B-6: Doors and Windows Works
17 | Steel Doors: Supply and install double face steel door, the partitions inside the door included every 20cm by steel Square hollow section (4cmX4cmx2mm), and covered with steel plate 1.5 mm thickness on both sides with the use of geometric engravings on the steel plates designed by CNC machines using steel plate 2 mm thick for the doors mentioned in attached drawings, the frame shall be from steel C section of 3 inch and 3 mm thickness and steel angle section of 1 inch and 2 mm thickness ( double steel frame), the work including all necessary fixings hinges, doors handles, locks with key, The submitted brand should be approved by the supervisory committee before starting supplying process, hands locks and fixing a stopper on the floor or wall, glazing using stained glass of 6 mm thick , insulation foam, accessories, mastic, hardware and painting with anti-rust paint and 3 layers of oil paints type hammer finish, locks, connections accessories, and all the required works to complete the work. The price including the removing works for old door with all required material and tools to repair the damaged places for the walls As following:
A | Supply and Install of Type D1 Steel door of (1 x 2.1) m dimensions | Ea. | 2 |  | 0
18 | Slide Curtains Supply and install slide curtains of high thickness for doors with its chains and tubes which should be approved by the supervisory committee before starting supplying process. The curtains dimensions as followings:
A | Slide Curtains of 2.1 x 1.2 m dimension | Ea. | 2 |  | 0
19 | Aluminum Window Supply and install aluminum window with it is frame and installing by frame of steel C Section of 3 inch, 3mm thick and painting with three layers of oil based paints in addition to anti rust primer. Price of the work shall include using heavy thickness not less than 1.3mm and 7.5 cm width aluminum sections of Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process as per the drawings, installation of heavy duty locks and handles, installation of tinted glass of 6 mm thick, anti-insect netting mesh, steel guard frame (Steel Burglar frame) as per attached designs (The contractor should be complied with all details and design of steel guard frame referred to in the attached drawings) with painting the steel frame and guard frame with 3 layer of oil based paints “type hammer finish” in addition to anti rust prime coat, all the required works and accessories to complete the Job. The doors dimensions as followings:
A | W1 Aluminum window of 2 x 1.7 m dimension | Ea. | 2 |  | 0
20 | Roller Curtains Supply and install roller curtains (Zebra Curtains) of high thickness for windows which should be approved by the supervisory committee before starting supplying process. the roller curtain fabric should be available in a variety of solar screen, light filtering, and room darkening fabrics, dual shade systems require two fabric selections. Typically, one blackout and one solar screen, in addition to its clutch mechanism should be made in corrosion resistant plastic and internal mechanisms of Nylon 6 construction. The curtains dimensions as followings:
A | Roller Curtains of 2.1 x 1.8 m dimension | Ea. | 2 |  | 0
C: Electrical Works
21 | One Gang Switched Socket of 13 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 13 Amp capacity using single copper wires of (3x4) mm2 for main wires from MCB Distribution Boards and single wires of (2x2.5) mm2 for sub wires which feeding the socket outlets, which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
22 | One Gang Switched Socket of 15 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 15 Amp capacity using single copper wires of (3x4) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
23 | Double Pole Switch of 45 Amp with Neon Supply, install, connect, test and commission electrical point with double pole socket of 45 Amp capacity and IP54 with neon for air conditioning devices and water heaters using single copper wires of (3x4) mm2 for earthing which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
24 | Ceiling Fan Supply, install, connect, test and commission electrical installations with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of (2x2.5) mm2 , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The electrical installations are as following:
A | Ceiling Fan of 56 inch diameter with electrical switch of 10 Amp capacity | Ea. | 4 |  | 0
25 | Lighting Fixtures Supply, install, connect, test and operate lighting fixtures with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of 2.5 mm2 for main wires from MCB Distribution Boards and single wires of (2x1.5) mm2 for sub wires which feeding the lighting fixtures and earthing wire , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The lighting fixtures are as following:
A | LED Ceiling Tiles Lights (LED Surface Lights) of 40 Watt, 6500K, 4200 Lumens | Ea. | 8 |  | 0
B | Outdoor wall lighting fixtures with Led bulb lights ( Economic Bulb) of 40 watt which should be installed on wall with all installations and connections accessories | Ea. | 6 |  | 0
C | Outdoor LED flood light (Waterproof) of 200 Watt, It should be installed in the rooftop of the building . | Ea. | 4 |  | 0
26 | Cables Supply, Install, connect, test and commission cables, the price should include supplying, installing, testing, commissioning materials, workmanship, equipment, machinery, trenching, all installation and connection accessories, the work includes pulling the cables that will come from MDB to FDB’s by using suitable PVC pipe and manholes (the price includes excavate the cables path in the existing floor and install the pipes), pulling the cables inside the PVC pipe of 10 bar in areas that intersect with the cars crossing areas and covering the pipe with 0.3 m plain concrete cover and pulling the cables that must feed the distribution boards inside the PVC pipes which should be installed in the walls well with excavation works for the pipe trench in the wall with plain concrete cover. The cables must be one length from the electric feeding sources to the electrical distribution boards, i.e., it is not permissible to make joints when laying the cables, with all the required works to complete the Job. This items includes the cables shown below
A | Unarmored cable of (4x25) mm²+(1x16) mm² to feed the MCB Distribution Board DB-T from the existing main distribution board of the project. | M.l | 50 |  | 0
27 | 36 Ways MCB Distribution Boards Supply, install, connect, test and commission of 36 ways, TP + N bus bar type distribution board Combination bus bar and Din Rail, 2 row, 36 ways. of modules (distance between rows 150mm), contain of earth leakage circuit breakers for water heaters, with single door complete with accessories and separate neutral strip to accommodate incoming miniature circuit breaker (MCB) triple pole and 200 Amp capacity with bus bar of 250 Amp and outgoing SP MCBs, with all installations and connections accessories and all the required works to complete the Job. | Ea. | 1 |  | 0
28 | Manhole Supply materials, tools and manpower to build manhole of (40x40x40)cm dimension using bricks and cement mortar (1:3) the work includes plastering using cement- sand mortar (1:3) and installation of hard plastic cover of 40x40 cm with all the required works to complete the Job. | Ea. | 6 |  | 0
D: Mechanical Works
29 | Air-Conditioning Split Units: Supply, install, connect and test ceiling air-conditioning units as per capacities shown below, heating and cooling, the compressor type T3 inverter compressor and gas type "Freon gas R410A", the work includes, supplying, installing and connecting drain pipes inside the walls using PPR pipe of 3/4 inch with all required fittings to the nearest drain point, all required sleeve pipes from PVC pipe of 3 Inch diameter with all required fittings which should be installed in the walls and during cast the slab to connect the all the refrigerant piping to the condensing unit from indoor unit to outdoor unit which should be installed on the roof. The price should include, all the refrigerant piping to the condensing unit (from indoor unit to outdoor unit), all wiring, electrical controls, a steel base stand and steel sunshade for the outdoor unit, protection devices and all installation and connection accessories required, the required brand should be approved by the supervisory committee before starting supplying process.
A | A/C unit Single Phase, 2 Ton capacity | Ea. | 1 |  | 0
| Part 1 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P2-Holding Cells Rooms (Men & W
Part 2 : Construction of Holding Cells Rooms (Men & Women)
# | Item | Unit | Quantity | Price $ | Total $
A : Site Preparation Works
1 | Site preparation: Supply materials, tools, heavy construction equipment and manpower to demolish and remove the required parts of existing building with all concrete structure, walls, blocks and foundations which existing up and down the ground level and 25cm of the existing soil of project ground. All project area shall be cleared of grass and weeds to at least a depth of 30 cm. Cleared of structures, pavement, sidewalks, concrete or masonry debris, trees, logs, upturned stumps, loose boulders, and any other objectionable material of any kind which would interfere with the performance or completion of the work, create a hazard to safety, or impair the subsequent usefulness of the work, or obstruct its operation. The price should include dewatering of surface, ground water and ponds within the area of the project (if any). In addition to remove trees and other natural vegetation outside and inside the actual lines of project area, and all debris from the site to a dump site approved by the relevant authority. marking and planning the buildings of the project,the work includes uploading, transportation and offloading all existing materials, furniture inside the project to End User warehouses before demolishing the buildings and delivering them by official storage documents according to instruction of the supervisory committee, cleaning and washing all parts of the project after completing the construction works. All needed work to complete the job will be included within the price. | LS | 1 |  | 0
2 | Excavation Works: Excavation in all types of soil (even rock layers, concrete foundations, etc..) for the training room area starting at the existing ground level down to the required depth approved by the engineering committee, removing of all material a site approved by local authorities. The price include cleaning and leveling the bed of the excavation, compaction using heavy construction equipment - single drum sheep feet and vibratory road roller compactor (the compaction of these areas should not be less than 90% of MDD to comply with the modified proctor test) and dewatering the underground water if the groundwater level is high on a daily basis using water tank truck until the completion of the foundations and all the required works to complete the Job. All needed work to complete the job will be included within the price. | M3 | 25 |  | 0
3 | Spreading Stone Layer Supply materials, tools and manpower to spread and pave stone layer of class B regularly under the buildings areas, the stone layer thickness not less than 30 cm, the work includes excavating drainage channel to dewatering the underground water if the groundwater level is high on a daily basis using water tank truck, compaction of the stone layer well using vibratory road roller compactor and all the required works to complete the Job. | M2 | 20 |  | 0
4 | Spreading Sub-base Layers Supply of materials, tools and manpower for filling (in layers not exceeding 20cm, including compaction up to 95% of MDD to comply with the modified proctor test ) with sub base (type B) up to the required levels for the area of project, with required treatment. All needed work to complete the job will be included within the price. | M3 | 25 |  | 0
B: Civil Works
B-1: Concrete Works
5 | Laying One Layer of Thick Nylon Supply materials, tools and manpower for laying one layer of thick agricultural nylon of 1mm thick) . The nylon should lay before casting the concrete covering , with all the required works to complete the Job. | M2 | 70 |  | 0
6 | Sulphate Resistant Plain Concrete Supply materials, tools and manpower to cast Sulphate resistant plain concrete with compressive strength 21 MPa , (Slump 5"), the work includes expansion joints every 20 m2 and according to the instructions of engineering committee, and all the required works to complete the Job.as the following:
A | Minimum 10 cm thick Under foundations (Blinding) | M2 | 28 |  | 0
B | Minimum 20 cm thick and 25cm width with using Sika proof for D.P.C layer using heavy thickness steel frame of 15 cm height | M.l | 40 |  | 0
C | Minimum 10 cm thick under mosaic tiles by using BRC dia. (15x15)cm gage 6mm | M2 | 60 |  | 0
7 | Reinforced Concrete: Supply materials, tools and manpower to cast reinforced concrete with compressive strength 30 Mpa for all concrete works , the work includes shuttering( formwork), reinforcement and all accessories as per the attached drawings and technical specification, the price should include using high yield strength of (420N/mm2) deformed steel reinforcement (Ukraine or Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process and conform to the required specifications), coating the buried foundations and any part of columns using the tar class II or III and emphasis on water spraying (Curing) not less than 7 days, the use of Jute Cloth in the curing process with all the required works to complete the Job, as following:
A | Foundations using sulfur resistant cement | M3 | 16 |  | 0
B | Roofs of 18 cm thick and parapets | M3 | 22 |  | 0
C | Drop beams (The prominent part of the ceiling is calculated) | M3 | 3.5 |  | 0
D | lintel beams above the openings of doors and windows | M3 | 2.5 |  | 0
B-2: Building Works With bricks
8 | Build The Walls Under D.P.C Layer Using Red Clay Bricks Supply materials, tools and manpower to build the walls under D.P.C layer using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process , the work includes filling joints and spaces by sulfur resistant cement-sand mortar (1:3) , plastering the walls with cement –sand mortar (1:3) and spreading for both sides of the walls with tar Class II or III with all the required works to complete the Job. | M3 | 10 |  | 0
9 | Build The Walls Above D.P.CLayer Using Red Clay Bricks Supply materials, tools and manpower to build the walls building and parapets walls of 24cm thick above D.P.C layer and 12 cm thick for the partitions using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process, with all the required works to complete the Job. | M3 | 36 |  | 0
B-3: Backfilling With River Sand Layers
10 | Backfilling Works: Supply of materials, tools and manpower for filling in layers not exceeding 40cm thick for the one layer, including good compaction using approved river sand up to D.P.C layer level inside the building and in any area required within inside the building with all necessary works, with required treatment. All needed work to complete the job will be included within the price. | M3 | 40 |  | 0
B-4: Tiling Works and False Ceiling Works
11 | Mosaic Tiles for The Building Floors Supply materials, tools and manpower to finish the buildings floors using Mosaic tiles of (40X40) cm dimensions and 4 cm thick with Class A which should be approved by the supervisory committee before starting supplying process (original, not commercial or imitative) and cement sand mortar (1:3) , the tiles final faces should be flat and free from any ripples, the price includes steps of polishing and glazing the Mosaic tiles in site and not limited to fill the joints with white cement, use of pieces and strips of Mosaic tiles (Different in terms of colors) to work decorations and geometric shapes in the floors according to the direction of the Engineering Committee, cleaning the concrete floors well before finishing the floor using the tiles and taking into consideration the make of joints which not exceeding the width it of 1.5 cm for each 8 to 12 M.l and it is subsequently filled with Sikaflex construction AP with Back up rod for joints tiles . The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the full physical and chemical laboratory tests and according to Iraqi standard specifications, with all the required works to complete the work. | M2 | 28 |  | 0
12 | Ceramic Skirting: Supply materials, tools and manpower to finish the walls 10cm height skirting a first-class (Spanish Brand) and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work. | M.L | 30 |  | 0
13 | Roofing Using Concrete Tiles Supply materials, tools and manpower for roofing works according to the technical specifications, the work includes the following: A: Cleaning the roof well using air compressor and coating all the roof with two layers of liquid bitumen primer for waterproofing (flancote). B: Spreading opposite layers of tar of (30/20) grade and laying between them a good quality of SBS modified bitumen waterproofing membrane (Saudi, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process) of 3mm thick, the tar layers and bitumen waterproofing membranes level must be raised 20 cm height around water baffles for the building and overlapping between the bitumen waterproofing membrane pieces not less than 15 cm for both directions. C: Spreading high density and compressed corks layer of 5 cm thickness and laying one layer of thick agricultural nylon (polyphone sheets 1 mm). D: Spreading clean river sand layer with 8 cm thickness at the lowest area and increase the thickness according to the required slope. E: Finishing with concrete tiles of (80x80x4) cm thickness, taking into consideration the slope towards water drainage. F: Casting the edges by plain concrete of 21 Mpa compressive strength. G: Filling the joints with bitumen mastic with cautery with all required works to complete the job. | M2 | 35 |  | 0
14 | Perforated Gypsum Board False Ceiling Tiles : Supply and install perforated gypsum board false ceiling tiles of 60x60 cm dimension and 10 mm thickness which should be installed on the 2.7 m height from the ground level of the building, the work includes provision and installation of heavy thickness metal structure for false ceiling( L, T sections, hold down clips), galvanized steel rod 5mm (1.2x1.2m) for fixing it with the ceiling by screws "butterfly" type, and all installation and connection accessories with all works to complete the job. | M2 | 28 |  | 0
15 | Ceramic Tiles Supply materials, tools and manpower to finish the walls of sanitary units and 1.2 m height skirting for all the building walls and floors of the sanitary units and kitchen using ceramic tiles from a first-class and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work.
A | Ceramic tiles for the walls of (30x60)cm dimensions | M2 | 42 |  | 0
B | Ceramic tiles anti slip for the floors of (30x30) cm dimensions | M2 | 7 |  | 0
B-5: Plastering, Exterior Cladding for The Building and Painting Works: Including all materials, scaffolds, workmanship, tools and anywhere else needed
16 | Smoothed Cement Plastering: Supply materials, tools and manpower to plaster the building external walls and the front entrance of the building, parapets behind walls and the interior and exterior walls of the fence as per shown in attached drawings using smooth-finished cement plastering of 20mm thick with cement sand mortar (1:3) using aluminum straight edges, plastering in two coats over, the work includes spreading one layer of cement splash dash, putting a layer of metal mesh on the area under the cement plastering which should be installed at the linking area of the concrete beams and columns with the bricks walls with decoration works in the plastering according to supervisory committee directions, and all the required works to complete the work. | M2 | 190.4 |  | 0
17 | Gypsum Plastering Supply of materials, tools and manpower for gypsum plastering of the two layers minimum 20mm of brown and white gypsum using aluminum straight edges for the interior walls up to the concrete ceiling, the price includes one layer of cement splash dash under Gypsum plastering with cement-sand mortar, putting a layer of metal mesh on the area under the gypsum plastering which should be installed between the linking area of concrete beams and columns with the bricks walls and all the required works to complete the work. | M2 | 109.5 |  | 0
18 | Plastic Painting for Internal Walls: Supply of materials, tools and manpower to paint the interior walls with 3 layers of plastic painting (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls and ceilings, removing the dirt and dust with all the repairing works. All needed works to complete the job, shall be included within the price. | M2 | 110 |  | 0
19 | Plastic Painting For External Walls: Supply of materials, tools and manpower to paint the exterior walls and ceiling, with three layers of plastic (silicon water proof) paint paint (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls, removing the dirt and dust. All needed works to complete the job, shall be included within the price. | M2 | 190 |  | 0
B-6: Doors and Windows Works
20 | Steel Doors: Supply and install double face steel door, the partitions inside the door included every 20cm by steel Square hollow section (4cmX4cmx2mm), and covered with steel plate 1.5 mm thickness on both sides with the use of geometric engravings on the steel plates designed by CNC machines using steel plate 2 mm thick for the doors mentioned in attached drawings, the frame shall be from steel C section of 3 inch and 3 mm thickness and steel angle section of 1 inch and 2 mm thickness ( double steel frame), the work including all necessary fixings hinges, doors handles, locks with key, The submitted brand should be approved by the supervisory committee before starting supplying process, hands locks and fixing a stopper on the floor or wall, glazing using stained glass of 6 mm thick , insulation foam, accessories, mastic, hardware and painting with anti-rust paint and 3 layers of oil paints type hammer finish, locks, connections accessories, and all the required works to complete the work. The price including the removing works for old door with all required material and tools to repair the damaged places for the walls As following:
A | Supply and Install of Type D1 Steel door of (1 x 2.1) m dimensions | Ea. | 3 |  | 0
21 | PVC Door: Supply and install PVC door with frame(D3) of 2.1 x 0.9 m dimensions (the door color should be dark brown) for sanitary unit, It is installed in the walls by frame of steel C Section of 3 inch dimension, 3mm thick and painting with three layers of oil based paints in addition to anti rust primer. The PVC sections and panel lambrins should be wide section and from Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process as per the attached drawings with all accessories and installation of heavy duty locks, hinges and handles fromTurkish origin, with all the required works and accessories to complete the Job.
A | Supply and Install of Type D3 Steel door of (0.8 x 2.1) m dimensions | Ea. | 2 |  | 0
22 | Aluminum Window: a- Supply and install aluminum window with it is frame and installing by frame of steel C Section of 3 inch, 3mm thick and painting with three layers of oil based paints in addition to anti rust primer. Price of the work shall include using heavy thickness not less than 1.3mm and 7.5 cm width aluminum sections which should be approved by the supervisory committee before starting supplying process as per the drawings, installation of heavy duty locks and handles, installation of tinted glass of 6 mm thick, anti-insect netting mesh, steel guard frame (Steel Burglar frame) as per attached designs (The contractor should be complied with all details and design of steel guard frame referred to in the attached drawings) with painting the steel frame and guard frame with 3 layer of oil based paints “type hammer finish” in addition to anti rust prime coat, all the required works and accessories to complete the Job. b- The protection steel mesh for the windows should be fixed with the outer iron frame with all required material for installation works and base paint against the rust. the shape should be approved by supervision committee. The Windows dimensions as followings:
A | Supply and Install of Type W1 Aluminum window of 2.0 x 1.7 m dimension | Ea. | 1 |  | 0
B | Supply and Install of Type W2 Aluminum window of 0.3 x 0.3 m dimension | Ea. | 2 |  | 0
23 | Roller Curtains Supply and install roller curtains (Zebra Curtains) of high thickness for windows which should be approved by the supervisory committee before starting supplying process. the roller curtain fabric should be available in a variety of solar screen, light filtering, and room darkening fabrics, dual shade systems require two fabric selections. Typically, one blackout and one solar screen, in addition to its clutch mechanism should be made in corrosion resistant plastic and internal mechanisms of Nylon 6 construction. The curtains dimensions as followings:
A | Roller Curtains of 2.1 x 1.8 m dimension | Ea. | 2 |  | 0
C: Sanitary Works
24 | Installation and Connection of PVC pipes: Supply, install, connect, testing and commissioning PVC pipes of SN8 drainage 10 bar which should be approved by the supervisory committee before starting supplying process , starting from fixtures down to manholes and septic tank, The work includes excavation (40x60cm), backfill, covering the pipes at the joints with concrete 10 cm from all sides using sulphate resistant cement with all installations and connections accessories and fittings, Elbows, Tees, PVC p trap, gully trap .. etc.), with all the required works to complete the Job. As following:
A | PVC Pipe of 6 inch diameter. | M.l | 25 |  | 0
B | PVC Pipe of 4 inch diameter. | M.l | 45 |  | 0
25 | Concrete Manholes: Supply materials, tools and manpower to construct a fair faced concrete manholes using steel frame as below dimensions with plain concrete of 21 Mpa compressive strength and 10 cm thick for all works (Floor and walls) using sulphate resistant cement, the work includes soil excavations to any required depth, spreading two layer of sub-base layer “Class B” shall be applied in layers of 25 cm thick, watered, leveled and well compacted, with manhole hard plastic manhole covers, with all requirements to complete the job. As per below dimensions:
A | Manholes of 40 x 40 cm | Ea. | 5 |  | 0
26 | Floor Drain: Supply and install 4” PVC floor gully trap of 100mm diameter. Price to includes (15x15) double chrome plated cover, all required pipes and fitting to connect it with the main sewage pipes, excavation, concreting around pipes and gullies, which should be distributed according to the directives of the Engineering Committee and the attached drawings. All needed work to complete the job will be included within the price. | Ea. | 4 |  | 0
27 | Roof Drain pipes: Supply, installation, testing and commissioning 4" PVC pipe of 10 bar which should be approved by the supervisory committee before starting supplying process, properly fixed with brackets to the wall and the slab, complete with all fittings and accessories for draining rain water from the roof. With all required hanging accessories, fittings and vent caps and all the required works to complete the Job. | M.l | 18 |  | 0
28 | Eastern style toilet: Supply and Install ceramic eastern toilet of Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process of (50 x 60) cm dimension, White, complete with flush tank"kahramana type", fitting, stop, valve side tap and with water toilet mixer (hot & cool) with handheld shower of Turkish origin, all sewage and potable water pipes to connect it with networks, installing and connecting gully trap of 100mm diameter, toilet brush and holder and all the required works to complete the Job. | Ea. | 2 |  | 0
29 | Ceramic wash basin: Supply, install, connect and test white ceramic wash basin with stand which should be approved by the supervisory committee before starting supplying process, size (60 X 50) cm complete with all fittings, valves, gully-trap, all sewage and potable water pipes to connecting it with networks, the price also includes the water mixer- first class of Turkish origin with all connections and installations accessories, stainless steel toilet accessories ( soap basket, wall toilet paper holder, mirror of 35x50 cm dimension and any other necessary parts with all the required works to complete the Job. | Ea. | 2 |  | 0
30 | Galvanized Water Tank: Supply and install galvanized steel gage 16 water tank of 2000 Lit. capacity and Cylindrical shape. Price to include concrete stand and, supported by steel base made with 50mm (2") angle shape, float ball valve, valves, fittings, vents, check valves, connecting the tanks with the water distribution network of building and main water, and all necessary works to complete job. | Ea. | 2 |  | 0
31 | PPR pipes: Supply materials, tools and manpower to install, connect and test (PPR) pipes which should be approved by the supervisory committee before starting supplying process for the distribution water network (cold and hot water pipes)with isolate all hot water pipes by using arm flex and thermal tape and concreting 10cm around the pipes and the pipes from and to the water heater and the pipe which connecting the water network of the building and the source of main water network , price should include all connection and installations accessories and fitting as 90 elbow, tee and valve...etc., the work include connecting the project portable water network with water main source of the region which the PHCC is located, installing the pipe in walls, roofs and floor, testing the water pipes network for the building as per technical specifications with all the required works to complete the Job. As shown below:
A | PPR pipes of 1 inch diameter | M.l | 18 |  | 0
B | PPR pipes of 3/4 inch diameter | M.l | 36 |  | 0
32 | Galvanized iron water pipes Supply, install and test galvanized water pipes "class A" SCH40 to connect and transfer water from and to water tanks which should be installed on the building roof. The price includes all fittings and accessories such as 90 elbow, tee and valve...etc., the work include installing the pipe in walls, roofs and floors, excavation, backfilling, painting the pipes using 3 layers of anti-rust then isolate all hot water pipes by using arm flex and thermal tape and Teflon seal for connections of cold and hot water pipes and concreting 10cm around the pipes, all needed work to complete the job will be included within the price. As shown below:
A | Galvanized pipe of 1 inch diameter | M.l | 12 |  | 0
B | Galvanized pipe of 1.5 inch diameter | M.l | 10 |  | 0
33 | Taps: Supply and connect chrome water taps 1/2". Price of the work shall include all water connections, all pipes and fitting to connecting it with water distribution network and the taps locations should be determined by the engineering committee inside and outside the building. All needed work to complete the job will be included within the price. | Ea. | 4 |  | 0
34 | Septic Tank Supply of materials, tools and manpower to build septic tank of (L=3.0m, W=4.0m and H=2.0m) dimension as per attached drawings. The price also includes soil excavations, casting the reinforced concrete foundation of walls with 21 Mpa plain concrete , 20 cm thick and 50 cm width using soleplate resistant cement, build the walls of 36 cm width using red clay bricks type A of (24x 12x 7.5) cm and cement mortar (1:3) the required brand is ASO, Al-Hilal or equivalent which should be approved by the supervisory committee before starting supplying process, casting reinforced concrete with compressive strength 26 Mpa for 20 cm thick roof with two layers reinforcement of 12mmØ spaced @20cm both directions and installation of manhole two hard plastic manhole cover of (60 x 60 ) cm with all the required works to complete the Jobs. | Ea. | 1 |  | 0
D: Electrical Works
Notes: The items prices below should be included the following: 1- The works should be included the provision, installation, connection, operation and inspection of all the materials in their locations according instructions of the engineering committee, then testing the electrical network of the building, with all requirements to complete the job. 2- The work shall be according to the technical specifications and the materials shall be first class and original not commercial or imitative. The required brand for electrical cables, wires, electrical PVC conduits to pull the wires, fittings, galvanized steel electrical boxes for sockets and electrical switch of Gulf, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process. Lighting fixtures (ceiling or walls), bulbs, electrical lamp holders, LED projects and flood lights, celling fans, electrical sockets, metal distribution board box and switches of English, French origin or equivalent. Main and sub distribution boards, MCCB and MCB circuit backers and MCB Distribution Boards with all their accessories of ABB, Schneider, Siemens or equivalent. 3- The electrical PVC conduits which will use to pull the wires of lighting fixtures and electrical sockets and switches..etc.. should be installed inside the concrete roofs not on their outer surface. 4- The contractor shall submit samples of all materials before providing to be approved or rejected them by engineering committee. 5- All electrical works should be subjected technical specifications (please see attached)
35 | One Gang Switched Socket of 13 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 13 Amp capacity using single copper wires of (3x4) mm2 for main wires from MCB Distribution Boards and single wires of (2x2.5) mm2 for sub wires which feeding the socket outlets, which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 8 |  | 0
36 | One Gang Switched Socket of 15 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 15 Amp capacity using single copper wires of (3x4) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
37 | Supply, install, connect, test and commission electrical point for Exhaust Fans, of 20 Amp capacity using single copper wires of (3x2.5) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 2 |  | 0
38 | Double Pole Switch of 45 Amp with Neon Supply, install, connect, test and commission electrical point with double pole socket of 45 Amp capacity and IP54 with neon for air conditioning devices and water heaters using single copper wires of (3x4) mm2 for earthing which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 2 |  | 0
39 | Supply, install, connect, test and commission electrical point for isolator , of 32A capacity , IP54 for A/C units using single copper wires of (3x4) mm2 for earthing which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 2 |  | 0
40 | Ceiling Fan Supply, install, connect, test and commission electrical installations with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of (2x2.5) mm2 , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The electrical installations are as following:
A | Ceiling fan of 56 inches with Fan Speed Control Switch | Ea. | 3 |  | 0
B | Walls fan of 8 inches with Fan Speed Control Switch | Ea. | 3 |  | 0
41 | Lighting Fixtures Supply, install, connect, test and operate lighting fixtures with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of 2.5 mm2 for main wires from MCB Distribution Boards and single wires of (2x1.5) mm2 for sub wires which feeding the lighting fixtures and earthing wire , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The lighting fixtures are as following:
A | LED Ceiling Tiles Lights (LED Surface Lights) of 40 Watt, 6500K, 4200 Lumens | Ea. | 10 |  | 0
B | Outdoor wall lighting fixtures with Led bulb lights ( Economic Bulb) of 40 watt which should be installed on wall with all installations and connections accessories | Ea. | 6 |  | 0
C | Outdoor LED flood light (Waterproof) of 200 Watt, It should be installed in the rooftop of the building . | Ea. | 2 |  | 0
42 | Cables Supply, Install, connect, test and commission cables, the price should include supplying, installing, testing, commissioning materials, workmanship, equipment, machinery, trenching, all installation and connection accessories, the work includes pulling the cables that will come from MDB to FDB’s by using suitable PVC pipe and manholes (the price includes excavate the cables path in the existing floor and install the pipes), pulling the cables inside the PVC pipe of 10 bar in areas that intersect with the cars crossing areas and covering the pipe with 0.3 m plain concrete cover and pulling the cables that must feed the distribution boards inside the PVC pipes which should be installed in the walls well with excavation works for the pipe trench in the wall with plain concrete cover. The cables must be one length from the electric feeding sources to the electrical distribution boards, ie, it is not permissible to make joints when laying the cables, with all the required works to complete the Job. This items includes the cables shown below
A | Unarmored cable of (4x25) mm²+(1x16) mm² to feed the MCB Distribution Board DB-T which are shown in attached drawings from the existing main distribution board of the project. | M.l | 50 |  | 0
43 | 36 Ways MCB Distribution Boards Supply, install, connect, test and commission of 36 ways, TP + N bus bar type distribution board Combination bus bar and Din Rail, 2 row, 36 ways. of modules (distance between rows 150mm), contain of earth leakage circuit breakers for water heaters, with single door complete with accessories and separate neutral strip to accommodate incoming miniature circuit breaker (MCB) triple pole and 200 Amp capacity with bus bar of 250 Amp and outgoing SP MCBs, with all installations and connections accessories and all the required works to complete the Job. | Ea. | 1 |  | 0
44 | Manhole Supply materials, tools and manpower to build manhole of (40x40x40)cm dimension using bricks and cement mortar (1:3) the work includes plastering using cement- sand mortar (1:3) and installation of hard plastic cover of 40x40 cm with all the required works to complete the Job. | Ea. | 2 |  | 0
E: Mechanical Works
45 | Air-Conditioning Split Units: Supply, install, connect and test ceiling air-conditioning units as per capacities shown below, heating and cooling, the compressor type T3 inverter compressor and gas type "Freon gas R410A", the work includes, supplying, installing and connecting drain pipes inside the walls using PPR pipe of 3/4 inch with all required fittings to the nearest drain point, all required sleeve pipes from PVC pipe of 3 Inch diameter with all required fittings which should be installed in the walls and during cast the slab to connect the all the refrigerant piping to the condensing unit from indoor unit to outdoor unit which should be installed on the roof. The price should include, all the refrigerant piping to the condensing unit (from indoor unit to outdoor unit), all wiring, electrical controls, a steel base stand and steel sunshade for the outdoor unit, protection devices and all installation and connection accessories required, the required brand should be approved by the supervisory committee before starting supplying process. For more details, please see attached the Compliance sheet.
A | A/C unit Single Phase ,2 Ton capacity | Ea. | 3 |  | 0
46 | Portable Fire Extinguisher Powder Supply and install portable fire extinguisher powder of 25 Kg capacity-(A.B.C) type which should be installed in the locations determined by supervisory committee. The installation shall be complete with brackets and it should be usable for at least three years from the date of receipt all in accordance with the Civil Defense specification, with training candidates from the end user on how to use them. | Ea. | 2 |  | 0
47 | Portable Fire Extinguisher: Supply and install portable fire extinguisher 8 Kg capacity - CO2. which should be installed in the locations determined by supervisory committee. The supplied material should be according to approved specifications of the Civil Defense Directorate, the installation shall be complete with brackets. | Ea. | 2 |  | 0
48 | Electrical Water Heater Supply, install, connect, and commission electrical heater of 160 Liter capacity. The price includes supplying, installing, connecting, laying and commissioning drilling, cutting, all pipes, fitting, valves, check valves, relief valves and steel base and connect it with the electrical source using cable (3x4) mm2, with all the required works to complete the Job.For more details please see compliance sheet. | Ea. | 1 |  | 0
| Part 2 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P3- Sleeping Hall
Part 3 : Construction of Sleeping Hall & Sanitary Unit
# | Item | Unit | Quantity | Price $ | Total $
A : Site Preparation Works
1 | Site preparation: Supply materials, tools, heavy construction equipment and manpower to demolish and remove the required parts of existing building with all concrete structure, walls, blocks and foundations which existing up and down the ground level and 25cm of the existing soil of project ground. All project area shall be cleared of grass and weeds to at least a depth of 30 cm. Cleared of structures, pavement, sidewalks, concrete or masonry debris, trees, logs, upturned stumps, loose boulders, and any other objectionable material of any kind which would interfere with the performance or completion of the work, create a hazard to safety, or impair the subsequent usefulness of the work, or obstruct its operation. The price should include dewatering of surface, ground water and ponds within the area of the project (if any). In addition to remove trees and other natural vegetation outside and inside the actual lines of project area, and all debris from the site to a dump site approved by the relevant authority. marking and planning the buildings of the project,the work includes uploading, transportation and offloading all existing materials, furniture inside the project to End User warehouses before demolishing the buildings and delivering them by official storage documents according to instruction of the supervisory committee, cleaning and washing all parts of the project after completing the construction works. All needed work to complete the job will be included within the price. | LS | 1 |  | 0
2 | Excavation Works: Excavation in all types of soil (even rock layers, concrete foundations, etc..) for the training room area starting at the existing ground level down to the required depth approved by the engineering committee, removing of all material a site approved by local authorities. The price include cleaning and leveling the bed of the excavation, compaction using heavy construction equipment - single drum sheep feet and vibratory road roller compactor (the compaction of these areas should not be less than 90% of MDD to comply with the modified proctor test) and dewatering the underground water if the groundwater level is high on a daily basis using water tank truck until the completion of the foundations and all the required works to complete the Job. All needed work to complete the job will be included within the price. | M3 | 70 |  | 0
3 | Spreading Stone Layer Supply materials, tools and manpower to spread and pave stone layer of class B regularly under the buildings areas, the stone layer thickness not less than 30 cm, the work includes excavating drainage channel to dewatering the underground water if the groundwater level is high on a daily basis using water tank truck, compaction of the stone layer well using vibratory road roller compactor and all the required works to complete the Job. | M2 | 50 |  | 0
4 | Spreading Sub-base Layers Supply of materials, tools and manpower for filling (in layers not exceeding 20cm, including compaction up to 95% of MDD to comply with the modified proctor test ) with sub base (type B) up to the required levels for the area of project, with required treatment. All needed work to complete the job will be included within the price. | M3 | 55 |  | 0
B: Civil Works
B-1: Concrete Works
5 | Laying One Layer of Thick Nylon Supply materials, tools and manpower for laying one layer of thick agricultural nylon of 1mm thick) . The nylon should lay before casting the concrete covering , with all the required works to complete the Job. | M2 | 110 |  | 0
6 | Sulphate Resistant Plain Concrete Supply materials, tools and manpower to cast Sulphate resistant plain concrete with compressive strength 21 MPa , (Slump 5"), the work includes expansion joints every 20 m2 and according to the instructions of engineering committee, and all the required works to complete the Job.as the following:
A | Minimum 10 cm thick Under foundations (Blinding) | M2 | 95 |  | 0
B | Minimum 20 cm thick and 25cm width with using Sika proof for D.P.C layer using heavy thickness steel frame of 15 cm height | M.l | 75 |  | 0
C | Minimum 10 cm thick under mosaic tiles by using BRC dia. (15x15)cm gage 6mm | M2 | 110 |  | 0
7 | Reinforced Concrete: Supply materials, tools and manpower to cast reinforced concrete with compressive strength 30 Mpa for all concrete works , the work includes shuttering( formwork), reinforcement and all accessories as per the attached drawings and technical specification, the price should include using high yield strength of (420N/mm2) deformed steel reinforcement (Ukraine or Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process and conform to the required specifications), coating the buried foundations and any part of columns using the tar class II or III and emphasis on water spraying (Curing) not less than 7 days, the use of Jute Cloth in the curing process with all the required works to complete the Job, as following:
A | Foundations using sulfur resistant cement | M3 | 27 |  | 0
B | Roofs of 18 cm thick and parapets | M3 | 25 |  | 0
C | Columns | M3 | 4 |  | 0
D | Drop beams (The prominent part of the ceiling is calculated) | M3 | 4 |  | 0
E | lintel beams above the openings of doors and windows | M3 | 2 |  | 0
B-2: Building Works With bricks
8 | Build The Walls Under D.P.C Layer Using Red Clay Bricks Supply materials, tools and manpower to build the walls under D.P.C layer using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process , the work includes filling joints and spaces by sulfur resistant cement-sand mortar (1:3) , plastering the walls with cement –sand mortar (1:3) and spreading for both sides of the walls with tar Class II or III with all the required works to complete the Job. | M3 | 19 |  | 0
9 | Build The Walls Above D.P.CLayer Using Red Clay Bricks Supply materials, tools and manpower to build the walls building and parapets walls of 24cm thick above D.P.C layer and 12 cm thick for the partitions using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process, with all the required works to complete the Job. | M3 | 56 |  | 0
B-3: Backfilling With River Sand Layers
10 | Backfilling Works: Supply of materials, tools and manpower for filling in layers not exceeding 40cm thick for the one layer, including good compaction using approved river sand up to D.P.C layer level inside the building and in any area required within inside the building with all necessary works, with required treatment. All needed work to complete the job will be included within the price. | M3 | 115 |  | 0
B-4: Tiling Works and False Ceiling Works
11 | Mosaic Tiles for The Building Floors Supply materials, tools and manpower to finish the buildings floors using Mosaic tiles of (40X40) cm dimensions and 4 cm thick with Class A which should be approved by the supervisory committee before starting supplying process (original, not commercial or imitative) and cement sand mortar (1:3) , the tiles final faces should be flat and free from any ripples, the price includes steps of polishing and glazing the Mosaic tiles in site and not limited to fill the joints with white cement, use of pieces and strips of Mosaic tiles (Different in terms of colors) to work decorations and geometric shapes in the floors according to the direction of the Engineering Committee, cleaning the concrete floors well before finishing the floor using the tiles and taking into consideration the make of joints which not exceeding the width it of 1.5 cm for each 8 to 12 M.l and it is subsequently filled with Sikaflex construction AP with Back up rod for joints tiles . The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the full physical and chemical laboratory tests and according to Iraqi standard specifications, with all the required works to complete the work. | M2 | 80 |  | 0
12 | Ceramic Skirting: Supply materials, tools and manpower to finish the walls 10cm height skirting a first-class (Spanish Brand) and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work. | M.L | 60 |  | 0
13 | Ceramic Tiles Supply materials, tools and manpower to finish the walls of sanitary units and 1.2 m height skirting for all the building walls and floors of the sanitary units and kitchen using ceramic tiles from a first-class and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work.
A | Ceramic tiles for the walls of (30x60)cm dimensions | M2 | 70 |  | 0
B | Ceramic tiles anti slip for the floors of (30x30) cm dimensions | M2 | 15 |  | 0
14 | Roofing Using Concrete Tiles Supply materials, tools and manpower for roofing works according to the technical specifications, the work includes the following: A: Cleaning the roof well using air compressor and coating all the roof with two layers of liquid bitumen primer for waterproofing (flancote). B: Spreading opposite layers of tar of (30/20) grade and laying between them a good quality of SBS modified bitumen waterproofing membrane (Saudi, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process) of 3mm thick, the tar layers and bitumen waterproofing membranes level must be raised 20 cm height around water baffles for the building and overlapping between the bitumen waterproofing membrane pieces not less than 15 cm for both directions. C: Spreading high density and compressed corks layer of 5 cm thickness and laying one layer of thick agricultural nylon (polyphone sheets 1 mm). D: Spreading clean river sand layer with 8 cm thickness at the lowest area and increase the thickness according to the required slope. E: Finishing with concrete tiles of (80x80x4) cm thickness, taking into consideration the slope towards water drainage. F: Casting the edges by plain concrete of 21 Mpa compressive strength. G: Filling the joints with bitumen mastic with cautery with all required works to complete the job. | M2 | 110 |  | 0
15 | Perforated Gypsum Board False Ceiling Tiles : Supply and install perforated gypsum board false ceiling tiles of 60x60 cm dimension and 10 mm thickness which should be installed on the 2.7 m height from the ground level of the building, the work includes provision and installation of heavy thickness metal structure for false ceiling( L, T sections, hold down clips), galvanized steel rod 5mm (1.2x1.2m) for fixing it with the ceiling by screws "butterfly" type, and all installation and connection accessories with all works to complete the job. | M2 | 80 |  | 0
16 | PVC False Ceiling : Supply and install PVC false ceiling tiles of 60x60 cm dimension and 10mm thick which should be installed on the 2.7 m height from ground level of the building for the sanitary units and kitchen, the work includes provision and installation of heavy thickness metal structure for false ceiling( L, T sections, hold down clips), galvanized steel rod 5mm (1.2x1.2m) for fixing it with the ceiling by screws "butterfly" type, and all installation and connection accessories with all works to complete the job. | M2 | 15 |  | 0
B-5: Plastering, Exterior Cladding for The Building and Painting Works: Including all materials, scaffolds, workmanship, tools and anywhere else needed
17 | Smoothed Cement Plastering: Supply materials, tools and manpower to plaster the building external walls and the front entrance of the building, parapets behind walls and the interior and exterior walls of the fence as per shown in attached drawings using smooth-finished cement plastering of 20mm thick with cement sand mortar (1:3) using aluminum straight edges, plastering in two coats over, the work includes spreading one layer of cement splash dash, putting a layer of metal mesh on the area under the cement plastering which should be installed at the linking area of the concrete beams and columns with the bricks walls with decoration works in the plastering according to supervisory committee directions, and all the required works to complete the work. | M2 | 280 |  | 0
18 | Gypsum Plastering Supply of materials, tools and manpower for gypsum plastering of the two layers minimum 20mm of brown and white gypsum using aluminum straight edges for the interior walls up to the concrete ceiling, the price includes one layer of cement splash dash under Gypsum plastering with cement-sand mortar, putting a layer of metal mesh on the area under the gypsum plastering which should be installed between the linking area of concrete beams and columns with the bricks walls and all the required works to complete the work. | M2 | 160 |  | 0
19 | Plastic Painting for Internal Walls: Supply of materials, tools and manpower to paint the interior walls with 3 layers of plastic painting (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls and ceilings, removing the dirt and dust with all the repairing works. All needed works to complete the job, shall be included within the price. | M2 | 130 |  | 0
20 | Plastic Painting For External Walls: Supply of materials, tools and manpower to paint the exterior walls and ceiling, with three layers of plastic (silicon water proof) paint (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls, removing the dirt and dust. All needed works to complete the job, shall be included within the price. | M2 | 280 |  | 0
B-6: Doors and Windows Works
21 | Steel Doors: Supply and install double face steel door, the partitions inside the door included every 20cm by steel Square hollow section (4cmX4cmx2mm), and covered with steel plate 1.5 mm thickness on both sides with the use of geometric engravings on the steel plates designed by CNC machines using steel plate 2 mm thick for the doors mentioned in attached drawings, the frame shall be from steel C section of 3 inch and 3 mm thickness and steel angle section of 1 inch and 2 mm thickness ( double steel frame), the work including all necessary fixings hinges, doors handles, locks with key, The submitted brand should be approved by the supervisory committee before starting supplying process, hands locks and fixing a stopper on the floor or wall, glazing using stained glass of 6 mm thick , insulation foam, accessories, mastic, hardware and painting with anti-rust paint and 3 layers of oil paints type hammer finish, locks, connections accessories, and all the required works to complete the work. The price including the removing works for old door with all required material and tools to repair the damaged places for the walls As following:
A | Supply and Install of Type D1 Steel door of (1 x 2.1) m dimensions | Ea. | 3 |  | 0
22 | PVC Door: Supply and install PVC door with frame (the door color should be dark brown) for sanitary unit, It is installed in the walls by frame of steel C Section of 3 inch dimension, 3mm thick and painting with three layers of oil based paints in addition to anti rust primer. The PVC sections and panel lambrins should be wide section and which should be approved by the supervisory committee before starting supplying process as per the attached drawings with all accessories and installation of heavy duty locks, hinges and handles fromTurkish origin, with all the required works and accessories to complete the Job. The price including the removing works for old door with all required material and tools to repair the damaged places for the walls As following:
a | Supply and Install of Type D3 PVC door (0.90 x 2.1) m dimensions | Ea. | 3 |  | 0
23 | Aluminum Window: a- Supply and install aluminum window with it is frame and installing by frame of steel C Section of 3 inch, 3mm thick and painting with three layers of oil based paints in addition to anti rust primer. Price of the work shall include using heavy thickness not less than 1.3mm and 7.5 cm width aluminum sections which should be approved by the supervisory committee before starting supplying process as per the drawings, installation of heavy duty locks and handles, installation of tinted glass of 6 mm thick, anti-insect netting mesh, steel guard frame (Steel Burglar frame) as per attached designs (The contractor should be complied with all details and design of steel guard frame referred to in the attached drawings) with painting the steel frame and guard frame with 3 layer of oil based paints “type hammer finish” in addition to anti rust prime coat, all the required works and accessories to complete the Job. b- The protection steel mesh for the windows should be fixed with the outer iron frame with all required material for installation works and base paint against the rust. the shape should be approved by supervision committee. The Windows dimensions as followings:
A | Supply and Install of Type W1 Aluminum window of 2.0 x 1.7 m dimension | Ea. | 4 |  | 0
B | Supply and Install of Type W2 Aluminum window of 0.6 x 0.5 m dimension | Ea. | 2 |  | 0
24 | Roller Curtains Supply and install roller curtains (Zebra Curtains) of high thickness for windows which should be approved by the supervisory committee before starting supplying process. the roller curtain fabric should be available in a variety of solar screen, light filtering, and room darkening fabrics, dual shade systems require two fabric selections. Typically, one blackout and one solar screen, in addition to its clutch mechanism should be made in corrosion resistant plastic and internal mechanisms of Nylon 6 construction. The curtains dimensions as followings:
A | Roller Curtains of 2.1 x 1.8 m dimension | Ea. | 4 |  | 0
C: Sanitary Works
25 | Installation and Connection of PVC pipes: Supply, install, connect, testing and commissioning PVC pipes of SN8 drainage 10 bar which should be approved by the supervisory committee before starting supplying process , starting from fixtures down to manholes and septic tank, The work includes excavation (40x60cm), backfill, covering the pipes at the joints with concrete 10 cm from all sides using sulphate resistant cement with all installations and connections accessories and fittings, Elbows, Tees, PVC p trap, gully trap .. etc.), with all the required works to complete the Job. As following:
A | PVC Pipe of 6 inch diameter. | M.l | 20 |  | 0
B | PVC Pipe of 4 inch diameter. | M.l | 45 |  | 0
26 | Concrete Manholes: Supply materials, tools and manpower to construct a fair faced concrete manholes using steel frame as below dimensions with plain concrete of 21 Mpa compressive strength and 10 cm thick for all works (Floor and walls) using sulphate resistant cement, the work includes soil excavations to any required depth, spreading two layer of sub-base layer “Class B” shall be applied in layers of 25 cm thick, watered, leveled and well compacted, with manhole hard plastic manhole covers, with all requirements to complete the job. As per below dimensions:
A | Manholes of 40 x 40 cm | Ea. | 4 |  | 0
27 | Floor Drain: Supply and install 4” PVC floor gully trap of 100mm diameter. Price to includes (15x15) double chrome plated cover, all required pipes and fitting to connect it with the main sewage pipes, excavation, concreting around pipes and gullies, which should be distributed according to the directives of the Engineering Committee and the attached drawings. All needed work to complete the job will be included within the price. | Ea. | 4 |  | 0
28 | Roof Drain pipes: Supply, installation, testing and commissioning 4" PVC pipe of 10 bar which should be approved by the supervisory committee before starting supplying process, properly fixed with brackets to the wall and the slab, complete with all fittings and accessories for draining rain water from the roof. With all required hanging accessories, fittings and vent caps and all the required works to complete the Job. | M.l | 14 |  | 0
29 | Eastern style toilet: Supply and Install ceramic eastern toilet of Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process of (50 x 60) cm dimension, White, complete with flush tank"kahramana type", fitting, stop, valve side tap and with water toilet mixer (hot & cool) with handheld shower of Turkish origin, all sewage and potable water pipes to connect it with networks, installing and connecting gully trap of 100mm diameter, toilet brush and holder and all the required works to complete the Job. | Ea. | 2 |  | 0
30 | Ceramic wash basin: Supply, install, connect and test white ceramic wash basin with stand which should be approved by the supervisory committee before starting supplying process, size (60 X 50) cm complete with all fittings, valves, gully-trap, all sewage and potable water pipes to connecting it with networks, the price also includes the water mixer- first class of Turkish origin with all connections and installations accessories, stainless steel toilet accessories ( soap basket, wall toilet paper holder, mirror of 35x50 cm dimension and any other necessary parts with all the required works to complete the Job. | Ea. | 1 |  | 0
31 | Galvanized Water Tank: Supply and install galvanized steel gage 16 water tank of 2000 Lit. capacity and Cylindrical shape. Price to include concrete stand and, supported by steel base made with 50mm (2") angle shape, float ball valve, valves, fittings, vents, check valves, connecting the tanks with the water distribution network of building and main water, and all necessary works to complete job. | Ea. | 2 |  | 0
32 | PPR pipes: Supply materials, tools and manpower to install, connect and test (PPR) pipes which should be approved by the supervisory committee before starting supplying process for the distribution water network (cold and hot water pipes)with isolate all hot water pipes by using arm flex and thermal tape and concreting 10cm around the pipes and the pipes from and to the water heater and the pipe which connecting the water network of the building and the source of main water network , price should include all connection and installations accessories and fitting as 90 elbow, tee and valve...etc., the work include connecting the project portable water network with water main source of the region which the PHCC is located, installing the pipe in walls, roofs and floor, testing the water pipes network for the building as per technical specifications with all the required works to complete the Job. As shown below:
A | PPR pipes of 1 inch diameter | M.l | 20 |  | 0
B | PPR pipes of 3/4 inch diameter | M.l | 35 |  | 0
33 | Galvanized iron water pipes Supply, install and test galvanized water pipes "class A" SCH40 to connect and transfer water from and to water tanks which should be installed on the building roof. The price includes all fittings and accessories such as 90 elbow, tee and valve...etc., the work include installing the pipe in walls, roofs and floors, excavation, backfilling, painting the pipes using 3 layers of anti-rust then isolate all hot water pipes by using arm flex and thermal tape and Teflon seal for connections of cold and hot water pipes and concreting 10cm around the pipes, all needed work to complete the job will be included within the price. As shown below:
A | Galvanized pipe of 1 inch diameter | M.l | 15 |  | 0
B | Galvanized pipe of 1.5 inch diameter | M.l | 10 |  | 0
34 | Taps: Supply and connect chrome water taps 1/2". Price of the work shall include all water connections, all pipes and fitting to connecting it with water distribution network and the taps locations should be determined by the engineering committee inside and outside the building. All needed work to complete the job will be included within the price. | Ea. | 2 |  | 0
35 | Septic Tank Supply of materials, tools and manpower to build septic tank of (L=4.0m, W=4.0m and H=2.0m) dimension as per attached drawings. The price also includes soil excavations, casting the reinforced concrete foundation of walls with 21 Mpa plain concrete , 20 cm thick and 50 cm width using soleplate resistant cement, build the walls of 36 cm width using red clay bricks type A of (24x 12x 7.5) cm and cement mortar (1:3) the required brand is ASO, Al-Hilal or equivalent which should be approved by the supervisory committee before starting supplying process, casting reinforced concrete with compressive strength 26 Mpa for 20 cm thick roof with two layers reinforcement of 12mmØ spaced @20cm both directions and installation of manhole two hard plastic manhole cover of (60 x 60 ) cm with all the required works to complete the Jobs. | Ea. | 1 |  | 0
D: Electrical Works
Notes: The items prices below should be included the following: 1- The works should be included the provision, installation, connection, operation and inspection of all the materials in their locations according instructions of the engineering committee, then testing the electrical network of the building, with all requirements to complete the job. 2- The work shall be according to the technical specifications and the materials shall be first class and original not commercial or imitative. The required brand for electrical cables, wires, electrical PVC conduits to pull the wires, fittings, galvanized steel electrical boxes for sockets and electrical switch of Gulf, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process. Lighting fixtures (ceiling or walls), bulbs, electrical lamp holders, LED projects and flood lights, celling fans, electrical sockets, metal distribution board box and switches of English, French origin or equivalent. Main and sub distribution boards, MCCB and MCB circuit backers and MCB Distribution Boards with all their accessories of ABB, Schneider, Siemens or equivalent. 3- The electrical PVC conduits which will use to pull the wires of lighting fixtures and electrical sockets and switches..etc.. should be installed inside the concrete roofs not on their outer surface. 4- The contractor shall submit samples of all materials before providing to be approved or rejected them by engineering committee. 5- All electrical works should be subjected technical specifications (please see attached)
36 | One Gang Switched Socket of 13 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 13 Amp capacity using single copper wires of (3x4) mm2 for main wires from MCB Distribution Boards and single wires of (2x2.5) mm2 for sub wires which feeding the socket outlets, which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 22 |  | 0
37 | One Gang Switched Socket of 15 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 15 Amp capacity using single copper wires of (3x4) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 8 |  | 0
38 | Supply, install, connect, test and commission electrical point for Exhaust Fans, of 20 Amp capacity using single copper wires of (3x2.5) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 2 |  | 0
39 | Double Pole Switch of 45 Amp with Neon Supply, install, connect, test and commission electrical point with double pole socket of 45 Amp capacity and IP54 with neon for air conditioning devices and water heaters using single copper wires of (3x4) mm2 for earthing which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
40 | Supply, install, connect, test and commission electrical point for isolator , of 32A capacity , IP54 for A/C units using single copper wires of (3x4) mm2 for earthing which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
41 | Ceiling Fan Supply, install, connect, test and commission electrical installations with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of (2x2.5) mm2 , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The electrical installations are as following:
A | Ceiling fan of 56 inches with Fan Speed Control Switch | Ea. | 4 |  | 0
B | Exhaust fan of 8 inch diameter with electrical switch of 10 Amp capacity | Ea. | 2 |  | 0
42 | Lighting Fixtures Supply, install, connect, test and operate lighting fixtures with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of 2.5 mm2 for main wires from MCB Distribution Boards and single wires of (2x1.5) mm2 for sub wires which feeding the lighting fixtures and earthing wire , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The lighting fixtures are as following:
A | LED Ceiling Tiles Lights (LED Surface Lights) of 40 Watt, 6500K, 4200 Lumens | Ea. | 23 |  | 0
B | Outdoor wall lighting fixtures with Led bulb lights ( Economic Bulb) of 40 watt which should be installed on wall with all installations and connections accessories | Ea. | 16 |  | 0
C | Outdoor LED flood light (Waterproof) of 200 Watt, It should be installed in the rooftop of the building . | Ea. | 3 |  | 0
43 | Cables Supply, Install, connect, test and commission cables, the price should include supplying, installing, testing, commissioning materials, workmanship, equipment, machinery, trenching, all installation and connection accessories, the work includes pulling the cables that will come from MDB to FDB’s by using suitable PVC pipe and manholes (the price includes excavate the cables path in the existing floor and install the pipes), pulling the cables inside the PVC pipe of 10 bar in areas that intersect with the cars crossing areas and covering the pipe with 0.3 m plain concrete cover and pulling the cables that must feed the distribution boards inside the PVC pipes which should be installed in the walls well with excavation works for the pipe trench in the wall with plain concrete cover. The cables must be one length from the electric feeding sources to the electrical distribution boards, ie, it is not permissible to make joints when laying the cables, with all the required works to complete the Job. This items includes the cables shown below
A | Unarmored cable of (4x25) mm²+(1x16) mm² to feed the MCB Distribution Board DB-T which are shown in attached drawings from the existing main distribution board of the project. | M.l | 35 |  | 0
44 | 36 Ways MCB Distribution Boards Supply, install, connect, test and commission of 36 ways, TP + N bus bar type distribution board Combination bus bar and Din Rail, 2 row, 36 ways. of modules (distance between rows 150mm), contain of earth leakage circuit breakers for water heaters, with single door complete with accessories and separate neutral strip to accommodate incoming miniature circuit breaker (MCB) triple pole and 200 Amp capacity with bus bar of 250 Amp and outgoing SP MCBs, with all installations and connections accessories and all the required works to complete the Job. | Ea. | 1 |  | 0
45 | Manhole Supply materials, tools and manpower to build manhole of (40x40x40)cm dimension using bricks and cement mortar (1:3) the work includes plastering using cement- sand mortar (1:3) and installation of hard plastic cover of 40x40 cm with all the required works to complete the Job. | Ea. | 4 |  | 0
E: Mechanical Works
46 | Air-Conditioning Split Units: Supply, install, connect and test ceiling air-conditioning units as per capacities shown below, heating and cooling, the compressor type T3 inverter compressor and gas type "Freon gas R410A", the work includes, supplying, installing and connecting drain pipes inside the walls using PPR pipe of 3/4 inch with all required fittings to the nearest drain point, all required sleeve pipes from PVC pipe of 3 Inch diameter with all required fittings which should be installed in the walls and during cast the slab to connect the all the refrigerant piping to the condensing unit from indoor unit to outdoor unit which should be installed on the roof. The price should include, all the refrigerant piping to the condensing unit (from indoor unit to outdoor unit), all wiring, electrical controls, a steel base stand and steel sunshade for the outdoor unit, protection devices and all installation and connection accessories required, the required brand should be approved by the supervisory committee before starting supplying process. For more details, please see attached the Compliance sheet.
A | A/C unit Single Phase ,2 Ton capacity | Ea. | 4 |  | 0
47 | Portable Fire Extinguisher Powder Supply and install portable fire extinguisher powder of 25 Kg capacity-(A.B.C) type which should be installed in the locations determined by supervisory committee. The installation shall be complete with brackets and it should be usable for at least three years from the date of receipt all in accordance with the Civil Defense specification, with training candidates from the end user on how to use them. | Ea. | 4 |  | 0
48 | Portable Fire Extinguisher: Supply and install portable fire extinguisher 8 Kg capacity - CO2. which should be installed in the locations determined by supervisory committee. The supplied material should be according to approved specifications of the Civil Defense Directorate, the installation shall be complete with brackets. | Ea. | 6 |  | 0
49 | Electrical Water Heater Supply, install, connect, and commission electrical heater of 160 Liter capacity. The price includes supplying, installing, connecting, laying and commissioning drilling, cutting, all pipes, fitting, valves, check valves, relief valves and steel base and connect it with the electrical source using cable (3x4) mm2, with all the required works to complete the Job.For more details please see compliance sheet. | Ea. | 1 |  | 0
50 | Water Pump: Supply, install and connect water pump with motor(1.1 kW, 220 V, 50 Hz ), Q=3 m3/Hr@ H=15 m. The submitted brand must be compliant to Iraqi Standards and approved by the supervisory committee, check valve and strainer for connecting the pump suction pipe to the main water source pipe and connecting the discharge of the pump with pipe going up to the tanks also the pump should have pressure switch on the pump and electrical float switch ball type in the tank the price include extending cable (2X1.5 mm²) from motor control switch to float switch for shut down the pump when the tank is filled . The work includes all connection and installation accessories, the electrical connection using 1.0 kV grade PVC insulated copper cable 3x2.5 mm², supplying and installing steel box to protect the pump of theft and weather conditions made of steel angle section of 1.5 inch and 2 mm thick and steel plate of 1.5 mm thick for box slab with all required works and painting, and all accessories to complete work as required. For more details please see compliance sheet. | Ea. | 2 |  | 0
| Part 3 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P4- Interrogation Rooms
Part 4: Interrogation Rooms
# | Item | Unit | Quantity | Price $ | Total $
A : Site Preparation Works
1 | Site preparation: Supply materials, tools, to demolish wall partition for door area with remove the debris out of the project area, as well as the work should be started when the steel angle (3 inches) above the door for both sides with all required works to complete the job. | LS | 1 |  | 0
B : Civil Works
B-1: Building Works With bricks
2 | Build The Walls Above D.P.CLayer Using Red Clay Bricks Supply materials, tools and manpower to build the walls building and parapets walls of 24cm thick above D.P.C layer and 12 cm thick for the partitions using red clay bricks type A of (24x 12x 7.5) cm and cement-sand mortar (1:3) as per attached drawings, the required brand should be approved by the supervisory committee before starting supplying process, with all the required works to complete the Job. | M3 | 6 |  | 0
B-2: Glasses Mirror Opening
3 | Glasses Partition: Supply materials, tools and manpower to install glass opening at the bricks partition of the room, (10mm) the type security tinted mirror glass with Aluminum Frame G60, All the work should be according to the attached drawings.
A | Supply and install Glass Opening (1.15*1.6)m | Ea. | 2 |  | 0
B-3: Plastering, Exterior Cladding for The Building and Painting Works: Including all materials, scaffolds, workmanship, tools and anywhere else needed
4 | Gypsum Plastering Supply of materials, tools and manpower for gypsum plastering of the two layers minimum 20mm of brown and white gypsum using aluminum straight edges for the interior walls up to the concrete ceiling, the price includes one layer of cement splash dash under Gypsum plastering with cement-sand mortar, putting a layer of metal mesh on the area under the gypsum plastering which should be installed between the linking area of concrete beams and columns with the bricks walls and all the required works to complete the work. | M2 | 41 |  | 0
5 | Plastic Painting for Internal Walls: Supply of materials, tools and manpower to paint the interior walls with 3 layers of plastic painting (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls and ceilings, removing the dirt and dust with all the repairing works. All needed works to complete the job, shall be included within the price. | M2 | 120 |  | 0
B-4: Doors and Windows Works
6 | Teak (Saj) Wooden Doors: Supply and install D1 teak (saj) leave wooden doors of As Built dimensions with 6x3 inch red cedar (jawi) frame of AS Built dimensions(from outside to abroad)as per the attached drawings. Price of the work shall include the thickness of teak layer not less than 5 mm thick for each door face, installing geometric motifs on the exterior and interior faces for the door made of Jawi wood, Jawi wood frame around the door of 5 cm width and 1 cm thick, heavy duty door locks and handles which should be approved by the supervisory committee before starting supplying process, heavy duty Stainless Steel door hinges of 5 screws, fixing a stopper on the floor or wall, installing aluminum sheet of 25 cm height and 2 mm thick in the door end and from both the directions, painting the door and frame with three layer of liquid teak paints, with all the required works to complete the work. The Door Dimensions will be according to following Details:-
A | Supply and Install of Type D2 overall size 1.0 m wide x 2.10m High | Ea. | 1 |  | 0
7 | Aluminum Door: Supply and install aluminum doors as per designed consists of aluminum frames and glass panels , incuding all fixture and installation accessories , glass panels and protection paint, complete all as shown on drawing. including required works to adjust the structural opening to be fit. Approval on doors and lockers must be taken by supervisor engineer
A | Supply and Install of Type D4 overall size (1.0 x 2.1) m dimensions | Ea. | 2 |  | 0
C: Electrical Works
Notes: The items prices below should be included the following: 1- The works should be included the provision, installation, connection, operation and inspection of all the materials in their locations according instructions of the engineering committee, then testing the electrical network of the building, with all requirements to complete the job. 2- The work shall be according to the technical specifications and the materials shall be first class and original not commercial or imitative. The required brand for electrical cables, wires, electrical PVC conduits to pull the wires, fittings, galvanized steel electrical boxes for sockets and electrical switch of Gulf, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process. Lighting fixtures (ceiling or walls), bulbs, electrical lamp holders, LED projects and flood lights, celling fans, electrical sockets, metal distribution board box and switches of English, French origin or equivalent. Main and sub distribution boards, MCCB and MCB circuit backers and MCB Distribution Boards with all their accessories of ABB, Schneider, Siemens or equivalent. 3- The electrical PVC conduits which will use to pull the wires of lighting fixtures and electrical sockets and switches..etc.. should be installed inside the concrete roofs not on their outer surface. 4- The contractor shall submit samples of all materials before providing to be approved or rejected them by engineering committee. 5- All electrical works should be subjected technical specifications (please see attached)
8 | One Gang Switched Socket of 13 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 13 Amp capacity using single copper wires of (3x4) mm2 for main wires from MCB Distribution Boards and single wires of (2x2.5) mm2 for sub wires which feeding the socket outlets, which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 6 |  | 0
9 | Lighting Fixtures Supply, install, connect, test and operate lighting fixtures with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of 2.5 mm2 for main wires from MCB Distribution Boards and single wires of (2x1.5) mm2 for sub wires which feeding the lighting fixtures and earthing wire , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The lighting fixtures are as following:
A | LED Ceiling Tiles Lights (LED Surface Lights) of 40 Watt, 6500K, 4200 Lumens | Ea. | 10 |  | 0
10 | CCTV Camera supply, install, test and commission complete CCTV system including the following items and all necessary equipment: - 4 Channel Network Video Recorder 1920 FPS Recording, 2TB HDD System Control Keyboard, pan tilt zoom, jog-shuttle NVR controller, TFT LCD touch screen graphic monitor. - Two 50" Color LCD monitor, high resolution, 230 VAC - UPS Power Backup for Security Camera System 1500VA - Four Indoor Type IP Camera (5 MP) No. 4 - CAT6 cables - POE switches , junction box with all other accessries to complete the job. | L.s | 1 |  | 0
D: Mechanical Works
11 | Air-Conditioning Split Units: Supply, install, connect and test ceiling air-conditioning units as per capacities shown below, heating and cooling, the compressor type T3 inverter compressor and gas type "Freon gas R410A", the work includes, supplying, installing and connecting drain pipes inside the walls using PPR pipe of 3/4 inch with all required fittings to the nearest drain point, all required sleeve pipes from PVC pipe of 3 Inch diameter with all required fittings which should be installed in the walls and during cast the slab to connect the all the refrigerant piping to the condensing unit from indoor unit to outdoor unit which should be installed on the roof. The price should include, all the refrigerant piping to the condensing unit (from indoor unit to outdoor unit), all wiring, electrical controls, a steel base stand and steel sunshade for the outdoor unit, protection devices and all installation and connection accessories required, the required brand should be approved by the supervisory committee before starting supplying process. For more details, please see attached the Compliance sheet.
a | A/C unit Single Phase ,1 Ton capacity | Ea. | 4 |  | 0
| Part 4 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P5 Rehabilitation of Resturant
Part 5: Reabilitation of Resturant
# | Item | Unit | Quantity | Price $ | Total $
A : Site Preparation Works
1 | Site Preparation: Supply toold and equipment to remove the old floors, walls, fixtures, sewage pipes, water network, doors, electrical installation and all required items should be removed from the resturant to start the rehabilitation work for the resturant and transfering the debris out of the site, all the work should be under the supervision committee inspection. | LS | 1 |  | 0
B: Civil Works
B-1: Tiling Works and False Ceiling Works
1 | Ceramic Tiles Supply materials, tools and manpower to finish the walls of walls and floors of kitchen using ceramic tiles from a first-class and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work.
A | Ceramic tiles for the walls of (30x60)cm dimensions | M2 | 66 |  | 0
B | Ceramic tiles anti slip for the floors of (30x30) cm dimensions | M2 | 30 |  | 0
B-2: Plastering, Exterior Cladding for The Building and Painting Works: Including all materials, scaffolds, workmanship, tools and anywhere else needed
2 | Plastic Painting For Ceilings: Supply of materials, tools and manpower to paint the ceiling, with three layers of plastic (silicon water proof) paint (Jotun- Jotashield, Betek, CAPAROL, Polisan, dyo) or equivalent which should be approved by the supervisory committee before starting supplying process. The job includes cleaning the walls, removing the dirt and dust. All needed works to complete the job, shall be included within the price. | M2 | 40 |  | 0
B-3: Doors and Windows Works
3 | PVC Door: Supply and install PVC door with frame(D3) of 2.1 x 0.9 m dimensions (the door color should be dark brown) for sanitary unit, It is installed in the walls by frame of steel C Section of 3 inch dimension, 3mm thick and painting with three layers of oil based paints in addition to anti rust primer. The PVC sections and panel lambrins should be wide section and from Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process as per the attached drawings with all accessories and installation of heavy duty locks, hinges and handles fromTurkish origin, with all the required works and accessories to complete the Job. | Ea. | 2 |  | 0
C: Sanitary Works
4 | Installation and Connection of PVC pipes: Supply, install, connect, testing and commissioning PVC pipes of SN8 drainage 6 bar from Egyptian origin or equivalent which should be approved by the supervisory committee before starting supplying process , starting from fixtures down to manholes and septic tank, The work includes excavation (40x60cm), backfill, covering the pipes at the joints with concrete 10 cm from all sides using sulphate resistant cement with all installations and connections accessories and fittings, Elbows, Tees, PVC p trap, gully trap .. etc.), with all the required works to complete the Job. As following:
A | PVC Pipe of 4 inch diameter. | M.l | 18 |  | 0
B | PVC Pipe of 3 inch diameter. | M.l | 12 |  | 0
5 | Concrete Manholes: Supply materials, tools and manpower to construct a fair faced concrete manholes using steel frame as below dimensions with plain concrete of 21 Mpa compressive strength and 10 cm thick for all works (Floor and walls) using sulphate resistant cement, the work includes soil excavations to any required depth, spreading two layer of sub-base layer “Class B” shall be applied in layers of 25 cm thick, watered, leveled and well compacted, with manhole hard plastic manhole covers, with all requirements to complete the job. As per below dimensions:
A | Manholes of 40 x 40 cm | Ea. | 2 |  | 0
6 | Floor Drain: Supply and install 4” PVC floor gully trap of 100mm diameter. Price to includes (15x15) double chrome plated cover, all required pipes and fitting to connect it with the main sewage pipes, excavation, concreting around pipes and gullies, which should be distributed according to the directives of the Engineering Committee and the attached drawings. All needed work to complete the job will be included within the price. | Ea. | 2 |  | 0
7 | PPR pipes: Supply materials, tools and manpower to install, connect and test (PPR) pipes of Yugoslav, Serb origin or equivalent which should be approved by the supervisory committee before starting supplying process for the distribution water network (cold and hot water pipes)with isolate all hot water pipes by using arm flex and thermal tape and concreting 10cm around the pipes and the pipes from and to the water heater and the pipe which connecting the water network of the building and the source of main water network , price should include all connection and installations accessories and fitting as 90 elbow, tee and valve...etc., the work include connecting the project portable water network with water main source of the region which the PHCC is located, installing the pipe in walls, roofs and floor, testing the water pipes network for the building as per technical specifications with all the required works to complete the Job. As shown below:
A | PPR pipes of 1 inch diameter | M.l | 30 |  | 0
B | PPR pipes of 3/4 inch diameter | M.l | 20 |  | 0
D: Electrical Works
Notes: The items prices below should be included the following: 1- The works should be included the provision, installation, connection, operation and inspection of all the materials in their locations according instructions of the engineering committee, then testing the electrical network of the building, with all requirements to complete the job. 2- The work shall be according to the technical specifications and the materials shall be first class and original not commercial or imitative. The required brand for electrical cables, wires, electrical PVC conduits to pull the wires, fittings, galvanized steel electrical boxes for sockets and electrical switch of Gulf, Jordanian origin or equivalent which should be approved by the supervisory committee before starting supplying process. Lighting fixtures (ceiling or walls), bulbs, electrical lamp holders, LED projects and flood lights, celling fans, electrical sockets, metal distribution board box and switches of English, French origin or equivalent. Main and sub distribution boards, MCCB and MCB circuit backers and MCB Distribution Boards with all their accessories of ABB, Schneider, Siemens or equivalent. 3- The electrical PVC conduits which will use to pull the wires of lighting fixtures and electrical sockets and switches..etc. should be installed inside the concrete roofs not on their outer surface. 4- The contractor shall submit samples of all materials before providing to be approved or rejected them by engineering committee. 5- All electrical works should be subjected technical specifications (please see attached)
8 | One Gang Switched Socket of 13 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 13 Amp capacity using single copper wires of (3x4) mm2 for earthing which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 4 |  | 0
9 | Two Gang Switched Socket of 13 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch two gang of 13 Amp capacity using single copper wires of (3x4) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 3 |  | 0
10 | One Gang Switched Socket of 15 Amp Capacity Supply, install, connect, test and commission electrical point with electrical Plug switch one gang of 15 Amp capacity using single copper wires of (3x4) mm2 which must be installed in the walls according to the heights mentioned in the attached drawings, the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job . Please see attached drawings. | Ea. | 6 |  | 0
11 | Ceiling Fan and Exhaust Fan Supply, install, connect, test and commission electrical installations with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of (2x2.5) mm2 , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The electrical installations are as following:
A | Ceiling fan of 56 inch with Fan Speed Control Switch | Ea. | 2 |  | 0
B | Exhaust fan of 8 inch diameter with electrical switch of 10 Amp capacity | Ea. | 2 |  | 0
12 | Lighting Fixtures Supply, install, connect, test and operate lighting fixtures with electrical switches of 10 Amp capacity according to the kind of gangs and ways for electrical switches which mentioned in the attached drawings, the electrical switches should be installed on the 120 cm height from ground level of the building using single copper wires of 2.5 mm2 for main wires from MCB Distribution Boards and single wires of (2x1.5) mm2 for sub wires which feeding the lighting fixtures and earthing wirex , the work includes supplying and installing galvanized steel electrical box, pulling wires inside PVC conduits and connecting it to MCB distribution board with all installation and connection accessories, and all the required works to complete the Job. The lighting fixtures are as following:
A | Led bulb lights ( Economic Bulb) of 20 watt | Ea. | 12 |  | 0
E: Mechanical Works
13 | Air-Conditioning Split Units: Supply, install, connect and test ceiling air-conditioning units as per capacities shown below, heating and cooling, the compressor type T3 inverter compressor and gas type "Freon gas R410A", the work includes, supplying, installing and connecting drain pipes inside the walls using PPR pipe of 3/4 inch with all required fittings to the nearest drain point, all required sleeve pipes from PVC pipe of 3 Inch diameter with all required fittings which should be installed in the walls and during cast the slab to connect the all the refrigerant piping to the condensing unit from indoor unit to outdoor unit which should be installed on the roof. The price should include, all the refrigerant piping to the condensing unit (from indoor unit to outdoor unit), all wiring, electrical controls, a steel base stand and steel sunshade for the outdoor unit, protection devices and all installation and connection accessories required, the required brand should be approved by the supervisory committee before starting supplying process. For more details, please see attached the Compliance sheet.
A | A/C unit Single Phase ,2 Ton capacity | Ea. | 2 |  | 0
14 | Portable Fire Extinguisher Powder Supply and install portable fire extinguisher powder of 25 Kg capacity-(A.B.C) type which should be installed in the locations determined by supervisory committee. The installation shall be complete with brackets and it should be usable for at least three years from the date of receipt all in accordance with the Civil Defense specification, with training candidates from the end user on how to use them. | Ea. | 2 |  | 0
15 | Portable Fire Extinguisher: Supply and install portable fire extinguisher 8 Kg capacity - CO2. which should be installed in the locations determined by supervisory committee. The supplied material should be according to approved specifications of the Civil Defense Directorate, the installation shall be complete with brackets. | Ea. | 2 |  | 0
16 | Electrical Water Heater Supply, install, connect, and commission electrical heater of 160 Liter capacity. The price includes supplying, installing, connecting, laying and commissioning drilling, cutting, all pipes, fitting, valves, check valves, relief valves and steel base and connect it with the electrical source using cable (3x4) mm2, with all the required works to complete the Job.For more details please see compliance sheet. | Ea. | 1 |  | 0
| Part 5 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P6- Sanitary Units Works
Part 6: Rehabilitation of Sanitary Units
# | Item | Unit | Quantity | Price $ | Total $
A : Site Preparation Works
1 | Site Preparation: Supply toold and equipment to remove the old floors, walls, fixtures, sewage pipes, water network, doors, electrical installation and all required items should be removed from the sanitary units to start the rehabilitation work for the sanitary units and transfering the debris out of the site, all the work should be under the supervision committee inspection. | LS | 1 |  | 0
B: Civil Works
B-1: Tiling Works and False Ceiling Works
2 | Ceramic Tiles Supply materials, tools and manpower to finish the walls of sanitary units, kitchen, and 1.2 m height skirting for all the building walls and floors of the sanitary units and kitchen using ceramic tiles from a first-class and cement sand mortar (on two-layer of plastering of cement mortar (1: 2) and (1:3)), the tiles final faces should be flat and free from any ripples, solution of water and bonding agent. The contractor must submit samples to the Engineering Committee for the approval of one of the sample and which must be subject to the laboratory tests and according to Iraqi standard specifications, installation of aluminum ceramic corner tile trim at the corners and edges of the walls, with all the materials needed to install, filling the joints with white cement and polishing, with all the required works to complete the work.
A | Ceramic tiles anti slip for the floors of (30x30) cm dimensions | M2 | 50 |  | 0
C: Sanitary Works
3 | Installation and Connection of PVC pipes: Supply, install, connect, testing and commissioning PVC pipes of SN8 drainage 6 bar from Egyptian origin or equivalent which should be approved by the supervisory committee before starting supplying process , starting from fixtures down to manholes and septic tank, The work includes excavation (40x60cm), backfill, covering the pipes at the joints with concrete 10 cm from all sides using sulphate resistant cement with all installations and connections accessories and fittings, Elbows, Tees, PVC p trap, gully trap .. etc.), with all the required works to complete the Job. As following:
A | PVC Pipe of 4 inch diameter. | M.l | 26 |  | 0
B | PVC Pipe of 3 inch diameter. | M.l | 18 |  | 0
C | PVC Gullies 4 inch Diameter | Ea. | 8 |  | 0
4 | Ceramic wash basin: Supply, install, connect and test white ceramic wash basin with stand of western, Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process, size (60 X 50) cm complete with all fittings, valves, gully-trap, all sewage and potable water pipes to connecting it with networks, the price also includes the water mixer- first class of Turkish origin with all connections and installations accessories, stainless steel toilet accessories ( soap basket, wall toilet paper holder, mirror of 35x50 cm dimension and any other necessary parts with all the required works to complete the Job. | Ea. | 3 |  | 0
5 | Eastern style toilet: Supply and Install ceramic eastern toilet of Turkish origin or equivalent which should be approved by the supervisory committee before starting supplying process of (50 x 60) cm dimension, White, complete with flush tank"kahramana type", fitting, stop, valve side tap and with water toilet mixer (hot & cool) with handheld shower of Turkish origin, all sewage and potable water pipes to connect it with networks, installing and connecting gully trap of 100mm diameter, toilet brush and holder and all the required works to complete the Job. | Ea. | 3 |  | 0
6 | Western style toilet: Supply, install, connect and test western ceramic toilet which should be approved by the supervisory committee before starting supplying process, price should include fitting, stop, valve side tap and with water toilet mixer (hot & cool) with handheld shower of Turkish origin, all sewage and potable water pipes to connecting it with networks, with toilet brush and holder and all the required works to complete the Job. | Ea. | 3 |  | 0
7 | Supplying water mixers | Ea. | 12 |  | 0
8 | Angle valve pipe 1/2 inches | Ea. | 36 |  | 0
9 | Supplying water supper flash with required material to complete the work | Ea. | 12 |  | 0
10 | Supply materials, tools to install new shower for old sanitary units with all required materials to complete the work. | Ea. | 3 |  | 0
| Part 6 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________

## P7- Provision Works
Part 7: Provision and Installation Works
General Obligations Included within the Contract Cost: 1- The specification sheets, catalogues and samples must be submitted to the supervisory committee to be approved before starting the provision process. 2- The price should include uploading, transportation, offloading, installation and connection of the furniture in their places inside the building according to the supervisory committee directions. 3- The provided furniture should be ready to be used and free from any defect, all providing, delivery and installation works should be according to supervisory engineering committee instructions. 4- The contractor is responsible for replacing any damaged furniture resulting from wrong transportation, delivery or installation works. 5-The contractor is obliged to provide all work staff in the site with all required personal safety and protection equipment such as face masks, safety goggles, gloves, sterilization materials ... etc. 6-The maintenance works of the defect liability period (12 months) includes all provided furniture and equipment.
# | Item | Unit | Quantity | Price $ | Total $
A: Office Furniture
1 | Wooden Office Desk : Supply, delivery and install modern design wooden office desk of (L: 140 x W: 70x H: 74) cm dimensions which should be installed in the places determined by supervisory committee, made of high quality HDF, consist of 3 drawers and filing cabinet with center lock. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 3 |  | 0
2 | Wooden Office Desk : Supply, delivery and install modern design wooden office desk of (L: 120 x W: 70x H: 74) cm dimensions which should be installed in the places determined by supervisory committee, made of high quality HDF, consist of 3 drawers with center lock. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 6 |  | 0
3 | Leather Executive Swivel Chair: Supply and delivery leather executive high back swivel chair, pneumatic seat height adjustment, 5 double wheel casters for easy movement and chrome legs. The seat height from the floor is 500-540 mm, the back height not less than 700 mm, seat depth not less than 460 mm and overall width for the chair not less than 630mm, with all needed accessories. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 6 |  | 0
4 | Fixed Office Chair: Supply and delivery low back leather fixed office chair, padded arms, steel frame and leather sea and backt. The seat height from the floor not less than 450 mm, the back height not less than 500 mm, seat depth not less than 520mm and overall width for the chair not less than 520 mm, with all needed accessories. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 10 |  | 0
5 | Metal three seater waiting chair: Supply and delivery metal three seater waiting chair of specifications : dimensions not less than (L:170*D:43*H:40) cm, metal: made of Iron (Heavy-duty elegant powder-coated frame), painting using powder-coated finish up to 6-micron seat and back, deep cushion for extra comfort and upholstered with faux leather, softly curved back with stylish handles. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 5 |  | 0
6 | Wooden Filing Cabinet: Supply, delivery and install modern wooden cupboard (wooden filing cabinet) of dimensions not less than (H:185 x W:80 x D:40) cm , made of high quality MDF with melamine finishing Which consist of two parts: The upper part consists of two wooden swing doors contain glass pieces (the glass thickness not less than 3 mm), fitted with lock and 2 keys and inside the cupboard of 2 adjustable shelves; The bottom part consists of two wooden swing doors, fitted with lock and 2 keys and inside the cupboard of 2 adjustable shelves, the handle of the cabinet doors should be of good quality anticorrosion material, with all needed accessories. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 8 |  | 0
7 | Steel File Cabinet Individual Locking Drawers: Supply, delivery and install file cabinet individual locking drawers of (H: 132 x W: 460 x D: 620) cm dimensions, manufactured from prime quality cold rolled coil annealed mild steel of 0.7mm metal thickness which contain of 4 drawer steel individual locking filing cabinet, each drawer should be contained individual locking with 2 keys, a full size steel sheet fitted between each drawer to prevent access if a drawer is removed, each drawer has 100% extension opening, anti-tilt locking device should be contained to prevent a second drawer being opened. Each drawer should be contained high sides to provide additional strength, allowing up to 40 Kg capacity support for foolscap suspended filing, brushed aluminum label holder, with all needed accessories. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Ea. | 8 |  | 0
8 | Dining Table with its 6 Chairs Supply, delivery and install dining table with its chairs( set). The dining table specifications: dimensions not less than (L: 150 x W: 90x H: 76) cm, all table structure made of high thick stainless steel and the desktop of table should be made of industrial marble of 3.5 cm thick, with its 6 leather chairs. All needed work to complete the job will be included within the price. For more details, see attached compliance sheet. | Set | 3 |  | 0
9 | Supply the following furniture Item after getting the approval for the supervisor engineer on the branding
a | Supply, delivery, connect, install, test and commissioning laptop computer from international recognized brand with ISO certified with specifications not less than the specifications shown below: | ea. | 4 |  | 0
- Memory Size: 8 GB DDR4
-CPU Model: Core i5 /10th gen or higher
-CPU Speed: 2.60 GHz
-Hard Disk Size: 1 TB HDD
- laptop screen:15.6 inch, and HDMI
-1 HDMI, 3 USB and 1 VGA slots
-Orginal Windows 10 Home and MS Office
For more details, see attached compliance sheet.
CPU Model Manufacturer: Intel
Accessories: Wireless mouse and k all required cables
b | Printer with A4 feeder, colured from canon, brother brand or equivelent | ea. | 2 |  | 0
c | All in one Laser Printer | ea. | 2 |  | 0
Supply, delivery, connect, install, test and commissioning white and black laser printer, all-in-one (print, scan, copy and fax in one machine), preferred brand is Canon, model: Image Class MF236n or equivalent. The price should include, suppling original three toner cartridges(spare parts) with each printer. For more details about the printer, see attached compliance sheet.
10 | Supply ink catriges sets:
a | black and white | ea. | 36 |  | 0
b | Colored | ea. | 12 |  | 0
11 | supply A4 paper set | ea. | 150 |  | 0
12 | shredder machine for paper | ea. | 4 |  | 0
Supply, delivery, connect, install, test and commissioning paper shredder machine according to the specifications shown below:
Cutting type: Cross shredding
Paper clip shredding
Staple shredding
Working width: 23 cm
CD shredding
Credit card shredding
Basket Volume: 34 L
Noise level: 60 dB
Cutting Size: 4 x 40
Overheating protection
Power Supply : AC 220 V-50 Hz
The price includes, supplying and installing all required accessories, electrical connections to install the paper shredder machine in the place determined by supervisory committee and all installation and connection accessories . For more details, see attached compliance sheet.
13 | Supply stationary Items:
a | Soft Pen | Set | 20 |  | 0
b | Plastic sheet covers for paper | Set | 10 |  | 0
c | File boxes | No. | 50 |  | 0
d | Markers Pen | Set | 10 |  | 0
e | Highlitght Pen | Set | 10 |  | 0
f | Logbook 50cm*30cm | No. | 25 |  | 0
g | Stapler | No. | 6 |  | 0
h | paper puncher | No. | 6 |  | 0
B: Electrical Works
14 | CCTV System Supply materials, tools and manpower to install CCTV system (IP Cameras) which will be distributed on site as per attached drawings and supervisory committee directions to cover the project areas, the work include supplying, installing and connecting thick waterproof PVC square junction box for CCTV cameras of IP65 and12 x12 cm dimensions , CCTV camera signal & power feeding cables (using UTP and SFTP Cables/ CAT6) which should pull in PVC conduits from determined camera to the metal board inside the reception or any room determined by the supervisory committee ( this PVC conduits should be installed above false ceiling) and metal board of 50 x 50 cm, single airtight door with lock which should be installed inside the wall to be assembled all cables inside it. And install a suitable size of POE switches (if needed). All needed work to complete the job will be included within the price.
a | Turbo Network video recorder (NVR) up to 4 Megapixel 24 ports,1920 FPS Recording, 5TB HDD. | Ea. | 1 |  | 0
b | 4MP IP CCTV DOME CAMERA (Indoor) | Ea. | 8 |  | 0
c | IP BULLET CAMERA 4MP (Outdoor) , Protection level: IP 66. | Ea. | 8 |  | 0
d | 50" Color LCD monitor, high resolution, 230 VAC | Ea. | 1 |  | 0
e | UPS Power Backup for Security Camera System 1500VA | Ea. | 1 |  | 0
15 | Fire alarm control panal cosist of 2 zone | Ea. | 1 |  | 0
16 | Led bulb lights ( Economic Bulb) of 20 watt | Ea. | 25 |  | 0
17 | Outdoor LED flood light (Waterproof) of 200 Watt, It should be installed in the rooftop of the building . | Ea. | 6 |  | 0
18 | Communication splitter Phone connected with phone center of the main station | No. | 1 |  | 0
C: Mechanical Works
19 | Stainless Steel Double Bowl Sink with water mixer: | Ea. | 1 |  | 0
20 | Aluminum counter top & bottom | ML | 10 |  | 0
21 | cooker 4 eyes with oven | Ea. | 1 |  | 0
22 | heavy duty door locks and handles for wooden doors from Italian, Turkish originor equivalent | Ea. | 10 |  | 0
23 | Portable Fire Extinguisher Powder for the main building: Supply and install portable fire extinguisher powder of 25 Kg capacity-(A.B.C) type which should be installed in the locations determined by supervisory committee. The installation shall be complete with brackets and it should be usable for at least three years from the date of receipt all in accordance with the Civil Defense specification, with training candidates from the end user on how to use them. | Ea. | 6 |  | 0
24 | Portable Fire Extinguisher for the main building: Supply and install portable fire extinguisher 8 Kg capacity - CO2. which should be installed in the locations determined by supervisory committee. The supplied material should be according to approved specifications of the Civil Defense Directorate, the installation shall be complete with brackets. | Ea. | 6 |  | 0
| Part 7 Total Cost $ |  |  |  | 0
Name of Bidder: ______________________________
Authorized signature: ______________________________
Functional Title: ______________________________
Company: ______________________________
Date: ______________________________