{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Generator"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Generator","index":0,"n_rows":35,"n_cols":5,"rows_kept":35,"cut":false,"hidden":false,"merged":[[0,0,0,4],[18,1,19,1],[18,2,18,4],[1,0,1,4],[3,0,16,0],[28,1,28,3],[29,2,30,2],[29,3,30,3],[33,2,34,2],[33,3,34,3]]}
["ANNEX 3: TECHNICAL SPECS -RFQ-YEM-0075-2021"]
["Electric Generator"]
["#","Item","No","Proposed Specs by the vendor","VENDOR PROPOSED SPECIFICATION"]
[1,"Supply and installation of Electric Generator 20 KVA ",1]
[null,"Generator Model ","PERKINS , HPP-22 , 404D -22G Or Equivalent"]
[null,"Engine Speed  ( rpm)",1500]
[null," ( Prime power)","20.3KVA, 16.2 KWE"]
[null," ( Stand by power)","22.3KVA, 17.8 KWE"]
[null,"Voltage","400 v"]
[null,"Frequency",60]
[null,"Connection ","3 Phases 4 wires"]
[null,"Power Factory ",0.8]
[null,"Rated Current ( A) ",62]
[null,"Sound","100% silent canopy"]
[null,"Mode","Auto Electric Start"]
[null,"Genset Accessories","wiring, switch, regulator and all installation accessories should be included in the offer to connect the generator to the building"]
[null,"Warranty","1 year (One year) warrantee against any manufacturing defect."]
[2,"Rainforced concrate base 15 Cm thickness",1]
[null,"TECHNICAL REQUIRMENT"]
[]
[null,"Meet the Minimum Technical Specifications"]
[null,"Delivery Term (INCOTERMS) DAP to YEMAC ADEN office"]
[null,"Delivery Lead Time (Maximum 2 weeks)"]
[null,"1 year (One year) warrantee against any manufacturing defect."]
[null,"After sales services: Free maintenance and repair for generator and related accessories during the warranty period."]
[]
[]
[]
[null,"I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted."]
[null,"Exact name and address of company","Name of Authorized person   "]
[null,"Company Name:"]
[null,"Address:  ","Title"]
[null,null,"Date"]
[null,"Phone No.: ","Signature"]
[null,"Email Address: "]