## BoQs
Afghanistan Local Economic Development (ALED)
Health Facilities Shortlisted for solar electrification and hot water system
ملاحظات | نوعیت سیستم برق |  |  | نوع مرکز صحی | اسم مرکز | ولسوالی | ولایت
| سولر | جنراتور | برق عمومی | Type of H.Fs | Name of Health facility | District | Province | Lot
| Solar | Generator | Grid, unstable
1 |  | √ |  | BHC | Cha Rig Clinic | Ghoryaan | Hirat | Lot 1
2 |  | √ |  | BHC | Posht-e-Koh Clinic | Guzarah (Nizam Shaheed) | Hirat
3 |  |  | √ | BHC | Seyah Woshan Clinic | Guzarah (Nizam Shaheed) | Hirat
4 |  |  | √ | BHC | Toqchi Clinic | Guzarah (Nizam Shaheed) | Hirat
Afghanistan Local Economic Development (ALED)
Health Facilities Shortlisted for solar electrification and hot water system
ملاحظات | نوعیت سیستم برق |  |  | نوع مرکز صحی | اسم مرکز | ولسوالی | ولایت
| سولر | جنراتور | برق عمومی | Type of H.Fs | Name of Health facility | District | Province | Lot
| Solar | Generator | Grid, unstable
5 |  | √ |  | BHC | Jandah Khan Clinic | Karokh | Hirat | 2
6 |  | √ |  | BHC | Khowaja Chahar Shanbah Clinic | Karokh | Hirat
7 |  | √ |  | BHC | Awkal Clinic | Shindand | Hirat
8 |  | √ |  | BHC | Karnil Clinic | Zindah Jan | Hirat
Afghanistan Local Economic Development (ALED)
Health Facilities Shortlisted for solar electrification and hot water system
ملاحظات | نوعیت سیستم برق |  |  | نوع مرکز صحی | اسم مرکز | ولسوالی | ولایت
| سولر | جنراتور | برق عمومی | Type of H.Fs | Name of Health facility | District | Province | Lot
| Solar | Generator | Grid, unstable
1 |  | √ |  | SHC | Kariz Zaman SHC | Keshk-e-Kohna | Hirat | 3
2 |  | √ |  | CHC | Koklam Clinic | Keshk-e-Kohna | Hirat
Afghanistan Local Economic Development (ALED)
Health Facilities Shortlisted for solar electrification and hot water system
ملاحظات | نوعیت سیستم برق |  |  | نوع مرکز صحی | اسم مرکز | ولسوالی | ولایت
| سولر | جنراتور | برق عمومی | Type of H.Fs | Name of Health facility | District | Province | Lot
| Solar | Generator | Grid, unstable
11 |  | √ |  | CHC+ | Oba Clinic | Obeh | Hirat | Lot 4
12 |  | √ |  | BHC | Maar Aabad Clinic | Pashtoon Zarghoon | Hirat
Afghanistan Local Economic Development (ALED)
Bill of Quantities - Lot 1
Provision of Electrictiy and Hot Water System to Basic Health Centers in Herat
Electrical system size 7.5 kW, Hot Water System Size 300 litre storage capacity
Item | Description | Qty | Unit of Measure | Unit Price | Amount
|  |  |  | USD | USD
1 | Solar Photovoltaics panel, 380 Wp or more, each including mounting assembly, cables and sockets | 100 | nos.
2 | Battery storage system along with battery rack, connectors and cables, GEL battery- 200 Ah- 12 V each | 60 | nos.
3 | Hybrid invertor including charge controller, cable, connectors and accessories, 7.5 kW | 4 | nos.
4 | Solar Water Heater Assembly incl. mounting assembly, valves etc. and all other auxiliary equipment rendering the system Fit-for-Purpose, with the storage capacity of 300 Lit. | 4 | units
5 | Solar Water Pump, Submersible or surface as per the site condition, operating at approx. TDH=40 m and flow rate=0.30 m3/h and a Maximum Power Input = 250W incl. Controller, Junction Boxes, Protection Gear, Grounding Rod, Cabling and all other equipment rendering the system Fit-for-Purpose | 4 | units
6 | Battery fuse, 10 A (Fit for the purpose model) | 20 | Pc
7 | Main busbar (Multi Cluster Box) to be able to switch to/from solar and generator power | 4 | Pc
8 | PV distribution outdoor box, with 3XC-50A and 1XD03-163A breakers, Complete wiring | 12 | Pc
9 | Earthing system with earthing rod , cables, cable ways and all necessary materials | 4 | LS
10 | Cabling with cable ways, cable shoes, trenches and necessary accessories | 4 | Set
11 | Transportation to the site | 4 | LS
12 | Installation, configuration and testing, commissioning and users’ training | 4 | LS
13 | One-year warranty and after sales services | 4 | LS
14 | Measurement and verification of project site data | 4 | LS
TOTAL FOR LOT 1
Afghanistan Local Economic Development (ALED)
Bill of Quantities - Lot 2
Provision of Electrictiy and Hot Water System to Basic Health Centers in Herat
Electrical system size 7.5 kW, Hot Water System Size 300 litre storage capacity
Item | Description | Qty | Unit of Measure | Unit Price | Amount
|  |  |  | USD | USD
1 | Solar Photovoltaics panel, 380 Wp or more, each including mounting assembly, cables and sockets | 100 | nos.
2 | Battery storage system along with battery rack, connectors and cables, GEL battery- 200 Ah- 12 V each | 60 | nos.
3 | Hybrid invertor including charge controller, cable, connectors and accessories, 7.5 kW | 4 | nos.
4 | Solar Water Heater Assembly incl. mounting assembly, valves etc. and all other auxiliary equipment rendering the system Fit-for-Purpose, with the storage capacity of 300 Lit. | 4 | units
5 | Solar Water Pump, Submersible or surface as per the site condition, operating at approx. TDH=40 m and flow rate=0.30 m3/h and a Maximum Power Input = 250W incl. Controller, Junction Boxes, Protection Gear, Grounding Rod, Cabling and all other equipment rendering the system Fit-for-Purpose | 4 | units
6 | Battery fuse, 10 A (Fit for the purpose model) | 20 | Pc
7 | Main busbar (Multi Cluster Box) to be able to switch to/from solar and generator power | 4 | Pc
8 | PV distribution outdoor box, with 3XC-50A and 1XD03-163A breakers, Complete wiring | 12 | Pc
9 | Earthing system with earthing rod , cables, cable ways and all necessary materials | 4 | LS
10 | Cabling with cable ways, cable shoes, trenches and necessary accessories | 4 | Set
11 | Transportation to the site | 4 | LS
12 | Installation, configuration and testing, commissioning and users’ training | 4 | LS
13 | One-year warranty and after sales services | 4 | LS
14 | Measurement and verification of project site data | 4 | LS
TOTAL FOR LOT 2 |  |  |  |  | 0
Afghanistan Local Economic Development (ALED)
Bill of Quantities - Lot 3
Provision of Electrictiy and Hot Water System to Basic Health Centers in Herat
Electrical system size 7.5 kW, Hot Water System Size 300 litre storage capacity
Item | Description | Qty | Unit of Measure | Unit Price | Amount
|  |  |  | USD | USD
1 | Solar Photovoltaics panel, 380 Wp or more, each including mounting assembly, cables and sockets | 100 | nos.
2 | Battery storage system along with battery rack, connectors and cables, GEL battery- 200 Ah- 12 V each | 60 | nos.
3 | Hybrid invertor including charge controller, cable, connectors and accessories, 7.5 kW | 4 | nos.
4 | Solar Water Heater Assembly incl. mounting assembly, valves etc. and all other auxiliary equipment rendering the system Fit-for-Purpose, with the storage capacity of 300 Lit. | 4 | units
5 | Solar Water Pump, Submersible or surface as per the site condition, operating at approx. TDH=40 m and flow rate=0.30 m3/h and a Maximum Power Input = 250W incl. Controller, Junction Boxes, Protection Gear, Grounding Rod, Cabling and all other equipment rendering the system Fit-for-Purpose | 4 | units
6 | Battery fuse, 10 A (Fit for the purpose model) | 20 | Pc
7 | Main busbar (Multi Cluster Box) to be able to switch to/from solar and generator power | 4 | Pc
8 | PV distribution outdoor box, with 3XC-50A and 1XD03-163A breakers, Complete wiring | 12 | Pc
9 | Earthing system with earthing rod , cables, cable ways and all necessary materials | 4 | LS
10 | Cabling with cable ways, cable shoes, trenches and necessary accessories | 4 | Set
11 | Transportation to the site | 4 | LS
12 | Installation, configuration and testing, commissioning and users’ training | 4 | LS
13 | One-year warranty and after sales services | 4 | LS
14 | Measurement and verification of project site data | 4 | LS
Sub TOTAL FOR LOT 3
Provision of Electrictiy and Hot Water System to Comprehensive Health Centers-Plus in Herat
Electrical system size 30 kW, Hot Water System Size 2 x 300 litre storage capacity
Item | Description | Qty | Unit of Measure | Unit Price | Amount
|  |  |  | USD | USD
1 | Solar Photovoltaics panel, 380 Wp or more, each including mounting assembly, cables and sockets | 90 | nos.
2 | Battery storage system along with battery rack, connectors and cables, GEL battery- 200 Ah- 12 V each | 60 | nos.
3 | Hybrid invertor including charge controller, cable, connectors and accessories, 30 kW | 1 | nos.
1 | Solar Water Heater Assembly incl. mounting assembly, valves etc. and all other auxiliary equipment rendering the system Fit-for-Purpose | 2 | units
2 | Solar Water Pump, Submersible or surface as per the site condition, operating at approx. TDH=40 m and flow rate=0.30 m3/h and a Maximum Power Input = 250W incl. Controller, Junction Boxes, Protection Gear, Grounding Rod, Cabling and all other equipment rendering the system Fit-for-Purpose | 2 | units
8 | Battery fuse, 10 A (Fit for the purpose model) | 15 | Pc
9 | Main busbar (Multi Cluster Box) to be able to switch to/from solar and generator power | 4 | Pc
10 | PV distribution outdoor box, with 3XC-50A and 1XD03-163A breakers, Complete wiring | 6 | Pc
| Earthing system with earthing rod , cables, cable ways and all necessary materials | 1 | LS
| Cabling with cable ways, cable shoes, trenches and necessary accessories | 1 | Set
| Transportation to the site | 1 | LS
11 | Installation, configuration and testing, commissioning and users’ training | 1 | LS
12 | One-year warranty and after sales services | 1 | LS
14 | Measurement and verification of project site data | 1 | LS
Sub TOTAL FOR LOT 3 |  |  |  |  | 0
TOTAL FOR LOT 3 |  |  |  |  | 0
Afghanistan Local Economic Development (ALED)
Bill of Quantities - Lot 4
Provision of Electrictiy and Hot Water System to Basic Health Centers in Herat
Electrical system size 7.5 kW, Hot Water System Size 300 litre storage capacity
Item | Description | Qty | Unit of Measure | Unit Price | Amount
|  |  |  | USD | USD
1 | Solar Photovoltaics panel, 380 Wp or more, each including mounting assembly, cables and sockets | 100 | nos.
2 | Battery storage system along with battery rack, connectors and cables, GEL battery- 200 Ah- 12 V each | 60 | nos.
3 | Hybrid invertor including charge controller, cable, connectors and accessories, 7.5 kW | 4 | nos.
4 | Solar Water Heater Assembly incl. mounting assembly, valves etc. and all other auxiliary equipment rendering the system Fit-for-Purpose, with the storage capacity of 300 Lit. | 4 | units
5 | Solar Water Pump, Submersible or surface as per the site condition, operating at approx. TDH=40 m and flow rate=0.30 m3/h and a Maximum Power Input = 250W incl. Controller, Junction Boxes, Protection Gear, Grounding Rod, Cabling and all other equipment rendering the system Fit-for-Purpose | 4 | units
6 | Battery fuse, 10 A (Fit for the purpose model) | 20 | Pc
7 | Main busbar (Multi Cluster Box) to be able to switch to/from solar and generator power | 4 | Pc
8 | PV distribution outdoor box, with 3XC-50A and 1XD03-163A breakers, Complete wiring | 12 | Pc
9 | Earthing system with earthing rod , cables, cable ways and all necessary materials | 4 | LS
10 | Cabling with cable ways, cable shoes, trenches and necessary accessories | 4 | Set
11 | Transportation to the site | 4 | LS
12 | Installation, configuration and testing, commissioning and users’ training | 4 | LS
13 | One-year warranty and after sales services | 4 | LS
14 | Measurement and verification of project site data | 4 | LS
Sub TOTAL FOR LOT 4
Provision of Electrictiy and Hot Water System to Comprehensive Health Centers-Plus in Herat
Electrical system size 30 kW, Hot Water System Size 2 x 300 litre storage capacity
Item | Description | Qty | Unit of Measure | Unit Price | Amount
|  |  |  | USD | USD
1 | Solar Photovoltaics panel, 380 Wp or more, each including mounting assembly, cables and sockets | 90 | nos.
2 | Battery storage system along with battery rack, connectors and cables, GEL battery- 200 Ah- 12 V each | 60 | nos.
3 | Hybrid invertor including charge controller, cable, connectors and accessories, 30 kW | 1 | nos.
1 | Solar Water Heater Assembly incl. mounting assembly, valves etc. and all other auxiliary equipment rendering the system Fit-for-Purpose | 2 | units
2 | Solar Water Pump, Submersible or surface as per the site condition, operating at approx. TDH=40 m and flow rate=0.30 m3/h and a Maximum Power Input = 250W incl. Controller, Junction Boxes, Protection Gear, Grounding Rod, Cabling and all other equipment rendering the system Fit-for-Purpose | 2 | units
8 | Battery fuse, 10 A (Fit for the purpose model) | 15 | Pc
9 | Main busbar (Multi Cluster Box) to be able to switch to/from solar and generator power | 4 | Pc
10 | PV distribution outdoor box, with 3XC-50A and 1XD03-163A breakers, Complete wiring | 6 | Pc
| Earthing system with earthing rod , cables, cable ways and all necessary materials | 1 | LS
| Cabling with cable ways, cable shoes, trenches and necessary accessories | 1 | Set
| Transportation to the site | 1 | LS
11 | Installation, configuration and testing, commissioning and users’ training | 1 | LS
12 | One-year warranty and after sales services | 1 | LS
14 | Measurement and verification of project site data | 1 | LS
Sub TOTAL FOR LOT 4 |  |  |  |  | 0
TOTAL FOR LOT 4
GRAND TOTAL FOR LOT 1, LOT 2, LOT 3 AND LOT 4 |  |  |  |  | 0