To:      To Whom It May Concern.

Date:  31 January 2022

From:  UNDP Bosnia and Herzegovina

Subject:  Amendment of BIH/ITB/002/22: for Supply, delivery, and installation of Immunoassay analyzers and auto Elisa processors

Dear Sir/Madam,

UNDP BiH made a decision to amend the BIH/ITB/002/22 by changing following sections of the Section 5a: Schedule of Requirements and Technical Specifications/Bill of Quantities and to extend the deadline for submission.

Changes are as follows:

| Original text | Changed text |
| --- | --- |
| Lot 3: Sample tips should be 1300 μl or more, sample pipetting volume 10 – 250 μl, and reagents volume 25 – 1000 μl/ Tipsevi za uzorke trebaju biti 1300 μl ili više, volumen pipetiranja uzoraka 10 – 250 μl, i reagenasa 25 – 1000 μl | Lot 3: Sample tips should be 200 or 1000 μl , sample pipetting volume 10 – 250 μl, and reagents volume 25 – 1000 μl/ Tipsevi za uzorke trebaju biti 200 or 1000 μl, volumen pipetiranja uzoraka 10 – 250 μl, i reagenasa 25 – 1000 μl |

- In Section Deadline for Submission:

New deadline for submission of quotations is February 10th, 2022, 12:00 (CEST)

With this notice on amendment, we are also attaching:

- the amended ITB

UNDP BiH uses this opportunity to apologize for any inconvenience that this might have caused.

Best regards,

UNDP BIH

Tel: + 387 33 293 400

Fax: + 387 33 552 330

www.undp.baregistry.ba@undp.org