# REQUEST FOR QUOTATION (RFQ # 015/2022)

| RFQ Reference:Procurement of Acustic Doppler Current Profiler (ADCP) device for Institute for Hydrometeorllogy and Seismology (IHMS) Project Name: Integrated climate-resilient transboundary flood risk management in the Drin River basin in the Western Balkans Project (Drin FRM Project) | Date: 12 May 2022 |
| --- | --- |

# SECTION 1: REQUEST FOR QUOTATION (RFQ 015-22)

UNDP kindly requests your quotation for the provision of services as detailed in Annex 1 of this RFQ.

This Request for Quotation comprises the following documents:

Section 1: This request letter

Section 2: RFQ Instructions and Data

Annex 1: 			Specifications

Annex 2: Quotation Submission Form

Annex 3: Technical and Financial Offer

When preparing your quotation, please be guided by the RFQ Instructions and Data. Please note that quotations must be submitted using Annex 2: Quotation Submission Form and Annex 3 Technical and Financial Offer, by the method and by the date and time indicated in Section 2.It is your responsibility to ensure that your quotation is submitted on or before the deadline. Quotations received after the submission deadline, for whatever reason, will not be considered for evaluation.

Thank you and we look forward to receiving your quotations.

Issued by:

Name: 	Mirko Bracanovic

Title:	Procurement Associate

Date:	12 May 2022

## SECTION 2: RFQ INSTRUCTIONS AND DATA

| Introduction | Bidders shall adhere to all the requirements of this RFQ, including any amendments made in writing by UNDP. This RFQ is conducted in accordance with the UNDP Programme and Operations Policies and Procedures (POPP) on Contracts and Procurement Any Bid submitted will be regarded as an offer by the Bidder and does not constitute or imply the acceptance of the Bid by UNDP. UNDP is under no obligation to award a contract to any Bidder as a result of this RFQ. UNDP reserves the right to cancel the procurement process at any stage without any liability of any kind for UNDP, upon notice to the bidders or publication of cancellation notice on UNDP website. |
| --- | --- |
| Deadline for the Submission of Quotation | 25th May 2022, 16:00 15CET It shall remain your responsibility to ensure that your quotation will reach UNDP before the deadline. Quotations that are received by UNDP after the deadline indicated above, for whatever reason, shall not be considered for evaluation. |
| Method of Submission | Quotations must be submitted as follows: ☐ E-tendering ☒Dedicated Email Address ☐ Courier / Hand delivery ☐ Other Click or tap here to enter text. Bid submission address: procurement.me@undp.org File Format: PDF File names must be maximum 60 characters long and must not contain any letter or special character other than from Latin alphabet/keyboard. All files must be free of viruses and not corrupted. Max. File Size per transmission: 30 MB Mandatory subject of email: MNE RFQ 015-2022 – Procurement of Acustic Doppler Current Profiler (ADCP) device for Institute for Hydrometeorllogy and Seismology (IHMS) - Bidder’s name Multiple emails must be clearly identified by indicating in the subject line “email no. X of Y”, and the final “email no. Y of Y.It is recommended that the entire Quotation be consolidated into as few attachments as possible.Insert BU Code and Event ID number |
| Cost of preparation of quotation | UNDP shall not be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process. |
| Supplier Code of Conduct, Fraud, Corruption, | All prospective suppliers must read the United Nations Supplier Code of Conduct and acknowledge that it provides the minimum standards expected of suppliers to the UN. The Code of Conduct, which includes principles on labour, human rights, environment and ethical conduct may be found at: https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct Moreover,UNDP strictly enforces a policy of zero tolerance on proscribed practices, including fraud, corruption, collusion, unethical or unprofessional practices, and obstruction of UNDP vendors and requires all bidders/vendors to observe the highest standard of ethics during the procurement process and contract implementation. UNDP’s Anti-Fraud Policy can be found at http://www.undp.org/content/undp/en/home/operations/accountability/audit/office_of_audit_andinvestigation.html#anti |
| Gifts and Hospitality | Bidders/vendors shall not offer gifts or hospitality of any kind to UNDP staff members including recreational trips to sporting or cultural events, theme parks or offers of holidays, transportation, or invitations to extravagant lunches, dinners or similar. In pursuance of this policy, UNDP: (a) Shall reject a bid if it determines that the selected bidder has engaged in any corrupt or fraudulent practices in competing for the contract in question; (b) Shall declare a vendor ineligible, either indefinitely or for a stated period, to be awarded a contract if at any time it determines that the vendor has engaged in any corrupt or fraudulent practices in competing for, or in executing a UNDP contract. |
| Conflict of Interest | UNDP requires every prospective Supplier toavoid and prevent conflicts of interest, by disclosing to UNDP if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ. Bidders shall strictly avoid conflicts with other assignments or their own interests, and act without consideration for future work. Bidders found to have a conflict of interest shall be disqualified. Bidders must disclose in their Bid their knowledge of the following: a) If the owners, part-owners, officers, directors, controlling shareholders, of the bidding entity or key personnel who are family members of UNDP staff involved in the procurement functions and/or the Government of the country or any Implementing Partner receiving goods and/or services under this RFQ. The eligibility of Bidders that are wholly or partly owned by the Government shall be subject to UNDP’s further evaluation and review of various factors such as being registered, operated and managed as an independent business entity, the extent of Government ownership/share, receipt of subsidies, mandate and access to information in relation to this RFQ, among others. Conditions that may lead to undue advantage against other Bidders may result in the eventual rejection of the Bid. |
| General Conditions of Contract | Any Purchase Order or contract that will be issued as a result of this RFQ shall be subject to the General Conditions of Contract Select the applicable GTC: General Terms and Conditions / Special Conditions for Contract. ☐General Terms and Conditions for de minimis contracts (services only, less than $50,000) ☐ General Terms and Conditions for Works Applicable Terms and Conditions and other provisions are available at UNDP/How-we-buy |
| Special Conditions of Contract | ☒Cancellation of PO/Contract if the delivery/completion is delayed by 20 days ☐ Others [pls. specify] |
| Eligibility | A vendor who will be engaged by UNDP maynot be suspended, debarred, or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. Vendors are therefore required to disclose to UNDP whether they are subject to any sanction or temporary suspension imposed by these organizations. Failure to do so may result in termination of any contract or PO subsequently issued to the vendor by UNDP. It is the Bidder’s responsibility to ensure that its employees, joint venture members, sub-contractors, service providers, suppliers and/or their employees meet the eligibility requirements as established by UNDP. Bidders musthave the legal capacity to enter a binding contract with UNDP and to deliver in the country, or through an authorized representative. |
| Currency of Quotation | Quotations shall be quoted in EURO |
| Joint Venture, Consortium or Association | If the Bidder is a group of legal entities that will form or have formed a Joint Venture (JV), Consortium or Association for the Bid, they shall confirm in their Bid that : (i) they have designated one party to act as a lead entity, duly vested with authority to legally bind the members of the JV, Consortium or Association jointly and severally, which shall be evidenced by a duly notarized Agreement among the legal entities, and submitted with the Bid; and (ii) if they are awarded the contract, the contract shall be entered into, by and between UNDP and the designated lead entity, who shall be acting for and on behalf of all the member entities comprising the joint venture, Consortium or Association. Refer to Clauses 19 – 24 under Solicitation policy for details on the applicable provisions on Joint Ventures, Consortium or Association. |
| Only one Bid | The Bidder (including the Lead Entity on behalf of the individual members of any Joint Venture, Consortium or Association) shall submit only one Bid, either in its own name or, if a joint venture, Consortium or Association, as the lead entity of such Joint Venture, Consortium or Association. Bids submitted by two (2) or more Bidders shall all be rejected if they are found to have any of the following: a) they have at least one controlling partner, director or shareholder in common; or b) any one of them receive or have received any direct or indirect subsidy from the other/s; or b) they have the same legal representative for purposes of this RFQ; or c) they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about, or influence on the Bid of, another Bidder regarding this RFQprocess; d) they are subcontractors to each other’s Bid, or a subcontractor to one Bid also submits another Bid under its name as lead Bidder; or e) some key personnel proposed to be in the team of one Bidder participates in more than one Bid received for this RFQ process. This condition relating to the personnel, does not apply to subcontractors being included in more than one Bid. |
| Duties and taxes | Article II, Section 7, of the Convention on the Privileges and Immunities provides, inter alia, that the United Nations, including UNDP as a subsidiary organ of the General Assembly of the United Nations, is exempt from all direct taxes, except charges for public utility services, and is exempt from customs restrictions, duties, and charges of a similar nature in respect of articles imported or exported for its official use. All quotations shall be submitted net of any direct taxes and any other taxes and duties, unless otherwise specified below: All prices must: ☐ be inclusive of VAT and other applicable indirect taxes ☒ be exclusive of VAT and other applicable indirect taxes |
| Language of quotation | English |
| Documents to be submitted | Bidders shall include the following documents in their quotation: ☒Annex 2: Quotation Submission Form duly completed and signed ☒ Annex 3: Technical and Financial Offer duly completed and signed and in accordance with the Schedule of Requirements in Annex 1 ☒ Company Profile ☐ Other Click or tap here to enter text. |
| Quotation validity period | Quotations shall remain valid for 120days from the deadline for the Submission of Quotation. |
| Price variation | No price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted at any time during the validity of the quotation after the quotation has been received. |
| Partial Quotes | ☒ Not permitted ☐ Permitted by Lots (NOTE: companies can apply for one or bothLots) |
| Alternative Quotes | ☒ Not permitted ☐ Permitted If permitted, an alternative quote may be submitted only if a conforming quote to the RFQ requirements is submitted. Where the conditions for its acceptance are met, or justifications are clearly established, Click or tap here to enter text. reserves the right to award a contract based on an alternative quote. If multiple/alternative quotes are being submitted, they must be clearly marked as “Main Quote” and “Alternative Quote” |
| Payment Terms | 100% within 30 days after completion of all duties and responsibilities according to the TOR and submission of payment documentation i.e.Invoice *UNDP project will provide relevant documents for tax exmpted invoice |
| Conditions for Release of Payment | ☐Passing Inspection [specify method, if possible] Complete Installation ☐ Passing all Testing [specify standard, if possible] ☐ Completion of Training on Operation and Maintenance [specify no. of trainees, and location of training, if possible ☒Written Acceptance of Services,based on full compliance with RFQ requirements (by UNDP Project Manager according to UNDP consultant’s expert opinion) ☐Others [pls. specify] |
| Contact Person for correspondence, notifications and clarifications | E-mail address for clarifications only: procurement.me@undp.org Any delay in UNDP’s response shall be not used as a reason for extending the deadline for submission, unless UNDP determines that such an extension is necessary and communicates a new deadline to the Proposers. |
| Clarifications | Requests for clarification from bidders will not be accepted any later than 3 days before the submission deadline. |
| Evaluation method | ☒The Contract or Purchase Order will be awarded to the lowest price substantially compliant offer ☐ Other Click or tap here to enter text. |
| Evaluation criteria | ☒Full compliance withall requirementsas specified in Annex 1 ☒Full acceptance of the General Conditions of Contract ☒Comprehensiveness of after-sales services ☒All the activities are expected to be finalized 120 days upon the contract signing. |
| Right not to accept any quotation | UNDP is not bound to accept any quotation, nor award a contract or Purchase Order |
| Right to vary requirement at time of award | At the time of award of Contract or Purchase Order, UNDP reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum twenty-five per cent (25% ) of the total offer, without any change in the unit price or other terms and conditions. Please see Annex 1. |
| Type of Contract to be awarded | ☐ Purchase Order ☒Contract Face Sheet (Goods and-or Services) (this template is also utilised for Long-Term Agreement) and if an LTA will be signed, specify the document that will trigger the call-off. E.g., PO, etc.) ☐Contract for Works ☐ Other Type/s of Contract [pls. specify] |
| Expected date for contract award. | 10 June 2022 |
| Publication of Contract Award | UNDPwill publish the contract awardsvalued at USD 100,000 and more on the websites of the CO and the corporate UNDP Web site. |
| Policies and procedures | This RFQ is conducted in accordance with UNDP Programme and Operations Policies and Procedures |

ANNEX 1: 			Specifications

# Procurement of an ADCP – Acoustic Doppler Current Profiler for Institute of Hydrometeorology and Seismology (IHMS)

## Justification

The IHMS – Institute of Hydrometeorology and Seismology is the national hydrological and meteorological service of Montenegro. Among other institutional functions, a core mandate regards the observations of the hydrological cycle, the establishment and operation of a monitoring network for water resources planning and decision-making.

AF/UNDP Integrated climate-resilient transboundary flood risk management in the Drin River basin in the Western Balkans Project (Drin FRM Project) is providing to the IHMS a set of automatic hydro-meteorological monitoring stations to strengthen the existing hydrometric monitoring network. The hydrological stations include the measurement of the water level of the rivers/lakes, the water depths are used to calculate the discharges using a site-specific rating curve.

The development of the rating curves (H-Q curve) is based on the periodical measurement of the discharges (Q) for different river water depths (H). The IHMS needs a new ADCP – Acoustic Doppler Current Profiler to update the rating curves of the different sites where the water depths are being measured, and get reliable discharge values.

The ADCPs are suitable for deep and/or high velocities rivers (flood peak conditions), where the traditional current meter equipment is hard to be used. The ADCP allows the safety measurement of the discharges from a riverbank using a cableway, or from a bridge, or pulled from a motorboat. Other advantages of the ADCP are the high accuracy, high resolution, continuity of the measurements, quick and low level of effort to carry out a discharge survey.

## Subject of the procurement

The Subject of the procurement is the supply of an ADCP – Acoustic Doppler Current Profiler equipment plus an on-the-job training course and after-sales services. The equipment shall be inspected in-country to ensure that all the components are present.

The following paragraphs illustrate the minimum technical specifications for the procurement of an ADCP – Acoustic Doppler Current Profiler.

## EQUIPMENT TO BE SUPPLIED

The ADCP is composed of a base version plus a series of optional modules, in particular:

ADCP Base Version:

- Multi-beam acoustic Doppler profiler/discharge measurement system

- Hydro-boat and carrying case

- Power supply, batteries, cables, and integrated D-GPS module

- Wireless telemetry unit to receive the data from the riverbank

- Basic data processing software for real-time display of current profiles

ADCP Optional Modules:

- RTK GPS module

- Cable-way and accessories

### Multi-Beam Acoustic Doppler Profiler

The table below illustrates the main technical characteristics of ADCP:

| Specification | Value |
| --- | --- |
| Measuring Principle | Acoustic Doppler, Moving Boat |
| Depth measurement range | 0,2 – 40 m or similar |
| Depth — Accuracy | 1% or similar |
| Depth — Resolution | 0.001 m or similar |
| Velocity measurement range | ± 5m/s – ± 20 m/s m or similar |
| Velocity — Accuracy | ±0.2 cm/s or similar |
| Velocity — Resolution | 0.01 m/s or similar |
| Number of Cells | Up to 128 or similar |
| Cell Size | 0.02 to 5 m or similar |
| Transducer Configuration | Broadband, multibeam – multifrequency transducers From 0,5 to 3.0 MHz or similar Janus 20° / 25° Slant Angle or similar |
| Bottom-Track Measurement Range | 0.2 to 35 m or similar |
| Internal Discharge Measurement Software | Internal |
| Windows Software | Real-time and post-processing software for discharge data applications |

### Hydro boat

The Hydro boat shall be fully compatible with the proposed ADCP, in particular, shall include below minimum technical specifications. The hydro boat shall include a rugged bag with shoulder straps for easy transportation in hard topographic conditions.

| Specification | Value |
| --- | --- |
| Max water velocity | up to 5 m/s |
| Floating platform | Rugged and highly buoyant |
| Stability | High stability for quality ADP discharge measurement under high turbulent river conditions Highly resistant to flipping and submersion |
| Material | Lightly and easy to transport |
| Dimensions | Min Length 130 x 68 cm |
| Bag | Rugged bag with shoulder straps |

### Power Supply, Telemetry Unit, GPS, and Software

| Specification | Value |
| --- | --- |
| Batteries Type: | Standard AA alkaline or NiMH rechargeable batteries |
| Average duration: | 8 hours of continuous operation |
| Telemetry Unit | Radio Frequency: 2.4 GHz |
| GPS | SBAS-GPS, Horizontal accuracy < 1.0 m |
| Software | Live data visualization software for survey monitoring and automatic discharge calculation, advanced graphic interface of water depth and the water velocities along the river cross-section, including profiles, time series, and export to Excel / Ascii. |

## SERVICES TO BE SUPPLIED

### Training

The training to be supplied by the contractor shall be subdivided into Basic training and On-the-job training programs. The Basic training shall be done an in-door, whereas the On-the-job training will be at the field.

The contractor shall include in his proposal the syllabus of the training course.

#### Basic Training Course

The contractor shall supply a training course on ADCP operation, configuration and maintenance, ADCP software data visualization, and discharge data analysis. The core objective of the course is to illustrate the main technical characteristics of the equipment, the measurement principles, and the factors that can alter the reliability of the measurements.

The course can be done after the receiving and inspection of the goods at IHMS facilities. The duration of the basic training course shall be 4 days, out of which 1 day will be office work and 3-days’ field training. The first day shall include a brief description of the technical characteristics, plus a user guide with all the step-by-step procedures for equipment set-up, operation, and maintenance, including assembling and disassembling.

The field training shall be organized after the on-the-job training to work with the data collected at the field and use the data processing and data visualization functions available on the ADCP software.

### On-the-Job Training Course

Training course on ADCP operation and discharge measurement, including practical operation and hands-on. The core objective of the on-the-job training course is to transfer to the IHMS staff the technical capabilities and hands-on operation and efficiently maintain the equipment supplied. The course shall include a multi-media trouble-shooting manual with frequent faults or malfunctioning that could happen, the diagnostics procedure, and how to solve it.

The On-the-job training shall have an overall duration of 2 days (excluding travel to the exact location/s) and include the discharge measurement of at least two different rivers.  After completion of the basic and On-the-job training program, the Client will issue an acceptance certificate confirming full compliance with the training course.

### Warranty

#### Commercial Warranty

The Bidder shall state and warrants that the equipment and components or any part to be supplied is free from defects in the design, engineering, materials, and workmanship. The Bidder shall include a statement of conformity with European Directives and standards, in particular:

- EMC 2004/108/EC Directive

- RoHS 2 2011/65/EU Directive

- WEEE 2012/19/EU Directive

- BATTERY 2006/66/EC Directive

The Defect Liability Period shall be 24 months, if during the Defect Liability Period any defect is found in the design, engineering, and materials, the supplier will promptly at its cost repair such defect. The manufacturer's warranty statement shall be illustrated clearly the terms and conditions of the warranty, providing at least one year of “return to factory” warranty for all items.

ANNEX 2: QUOTATION SUBMISSION FORM

Bidders are requested to complete this form, including the Company Profile and Bidder’s Declaration, sign it and return it as part of their quotation along with Annex 3: Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

| Name of Bidder: | Click or tap here to enter text. |
| --- | --- |
| RFQ reference: | Click or tap here to enter text. | Date: Click or tap to enter a date. |

Company Profile

| Item Description | Detail |
| --- | --- |
| Legal name of bidder or Lead entity for JVs | Click or tap here to enter text. |
| Legal Address, City, Country | Click or tap here to enter text. |
| Website | Click or tap here to enter text. |
| Year of Registration | Click or tap here to enter text. |
| Legal structure | Choose an item. |
| Are you a UNGM registered vendor? | ☐ Yes ☐ No If yes, insert UNGM Vendor Number |
| Quality Assurance Certification (e.g. ISO 9000 or Equivalent) (If yes, provide a Copy of the valid Certificate): | ☐ Yes ☐ No |
| Does your Company hold any accreditation such as ISO 14001 or ISO 14064 or equivalent related to the environment? (If yes, provide a Copy of the valid Certificate): | ☐ Yes ☐ No |
| Does your Company have a written Statement of its Environmental Policy? (If yes, provide a Copy) | ☐ Yes ☐ No |
| Does your organization demonstrate significant commitment to sustainability through some other means, for example internal company policy documents on women empowerment, renewable energies or membership of trade institutions promoting such issues (If yes, provide a Copy) | ☐ Yes ☐ No |
| Is your company a member of the UN Global Compact | ☐ Yes ☐ No |
| Bank Information | Bank Name: Click or tap here to enter text. Bank Address:Click or tap here to enter text. IBAN:Click or tap here to enter text. SWIFT/BIC:Click or tap here to enter text. Account Currency:Click or tap here to enter text. Bank Account Number:Click or tap here to enter text. |
| Previous relevant experience: 3 contracts |
| Name of previous contracts | Client & Reference Contact Details including e-mail | Contract Value | Period of activity | Types of activities undertaken |

Bidder’s Declaration

| Yes | No |  |
| --- | --- | --- |
| ☐ | ☐ | Requirements and Terms and Conditions: I/We have read and fully understand the RFQ, including the RFQ Information and Data, Schedule of Requirements, the General Conditions of Contract, and any Special Conditions of Contract. I/we confirm that the Bidder agrees to be bound by them. |
| ☐ | ☐ | I/We confirm that the Bidder has the necessary capacity, capability, and necessary licenses to fully meet or exceed the Requirements and will be available to deliver throughout the relevant Contract period. |
| ☐ | ☐ | Ethics:In submitting this Quote I/we warrant that the bidder: has not entered into any improper, illegal, collusive or anti-competitive arrangements with any Competitor; has not directly or indirectly approached any representative of the Buyer (other than the Point of Contact) to lobby or solicit information in relation to the RFQ ;has not attempted to influence, or provide any form of personal inducement, reward or benefit to any representative of the Buyer. |
| ☐ | ☐ | I/We confirm to undertake not to engage in proscribed practices, , or any other unethical practice, with the UN or any other party, and to conduct business in a manner that averts any financial, operational, reputational or other undue risk to the UN and wehave read the United Nations Supplier Code of Conduct :https://www.un.org/Depts/ptd/about-us/un-supplier-code-conductand acknowledge that it provides the minimum standards expected of suppliers to the UN. |
| ☐ | ☐ | Conflict of interest:I/We warrant that the bidder has no actual, potential, or perceived Conflict of Interest in submitting this Quote or entering a Contract to deliver the Requirements. Where a Conflict of Interest arises during the RFQ process the bidder will report it immediately to the Procuring Organisation’s Point of Contact. |
| ☐ | ☐ | Prohibitions, Sanctions: l/We hereby declare that our firm, its affiliates or subsidiaries or employees, including any JV/Consortium members or subcontractors or suppliers for any part of the contract is not under procurement prohibition by the United Nations, including but not limited to prohibitions derived from the Compendium of United Nations Security Council Sanctions Lists and have not been suspended, debarred, sanctioned or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. |
| ☐ | ☐ | Bankruptcy: l/We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future. |
| ☐ | ☐ | Offer Validity Period: I/We confirm that this Quote, including the price, remains open for acceptance for the Offer Validity. |
| ☐ | ☐ | I/We understand and recognize that you are not bound to accept any Quotation you receive, and wecertify that the goods offered in our Quotation are new and unused. |
| ☐ | ☐ | By signing this declaration, the signatory below represents, warrants and agrees that he/she has been authorised by the Organization/s to make this declaration on its/their behalf. |

Signature:

Name: 	Click or tap here to enter text.

Title:	Click or tap here to enter text.

Date:  	Click or tap to enter a date.

## ANNEX 3: TECHNICAL AND FINANCIAL OFFER - SERVICES

Bidders are requested to complete this form, sign it and return it as part of their quotation. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

| Name of Bidder: | Click or tap here to enter text. |
| --- | --- |
| RFQ reference: | Click or tap here to enter text. | Date: Click or tap to enter a date. |

Technical Offer

Provide the requested specification

Financial Offer

Provide a lump sum for the provision of the services stated in the Terms of Reference.

Detailede budget break down per Deliverable shall be presented.

The lump sum should include all costs of preparing and delivering the Services. All daily rates shall be based on an eight-hour working day.

Currency of Quotation:  EUR, VAT excluded

| Ref | Description of Deliverables | Unit Price | Total Price per Ref.no. |
| --- | --- | --- | --- |
| 1. |  |  |  |
| 2. |  |  |  |
| 3. |  |  |  |
| 4. |  |  |  |
| 5. |  |  |  |
| Total Price, VAT excluded |  |  |

Compliance with Requirements

|  | You Responses |
| --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter-offer |
| Delivery Lead Time | ☐ | ☐ | Click or tap here to enter text. |
| Validity of Quotation | ☐ | ☐ | Click or tap here to enter text. |
| Payment terms | ☐ | ☐ | Click or tap here to enter text. |
| Other requirements [pls. specify] | ☐ | ☐ | Click or tap here to enter text. |

| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. |
| --- |
| Exact name and address of company Company NameClick or tap here to enter text. Address: Click or tap here to enter text. Click or tap here to enter text. Phone No.: Click or tap here to enter text. Email Address: Click or tap here to enter text. | Authorized Signature: Date: Click or tap here to enter text. Name: Click or tap here to enter text. Functional Title of Authorised Signatory: Click or tap here to enter text. Email Address: Click or tap here to enter text. |