

# **REQUEST FOR QUOTATION (RFQ)**

SUPPLY AND DELIVERY OF COMMUNAL EQUIPMENT FOR BREZA, NOVI TRAVNIK, LIVNO, CAZIN AND DOBOJ

|  |  |
| --- | --- |
| RFQ Reference**: BiH/RfQ/110-22** | Date: 10 June 2022 |

# **SECTION 1: REQUEST FOR QUOTATION (RFQ)**

UNDP kindly requests your quotation for the provision of goods as detailed in Annex 1 of this RFQ.

This Request for Quotation comprises the following documents:

Section 1: This request letter

Section 2: RFQ Instructions and Data

Annex 1: Schedule of Requirements

Annex 2: Quotation Submission Form

Annex 3: Technical and Financial Offer

When preparing your quotation, please be guided by the RFQ Instructions and Data. Please note that quotations must be submitted using Annex 2: Quotation Submission Form and Annex 3 Technical and Financial Offer, by the method and by the date and time indicated in Section 2. It is your responsibility to ensure that your quotation is submitted on or before the deadline. Quotations received after the submission deadline, for whatever reason, will not be considered for evaluation.

Thank you and we look forward to receiving your quotations.

Issued by:

United Nations Development Programme in Bosnia and Herzegovina

Zmaja od Bosne bb, Sarajevo 71000

## **SECTION 2: RFQ INSTRUCTIONS AND DATA**

|  |  |
| --- | --- |
| **Introduction** | Bidders shall adhere to all the requirements of this RFQ, including any amendments made in writing by UNDP. This RFQ is conducted in accordance with the [UNDP Programme and Operations Policies and Procedures (POPP) on Contracts and Procurement](https://popp.undp.org/SitePages/POPPBSUnit.aspx?TermID=254a9f96-b883-476a-8ef8-e81f93a2b38d&Menu=BusinessUnit) Any Bid submitted will be regarded as an offer by the Bidder and does not constitute or imply the acceptance of the Bid by UNDP. UNDP is under no obligation to award a contract to any Bidder as a result of this RFQ. UNDP reserves the right to cancel the procurement process at any stage without any liability of any kind for UNDP, upon notice to the bidders or publication of cancellation notice on UNDP website. |
| **Deadline for the Submission of Quotation** | **26 June 2022, 15:00 (CET)** |
| **Method of Submission** | Quotations must be submitted as follows: [x]  Dedicated Email AddressBid submission address: **registry.ba@undp.org; Ref: BiH/RfQ/110-22*** File Format: pdf
* File names must be maximum 60 characters long and must not contain any letter or special character other than from Latin alphabet/keyboard.
* All files must be free of viruses and not corrupted*.*
* Max. File Size per transmission: 20MB
* Mandatory subject of email: **Ref: BiH/RfQ/110-22**
* Multiple emails must be clearly identified by indicating in the subject line “email no. X of Y”, and the final “email no. Y of Y.
* It is recommended that the entire Quotation be consolidated into as few attachments as possible.
 |
| **Cost of preparation of quotation** | UNDP shall not be responsible for any costs associated with a Supplier’s preparation and submission of a quotation, regardless of the outcome or the manner of conducting the selection process. |
| **Supplier Code of Conduct, Fraud, Corruption,**  | All prospective suppliers must read the United Nations Supplier Code of Conduct and acknowledge that it provides the minimum standards expected of suppliers to the UN. The Code of Conduct, which includes **principles on labour, human rights, environment and ethical conduct** may be found at: <https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct>Moreover, UNDP strictly enforces a policy of zero tolerance on proscribed practices, including fraud, corruption, collusion, unethical or unprofessional practices, and obstruction of UNDP vendors and requires all bidders/vendors to observe the highest standard of ethics during the procurement process and contract implementation. UNDP’s Anti-Fraud Policy can be found at <http://www.undp.org/content/undp/en/home/operations/accountability/audit/office_of_audit_andinvestigation.html#anti> |
| **Gifts and Hospitality** | Bidders/vendors shall not offer gifts or hospitality of any kind to UNDP staff members including recreational trips to sporting or cultural events, theme parks or offers of holidays, transportation, or invitations to extravagant lunches, dinners or similar. In pursuance of this policy, UNDP: (a) Shall reject a bid if it determines that the selected bidder has engaged in any corrupt or fraudulent practices in competing for the contract in question; (b) Shall declare a vendor ineligible, either indefinitely or for a stated period, to be awarded a contract if at any time it determines that the vendor has engaged in any corrupt or fraudulent practices in competing for, or in executing a UNDP contract. |
| **Conflict of Interest** | **UNDP requires every prospective Supplier to** avoid and prevent conflicts of interest, by disclosing to UNDP if you, or any of your affiliates or personnel, were involved in the preparation of the requirements, design, specifications, cost estimates, and other information used in this RFQ. Bidders shall strictly avoid conflicts with other assignments or their own interests, and act without consideration for future work. Bidders found to have a conflict of interest shall be disqualified. Bidders must disclose in their Bid their knowledge of the following: a) If the owners, part-owners, officers, directors, controlling shareholders, of the bidding entity or key personnel who are family members of UNDP staff involved in the procurement functions and/or the Government of the country or any Implementing Partner receiving goods and/or services under this RFQ.The eligibility of Bidders that are wholly or partly owned by the Government shall be subject to UNDP’s further evaluation and review of various factors such as being registered, operated and managed as an independent business entity, the extent of Government ownership/share, receipt of subsidies, mandate and access to information in relation to this RFQ, among others. Conditions that may lead to undue advantage against other Bidders may result in the eventual rejection of the Bid. |
| **General Conditions of Contract** | Any Purchase Order or contract that will be issued as a result of this RFQ shall be subject to the General Conditions of ContractSelect the applicable GTC:x [General Terms and Conditions / Special Conditions for Contract.](https://popp.undp.org/_layouts/15/WopiFrame.aspx?sourcedoc=/UNDP_POPP_DOCUMENT_LIBRARY/Public/PSU_Considerations%20of%20Contracting_UNDP%20GTCs%20for%20Contracts%20(Goods%20and-or%20Services)%20-%20Sept%202017.pdf&action=default) Applicable Terms and Conditions and other provisions are available at [UNDP/How-we-buy](http://www.undp.org/content/undp/en/home/procurement/business/how-we-buy.html)  |
| **Special Conditions of Contract** | x Cancellation of PO/Contract if the delivery/completion is delayed by 10 calendar days x Others [pls. specify]Liquidated Damages: Will be imposed under the following conditions:Percentage of contract price per day of delay: 2.0%Max. no. of days of delay: 10 calendar daysNext course of action: Termination of contract |
| **Annexes to this RFQ** | Form for Submission of Quotation, including technical description (Annex I)Annex 2: Quotation Submission FormAnnex 3: Technical and Financial Offer Non-acceptance of the terms of the General Terms and Conditions (GTC) shall be grounds for disqualification from this procurement process. |
| **Eligibility** | A vendor who will be engaged by UNDP may not be suspended, debarred, or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. Vendors are therefore required to disclose to UNDP whether they are subject to any sanction or temporary suspension imposed by these organizations. Failure to do so may result in termination of any contract or PO subsequently issued to the vendor by UNDP.It is the Bidder’s responsibility to ensure that its employees, joint venture members, sub-contractors, service providers, suppliers and/or their employees meet the eligibility requirements as established by UNDP.Bidders must have the legal capacity to enter a binding contract with UNDP and to deliver in the country, or through an authorized representative. |
| **Currency of Quotation** | Quotations shall be quoted in BAM. The payment to a local vendor will be made in BAM. |
| **Joint Venture, Consortium or Association** | If the Bidder is a group of legal entities that will form or have formed a Joint Venture (JV), Consortium or Association for the Bid, they shall confirm in their Bid that : (i) they have designated one party to act as a lead entity, duly vested with authority to legally bind the members of the JV, Consortium or Association jointly and severally, which shall be evidenced by a duly notarized Agreement among the legal entities, and submitted with the Bid; and (ii) if they are awarded the contract, the contract shall be entered into, by and between UNDP and the designated lead entity, who shall be acting for and on behalf of all the member entities comprising the joint venture, Consortium or Association. Refer to Clauses 19 – 24 under [Solicitation policy](https://popp.undp.org/_layouts/15/WopiFrame.aspx?sourcedoc=/UNDP_POPP_DOCUMENT_LIBRARY/Public/PSU_Solicitation%20Process_Solicitation.docx.docx&action=default) for details on the applicable provisions on Joint Ventures, Consortium or Association. |
| **Only one Bid** | The Bidder (including the Lead Entity on behalf of the individual members of any Joint Venture, Consortium or Association) shall submit only one Bid, either in its own name or, if a joint venture, Consortium or Association, as the lead entity of such Joint Venture, Consortium or Association. Bids submitted by two (2) or more Bidders shall all be rejected if they are found to have any of the following:a) they have at least one controlling partner, director or shareholder in common; or b) any one of them receive or have received any direct or indirect subsidy from the other/s; or b) they have the same legal representative for purposes of this RFQ; or c) they have a relationship with each other, directly or through common third parties, that puts them in a position to have access to information about, or influence on the Bid of, another Bidder regarding this RFQ process; d) they are subcontractors to each other’s Bid, or a subcontractor to one Bid also submits another Bid under its name as lead Bidder; or e) some key personnel proposed to be in the team of one Bidder participates in more than one Bid received for this RFQ process. This condition relating to the personnel, does not apply to subcontractors being included in more than one Bid. |
| **Duties and taxes** | Article II, Section 7, of the Convention on the Privileges and Immunities provides, inter alia, that the United Nations, including UNDP as a subsidiary organ of the General Assembly of the United Nations, is exempt from all direct taxes, except charges for public utility services, and is exempt from customs restrictions, duties, and charges of a similar nature in respect of articles imported or exported for its official use. All quotations shall be submitted net of any direct taxes and any other taxes and duties, unless otherwise specified below: All prices must:[x]  be exclusive of VAT and other applicable indirect taxes |
| **Language of quotation**  | Local language and/or English. Including documentation including catalogues, instructions, and operating manuals. |
| **Documents to be submitted** | Bidders shall include the following documents in their quotation:þ Duly Accomplished Forms as provided in Annex 2 and Annex 3 and in accordance with the list of requirements in Annex 1; ***(Popunjene forme za cjenovnu ponudu date u Aneksu 2 i Aneksu 3);***þ Latest Certificate of Registration of the business, including Articles of Incorporation, or equivalent document if Bidder is not a corporation (copy); ***(Ovjerena kopija posljednje registracije ponuđača);***þ Reference list on company’s memorandum for the similar scope of delivery of goods in the last three (3) years. ***(Lista referenci na memorandumu firme za sličan opseg isporuke opreme u zadnje tri godine);***þ Copies of financial statements for last 2 years (Income Statement and Balance Sheet) **(Bilans stanja i bilans uspjeha za posljednje 2 godine)** þ List and value of projects performed for the last 10 years with similar nature and complexity, including client’s contact details who may be contacted for further information on those contracts. ***(Listu i vrijednost projekata izvedenih tokom zadnjih 10 godina, uključujući podatke o poslodavcima koji se mogu kontaktirati za dodatne informacije o tim ugovorima)***þ Statement of Satisfactory Performance from Clients for at least two (2) successfully implemented projects of similar scope and complexity within the last ten (10) years ***(Pisma preporuke poslodavaca za najmanje 2 uspješno realizovana posla slične prirode i kompleksnosti u posljednjih 10 godina)***þ Authorized distributor certificate/authorization- if applicable***; (Certifikat/ovlaštenje o distrubuciji predmetne opreme- ako je primjenjivo);***þ Product catalogue with clearly marked technical specifications of the offered equipment in local or English language; ***(Katalozi sa jasno označenim tehničkim specifikacijama ponuđene robe na lokalnom ili engleskom jeziku);*** |
| **Quotation validity period** | Quotations shall remain valid for 90 days from the deadline for the Submission of Quotation. |
| **Price variation** | No price variation due to escalation, inflation, fluctuation in exchange rates, or any other market factors shall be accepted at any time during the validity of the quotation after the quotation has been received.  |
| **Partial Quotes** | [x]  Partial quotes are not permitted.  |
| **Alternative Quotes** | [x]  Not permitted |
| **Payment Terms** | [x]  100% within 30 days after receipt of goods and submission of payment documentation. |
| **Conditions for Release of****Payment** | ☒ Inspection upon arrival at destination (Inspection upon delivery at destination will be performed by UNDP BiH and beneficiary's representatives).[x]  UNDP shall affect payments to the Contractor after acceptance by UNDP of the invoices and delivery notes for delivered goods, submitted by the Contractor. |
| **Contact Person for correspondence, notifications and clarifications** | E-mail address: registry.ba@undp.orgRef**: BiH/RfQ/110-22**Any delay in UNDP’s response shall be not used as a reason for extending the deadline for submission, unless UNDP determines that such an extension is necessary and communicates a new deadline to the Proposers. |
| **Clarifications** | Requests for clarification from bidders will not be accepted any later than 2 days before the submission deadline. Responses to request for clarification will be communicated through email by **23 June 2022** |
| **Evaluation method** | [x] The Purchase Order will be awarded to one or more suppliers based on the technical responsiveness/full compliance with all requirements and lowest priced offer(s) of technically qualified/responsive quotes. |
| **Evaluation criteria** | Technical responsiveness/Full compliance to requirements and lowest price. Full acceptance of the PO/Contract General Terms and Conditions.Warranty for minimum period of 1 year (item 7)The Bidder should meet the following criteria:* To be a legal entity registered for the business activity;
* To be registered at the respective Indirect Taxation Authority
* Bidder provided goods of similar size and nature on at least 2 projects of similar complexity during last 10 years (works should be completed 100%).
* Statement of Satisfactory Performance from the top two (2) Clients in terms of Contract Value for the past ten (10) years
 |
| **Right not to accept any quotation** | UNDP is not bound to accept any quotation, nor award a contract or Purchase Order |
| **Right to vary requirement at time of award** | At the time of award of Contract or Purchase Order, UNDP reserves the right to vary (increase or decrease) the quantity of services and/or goods, by up to a maximum twenty-five per cent (25% ) of the total offer, without any change in the unit price or other terms and conditions. |
| **Type of Contract to be awarded** | [x]  Purchase Order  |
| **Expected date for contract award.** | 01 July 2022 |
| **Expected Delivery Date and Time** | **ASAP but not later than 45 days upon acceptance of UNDP Purchase Order**  |
| **Publication of Contract Award** | UNDP will publish the contract awards valued at USD 100,000 and more on the websites of the CO and the corporate UNDP Web site.  |
| **Policies and procedures** | This RFQ is conducted in accordance with [UNDP Programme and Operations Policies and Procedures](https://popp.undp.org/SitePages/POPPBSUnit.aspx?TermID=254a9f96-b883-476a-8ef8-e81f93a2b38d&Menu=BusinessUnit)  |
| **UNGM registration** | Any Contract resulting from this RFQ exercise will be subject to the supplier being registered at the appropriate level on the United Nations Global Marketplace (UNGM) website at [www.ungm.org](http://www.ungm.org). The Bidder may still submit a quotation even if not registered with the UNGM, however, if the Bidder is selected for Contract award, the Bidder must register on the UNGM prior to contract signature. |

**ANNEX 1: SCHEDULE OF REQUIREMENTS**

**Technical Specifications for Goods / Tehničke specifikacije opreme**

**SUPPLY AND DELIVERY OF COMMUNAL EQUIPMENT FOR BREZA, NOVI TRAVNIK, LIVNO, CAZIN AND DOBOJ / Nabavka i isporuka komunalne opreme za Brezu, Novi Travnik, Livno, Cazin i Doboj**

|  |  |  |  |
| --- | --- | --- | --- |
| **Item No** | **Minimum technical requirements / Minimalni tehnički zahtjevi** | **Unit** | **Quantity** |
| **1a** | Plastična pokretna kanta V=120 lit (za miješani komunalni otpad) **crna boja** |
| * Sve površine posude u boji (u odnosu na namjenu);
* Izvedba odgovara standardu EN 840;
* Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
* Manipulacija putem dva (2) okretna gumirana, gumena ili plastična točka (dijametar točka= 200 mm), montirana na čeličnu poluosovinu, a sve prema EN 840 standardu
* Za vanjsku i unutarnju upotrebu;
* Nosivost najmanje 40 kg
* **Mjesto isporuke kanti: na adresi Javnog preduzeća "KOMUNALNO" Breza**
 | **kom.** | **70** |
| **1b** | Plastična pokretna kanta V=120 lit (za separirani otpad – plastika, staklo i papir) **žuta boja** |
| * Sve površine posude u boji (u odnosu na namjenu);
* Izvedba odgovara standardu EN 840;
* Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
* Manipulacija putem dva (2) okretna gumirana, gumena ili plastična točka (dijametar točka = 200 mm), montirana na čeličnu poluosovinu, a sve prema EN 840 standardu
* Za vanjsku i unutarnju upotrebu;
* Nosivost najmanje 40 kg
* **Mjesto isporuke kanti: na adresi Javnog preduzeća "KOMUNALNO" Breza**
 | **kom.** | **70** |
| **2a** | **Posude/kontejneri za lug 1,1 m3** |
| * Zapremina: 1100 l,
* Materijal: pocinčani lim debljine od 1,0 do 1,5 mm,
* Težina: 100 – 120 kg,
* Izrađeni u skladu sa standardom EN 840
* Poklopac sa drškom,
* Rukohvat za transport,
* Nožna kočnica na 2 prednja točka,
* 4 obrtna točka, svi spojeni vijcima na tijelo kontejnera
* **Mjesto isporuke kontejnera: na adresi Javnog preduzeća "KOMUNALNO" Breza**
 | **kom.** | **15** |
| **2b** | * Zapremina: 1100 l,
* Materijal: pocinčani lim debljine od 1,0 do 1,5 mm,
* Težina: 100 – 120 kg,
* Izrađeni u skladu sa standardom EN 840
* Poklopac sa drškom,
* Rukohvat za transport,
* Nožna kočnica na 2 prednja točka,
* 4 obrtna točka, svi spojeni vijcima na tijelo kontejnera
* **Mjesto isporuke kontejnera: na adresi JKP „Vilenica-Čistoća“ Novi Travnik**
 | **kom.** | **12** |
| **3** | Plastični mobilni kontejneri **za plastiku (žuti),** zapremine, V=1.100 litara= 1,1 m3 |
| * + Kružni otvori na poklopcu;
	+ Izvedba odgovara standardu EN 840;
	+ Mogućnost hidrauličkog pražnjena u tački ili viljuškama;
	+ Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
	+ Manipulacija putem četiri (4) okretna gumirana, gumena ili plastična točka (dijametar točka = 200 mm), od čega najmanje dva točka moraju biti opremljena kočionim sistemom, a sve prema EN 840 standardu;
	+ Za vanjsku upotrebu;
	+ Nosivost najmanje 510 kg;
	+ Posjeduje čep za pražnjene tekućina;
	+ **Boja kontejnera: žuta**
	+ **Mjesto isporuke kontejnera: na adresi JKP „Čistoća“ Cazin**
 | **kom.** | 1 |
| **4** | Plastični mobilni kontejneri **za papir (plavi),** zapremine, V=1.100 litara= 1,1 m3 |
| * + Pravokutni otvori na poklopcu;
	+ Izvedba odgovara standardu EN 840;
	+ Mogućnost hidrauličkog pražnjena u tački ili viljuškama;
	+ Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
	+ Manipulacija putem četiri (4) okretna gumirana, gumena ili plastična točka (dijametar točka = 200 mm), od čega najmanje dva točka moraju biti opremljena kočionim sistemom, a sve prema EN 840 standardu;
	+ Za vanjsku upotrebu;
	+ Nosivost najmanje 510 kg;
	+ Posjeduje čep za pražnjene tekućina;
	+ **Boja kontejnera: plava**
	+ **Mjesto isporuke kontejnera: na adresi JKP „Čistoća“ Cazin**
 | **kom.** | 1 |
| **5** | Plastični mobilni kontejneri **za staklo (zeleni),** zapremine, V=1.100 litara= 1,1 m3 |
| * + Kružni otvori na poklopcu;
	+ Izvedba odgovara standardu EN 840;
	+ Mogućnost hidrauličkog pražnjena u tački ili viljuškama;
	+ Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
	+ Manipulacija putem četiri (4) okretna gumirana, gumena ili plastična točka (dijametar točka = 200 mm), od čega najmanje dva točka moraju biti opremljena kočionim sistemom, a sve prema EN 840 standardu;
	+ Za vanjsku upotrebu;
	+ Nosivost najmanje 510 kg;
	+ Posjeduje čep za pražnjene tekućina;
	+ **Boja kontejnera: zelena**
	+ **Mjesto isporuke kontejnera: na adresi JKP „Čistoća“ Cazin**
 | **kom.** | 31 |
| **6a** | Plastični mobilni kontejneri **za mješoviti komunalni otpad (crni),** zapremine, V=1.100 litara= 1,1 m3 |
| * + Poklopac sa drškom;
	+ Izvedba odgovara standardu EN 840;
	+ Mogućnost hidrauličkog pražnjena u tački ili viljuškama;
	+ Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
	+ Manipulacija putem četiri (4) okretna gumirana, gumena ili plastična točka (dijametar točka = 200 mm), od čega najmanje dva točka moraju biti opremljena kočionim sistemom, a sve prema EN 840 standardu;
	+ Za vanjsku upotrebu;
	+ Nosivost najmanje 510 kg;
	+ Posjeduje čep za pražnjene tekućina;
	+ **Boja kontejnera: crna**
	+ **Mjesto isporuke kontejnera: na adresi JKP „Čistoća“ Cazin**
 | **kom.** | 1 |
| **6b** | * + Poklopac sa drškom;
	+ Izvedba odgovara standardu EN 840;
	+ Mogućnost hidrauličkog pražnjena u tački ili viljuškama;
	+ Izrađen od visoko kvalitetne plastike (materijal otporan na UV);
	+ Manipulacija putem četiri (4) okretna gumirana, gumena ili plastična točka (dijametar točka= 200 mm), od čega najmanje dva točka moraju biti opremljena kočionim sistemom, a sve prema EN 840 standardu;
	+ Za vanjsku upotrebu;
	+ Nosivost najmanje 510 kg;
	+ Posjeduje čep za pražnjene tekućina;
	+ **Boja kontejnera: crna**
	+ **Mjesto isporuke kontejnera: na adresi JP „Komunalno“ Livno**
 | **kom.** | 53 |
| **7** | Otvoreni metalni komunalni kontejneri **zapremine 7 m3** |  |  |
| * + Kontejneri za komunalni otpad moraju biti prilagođeni za auto podizače.
	+ Osnovna konstrukcija kontejnera mora biti izvedena od limova debljine min. 3 mm, a ojačanja/ukrute izvedene od limova debljine min. 4 mm
	+ Sva ojačanja/ukrute moraju biti zavareni cijelom dužinom čime je eliminisana mogućnost unutrašnje korozije
	+ Površinska zaštita mora biti izvedena sa temeljnom i završnom bojom
	+ Garancija: najmanje 1 godina
	+ **Mjesto isporuke kontejnera: KP Progres a.d. Doboj**
 | **kom.** | 10 |
| **8** | **Drobilica za staklo** |  |  |
| * + Drobilica koja smanjuje volumen boce stakla za 80%
	+ Mogućnost ubacivanja više staklenih boca istovremeno
	+ Drbljenje boca do zapremine 3l
	+ Kapaciteta do 4000 boca na sat
	+ Mobilan uređaj
	+ Opcionalni sustav upozorenja za pun spremnik
	+ **Mjesto isporuke drobilice: na adresi JKP „Čistoća“ Cazin**
 | **kom.** | 1 |

***Important Note: The bidders can offer any brand/manufacturer of equal or better equipment (Equal means equipment of comparable quality with enlisted specifications and/or capable of performing the intended function). This will be subject of the evaluation. / Ponuđač može ponuditi opremu bilo kog proizvođača istih ili boljih karakteristika (“iste karakteristike” podrazumijevaju opremu koja ima kvalitet u skladu sa traženim specifikacijama i/ili može ostvariti planiranu funkciju). To će biti predmet evaluacije.***

**Delivery Requirements**

|  |
| --- |
| **Delivery Requirements** |
| **Delivery date and time** | Bidder shall deliver the goods within 45 after Contract signature. |
| **Delivery Terms (INCOTERMS 2020)** | DAP  |
| **Customs clearance****(must be linked to INCOTERM** | [x]  Supplier/bidder |
| **Exact Address(es) of Delivery Location(s)** | BrezaNovi TravnikCazinLivnoDobojexact addresses will be provided upon the issuance of Purchase order. |
| **Distribution of shipping documents (if using freight forwarder)** | N/A |
| **Packing Requirements** | N/A |
| **Training on Operations and Maintenance** | N/A |
| **Warranty Period** | YESitem 7 – min. 1 year |
| **After-sales service and local service support requirements** | YES Technical support and maintenance available in BiH;Brand new replacement if Purchased Unit is beyond repair within warranty period; Service response within 48 hours; |
| **Preferred Mode of Transport** | N/A |

**ANNEX 2: QUOTATION SUBMISSION FORM**

*Bidders are requested to complete this form, including the Company Profile and Bidder’s Declaration, sign it and return it as part of their quotation along with Annex 3: Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |
| --- | --- |
| Name of Bidder: | Click or tap here to enter text. |
| RFQ reference: | Click or tap here to enter text. | Date: Click or tap to enter a date. |

**Company Profile**

|  |  |
| --- | --- |
| **Item Description** | **Detail** |
| Legal name of bidder or Lead entity for JVs | Click or tap here to enter text. |
| Legal Address, City, Country | Click or tap here to enter text. |
| Website | Click or tap here to enter text. |
| Year of Registration | Click or tap here to enter text. |
| Legal structure | Choose an item. |
| Are you a UNGM registered vendor? | [ ]  Yes [ ]  No If yes, insert UNGM Vendor Number |
| Quality Assurance Certification (e.g. ISO 9000 or Equivalent) *(If yes, provide a Copy of the valid Certificate):* | [ ]  Yes [ ]  No  |
| Does your Company hold any accreditation such as ISO 14001 or ISO 14064 or equivalent related to the environment? *(If yes, provide a Copy of the valid Certificate):* | [ ]  Yes [ ]  No |
| Does your Company have a written Statement of its Environmental Policy? *(If yes, provide a Copy)* | [ ]  Yes [ ]  No |
| Does your organization demonstrate significant commitment to sustainability through some other means, for example internal company policy documents on women empowerment, renewable energies or membership of trade institutions promoting such issues *(If yes, provide a Copy)* | [ ]  Yes [ ]  No |
| Is your company a member of the UN Global Compact  | [x]  Yes [ ]  No |
| Bank Information | Bank Name: Click or tap here to enter text.Bank Address: Click or tap here to enter text.IBAN: Click or tap here to enter text.SWIFT/BIC: Click or tap here to enter text.Account Currency: Click or tap here to enter text.Bank Account Number: Click or tap here to enter text. |
| **Previous relevant experience: 3 contracts** |
| **Name of previous contracts** | **Client & Reference Contact Details including e-mail** | **Contract Value** | **Period of activity**  | **Types of activities undertaken** |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**Bidder’s Declaration**

| **Yes** | **No** |  |
| --- | --- | --- |
|[ ] [ ]  **Requirements and Terms and Conditions:** I/We have read and fully understand the RFQ, including the RFQ Information and Data, Schedule of Requirements, the General Conditions of Contract, and any Special Conditions of Contract. I/we confirm that the Bidder agrees to be bound by them. |
|[ ] [ ]  I/We confirm that the Bidder has the necessary capacity, capability, and necessary licenses to fully meet or exceed the Requirements and will be available to deliver throughout the relevant Contract period. |
|[ ] [ ]  **Ethics**: In submitting this Quote I/we warrant that the bidder: has not entered into any improper, illegal, collusive or anti-competitive arrangements with any Competitor; has not directly or indirectly approached any representative of the Buyer (other than the Point of Contact) to lobby or solicit information in relation to the RFQ ;has not attempted to influence, or provide any form of personal inducement, reward or benefit to any representative of the Buyer.  |
|[ ] [ ]  I/We confirm to undertake not to engage in proscribed practices, , or any other unethical practice, with the UN or any other party, and to conduct business in a manner that averts any financial, operational, reputational or other undue risk to the UN and wehave read the United Nations Supplier Code of Conduct :<https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct> and acknowledge that it provides the minimum standards expected of suppliers to the UN. |
|[ ] [ ]  **Conflict of interest:** I/We warrant that the bidder has no actual, potential, or perceived Conflict of Interest in submitting this Quote or entering a Contract to deliver the Requirements. Where a Conflict of Interest arises during the RFQ process the bidder will report it immediately to the Procuring Organisation’s Point of Contact. |
|[ ] [ ]  **Prohibitions, Sanctions:** l/We hereby declare that our firm, its affiliates or subsidiaries or employees, including any JV/Consortium members or subcontractors or suppliers for any part of the contract is not under procurement prohibition by the United Nations, including but not limited to prohibitions derived from the Compendium of United Nations Security Council Sanctions Lists and have not been suspended, debarred, sanctioned or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. |
|[ ] [ ]  **Bankruptcy**: l/We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future. |
|[ ] [ ]  **Offer Validity Period:** I/We confirm that this Quote, including the price, remains open for acceptance for the Offer Validity.  |
|[ ] [ ]  I/We understand and recognize that you are not bound to accept any Quotation you receive, and wecertify that the goods offered in our Quotation are new and unused. |
|[ ] [ ]  By signing this declaration, the signatory below represents, warrants and agrees that he/she has been authorised by the Organization/s to make this declaration on its/their behalf. |

Signature:

Name: Click or tap here to enter text.

Title: Click or tap here to enter text.

Date: Click or tap to enter a date.

## **ANNEX 3: TECHNICAL AND FINANCIAL OFFER – GOODS**

*Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2: Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |
| --- | --- |
| Name of Bidder: | Click or tap here to enter text. |
| RFQ reference: | Click or tap here to enter text. | Date: Click or tap to enter a date. |

|  |
| --- |
| **Currency of the Quotation:** Click or tap here to enter text.**INCOTERMS:** Click or tap here to enter text. |
| **Item No** | **Description** | **UOM** | **Qty** | **Unit price** | **Total price**  |
| 1a. | Plastična pokretna kanta V=120 lit (za miješani komunalni otpad) crna boja Isporuka: na adresi Javnog preduzeća "KOMUNALNO" Breza |  |  |  |  |
| 1b. | Plastična pokretna kanta V=120 lit (za separirani otpad – plastika, staklo i papir) žuta boja Isporuka: na adresi Javnog preduzeća "KOMUNALNO" Breza |  |  |  |  |
| 2a. | Posude/kontejneri za lug 1,1 m3 Isporuka: na adresi Javnog preduzeća "KOMUNALNO" Breza |  |  |  |  |
| 2b. | Posude/kontejneri za lug 1,1 m3 Isporuka: na adresi JKP „Vilenica-Čistoća“ Novi Travnik |  |  |  |  |
| 3. | Plastični mobilni kontejneri za plastiku (žuti), zapremine, V=1.100 litara= 1,1 m3 Isporuka: na adresi JKP „Čistoća“ Cazin |  |  |  |  |
| 4. | Plastični mobilni kontejneri za papir (plavi), zapremine, V=1.100 litara= 1,1 m3 Isporuka: na adresi JKP „Čistoća“ Cazin |  |  |  |  |
| 5. | Plastični mobilni kontejneri za staklo (zeleni), zapremine, V=1.100 litara= 1,1 m3 Isporuka: na adresi JKP „Čistoća“ Cazin |  |  |  |  |
| 6a. | Plastični mobilni kontejneri za mješoviti komunalni otpad (crni), zapremine, V=1.100 litara= 1,1 m3 Isporuka: na adresi JKP „Čistoća“ Cazin |  |  |  |  |
| 6b. | Plastični mobilni kontejneri za mješoviti komunalni otpad (crni), zapremine, V=1.100 litara= 1,1 m3 Isporuka: na adresi JP „Komunalno“ Livno |  |  |  |  |
| 7. | Otvoreni metalni komunalni kontejneri zapremine 7 m3 Isporuka: KP Progres a.d. Doboj |  |  |  |  |
| 8. | Drobilica za staklo Isporuka: na adresi JKP „Čistoća“ Cazin |  |  |  |  |
| Total Price |  |
| Transportation Price |  |
| Insurance Price |  |
| Installation Price |  |
| Training Price |  |
| Other Charges (specify) |  |
| **Total Final and All-inclusive Price** |  |

**Compliance with Requirements**

|  |  |
| --- | --- |
|  | **You Responses** |
|  | **Yes, we will comply** | **No, we cannot comply** | **If you cannot comply, pls. indicate counter - offer** |
| Minimum Technical Specifications |[ ] [ ]  Click or tap here to enter text. |
| Delivery Term (INCOTERMS) |[ ] [ ]  Click or tap here to enter text. |
| Delivery Lead Time |[ ] [ ]  Click or tap here to enter text. |
| Warranty and After-Sales Requirements |[ ] [ ]  Click or tap here to enter text. |
| Validity of Quotation |[ ] [ ]  Click or tap here to enter text. |
| Payment terms |[ ] [ ]  Click or tap here to enter text. |
| Other requirements *[pls. specify]* |[ ] [ ]  Click or tap here to enter text. |

**Other Information:**

|  |  |
| --- | --- |
| Estimated weight/volume/dimension of the Consignment:  |  Click or tap here to enter text. |
| Country/ies of Origin: (*if export licence required this must be submitted if awarded the contract*) | Click or tap here to enter text. |

|  |
| --- |
| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. |
| *Exact name and address of company*Company NameClick or tap here to enter text.Address: Click or tap here to enter text. Click or tap here to enter text.Phone No.: Click or tap here to enter text.Email Address: Click or tap here to enter text. | Authorized Signature: Date: Click or tap here to enter text.Name: Click or tap here to enter text.Functional Title of Authorised Signatory: Click or tap here to enter text.Email Address: Click or tap here to enter text. |