## Blank bill - Gumo (2)
CONSTRUCTION OF BIOGAS FACILITY FOR SHEA
BUTTER PROCESSING FACTORIES AT GUMO
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUBSTRUCTURE
EXCAVATION AND EARTHWORK
A | Clear site of all vegetation, trees not
| exceeding 500mm girth and grub up roots. | 100 | m2 |  | 0
B | Excavate vegetable top soil average 150mm | 100 | m2 |  | 0
deep.
C | Excavate foundation trench not exceeding 1.50m
| deep commencing at formation level. | 7 | m3 |  | 0
D | Excavate pit to receive column base not exceeding
| 1.50m deep commencing at formation level | 7 | m3 |  | 0
E | Backfill selected excavated material around foundation. | 5 | m3 |  | 0
F | Remove surplus excavated material away from site. | 2 | m3 |  | 0
HARDCORE FILLING
Approved imported laterite hardfilling:
G | To make up levels under floors deposited and
| compacted in layers not exceeding 225mm thick. | 10 | m3 |  | 0
CONCRETE WORK
PLAIN IN-SITU CONCRETE
Plain in-situ concrete ( 1:10 all-in aggregates ) as described in :-
H | 50mm Thick blinding bed under foundation. | 10 | m2 |  | 0
Plain in-situ concrete ( 1:2:4-20mm aggregates ) as-
described in :-
J | Foundation Trench | 2 | m3 |  | 0
K | Column Base | 1 | m3 |  | 0
L | Vertical column | 2 | m3 |  | 0
M | Slab | 16 | m2 |  | 0
Mild steel bar reinforcement
N | 12mm Diameter Bar in Vertical column | 59 | Kg |  | 0
K | 12mm Diameter in foundation mast | 37 | Kg |  | 0
L | 10mm Diameter Stirr up links | 25 | Kg |  | 0
Formwork to :-
P | Vertical sides of columns | 15 | m2 |  | 0
Q | Sides of slab 150 wide | 20 | m |  | 0
Blockwork
solid sandcrete blockwork in cement and
sand (1:4) mortar as described in:
R | 150mm wall | 45 | m2 |  | 0
|  |  |  | C/F | 0
CONSTRUCTION OF BIOGAS FACILITY FOR SHEA
BUTTER PROCESSING FACTORIES GUMO
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
|  |  |  | B/F | 0
PLASTERWORK
13mm thick cement and sand (1:4) render on:
A | Concrete or Blockwork | 85 | m2 |  | 0
Provide and Install 100mm Diameter Post Painted and
B | fabricated complete with all accessories embedded in | 25 | m |  | 0
concrete
CARPENTRY
STRUCTURAL TIMBERS
Sawn hardwood treated with solignum
C | 50mm x 100mm Purlins | 30 | m |  | 0
D | 50mm x 150mm Rafter | 30 | m |  | 0
E | 25mm Hardwood Facia Board | 16 | m |  | 0
ROOFING
0.5mm thick Long span IDT aluminium roofing sheet
F | fixed to purlins @ 900mm centres with all rain gutter pipes | 20 | m2 |  | 0
and all accessories
Provide and Install 1200mm Diameter Concrete pipe for Gas
G | Chamber complete with 50mm thick Concrete Cover Lid | 2 | m |  | 0
Provide and Install 1200mm Diameter Concrete pipe as
H | Biodigester complete with all accessories | 1 | m |  | 0
J | Provide and Install Flammable Tube to Receive Gas complete
| with all accessories | 1 | No |  | 0
K | Provide and Install 50kg Gas Cylinder complete with all
| accessories to store Gas | 1 | No |  | 0
L | Allow a provisional sum for all piping works complete
| including Valves , Stop Corks , and Filters | P.sum |  | Sum | 2000
M | Provide and Install Waste Pumping Machine Complete
| with all accessories | 2 | No |  | 0
N | Allow a for all Plumbing and Piping works | P.sum |  | Sum | 1000
P | Supply and Install 50mm - 200mm thick Boulders | 4 | m3 |  | 0
Q | Allow a provisional sum for all Electrical works | P.sum |  | Sum | 2000
| SUMMARY OF WORKS |  |  |  | 5000
CONSTRUCTION OF BIOGAS FACILITY FOR SHEA
BUTTER PROCESSING FACTORIES GUMO
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
SUMMARY OF WORKS
| THE WORKS |  |  |  | 5000
| SUB- TOTAL |  |  |  | 5000
| ADD 10% AS CONTINGENCY |  |  |  | 500
| GENERAL SUMMARY OF WORKS |  |  |  | 5500